# Submission ID #: 68569

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=20913593

# Title: Live Imaging Characterization of Centromere Movements During Male Meiotic Prophase in Arabidopsis thaliana

# Authors and Affiliations:

Sandrine Lefranc, Philippe Andrey, Mathilde Grelon, Laurence Cromer1*

Université Paris-Saclay, INRAE, AgroParisTech, Institute Jean-Pierre Bourgin for Plant Sciences (IJPB)

# Corresponding Authors:

Laurence Cromer 	(laurence.cromer@inrae.fr)

# Email Addresses for All Authors:

Sandrine Lefranc 	(sandrine.lefranc@inrae.fr)

Philippe Andrey 	(philippe.andrey@inrae.fr)

Mathilde Grelon 	(mathilde.grelon@inrae.fr)

Laurence Cromer 	(laurence.cromer@inrae.fr)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  YES

NO, we can not record but we have a camera port

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Our stereomicroscope Nikon SMZ800 has a camera port that we use, connected to a screen, to give demonstrations to students. I can send you a picture if you need.

2.4
2.5
2.6
2.7

Videographer: Please film SCOPE shots using the scope kit

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20913593

3. Filming location: Will the filming need to take place in multiple locations?   YES

200 meters

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. NO

Current Protocol Length

Number of Steps: 22

Number of Shots: 38

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Laurence CROMER: Our research explores plant meiosis, aiming to uncover molecular mechanisms guiding homologous chromosome recognition, alignment, and pairing during meiotic progression.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 2.4

What are the current experimental challenges?

  - Laurence CROMER: The challenge is visualizing chromosome movement in meiotic prophase, requiring live tissue imaging with high resolution and speed to track trajectories.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What significant findings have you established in your field?

  - Laurence CROMER: This protocol enabled first-time quantification of meiotic chromosome movement in Arabidopsis, revealing dramatic centromere dynamics during zygotene and pachytene.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: Figure 5

What new scientific questions have your results paved the way for?

  - Laurence CROMER: This protocol enables studying genomic region movements during meiotic prophase and can be adapted for application in other plant species.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What questions will future research focus on?

  - Laurence CROMER: This work enables exploration of chromosome movement–recombination interplay, deepening understanding of mechanisms driving genetic diversity during plant gamete formation

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.  Suggested B roll: 4.4

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Dissecting Anthers and Slide Preparation

Demonstrator: Laurence CROMER

  - To begin, prepare a glass slide and place a spacer at its center, removing the protective films from both sides [1]. Deposit 8 microliters of tap water into the center of the spacer [2].

    - WIDE: Talent placing a spacer at the center of a glass slide and peeling off protective films from both sides.

    - Talent pipetting 8 microliters of tap water into the spacer cavity.

  - Using forceps, pick an inflorescence from one of the main stems [1]. Place the inflorescence on a new slide positioned under a stereomicroscope fitted with a ruler [2]. Select flower buds that measure approximately 0.5 millimeters in length [3].

    - Talent using forceps to pick an inflorescence from the stem.

    - Talent placing the inflorescence on a glass slide beneath a stereomicroscope equipped with a ruler.

    - SCOPE: View through the stereomicroscope showing selection of flower buds measuring about 0.5 millimeters.

Videographer: Please film SCOPE shots using the scope kit

  - Using sharp needles, gently open the buds by pulling apart the sepals and petals to retain only the anthers [1-TXT].

    - SCOPE: Talent using sharp needles to open flower buds and separate sepals and petals. TXT: Avoid damaging the anthers or letting them dry

  - Transfer the anther bunches delicately into the water in the spacer cavity immediately after removing the sepals and petals to prevent dehydration [1]. Deposit several anther bunches inside the spacer cavity [2].

    - SCOPE: Talent transferring the freshly isolated anther bunches into the water-filled spacer cavity.

    - SCOPE: Close-up shot of multiple anther bunches deposited inside the cavity.

  - To cover the slide with a coverslip while avoiding air bubbles, add 8 microliters of water onto a coverslip [1], then carefully invert the coverslip with the drop of water facing the spacer cavity [2]. Ensure the anther bunches are immersed in a total of 16 microliters of water and that the coverslip adheres well to the spacer [4].

    - Talent pipetting 8 microliters of water onto a coverslip.

    - Talent carefully turning the coverslip over and placing it onto the spacer cavity.

    - Close-up shot showing the coverslip fully sealed to the spacer with anthers immersed in water.

- Confocal Microscopy Time-Lapse Observation – Imaging Setup

Demonstrator: Laurence CROMER

  - Set up the microscope by exciting GFP at 488 nanometers [1] and detecting it with a hybrid detector between 494 nanometers and 547 nanometers [2].

    - SCREEN: Show the GFP excitation setting at 488 nanometers on the microscope control panel.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20913593

    - SCREEN: Show the hybrid detector range adjusted between 494 and 547 nanometers.

  - Then, localize the anther using brightfield illumination [1]. Using the brightfield channel, determine the meiotic stage based on the shape of the cells [2].

    - SCREEN: Brightfield view showing the anther localized under the microscope.

    - SCREEN: Brightfield view showing different meiotic stages identified by distinct cell shapes.

  - Visualize the anther on the software and use the RFP signal as an additional indicator of the meiotic stage of the cells [1].

    - SCREEN: Show the anther image displayed on the software interface. Show the RFP channel activated, highlighting the signal used to confirm meiotic stage.

  - To perform continuous acquisitions, set the time interval to zero in the Time section [1-TXT]. Then, use the spot module to automatically track spots [2].

    - SCREEN: Show the Time section of the software with the interval set to zero. TXT: Acquisition time: 16 slices in 6–8 s; Total duration: 2–20 min

    - SCREEN: Demonstrate selection of the Spot module and automatic tracking of centromere spots over time.

- Image Analysis – Centromere Movement Tracking

  - Choose the green source channel and set the XY diameter to 1 micrometer for the GFP-CENH3 (Cen-H-Three)-marked centromere [1]. Perform object detection to identify all objects in the image [2].

    - SCREEN: Show selection of the green channel as the source. Show the XY diameter being set to 1 micrometer.

    - SCREEN: Display object detection identifying all centromere-marked objects in the image.

  - Then, modify the quality of detection based on signal intensity using the graph at the bottom of the control window [1].

    - SCREEN: Show adjustment of the detection quality threshold using the signal intensity graph.

  - Use the auto-regressive motion tracking algorithm to trace centromere trajectories and visualize all trajectories to easily distinguish meiocytes from somatic tissues [1].

    - SCREEN: Show the auto-regressive motion tracking algorithm being activated. Display a visualization of centromere trajectories highlighting the distinction between meiocytes and somatic tissues.

  - Next, use the Spot module to track spots over time on the selected nucleus [1]. Define a Region of Interest by selecting the option Segment only a Region of Interest and perform spot tracking within it [2].

    - SCREEN: Show the nucleus being selected for spot tracking.

    - SCREEN: Show the Segment only a Region of Interest option selected, with tracking being applied to that region.

  - Select a Region of Interest that properly includes the nucleus in all three dimensions and over time [1-TXT].

    - SCREEN: Show the Region of Interest being defined around the nucleus in 3D, extending across multiple time points. TXT: Perform centromere detection & tracking using the same parameters as whole anther

  - In a lineage plot, use the software’s 3D viewer to visualize all trajectories. Remove the trajectories outside the analyzed meiocyte by selecting them and pressing the Delete key on the keyboard [1].

    - SCREEN: Show the lineage plot displaying all trajectories. Show selection of unwanted trajectories outside the meiocyte and their removal using the Delete key

.

  - In Edit mode, delete or add an object, ensuring that the object is added in the correct plane [1]. In Edit Tracks mode, manually connect the new objects on the lineage plot after thoroughly analyzing the cell in 3D [2].

    - SCREEN: Show the Edit mode being used to add or delete objects, with emphasis on placing them in the correct plane.

    - SCREEN: Show the Edit Tracks mode being used to connect new objects on the lineage plot after 3D analysis.

- Data Analysis

Demonstrator: Sandrine Lefranc

  - Compute the instantaneous speed at each time step to monitor variations in movement velocity over time [1]. Calculate the turning angle as the change in direction of movement between consecutive time steps to reveal trajectory patterns [2]. Store the result together with the instantaneous speed [3].

    - SCREEN: Show the calculation of instantaneous speed values for each time step along the trajectories.

    - SCREEN: Show the computation of turning angles between trajectory steps.

    - SCREEN: Display the updated file containing both instantaneous speed and turning angle data.

  - Compute the outreach ratio using celltrackR (Cell-Track-R) to measure how far a tracked object moves relative to its starting position, indicating exploratory behavior [1-TXT].

    - SCREEN: Show the outreach ratio being calculated with celltrackR14. TXT: Store the result as results/dataframes/metrics-celltrackr.tsv

  - Compute the average speed for each track to summarize movement characteristics across the observation period [1]. Calculate the average turning angle per track to analyze movement directionality and behavioral patterns, and store the result [2].

    - SCREEN: The average speed for each track is being computed.

    - SCREEN: The average turning angle per track is being computed and the result is being stored.

  - Next, compute the centroid size at each timestep to measure the spatial dispersion of centromeres around their average position [1]. Use variations in centroid size over time to evaluate global consistency across centromere tracks and store the result [2].

    - SCREEN: Show centroid size being computed at each timestep based on centromere positions.

    - SCREEN: Display a graph illustrating variations in centroid size over time, and the result is being stored.

  - Compute the speed cross-correlation to analyze relationships between the movement dynamics of different tracked objects, revealing potential coordinated behaviors [1-TXT].

    - SCREEN: Show pairwise cross-correlation calculations between different centromere tracks. TXT: Store the result as results/dataframes/metrics-correlations.tsv

  - Then, compute the mean squared displacement for each track to quantify the average squared distance traveled by centromeres over a given time interval [1].

    - SCREEN: Show the calculation of mean squared displacement curves across different time intervals.

# Results

- Results

  - Meiotic centromeres exhibited a significantly higher average speed of 109.35 nanometers per second compared to somatic centromeres [1].

    - LAB MEDIA: Figure 5A. Video editor: Highlight the taller violin plot labeled "M" on the left, showing higher average speed values.

  - Meiotic centromeres showed a broader range and higher normalized outreach ratio compared to somatic centromeres [1]. The turning angle distribution differed between meiotic and somatic centromeres [2].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the wider violin plot labeled "Meiotic" on the left, showing a broader distribution.

    - LAB MEDIA: Figure 5C.

  - The mean square displacement of meiotic centromeres increased over time, while somatic centromeres remained largely static [1].

    - LAB MEDIA: Figure 5D. Video editor: Highlight the upward trend line labeled "wt-m", indicating increased movement over time.