# Submission ID #: 68585

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20918473

# Title: Using LEXY and LINuS Optogenetics Tools and Automated Image Analysis to Quantify Nucleocytoplasmic Transport Dynamics in Live Cells

# Authors and Affiliations:

# Axelle Donjon, Charlene Boumendil

# Institut de Génétique Humaine (IGH), Univ Montpellier, CNRS

# Corresponding Authors:

Charlene Boumendil				charlene.boumendil@igh.cnrs.fr

# Email Addresses for All Authors:

Axelle Donjon					axelle.donjon@igh.cnrs.fr

Charlene Boumendil				charlene.boumendil@igh.cnrs.fr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  24

Number of Shots:  46

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

  - Charlène Boumendil Our lab studies the interplay between chromatin and nuclear pores. We want to understand how nuclear pores affect chromatin organization and how chromatin organization affect nuclear pores functions, including transport.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll: 3.1

What are the current experimental challenges?

  - Charlène Boumendil: Nucleocytoplasmic transport is a very fast process. One challenge resides in detecting changes in transport dynamics in live cells.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What research gap are you addressing with your protocol?

  - Axelle Donjon: There are not a lot of tools available to monitor nucleocytoplasmic transport in live cells. By implementing an improved and semi-automated analysis method, we expect to facilitate the usage of these tools.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Axelle Donjon: Our protocol is based on deep learning. It limits errors and greatly improves the time required to perform the analyses. An analysis that would previously take a day now only lasts one or two hours.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll: 2.17

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Quantitative Analysis of Nuclear Dynamics via FIJI and TrackMate Using mCherry and SiR-DNA Channels

Demonstrator: Axelle Donjon

  - To begin, launch the FIJI software on the computer system [1].

    - WIDE: Talent launching the FIJI software.

  - Select the stable phase as Image1, the illumination phase as Image2, and the recovery phase as Image3 [1]. Concatenate the 3 images representing three phases to produce a single image [2].

    - SCREEN: 68585_screenshot_01	00:00-00:06

    - SCREEN: 68585_screenshot_01	00:07-00:28

  - Save the obtained merged image for segmentation by navigating to File and selecting Save As Tiff... (Save-As-Tiff) [1].

    - SCREEN: 68585_screenshot_01	00:29-00:38

  - Next, split the mCherry channel by selecting Image, Color and Split Channels [1]. Then, save the split image by going to File, Save As and Tiff... [2].

    - SCREEN : 68585_screenshot_02	00:00-00:14

    - SCREEN: 68585_screenshot_02	00:15-00:25

  - To check for bleaching during acquisition, sequentially select Image, Stacks, and Plot Z-axis Profile [1]. Then click on Data, followed by Copy 1st Data Set, and paste it into the provided spreadsheet under the Z-axis profile cell [2].

    - SCREEN : 68585_screenshot_03	00:00-00:06

    - SCREEN : 68585_screenshot_03.	00:07-00:16

  - Now, draw a circular region of interest approximating the average size of a nucleus by clicking on Analyze, followed by Tools, and clicking on ROI (R-O-I) Manager [1]. Add the ROI and save it by navigating to More and clicking on Save... [2].

    - SCREEN: 68585_screenshot_04	00:00-00:15

    - SCREEN: 68585_screenshot_04	00:19-00:29

  - Place the saved ROI in a cell-free region during the time-lapse [1]. Ensure Mean grey value is selected under Analyze and Set Measurements [2]. Then click on More, Multi Measure, check Measure all 50 slices and one row per slice, and click OK to record the intensity [3].

    - SCREEN : 68585_screenshot_05	00:00-00:03

    - SCREEN : 68585_screenshot_05	00:04-00:08

    - SCREEN : 68585_screenshot_05	00:10-00:16

  - Copy and paste all measured intensity values into the provided spreadsheet under the ROI Background cell [1]. Then close the image with only the mCherry channel [2] and select the saved image with merged channels [3].

    - SCREEN : 68585_screenshot_05	00:17-00:29

    - SCREEN : 68585_screenshot_06	00:00-00:05

    - SCREEN : 68585_screenshot_06	00:06-00:11

  - Now open the TrackMate plugin by sequentially clicking on Plugins, Tracking, and TrackMate [1]. Confirm that time points range from 0 to 49 and click Next [2].

    - SCREEN : 68585_screenshot_07	00:00-00:08

    - SCREEN : 68585_screenshot_07	00:09-00:13

  - Select the StarDist (Star-disst) detector and click Next [1]. Choose channel 2 (SiR-DNA) (channel-two-Sir-D-N-A) for nuclei segmentation and wait for the process to complete [2]. Leave default parameters in the thresholding window and click Next [3].

    - SCREEN: 68585_screenshot_07	00:14-00:24

    - SCREEN: 68585_screenshot_07	00:30-00:45

    - SCREEN: 68585_screenshot_07	00:46-00:50

  - Create filters using Mean intensity ch1 (Mean-Intensity-Channel-One) to exclude nuclei with extreme signal values. Create one filter to select values above the defined threshold and the other to select the values below the threshold [1-TXT]. Similarly, add two Area filters to remove debris or dying cells and click Next [2].

    - SCREEN: 68585_screenshot_08	00:00-00:36
 TXT: Define the value to only remove the very low or saturated signal

    - SCREEN: 68585_screenshot_08	00:46-01:00

  - Choose the Simple LAP tracker and click Next [1].

    - SCREEN: 68585_screenshot_08	01:01-01:08

  - Next, adjust tracking parameters. Set the Linking max distance to 30 micrometers, the Gap-closing (gap-closing) max distance to 15 micrometers, and Gap-closing max frame gap to 3, then click Next [1].

    - SCREEN : 68585_screenshot_08	01:08-01:12
Video Editor: Please freeze frame at 01:12

  - After calculations, click on Next to set filters on tracks [1]. To only select nuclei that have been tracked during the entire time course, choose the highest number of spots in the track and click Next [2].

    - SCREEN : 68585_screenshot_08	 01:13-01:15

    - SCREEN : 68585_screenshot_08	01:16-01:32

  - Then tick Display spot names to retrace each nucleus in further analyses and customize other display features as preferred [1]. At the page bottom, click on Tracks and choose Export to CSV to save the measurement table [2]. Close the table and proceed by clicking Next [3].

    - SCREEN : 68585_screenshot_09	00:00-00:04

    - SCREEN : 68585_screenshot_09	00:05-00:12

    - SCREEN : 68585_screenshot_09	00:13-00:17

  - Now, click on Capture overlay as action and then press on Execute followed by OK to generate an image with tracked nuclei [1]. Save the image by sequentially clicking on File, Save As and choosing Tiff... [2].

    - SCREEN: 68585_screenshot_09	00:18-00:25

    - SCREEN: 68585_screenshot_09	00:26-00:34

  - To import the TrackMate CSV file into the provided spreadsheet, click on the Data tab. Under the Get & Transform Data group, click on From Text/CSV (From-text-or-C-S-V) and click Import [1].

    - SCREEN: 68585_screenshot_10	00:00-00:13

  - Copy columns Spot ID (B) (Spot-I-D-B), Track ID (C) (Track-I-D-C), Frame (I) (Frame-I), and Mean intensity ch1 (M) (Mean-intensity-channel-1-M), and paste into columns A to D of the provided spreadsheet [1].

    - SCREEN : 68585_screenshot_10	00:14-00:26

  - Sort the results alphabetically first by Track ID (individual nucleus) (Track-I-D-Individual-Nucleus) from cell B5 and then by Frame (Time Point) (Frame-Time-Point) from cell C5 [1].

    - SCREEN : 68585_screenshot_10	00:27-01:00

  - Now, open GraphPad prism and create a new sheet and copy-paste the 'time' column from the spreadsheet [1].

    - SCREEN : 68585_screenshot_11	00:02-00:24

  - To generate the relative nuclear intensity graph, navigate to the Graphs section and select XY as the graph family then choose Points & connecting line with error bars as the graph type [1]. In the Plot settings, choose Mean, Error, and SEM, and click OK [2].

    - SCREEN : 68585_screenshot_11	00:39-00:42

    - SCREEN : 68585_screenshot_11	00:43-00:45

  - Next, to obtain the export rate, click on New Data Table and enter the times in decimals only for stable and illumination phases [1]. Paste the values obtained as relative nuclear intensity for these phases into the table [2].

    - SCREEN : 68585_screenshot_12	00:00-00:21

    - SCREEN : 68585_screenshot_12	00:26-00:34

  - In the Results section, click on XY analyses followed by Exponential then choose Nonlinear Regression (Curve Fit) (Curve-fit) and click OK [1]. Select Plateau followed by one phase decay as Model under the parameters. Then choose a constant equal to 2.25 as X0, a constant equal to 1 as Y0 and , a constant equal to 0 for the plateau [2]. Indicate that K  should be greater than 0 and press OK [3].

    - SCREEN: 68585_screenshot_13	00:00-00:07

    - SCREEN : 68585_screenshot_13	00:07-00:21

    - SCREEN : 68585_screenshot_13	00:22-00:25

  - Create a new table and paste-transpose the K values obtained [1]. In the Graphs section, select Column as graph family, and choose the Violin plot as the graph type. Select Show all points as the plot and click OK [2].

    - SCREEN : 68585_screenshot_14	00:00-00:18

    - SCREEN : 68585_screenshot_14	00:24-00:33

# Results

- Results

  - Nuclear export with the optogenetic probe LEXY was visualized in live cell imaging [1].  In the control condition with methanol-treated cells, nuclear mCherry intensity sharply decreased after blue light illumination [2], followed by a gradual recovery during the post-illumination phase [3].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4. Video editor: Highlight the stable and illumination images in the Methanol row

    - LAB MEDIA: Figure 4. Video editor: Highlight the recovery image In the Methanol row

  - Treatment with the export inhibitor Leptomycin B caused a change in nuclear export, as the probe signal remained consistently nuclear throughout all timepoints [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the Leptomycin B 1 nM  and 0.5 nm rows

  - Quantitative analysis of relative nuclear intensity showed over time a slow decrease until reaching a plateau at the end of the illumination phase [1]. Intermediate Leptomycin B concentrations should display a mild nuclear export [2].

    - LAB MEDIA: Figure 5A. Video editor: Highlight the Leptomycin B 1 nM curve

    - LAB MEDIA: Figure 5A. Video editor: Highlight the Leptomycin B 0.5 nM curve

  - Export rates calculated from the intensity data confirmed a significantly higher export rate in methanol-treated cells [1], a much lower rate with 0.5 nanomolar Leptomycin B [2], and almost no export at 1 nanomolar Leptomycin B [3].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the violin plot for methanol

    - LAB MEDIA: Figure 5B. Video editor: Highlight the violin plot for Leptomycin B 0.5 nM

    - LAB MEDIA: Figure 5B. Video editor: Highlight the violin plot for Leptomycin B 1 nM,

1. FIJI

Pronunciation link:
https://dictionary.cambridge.org/pronunciation/english/fiji (English Language & Usage Stack Exchange, Cambridge Dictionary)
IPA: /ˈfiː.dʒiː/
Phonetic Spelling: FEE-jee

2. mCherry

Pronunciation link: No confirmed link found
IPA (American): /ɛmˈtʃɛr.i/
Phonetic Spelling: em-CHER-ee

3. TrackMate

Pronunciation link: No confirmed link found
IPA (American): /ˈtræk.meɪt/
Phonetic Spelling: TRACK-mate

4. StarDist

Pronunciation link: No confirmed link found
IPA (American): /ˈstɑr.dɪst/
Phonetic Spelling: STAR-dist

5. Leptomycin

Pronunciation link: https://www.synonyms.com/pronounce/leptomycin (synonyms.com)
IPA: /ˌlɛp.təˈmaɪ.sɪn/
Phonetic Spelling: lep-tə-MY-sin

6. optogenetic

Pronunciation link: No confirmed link found
IPA (American): /ˌɑp.toʊ.dʒəˈnɛt.ɪk/
Phonetic Spelling: op-toh-jeh-NET-ik

7. micrometer

Pronunciation link: No confirmed link found
IPA (American): /maɪˈkrɑː.mɪ.tər/
Phonetic Spelling: my-KRAH-meh-ter

8. concatenate

Pronunciation link: No confirmed link found
IPA (American): /kənˈkæt̬.əˌneɪt/
Phonetic Spelling: kun-KAT-uh-nate

9. segmentation

Pronunciation link: No confirmed link found
IPA (American): /ˌsɛɡ.mənˈteɪ.ʃən/
Phonetic Spelling: SEG-mun-TAY-shun

10. illumination

Pronunciation link: No confirmed link found
IPA (American): /ɪˌluː.mɪˈneɪ.ʃən/
Phonetic Spelling: ih-loo-mih-NAY-shun

11. ROI (Region of Interest)

Pronunciation link: No confirmed link found
IPA (American): /ɑrˌoʊˈaɪ/
Phonetic Spelling: R-O-I

12. bleaching

Pronunciation link: No confirmed link found
IPA (American): /ˈbliː.tʃɪŋ/
Phonetic Spelling: BLEECH-ing

Let me know if you'd like pronunciation help with other terms!