# Submission ID #: 68595

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20921523

# Title: Expansion Microscopy: High-Resolution Fluorescent Imaging with a Conventional Microscope

# Authors and Affiliations:

# Perrine Hervé1*, Léo Krüttli2*, Mélanie Bonhivers3, Loïc Rivière1, Bénédicte Durand2, Eloïse Bertiaux3, Marine H. Laporte2

# 1University of Bordeaux, CNRS, MFP

# 2Université Claude Bernard Lyon 1, MeLiS—UCBL—CNRS UMR 5284

# 3University of Bordeaux, CNRS, MFP

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Eloïse Bertiaux 	eloise.bertiaux@u-bordeaux.fr

# Marine H. Laporte 	marine.laporte2@univ-lyon1.fr

# Email Addresses for All Authors:

Perrine Hervé 		perrine.herve@u-bordeaux.fr

Léo Krüttli 		leo.kruttli@etu.univ-lyon1.fr

Mélanie Bonhivers 	melanie.bonhivers@u-bordeaux.fr

Loïc Rivière		loic.riviere@u-bordeaux.fr

# Bénédicte Durand 	benedicte.durand@univ-lyon1.fr

# Eloïse Bertiaux 	eloise.bertiaux@u-bordeaux.fr

# Marine H. Laporte 	marine.laporte2@univ-lyon1.fr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  23

Number of Shots:  53

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Plunging the Coverslip

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, use a syringe and a needle to fill each 5-milliliter tube with 1 milliliter of extra-dry acetone under a chemical hood [1]. Place the tubes upright in metal rack and put them in liquid nitrogen for freezing [2].

    - WIDE: Talent using a syringe to fill 5-milliliter tubes with extra-dry acetone under a chemical hood.

    - Talent placing the acetone-filled tubes upright into a rack and submerging it in liquid nitrogen.

  - Fill half of a 30 by 30 centimeters, thick walled polystyrene box with dry ice [1] and then fill the Vitrobot-type dewar with liquid nitrogen until evaporation stops [2].

    - Talent filling a large polystyrene box with dry ice to the halfway mark.

    - Talent pouring liquid nitrogen into a Vitrobot-type dewar and checking for cessation of evaporation. TXT: After 10 to 15 min, refill the dewar with liquid nitrogen if necessary

  - Now, remove the spider from the plunging apparatus [1] and fill the metallic plunging chamber with liquid ethane [2]. Wait for 10 minutes to allow the ethane to reach equilibrium [3].

    - Talent removing the spider from the plunging setup.

    - Talent carefully filling the metal chamber with liquid ethane.

    - Close-up of the metal chamber stabilizing undisturbed.

  - Then, grab a 12-millimeter coverslip with thin tweezers [1] and dab it on a tissue paper to soak up any excess medium from the coverslip [2]. Hold the coverslip halfway using tweezers fitted with a clamping ring compatible with the cryo plunger [3].

    - Talent picking up a 12-millimeter coverslip using thin tweezers.

    - Talent dabbing the coverslip with tissue paper to absorb excess medium.

    - Close-up of talent positioning the coverslip in the tweezers with a clamping ring.

  - Place the tweezers holding the coverslip into the cryo-plunger holder [1] and use Whatman paper to blot away any remaining medium [2]. Activate the cryo-plunger to plunge the coverslip into the ethane solution contained in the metal chamber [3].

    - Talent securing the tweezers into the holder of the cryo-plunger.

    - Talent using Whatman paper to remove the remaining liquid from the coverslip.

    - Talent pressing the activation mechanism on the cryo-plunger to plunge the coverslip.

  - Then, quickly transfer the coverslip into the tube containing frozen acetone [1].

    - Talent immediately placing the freshly plunged coverslip into a tube pre-filled with frozen acetone.

- Freeze Substitution and Rehydration

Demonstrator: Click here to enter name of demonstrator(s)

  - Incubate the tubes containing the coverslips in dry ice at an angle of approximately 45 degrees [1]. Place the closed container on an orbital shaker set to 4 degrees Celsius and agitate overnight to let the temperature rise gradually rise [2].

    - Talent arranging the tubes at a 45-degree tilt in a dry ice bed.

    - Talent placing the closed container on an orbital shaker.

  - Next, remove most of the dry ice from the box [1]. Briefly open and close each tube to release internal pressure [2], then continue agitation on the orbital shaker for an additional 45 minutes to let the temperature rise from minus 80 degrees Celsius to minus 20 degrees Celsius [3].

    - Talent scooping out dry ice from the container.

    - Talent quickly opening and closing the cap of a tube to release pressure.

    - Talent placing the tubes back on the shaker and starting the agitation.

  - Then, transfer each coverslip into a 12-well plate or a suitable container pre-filled with pre-chilled 100 percent ethanol solution [1]. After a 5-minute incubation, rehydrate the coverslips through a graded ethanol series [2-TXT].

    - Talent using tweezers to place frozen coverslips into a 12-well plate with chilled ethanol.

    - Talent transferring coverslip to the next well. TXT: EtOH 100% (5 min); EtOH 95% (3 min 2x); EtOH 70% (3 min); EtOH 50% (3 min); EtOH 25% (3 min); H2O

  - After transferring the coverslips into PBS, place them under a microscope [1]. Use a fine tip to gently scratch the surface and orient all coverslips with the correct side facing up [2].

    - Talent placing coverslips in PBS under a microscope.

    - Talent scratching the surface of a coverslip with a fine tip to adjust its orientation.

- Protein Anchoring, Gelation and Denaturation

Demonstrator: Click here to enter name of demonstrator(s)

  - Place the coverslips into a 4-well or 12-well plate filled with 0.5 to 1 milliliter of acrylamide and formaldehyde solution [1]. Then, incubate the coverslips in a solution containing 1.4 percent formaldehyde and 2 percent acrylamide in 1x PBS for without agitation [2-TXT].

    - Talent transferring coverslips into wells containing the AA/FA mixture.

    - Talent placing the plate in a 37-degree Celsius incubator and closing the door. TXT: 3 - 5 h; 37 °C

  - Next, thaw 10% TEMED (tem-ed), 10% APS and the gelation solution on ice for 10 minutes before gelation [1]. Prepare a humid chamber using a thin layer of wet tissue and parafilm [2], then store it at 4 degrees Celsius [3]. After 10 minutes, place the humid chamber on ice for use during gelation [4].

    - Talent placing labeled tubes of TEMED, APS, and gelation solution on ice to thaw.

    - Talent lining a chamber with wet tissue and parafilm.

    - Talent keeping the chamber at 4 degrees Celsius.

    - Talent removing and placing the prepared humid chamber on ice.

  - Now, remove the coverslips from the protein anchoring solution [1] and blot away excess liquid using tissue paper in two successive passes [2]. Add TEMED and APS to the gelation solution to reach a final concentration of 0.5 percent [3] and vortex for 2 to 3 seconds [4].

    - Talent picking up coverslip from anchoring solution.

    - Talent placing the coverslip on folded tissue paper.

    - Talent adding TEMED and APS to the gelation solution.

    - Talent vortexing the gelation mixture briefly.

  - Then, pipette two 35-microliter drops onto the parafilm in the humid chamber [1] and gently place each coverslip over a drop with the cells facing downward into the gelation solution [2].

    - Talent pipetting droplets onto the parafilm surface.

    - Close-up of talent inverting and placing coverslips over the gelation drops.

  - Incubate the setup on ice for 5 minutes to facilitate gel penetration [1]. Then transfer the humid chamber to a 37 degrees Celsius incubator for 30 to 60 minutes [2].

    - Talent placing the chamber on ice.

    - Talent transferring the chamber to an incubator.

  - For denaturation, use a biopsy punch tool with a 0.4-centimeter diameter to extract gel pieces [1] and place them into a 6-well plate filled with 1 milliliter of denaturation buffer [2].

    - Talent using a biopsy punch and taking out gel discs.

    - Talent placing the discussion in buffer containing 6-well plate.

  - Agitate the plate for 10 to 15 minutes until the gels detach from the coverslips [1] and transfer the detached gel pieces into 1.5-milliliter microcentrifuge tubes filled with fresh denaturation buffer [2].

    - Talent placing the 6-well plate in a shaker incubator.

    - Talent transferring detached gels into labeled microcentrifuge tubes.

  - Incubate the gels for 90 minutes at 95 degrees Celsius [1]. After incubation, transfer the gels into double-distilled water for 10 minutes for washing [2-TXT]. Measure the diameter of the gels using millimeter paper or a caliper to evaluate the gel expansion factor [3].

    - Talent placing microcentrifuge tubes in a heating block or water bath at 95 degrees Celsius.

    - Talent washing the gels in double-distilled water across three cycles. TXT: Wash the gel in ddH2O 3x

    - Talent placing the gel on a millimeter paper or measuring the gel with a caliper.

- Mounting and Imaging the Gel

Demonstrator: Click here to enter name of demonstrator(s)

  - Coat clean coverslips with approximately 200 milliliters of poly-lysine solution [1]. Incubate the coverslips for 1 hour at room temperature [2], then wash them three times with double-distilled water to remove any excess poly-lysine [3]. After the coverslips are dry, store them at 4 degrees Celsius until further use [4].

    - Talent pipetting poly-lysine solution over clean coverslips.

    - Talent placing the coverslips on the bench for incubation at room temperature.

    - Talent placing the coverslips in a dish filled with double-distilled water.

    - Talent placing the dried coverslips in a refrigerator.

  - Next, place the expanded gels onto non-coated coverslips situated in the imaging chamber [1. Perform fluorescence microscopy to check and confirm the orientation of the samples [2].

    - Talent carefully transferring gel samples onto plain coverslips inside the imaging chamber.

    - Shot of talent operating the fluorescence microscope.

  - Once the orientation is confirmed, place the gels onto lint-free paper and allow them to dry to eliminate excess water [1].

    - Talent placing oriented gels onto lint-free paper and patting them dry.

  - Finally, mount the dried gels onto poly-D-lysine-coated coverslips [1] and observe the mounted samples using an inverted microscope [2].

    - Talent carefully mounting the dry gel onto poly-D-lysine-coated coverslip.

    - Talent placing the sample in an inverted microscope.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 175.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Cryo-fixation preserved the mitochondrial network in RPE1 cells more effectively than PFA fixation, as shown by NHS-ester and ATP5a staining [1], and allowed resolution of mitochondrial cristae, which were not visible with PFA fixation [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the NHS-ester and ATP5a Images.

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on the red-arrowed mitochondrial cristae in 3B".

  - Cryo-fixation resulted in better preservation of dynamic microtubules, including cytoplasmic and astral microtubules in mitotic RPE1 cells [1], compared to PFA fixation [2].

    - LAB MEDIA: Figure 3D, 3E. Video editor: Highlight the area pointed by red-arrows in D.

    - LAB MEDIA: Figure 3D, 3E. Video editor: Highlight the area pointed by red-arrows in E.

  - In Trypanosoma brucei, cryo-fixation better preserved the architecture of the mitochondrion and general cellular structure [1] compared to PFA fixation, as visualized with TDH and NHS-ester staining [2]. Additionally, cryo-fixation preserved the endoplasmic reticulum in them better than PFA fixation, based on BiP (B-I-P) staining [3].

    - LAB MEDIA: Figure 4A, 4B, 4C, 4D. Video editor: Highlight yellow TDH image and NHS ester in A

    - LAB MEDIA: Figure 4A, 4B, 4C, 4D. Video editor: Highlight yellow TDH image and NHS ester in C

    - LAB MEDIA: Figure 4E, 4F. Video editor: Highlight the BiP image in E

    - LAB MEDIA: Figure 4E, 4F. Video editor: Highlight the BiP image in F

  - Cracks were observed in cryo-fixed RPE1 cells, but these did not disrupt the ultrastructure of organelles such as mitochondria or microtubules [1].

    - LAB MEDIA: Figure 5A. Video editor: Show the cracks (indicated by WHITE arrowheads).

  - Poor cryo-fixation was indicated by bubble-like structures and wavy microtubules, accompanied by loss of membranous organelle integrity [1].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the bubble-like formations indicated by white arrowheads.

  - Cryo-fixation quality was dependent on the clarity of sodium acrylate solutions, with usable solutions appearing colorless or slightly yellow and translucent [1], while unusable ones appeared cloudy and orange [2].

    - LAB MEDIA: Figure 5C. Video editor: highlight the tubes 1 and 2

    - LAB MEDIA: Figure 5C. Video editor: highlight the tube 3