TITLE

Dual-modality Molecular Cartography: Integrating Multiplex mRNA Detection with Protein Imaging Mass Cytometry

AUTHORS AND AFFILIATIONS

Sammy Ferri-Borgogno1, Danielle L. Stolley2, Basant T. Gamal1, Christopher D. Pacheco2, Ivo Veletic3, Akshay Basi3, Duncan H. Mak2, Madeline K. McAllister2, Angelique J. Lin2, Javier A. Gomez3, Anna K. Casasent2, Jared K. Burks2

1Department of Gynecologic Oncology and Reproductive Medicine, The University of Texas MD Anderson Cancer Center, Houston, TX 77030, USA.

2Department of Hematopoietic Biology & Malignancies, The University of Texas MD Anderson Cancer Center, Houston, TX 77030, USA.

3Department of Leukemia, The University of Texas MD Anderson Cancer Center, Houston, TX 77030, USA.

Email addresses of the corresponding authors:

Sammy Ferri-Borgogno                                     SFerri@mdanderson.org

Jared K. Burks                                                     jburks@mdanderson.org

Email addresses of the co-authors:

Danielle L. Stolley                                               dstolley@mdanerson.org

Basant T. Gamal                                                 BTGamal@mdanderson.org

Christopher D. Pacheco                                    CDPacheco@mdanderson.org

Ivo Veletic                                                            IVeletic@mdanderson.org

Akshay Basi                                                         basiakshay1@gmail.com

Duncan H. Mak                                                  dhmak@mdanderson.org

Madeline K. McAllister                                     MKMcAllister@mdanderson.org

Angelique J. Lin                                                  AJLin1@mdanderson.org

Javier A. Gomez                                                 JAGomez2@mdanderson.org

Anna K. Casasent                                             AKCasasent@mdanderson.org

SUMMARY

This protocol details a methodology for multiplex mRNA detection with protein imaging mass cytometry in formalin fixed paraffin embedded tissue sections.

ABSTRACT

The ability to detect protein and mRNA in the same assay helps us understand how the cell is priming for an arrival and what cues it receives as it travels and interacts in the environment it finds itself in. Higher-plexed imaging now permits characterization of spatially resolved mRNA (spatial transcriptomics) and protein (spatial proteomics) simultaneously. To avoid redundancy, these analytes can be analyzed in a single tissue section. There are many technologies that allow for many proteins and few mRNAs or the inverse, but as the central acting analytes are proteins, this manuscript is focused on integrating protein imaging mass cytometry (IMC) with mRNA in situ hybridization (ISH) utilizing metal probes. This allows us to understand what messages the cell is priming or is sending rapidly into the world as it communicates in its microenvironment. It also overcomes limitations related to the detection of secreted proteins or challenging markers that are usually hard to quantify and visualize utilizing antibodies only. This protocol also minimizes the need for compensations or post-processing seen in higher plex fluorescent-based methods, as there is no fluorescent spectral spillover in a metal probe-based detection system, nor are there tissue-specific autofluorescence considerations.

INTRODUCTION

Cancers exhibit structural and functional diversities in various patients. The tumor microenvironment (TME), composed of normal and malignant cells, is heterogeneous among patients. Metastasis results from a residue from the primary tumor escaping into the bloodstream as cell clusters and single cells, which provides clues about disease progression and therapeutic response1,2. The complexity of these microenvironments needs to be understood1. Although tumors comprise ample cell types, the clinical standard is histologically based on a single marker, which is starting to change1,2. Multiplexed imaging technologies have afforded new directions in pathology. Spatially resolved proteomics, genomics, metabolomics, and lipidomics of human cancers are now possible at or near single cell resolution3-6.

These technologies can dissect the heterogeneous cellular locations and interactions in tumors. Utilizing the appropriate single-cell bioimaging methodology allows for the generation of profiles of many disease-associated protein biomarkers in patient biopsies to inform the design of cancer therapies. Insights from spatial cellular maps will be able to guide the choice for combination therapy that can efficiently eliminate cancers with reduced off-targets, resistance, and relapse1. At issue is the ability to unionize these many varied technologies that typically do not work in harmony on the same section of tissue7. This protocol, visually outlined in Figure 1, offers the opportunity to spatially examine both proteomics and a targeted subset of mRNAs in the same tissue section and the same cell simultaneously at a higher plexity than what is possible with simultaneous fluorescent protein+RNA-ISH8. This can also serve as a bridge for parallel analysis3,4,6, with the goal of deconvoluting the analysis of the data. While dual detection is present, one can also examine cells that have rapidly initiated mRNA production, but for which the secreted protein remains undetectable due to the limited sensitivity and lack of signal amplification inherent to directly labeled primary antibody methods, making the detection of secreted molecules particularly challenging. The following protocol is adapted from a 12-plex fluorescent/chromogenic detection to be applicable for metal-based detection via thiol-reduced modified probes for simultaneous detection in IMC.

PROTOCOL

This protocol uses formalin-fixed paraffin-embedded (FFPE) tissues collected from previously untreated patients undergoing primary cytoreductive surgery for high-grade serous ovarian carcinoma. All clinical data were obtained from the repository of the Department of Gynecologic Oncology and Reproductive Medicine under protocols approved by the University of Texas MD Anderson’s Institutional Review Board. Written informed consent from the patients was obtained, and the studies were conducted in accordance with recognized ethical guidelines.

1. Precautions and preparations

1.1 Always utilize nuclease free water (NFW) to prepare all needed reagents.

1.2. Perform all steps using plastic containers and without the use of glass to reduce metal binding to glass and metal contamination.

1.3. Keep the working area very clean and spray surfaces and pipettes with RNase decontamination solution followed by 70% ethanol prepared with NFW.

1.4. Conjugate thiolated mRNA detection probes (T1-T12) to proper metals via a malemide linker as described by Schulz et al7 further detailed in protocol.io in the table of materials.

NOTE: Protein targets should be chosen to indicate a cell’s location within the tissue (structural markers), identify which cells are present (phenotypic markers), and what the cells are doing (functional markers). As some functional markers are transiently expressed, the inclusion of mRNA targets allows for the identification of cells generating these targets.

2. Sample preparation and preprocessing

2.1. Bake tissue sections overnight in a dry oven at 60 °C.

2.3. Perform deparaffinization: Three rounds of Xylene for 5 min each round, and 10 rounds of rehydration (100% ethanol (EtOH) x2, 95% EtOH x2, 70% EtOH x2, 50% EtOH x2, 30% EtOH x2), for 3 min each round. Wash with 1x tris-buffered saline (TBS) for 2 min, once. According to how many samples are being processed at the same time, utilize 50 mL conical tubes (2 slides max) or 350 mL IHC staining cassettes (24 slides max).

NOTE: This dewaxing step, although recommended, is optional and dependent on tissue type.

2.4 Apply a solution of 3.7% Paraformaldehyde (PFA) for 10 min by incubating the tissue slides in a 50 mL tube with enough PFA solution to cover the tissue section.

2.5. Heat Induced Antigen Retrieval (HEIR) using microwave: Using a temperature-monitored microwave, fill one tray with pH 6 HEIR Antigen retrieval buffer (350 mL) and the remaining trays with NFW. Place tissue sections into a staining rack for microscope slides and add it to the tray with antigen retrieval buffer.

NOTE: When performing antigen retrieval, ensure the antigen retrieval buffer is at room temperature (RT) before use.

2.6. Perform antigen retrieval at 107 °C for 15 min, then let tissue slides cool down at RT for 20 min in a chemical hood.

2.7. During antigen retrieval, rinse humidifying paper in water, place it in a humidity control slide staining tray, and place the tray in a hybridization oven at 60 °C.

2.8. Rinse slides in RNase-free TBS for 3 min, then dry slides for 3 min.

3. Protease treatment

3.1. Draw a hydrophobic barrier around each tissue section with a hydrophobic barrier pen. Let the barrier dry completely for approximately 2 min.

3.2. Load the dry slides into the humidity tray’s slide holder by opening the swing clamp.

3.3. Add enough drops of protease to entirely cover the tissue section. Remove the pre-warmed humidity control tray (60 °C, step 2.7) from the hybridization oven and insert the slide holder into the humidity control tray. Re-seal the humidity control tray and return it to the hybridization oven. Incubate at 40 °C for 30 min.

3.4. During this incubation, prepare RNA-ISH Assay materials.

3.4.1 Prepare 500 mL of 1x RNA-ISH wash buffer by diluting the 50x stock with NFW. Store at RT up to one month.

NOTE: If precipitation occurs in the 50x wash buffer, resuspend by heating the buffer to  40 °C for 10–20 min prior to preparing the 1x wash buffer.

3.5. Prepare 1 L of DTBS-T (0.5% Tween) in NFW by adding 5 mL of Tween in 1 L of DPBS-T.

3.6. Prepare RNA-ISH ZZ-paired Target Probes:

3.6.1 Warm mRNA probe stocks and RNA-ISH diluent at 40 °C in a dry oven for 10 min. Vortex the probes and spin them down in a benchtop mini centrifuge.

3.6.2 Prepare 1x mix (up to 12 probes, Table 1) by diluting stock 50x probes in RNA-ISH diluent, making sure to have enough final volume to cover the entire tissue section.

3.6.3 Vortex well and leave the mixed probes and RNA-ISH diluent at RT until use.

3.7. Remove the humidity control tray from the hybridization oven and remove the slide holder. Return the tray to the oven.

3.8. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in NFW with slight agitation for 5 min.

3.9. Repeat the wash step with fresh NFW for 5 min.

4. Target probes hybridization

4.1. Remove excess liquid from the slides. Remove the humidity control tray from the oven and place the slide holder into the tray.

4.2. Add enough of the appropriate probe mix to entirely cover each tissue section. Close the tray and insert it into the oven for 2 h at 40 °C.

4.3. Place RNA-ISH Amplifier 1 (ZZ tail trees for tails T1 to T4) reagent to equilibrate at RT 30 min before the end of the incubation, to use in step 5.2.

4.4. Once incubation is done, remove the humidity control tray from the hybridization oven and remove the slide holder. Return the tray to the oven.

4.5. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in 1x wash buffer with slight agitation for 2 min.

4.7. Repeat the wash step with fresh 1x Wash Buffer for 2 min at RT.

5. Hybridize RNA-ISH Amplifier 1

5.1. Remove excess liquid from the slides and place the slides in the humidity tray’s slide holder. Insert the slide holder into the humidity control tray.

5.2. Vortex RNA-ISH Amplifier 1 and add it to entirely cover each section. Close the tray and insert it into the hybridization oven for 30 min at 40 °C. Place RNA-ISH Amplifier 2 (ZZ tail trees for tails T5 to T8) reagent at RT, to use in step 6.2.

5.3. Remove the humidity control tray from the hybridization oven and remove the slide holder. Return the tray to the oven.

5.4. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in 1x wash buffer with slight agitation for 2 min.

5.5. Repeat the wash step with fresh 1x Wash Buffer for 2 min at RT.

6. Hybridize RNA-ISH amplifier 2

6.1. Remove excess liquid from the slides. Remove the humidity control tray from the oven and place the slide holder into the tray

6.2. Vortex RNA-ISH Amplifier 2 and add it to cover each section. Close the tray and insert it into the hybridization oven for 30 min at 40 °C.

6.3. Place RNA-ISH Amplifier 3 (ZZ tail trees for tails T9 to T 12) reagent at RT, to use in step 7.2. Remove the slide holder from the tray. Place the tray back into the oven.

6.4. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in 1x wash buffer with slight agitation for 2 min.

6.5. Repeat the wash step with fresh 1x Wash Buffer for 2 min at RT.

7. Hybridize RNA-ISH Amplifier 3

7.1. Remove excess liquid from the slides. Remove the humidity control tray from the oven and place the slide holder into the tray

7.2. Vortex RNA-ISH Amplifier 3 and add it to entirely cover each section. Close the tray and insert it into the hybridization oven for 30 min at 40 °C.

7.3. During incubation, prepare the metal oligos mix for step 8. Each oligo is used at a concentration of 1:15 (from 10uM stock, making sure to have enough final volume to cover the entire tissue section). Vortex well and leave the mixed metal oligos at RT until use. Remove the humidity control tray from the oven. Remove the slide holder from the tray. Place the tray back into the oven.

7.4. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in 1x wash buffer with slight agitation for 2 min.

7.5. Repeat the wash step with fresh 1x Wash Buffer for 2 min at RT.

8. Hybridize Metal Oligos

8.1. Remove excess liquid from the slides. Remove the humidity control tray from the oven and place the slide holder into the tray. Add mixed metal oligos prepared in step 7.3 (vortex before use).

8.2. Close the tray and insert it into the hybridization oven for 45 min at 40 °C.

8.3. Remove the humidity control tray from the hybridization oven and remove the slide holder. Return the tray to the oven.

8.4. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in 1x wash buffer with slight agitation for 2 min.

8.5. Repeat the wash step with fresh 1x Wash Buffer for 2 min at RT.

9. Metal conjugated antibodies

9.1. To block non-specific sites, apply enough volume of blocking buffer to cover the entire tissue section and incubate for 30 min RT.

9.2. During incubation, prepare the antibody mix to be used in step 10.1 by diluting the antibodies (Table 1) in Antibody diluent buffer.

10. Incubation with Metal Conjugated Antibodies

10.1. After blocking buffer incubation, discard the blocking buffer from the tissue slides and dispense enough volume of the Ab mix (from step 9.2) to cover the entire tissue section.

10.2. Place the slide in a humidity chamber and incubate overnight (~16 h) at 4 °C.

11. DNA staining

11.1. Prepare fresh Ir-Intercalator solution.

11.1.1. From a 500 μM stock solution, prepare a 1:2000 working solution in RNase-free TBS. Working solution can be aliquoted and stored at –20 °C (do not freeze-thaw).

11.2. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in TBS-T buffer with slight agitation for 5 min.

11.3. Repeat wash in TBS-T.

11.4. Stain slides with Ir working solution (from step 11.1.1) for 5 min at RT.

11.5. Place the slides into a clear slide holder pre-washed with NFW. Wash the slides in TBS-T buffer with slight agitation for 5 min.

11.6. Repeat wash in TBS-T.

11.7. Wash twice in TBS, 5 min (stir slowly).

11.8. Dip the slide quickly in ddH2O to avoid crystallization of the salts present in the TBS on the tissue.

11.9. Dry the slide under a chemical hood (10 min) and store at 4 °C until image acquisition.

12. Image Acquisition

12.1. Load the slide into the ablation chamber of IMC..

12.2. Capture a panorama image to identify the region of interest (ROI).

12.3. Map out ROIs in the image acquisition software.

12.4. Apply the acquisition template.

12.5. Adjust laser power (ablation energy) based on the sample type. The default is set at 0 dB.

NOTE: It is advised to test the ablation energy with multiple small tissue areas (30 μm x30 μm), increasing the power by 1 dB each time. Select the lowest ablation energy that clears the specimen without burning into the slide. Normally, this results in a laser power of 3-4 dB. Occasionally, if the tissue is thicker than advised, the laser power will increase to 5 dB.

12.6. Initiate laser ablation. The system directs the laser to the ROI and ablates the metal-tagged proteins, generating aerosol plumes that are transferred to the inductively coupled plasma (ICP) Torch, where the plumes are vaporized, atomized, and ionized in plasma.

12.7. Measure the quantity of each isotope that is measured by the detector and converted into data.

REPRESENTATIVE RESULTS

The ability to detect protein and mRNA in the same assay helps us understand how the cell is priming for an arrival, but also what queues it is receiving as it travels and interacts with its environment. As seen in the representative data, mRNA and protein detection are critical components in spatial biology research, as the lower limits of detection can be quite challenging based on the way the labeling, detector, and/or imaging steps progress. Just the inclusion of proteases can complicate critical markers in combined protocols, so redundancy is clarifying as well as validating.

This protocol presents an assay consisting of 28 metal conjugated antibodies and 12 mRNA probes (Table 1). As seen in Figure 2, the activation status of CD8 T cells can vary and can be assessed by the combination of different markers. These combinations can be utilized to characterize different cell subpopulations with various levels of activation. Figure 2A shows the presence of an activated CD8 T cell with positivity for Granzyme B at both mRNA and protein levels, and positivity for Interferon Gamma (IFN-γ). In Figure 2B, another activated CD8 T cell is positive for Granzyme B (protein) and IFN-γ (mRNA); while panel C shows a different cell positive only for Granzyme B (protein). For example, the Granzyme B positive signal at both mRNA and protein level could point at a CD8 T cell in the early stages of activation while during late stages, only Granzyme B protein levels are detected.

As shown in Figure 3, more examples of protein and mRNA detected in a single cell can be observed. The represented markers combination was chosen based on scientific literature. Figure 3A shows an example of a cancer-associated fibroblast (CAF) expressing MFAP5 (protein) and POSTN (mRNA), which are markers associated with CAF aggressiveness9-11. In Figure 3B, IL17a and IL6 (mRNA) are shown to co-express in a CD4 T cell. This cell subtype is well-known as Th17 and is involved in various immune cell responses 12-14. Figure 3C shows another example of CD4 T cells expressing IL-13 (mRNA), which can promote tumor growth and survival. This IL-13 production by CD4 T cells can be influenced by the tumor microenvironment, and, for example, shown to instruct dendritic cells to prime these IL-13-secreting CD4 T cells 15,16. Figure 3D is an example of Keratin+ CD47+ tumor cells neighboring a CD8 T cell. This is an important crosstalk happening in different tumor types and has significant implications in modulating response to immunotherapy9,17,18. Figure 3E shows another subtype of activated CD8 T cells expressing CD25 (protein). This is another way to characterize the activation status of CD8 T cells, which can occur through different intra- and extra-cellular pathways19,20.

To further validate the reliability of our protocol, this assay was compared to the canonical detection protocol that utilizes fluorescent-labelled oligos for mRNA probes detection. This process followed the above-described protocol up to step 7, with two adjacent tissue sections. One tissue section was then incubated with metal-conjugated oligos (Figure 4A), and the adjacent tissue section was incubated with fluorescent-labelled oligos (Figure 4B). Comparable staining for two representative mRNA probes (THBS2 and CD47) can be observed in Figure 4, validating the reliability of the metal-conjugated protocol vs. the commercially available fluorescent protocol.

FIGURE AND TABLE LEGENDS

Figure 1: mRNA-ISH IMC visual protocol. (A). After baking the samples from 1 h to overnight at 60 °C, deparaffinization and rehydration are performed. (B). Afterwards, optional paraformaldehyde blocking is conducted, and antigens are retrieved using HEIR microwave antigen retrieval at pH 6. Slides are then rinsed in 1x TBS. (C) Afterwards protease treatment is done according to RNA-ISH protocol, and the appropriate target probes are hybridized and amplified. (D) Subsequently protein targeted metal oligos are prepared and hybridized to the tissue section. This is the end of the mRNA staining protocol, and it is followed by non-specific sites blocking in preparation for antibody incubation. (E) The metal conjugated antibodies are incubated for 16 hours at 4C, followed by washing and nuclear staining to prepare for imaging. (F) At this point slides can be stored dry at 4C before imaging. Subsequent images and statistical analysis are possible post-acquisition and not detailed here.

Figure 2: IMC multiplex image of metal-conjugated antibodies for Keratin, CD31 and SMA (top panel). Scale bar 200 µm. (A) Example of CD8 T cell positive for Granzyme B protein (GzmB) and mRNA (GzmB) and mRNA IFNg. (B) Example of CD8 T cell positive for Granzyme B protein (GzmB) and IFNg mRNA. (C) Example of CD8 T cell negative for IFNg (mRNA). For panels A-C scale bar is 25 µm. In all images, 191IR and 193IR nuclear staining is shown in blue.

Figure 3: Examples of identified protein and mRNA markers. (A) Example of a cancer-associated fibroblast (CAF) expressing MFAP5 (protein) and POSTN (mRNA). (B) Example of CD4 T cells expressing IL17a and IL-6 (mRNA). (C) Example of CD4 T cells expressing IL13 (mRNA). (D) Example of KERATIN+ tumor cells expressing high levels of CD47 (mRNA), neighboring a CD8 T cell. (E) Example of a CD8 T cell expressing CD25 activation marker (protein). Scale bar is 15 µm. In all images, 191IR and 193IR nuclear staining is shown in blue.

Figure 4: Adjacent Sections stained with same probes and either fluorescent- or metal-labelled detection oligos. To validate the protocol optimization and specific signal of the mRNA probes, two adjacent sections were stained with the same probes (THBS2 and CD47). One section was then incubated with (A) metal oligos, and (B) the adjacent one was incubated with fluorescent-conjugated oligos (standard ACD bio protocol). DAPI nuclear staining is shown in blue. Specific staining of the same tissue area in both panels is shown. Scale bar is 150 µm (THBS2 and CD47). 191IR and 193IR nuclear staining is shown in blue.

Table 1: Table of mRNA probes and primary antibodies used for IMC.

DISCUSSION

Multiplex multi-omics is a critical evolution in the data collected, targeting cell-to-cell and cell-to-neighborhood interactions that impact disease progression and treatment. Analyzing this data in the same sample and thus the same cell is critical, as many protein targets are transiently expressed, or differ in mRNA and protein expression level, thus bringing in a targeted mRNA detection combined with protein allows for accommodation of difficult to detect or differentially expressing targets21. Recent advancements in the integration of RNA-ISH technologies with IMC have led to the integration of multi-omics on the same tissue slide22-25, which allows for direct integration of both transcriptomics and proteomics at a single cell resolution.

To ensure the assay’s reliability, a rigorous control strategy was implemented following the approach described by Schultz et al., initially double-labeling probes with both fluorophores and metals7. As shown in Figure 4, this dual labeling confirmed that fluorescence and metal-based detection yielded consistent results, validating the assay’s performance.

In subsequent experiments, controls were expanded by incorporating a larger antibody panel, enabling direct correlation between mRNA and protein signals. This allowed for predictable internal RNA controls, as expected concordance between mRNA and protein expression was observed within the correct cell phenotypes. The likelihood of such correlations arising by chance is statistically low, especially given the multiplexed panel structure, which further enables both correlation and anticorrelation analyses based on established biological relationships. Figure 3 exemplifies these controls, highlighting the expected associations among MFAP, CD4, Keratin, and CD8 cell populations.

As this protocol is dependent on the conjugation of the mRNA probes with metal tags, it is critical to validate the attachment of metal tags and proper removal of free metal to avoid noise. Also of note is the titration of the probes, both the mRNA and antibody tags, to avoid intensifying noise. The primary focus on using the metals is the lack of a plaquing autofluorescence equivalence in the metals with only a minor amount of contaminating metal or adjacent channel spillover, as highlighted in Chevrier et. al26. This creates a clear advantage beyond being able to label all 12 targets simultaneously, which is unique to the imaging mass cytometer.

Validation steps can be taken by mixing the metal labeled probes with fluorescently labeled probes to ensure the conjugations have not damaged the probes, which is a simple off-the-shelf version of targeted transcriptomics. The method is limited to the number of amplifying trees, at this time, 12 trees, but this could change. Beyond discovery usage, this method can be employed efficiently as a validation tool to larger targeted or non-targeted transcriptomics methods, as this does allow for direct comparisons between mRNA and protein expression, which was demonstrated in Schulz et al7. While other RNA detection methods do exist, the unique piece to this mechanism is the mass amplification of the detection probes through the tree structure for detection.

IMC relies on the precise detection of the mass of metal isotopes conjugated to antibodies. As such, metal contamination is a primary source of experimental failure. As such, it is recommended to utilize plasticware and certified metal-free materials are recommended over glassware for storing solutions and handling samples. Glassware in IMC has an increased risk of metal contamination due to impurities in the glass. Additionally, detergent residues can also be a significant source of contamination. Standard best practices for Mass Cytometry apply.

Only use reagents specified as IMC compatible. If using custom reagents or off-label reagents, test in suspension IMC first to ensure that they are compatible and don’t contain a contaminating metal, which would not be detected in other detection systems. Another consideration of mRNA-ISH in this context is that antigen retrieval performed at pH 6 is required. Anecdotally, more antibodies tend to properly label targets when retrieved at pH 9 so it isn’t uncommon for the need for higher concentrations of antibodies to be used or alternative antibody clones when using pH 6 conditions27. This form of mRNA-ISH also requires the use of a protease treatment, which can further complicate tissue morphology and protein epitopes28. If protein labeling suffers, reversing the order and labeling the antibodies prior to use of the protease and mRNA labeling is an option.

Imaging CyTOF faces limitations due to the size and implementation of an ablative laser, which impacts noise, throughput, sample integrity, and resolution. Firstly, due to its probe-based methodology, mRNA-ISH methods utilizing IMC do not have to consider autofluorescence or probe limitations. However, this does mean that all probes must be conjugated in advance, which can be a significant cost both in monetary value and time required. Because of the size and firing speed of the ablative laser, this can also become a significant limitation on throughput. One of the strengths of Imaging CyTOF is that all target probes can be acquired at one time, without the need for stripping and re-staining the tissue as in some optical based methodologies29,30. However, recent advancements in IMC technology have greatly increased the throughput of these systems with the XTi imager over the HTi imager. The addition of the slide loader on the XTi further enhances the efficiency using automation.

In addition, because IMC is an ablative method, it destroys tissue during the imaging process, making any downstream applications impossible. This is in sharp contrast to optical methods that preserve tissue architecture with probes that can be removed with varying degrees of eluting buffers and enzymes; however, these still most often require protease use, which compromises the tissues29,30. This significantly limits its utility as a preliminary screening methodology, as it would require the use of serial and adjacent sections to conduct further experimentation. However, recent advancements in IMC technology have made it possible to preview a tissue in “preview mode” at a significantly lower resolution to determine the general tissue architecture before sampling at a higher resolution in “cell mode”. Lastly, due to the size of the ablative laser required for IMC, the resolution is somewhat limited. Typically, this resolution is around 1 um2 per pixel, which allows for single-cell resolution, it lacks the finer resolution required to resolve subcellular structures31. There is a higher resolution mode found in the engineering side of the software allowing for 0.5 um2 per pixel, but further testing would be needed to determine if this improves the data.

These steps provide a robust and targeted research protocol for the simultaneous detection of mRNA and protein within the same tissue sample, thereby advancing our understanding of the complex biology of the tissue microenvironment. Specifically, when studying cytokine expression, this assay enables the correlation of mRNA detection with phenotypic identity through antibody labeling. This is particularly valuable given the challenges of detecting certain cytokines in fixed tissues, such as IL-2, IL-6, IL-13, IL-17A, and IFN-γ, using antibodies alone in spatial biology. Furthermore, this assay could be used to examine post-translational modifications. Detecting both mRNA and protein for the same target may help elucidate these changes.

ACKNOWLEDGMENTS

This research was performed in collaboration with the Flow Cytometry and Cellular Imaging Core Facility, which is supported in part by the National Institutes of Health through M. D. Anderson’s Cancer Center Support Grant P30 CA016672. This research was also supported in part by the MD Anderson’s Cancer Center’s Support Grant Development Award, Imaging Mass Cytometry Spatial Transcriptomics via RNAscope, P30CA016672, NIH/NCI, PI – Pisters.  JKB effort was supported in part by the P30 CA016672 and the NCI Research Specialist 1 R50 CA243707-01A1. SFB effort was supported in part by the Ovarian Cancer Research Alliance (OCRA 811621 and 891490), The Honorable Tina Brozman Foundation for Ovarian Cancer Research, the MDACC Ovarian Cancer SPORE Developmental Research Program, NIH 1R01CA261952-01A1. SFB, JKB, and BG effort was supported in part by 1U01CA294459-01 grant. The authors would like to acknowledge Samuel Mok, who sectioned and provided the samples used.

DISCLOSURES

Jared K. Burks is a consultant for Standard BioTools.

REFERENCES

1	Cai, S., Allam, M., Coskun, A. F. Multiplex spatial bioimaging for combination therapy design. Trends Cancer. 6 (10), 813-818 (2020).

2	Lu, S. et al. Comparison of biomarker modalities for predicting response to pd-1/pd-l1 checkpoint blockade: A systematic review and meta-analysis. JAMA Oncology. 5 (8), 1195-1204 (2019).

3	Parolini, M. et al. Microplastic contamination in snow from western italian alps. International Journal of Environmental Research and Public Health. 18 (2), 768 (2021).

4	Carstens, J. L. et al. Stabilized epithelial phenotype of cancer cells in primary tumors leads to increased colonization of liver metastasis in pancreatic cancer. Cell Reports. 35 (2), 108990 (2021).

5	Allam, M., Cai, S., Coskun, A. F. Multiplex bioimaging of single-cell spatial profiles for precision cancer diagnostics and therapeutics. npj Precision Oncology. 4 (1),  (2020).

6	Ferri-Borgogno, S. et al. Molecular, metabolic, and subcellular mapping of the tumor immune microenvironment via 3d targeted and non-targeted multiplex multi-omics analyses. Cancers. 16 (5), 846 (2024).

7	Schulz, D. et al. Simultaneous multiplexed imaging of mrna and proteins with subcellular resolution in breast cancer tissue samples by mass cytometry. Cell Systems. 6 (1), 25-36.e25 (2018).

8	Kochan, J., Wawro, M., Kasza, A. Simultaneous detection of mrna and protein in single cells using immunofluorescence-combined single-molecule rna fish. BioTechniques. 59 (4), 209-221 (2015).

9	Ferri-Borgogno, S. et al. Spatial transcriptomics depict ligand–receptor cross-talk heterogeneity at the tumor-stroma interface in long-term ovarian cancer survivors. Cancer Research. 83 (9), 1503-1516 (2023).

10	Mok, S. C. et al. A gene signature predictive for outcome in advanced ovarian cancer identifies a survival factor: Microfibril-associated glycoprotein 2. Cancer Cell. 16 (6), 521-532 (2009).

11	Yeung, T.-L. et al. Anticancer immunotherapy by mfap5 blockade inhibits fibrosis and enhances chemosensitivity in ovarian and pancreatic cancer. Clinical Cancer Research. 25 (21), 6417-6428 (2019).

12	Ogura, H. et al. Interleukin-17 promotes autoimmunity by triggering a positive-feedback loop via interleukin-6 induction. Immunity. 29 (4), 628-636 (2008).

13	Murakami, M. et al. Local microbleeding facilitates il-6– and il-17–dependent arthritis in the absence of tissue antigen recognition by activated t cells. Journal of Experimental Medicine. 208 (1), 103-114 (2011).

14	Hou, W., Jin, Y.-H., Kang, H. S., Kim, B. S. Interleukin-6 (il-6) and il-17 synergistically promote viral persistence by inhibiting cellular apoptosis and cytotoxic t cell function. Journal of Virology. 88 (15), 8479-8489 (2014).

15	Geskin, L. J., Viragova, S., Stolz, D. B., Fuschiotti, P. Interleukin-13 is overexpressed in cutaneous t-cell lymphoma cells and regulates their proliferation. Blood. 125 (18), 2798-2805 (2015).

16	Aspord, C. et al. Breast cancer instructs dendritic cells to prime interleukin 13-secreting cd4+ t cells that facilitate tumor development. J Exp Med. 204 (5), 1037-1047 (2007).

17	Votava, M. et al. The expression profiles of cd47 in the tumor microenvironment of salivary gland cancers: A next step in histology-driven immunotherapy. BMC Cancer. 22 (1),  (2022).

18	Liu, X., Kwon, H., Li, Z., Fu, Y.-X. Is cd47 an innate immune checkpoint for tumor evasion? Journal of Hematology & Oncology. 10 (1), (2017).

19	Salerno, F., Guislain, A., Cansever, D., Wolkers, M. C. Tlr-mediated innate production of ifn-γ by cd8+ t cells is independent of glycolysis. J Immunol. 196 (9), 3695-3705 (2016).

20	Kalia, V. et al. Prolonged interleukin-2rα expression on virus-specific cd8+ t cells favors terminal-effector differentiation in vivo. Immunity. 32 (1), 91-103 (2010).

21	Cancino-Díaz, J. C. et al. Interleukin-13 receptor in psoriatic keratinocytes: Overexpression of the mrna and underexpression of the protein. Journal of Investigative Dermatology. 119 (5), 1114-1120 (2002).

22	Wang, F. et al. Rnascope. The Journal of Molecular Diagnostics. 14 (1), 22-29 (2012).

23	Marlin, M. C. et al. A novel process for h&e, immunofluorescence, and imaging mass cytometry on a single slide with a concise analytics pipeline. Cytometry Part A. 103 (12), 1010-1018 (2023).

24	Pemberton, J., Kala, S., Dikshit, A., Hupple, C. in Regular and Young Investigator Award Abstracts.  A1654-A1654 BMJ Publishing Group Ltd).

25	Hu, K., Harman, A., Baharlou, H. Imaging mass cytometry for in situ immune profiling. Methods Mol Biol. 2779 407-423 (2024).

26	Chevrier, S. et al. Compensation of signal spillover in suspension and imaging mass cytometry. Cell Syst. 6 (5), 612-620.e615 (2018).

27	Shi, S. R., Imam, S. A., Young, L., Cote, R. J., Taylor, C. R. Antigen retrieval immunohistochemistry under the influence of ph using monoclonal antibodies. Journal of Histochemistry & Cytochemistry. 43 (2), 193-201 (1995).

28	Duncan, J. S., Elliott, K. L., Kersigo, J., Gray, B., Fritzsch, B. in In situ hybridization methods  10.1007/978-1-4939-2303-8_17  (ed Hauptmann, G.)  339-352, Springer New York, New York, NY (2015).

29	Rivest, F. et al. Fully automated sequential immunofluorescence (seqif) for hyperplex spatial proteomics. Scientific Reports. 13 (1),  (2023).

30	Sans, M. et al. Spatial transcriptomics of intraductal papillary mucinous neoplasms of the pancreas identifies nkx6-2 as a driver of gastric differentiation and indolent biological potential. Cancer Discov. 13 (8), 1844-1861 (2023).

31	Glasson, Y. et al. Single-cell high-dimensional imaging mass cytometry: One step beyond in oncology. Seminars in Immunopathology. 10.1007/s00281-022-00978-w  (2023).