# Submission ID #: 68619

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=20928843

Title: Comprehensive Spatial Profiling of Species-agnostic Transcriptomes via Stereo-seq

# Authors and Affiliations:

Anna K. Casasent1,*, Danielle L. Stolley1,*, Basant T. Gamal2,*, Arnold Dahay2, Samuel Mok2, Lidia Rocha3, Vincent Li3, Arizona T. Nguyen3, Boyu Zhang4, Clay T. Brasuell4, Erika J. Thompson4, Thomas Huynh3, Jared K. Burks1, Sammy Ferri-Borgogno2

1Department of Hematopoietic Biology and Malignancies, The University of Texas MD Anderson Cancer Center

2Department of Gynecologic Oncology and Reproductive Medicine, The University of Texas MD Anderson Cancer Center

3Department of Veterinary Medicine & Surgery, University of Texas MD Anderson Cancer Center

4Department of Genetics, The University of Texas MD Anderson Cancer Center

*These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Jared K. Burks                                                      jburks@mdanderson.org

Sammy Ferri-Borgogno                                     sferri@mdanderson.org

# Email Addresses for All Authors:

Anna K. Casasent                                               akcasasent@mdanderson.org

Danielle L. Stolley                                              dstolley@mdanderson.org

Basant T. Gamal                                                 btgamal@mdanderson.org

Arnold Dahay                                                      amdahay@mdanderson.org

Samuel Mok                                                       smok@mdanderson.org

Lidia Rocha                                                         lrocha1@mdanderson.org

Vincent Li                                                            vli1@mdanderson.org

Arizona T. Nguyen                                             ATNguyen6@mdanderson.org

Boyu Zhang                                                        bzhang@mdanderson.org

Clay T. Brasuell                                                  ctbrasuell@mdanderson.org

Erika J. Thompson                                             ejthompson@mdanderson.org

Thomas Huynh                                                  thuynh@mdanderson.org

Jared K. Burks                                                      jburks@mdanderson.org

Sammy Ferri-Borgogno                                     sferri@mdanderson.org

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  34

Number of Shots:  55

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at The University of Texas MD Anderson Cancer Center, Department of Gynecologic Oncology and Reproductive Medicine

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Stereo-seq Random Oligonucleotide Capture Chip (N-chip) Preparation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - After removing the Stereo-seq N-chip from its packaging, record the chip identification number [1]. Using 100 percent ethanol, clean the edges of both the Stereo-seq N-chip and the glass slide without touching the chip surface [2-TXT].

    - WIDE: Talent shows the chip identification number.

    - Talent cleaning the edges of the Stereo-seq N-chip and glass slide with 100 percent ethanol, taking care not to touch the chip surface. TXT: Allow the chip to air dry completely

  - Using a micropipette, carefully apply 10 microliters of ultraviolet-curable ceramic resin around the edge of the Stereo-seq N-chip [1]. Use a sealed foam swab to remove excess resin, leaving only a thin line around the chip edge [2]. Place the slide into the ultraviolet curing device, ensuring the chip surface is not touched [3].

    - Talent applying 10 microliters of resin along the edge of the chip using a micropipette.

    - Talent using a sealed foam swab to remove excess resin, leaving a thin border around the chip.

    - Talent placing the prepared slide into the ultraviolet curing device.

  - Now, place the resin-applied chip on top of an opaque mask on the 405-nanometer ultraviolet light source to illuminate the back of the slide and cure for 5 minutes [1].

    - Talent positioning the resin-applied chip onto an opaque mask and placing it under the 405-nanometer ultraviolet light source.

  - After curing, use sealed foam swabs soaked in 100% molecular grade ethanol, then 70% ethanol, and finally nuclease-free water to clean around the resin-applied edge [1-TXT].  Submerge the chip three times in fresh nuclease-free water using a 50-milliliter conical tube [2].

    - Talent cleaning the chip edge with a swab soaked in 100 percent molecular grade ethanol. TXT: If white specks detach, re-clean edge; Avoid touching chip surface

    - Talent dipping the chip into a 50 milliliter conical tube filled with fresh nuclease-free water.

  - Using compressed air, dry the chip with the full force of air at an angle of approximately 60 to 80 degrees, moving diagonally across the surface from about 5 centimeters away [1-TXT].

    - Talent drying the chip with compressed air, holding the nozzle at a diagonal angle and distance specified. TXT: If the chip looks cloudy, rewash with fresh NFW and dry

  - Next, apply 150 microliters of poly-L-lysine solution evenly across the entire chip surface and incubate the chip for 10 minutes at room temperature [1].

    - Talent pipetting 150 microliters of poly-L-lysine solution onto the chip, covering the surface and keeping it aside.

  - Then, remove the poly-L-lysine solution from the chip [1]. Wash the chip twice with nuclease-free water for 10 to 15 seconds each time [2].

    - Talent aspirating the poly-L-lysine solution off the chip.

    - Talent washing the chip twice with nuclease-free water, holding each wash for 10 to 15 seconds.

  - After the second wash, carefully dry the edges of the slide without touching the chip surface [1]. Firmly dry the chip using compressed air as demonstrated earlier [2].

    - Talent carefully drying only the edges of the slide with a lint-free tissue, avoiding contact with the chip surface.

    - Talent firmly drying the chip with compressed air.

  - While sectioning the tissue, do not touch the chip directly, and only cover 80 percent of the chip with tissue [1-TXT].

    - Close-up of tissue sections being mounted to cover only 80 percent of the chip surface without touching it. TXT: Use new blades & NFW for baths/ice

- Nuclear Imaging and ssDNA Staining of the FPPE Tissue Sections

Demonstrator: Click here to enter name of demonstrator(s)

  - To prepare 2 microliters of single-stranded DNA staining solution in SSC buffer, dilute the Qubit single-stranded DNA reagent with 5 times SSC buffer [1-TXT].

    - Talent pipetting Qubit single-stranded DNA reagent and mixing it with 5 times SSC buffer to prepare the staining solution. TXT: Use 1:1 dilution/1-2chips

  - Create a master mix of staining solution [1] using a 1 to 20 dilution of ribonuclease inhibitor, a 1 to 200 dilution of the single-stranded DNA solution, and the remaining volume with 5 times SSC buffer [2].

    - Shot of all the required reagents.

    - Talent adding the reagents into a tube and mixing them.

  - Add 150 microliters of staining solution to each chip [1-TXT]. Then, gently remove the staining solution from the corner of each chip using a pipette [2].

    - Talent adding 150 microliters of staining solution. TXT: Incubate in dark at RT for 5 min

    - Talent carefully aspirating the staining solution from the corner of the chip with a pipette.

  - After washing the chip twice with 0.1 times SSC buffer for 10 to 15 seconds, carefully dry the edges of the slide [1].

    - Talent carefully drying the slide edges with a lint-free tissue, avoiding the chip surface.

  - Add approximately 3 to 5 microliters of glycerol onto the slide to mount it [1].  Drop a coverslip from about 1 centimeter above the slide, keeping it level and ensuring it does not touch the chip surface [2-TXT].

    - Talent pipetting 3 to 5 microliters of glycerol onto the slide.

    - Talent dropping a coverslip from 1 centimeter height onto the slide. TXT: If the coverslip slides off, remove it and remount

  - Capture fluorescent images of single-stranded DNA-stained tissue using a widefield microscope, ensuring 10 percent overlap between image tiles [1].

    - SCOPE: Fluorescent imaging of single-stranded DNA-stained tissue with tile overlap visible.

  - Stitch the acquired images in image processing software such as ImageJ by first utilizing theoretical overlap to generate approximate tile positions, then applying pixel-matching computational overlap to fine-tune the tiling [1].

    - SCREEN: ImageJ interface showing the stitching process, beginning with theoretical overlap alignment and progressing to pixel-matching refinement.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/files_upload.php?src=20928843

  - Process the stitched images in StereoMap (Stereo-Map) software and confirm that image quality control passes before continuing [1].

    - SCREEN: StereoMap software displaying processed images and a clear indication that image quality control has passed.

  - Submerge the Stereo-seq slide in 30 milliliters of 0.1 times SSC buffer until the coverslip detaches [1].

    - Talent placing the Stereo-seq slide into a container with 30 milliliters of 0.1 times saline-sodium citrate buffer.

## Decrosslinking Process of the Stained FPPE Sections

Demonstrator: Click here to enter name of demonstrator(s)

  - Ensure the FFPE decrosslinking reagent is at room temperature and inspect it for particles [1].

    - Talent inspecting the FFPE decrosslinking reagent vial at room temperature.

  - Turn on the thermocycler and set it to 30 degrees Celsius for equilibration, 95 degrees Celsius for a 30-minute incubation, and infinite hold at 4 degrees Celsius [3].

    - Thermocycler display showing the temperature settings.

  - Assemble the cassette gasket [1] and place the Stereo-seq chip slide into the cassette [2].

    - Talent assembling the cassette gasket on the bench.

    - Talent inserting the Stereo-seq chip slide into the assembled cassette.

  - Then, add FFPE decrosslinking reagent into the well of the Stereo-seq slide cassette [1], apply sealing tape to the cassette, and confirm it is tightly sealed [2].

    - Talent pipetting decrosslinking reagent into the well of the cassette.

    - Talent applying sealing tape over the cassette and pressing firmly to ensure it is tightly sealed.

  - Start the 30-minute incubation at 95 degrees Celsius [1]. After 10 minutes, place 10 milliliters of methanol in a 15-milliliter container in a minus 20 degrees Celsius freezer, preparing about 1 milliliter per slide for later use [2].

    - Talent placing the chip in thermocycler

    - Talent placing a 15 milliliter container with 10 milliliters of methanol into a minus 20 degrees Celsius freezer.

  - After removing the chip from the thermocycler, transfer the Stereo-seq slide cassette to the bench and peel off the sealing tape [1].

    - Talent placing the Stereo-seq slide cassette onto the bench and peeling off the sealing tape from the cassette.

.

  - Using a pipette, remove and discard the FFPE decrosslinking reagent from the cassette [1]. Once the reagent has been completely removed, detach the cassette and gasket, and discard them [2].

    - Talent aspirating and discarding the FFPE decrosslinking reagent with a pipette.

    - Talent detaching and discarding the used cassette and gasket. TXT: Equilibrate the Stereo-seq slide to RT

  - Under a sterile fume hood, dry the edge of the slide and apply a new silicone chamber if needed [1]. Add 500 microliters of chilled methanol from the minus 20 degrees Celsius freezer, ensuring the entire section is submerged [2].

    - Talent drying the edges of the slide and attaching a new silicone chamber inside a sterile fume hood.

    - Talent pipetting 500 microliters of chilled methanol from the minus 20 degrees Celsius freezer into the chamber, fully submerging the section.

  - Prewarm PR solution on a 37 degrees Celsius dry block for 10 minutes before use [1].

    - Talent placing a tube of PR solution on a 37 degrees Celsius dry block.

  - After fixation, in a fume hood, wipe off any excess methanol from the slide and wait for the remaining methanol on the chip to evaporate [1]. Assemble a new cassette and gasket [2]. Once evaporation is complete, place the Stereo-seq chip slide into the cassette [3].

    - Talent wiping the edges of the slide.

    - Talent assembling a new cassette and gasket.

    - Talent placing the Stereo-seq chip slide into the newly assembled cassette.

  - Add 200 microliters of permeabilization reagent to the chip [1]. Apply sealing tape to the Stereo-seq slide cassette and ensure it is tightly sealed [2].

    - Talent pipetting 200 microliters of permeabilization reagent into the cassette well.

    - Talent applying sealing tape to the cassette and pressing firmly to confirm it is tightly sealed.

- Collection of the cDNA Release Mix

Demonstrator: Click here to enter name of demonstrator(s)

  - Preheat nuclease-free water to 37 degrees Celsius [1].

    - Talent placing tubes of nuclease-free water into a 37 degrees Celsius dry block to preheat.

  - Remove the seal from the chip [1]. Pipette vigorously in each corner and in the center of the chip over the tissue without scraping or touching it [2]. Collect all the complementary DNA release mix from the chip and transfer it into a 1.5 or 2.0 milliliter centrifuge tube [3-TXT].

    - Talent peeling the seal from the Stereo-seq chip.

    - Talent pipetting vigorously over the tissue in each corner and the center of the chip without touching the tissue.

    - Talent transferring the complementary DNA release mix into a centrifuge tube. TXT: Record the chip identification number on the tube

  - Add 350 microliters of preheated nuclease-free water directly onto the chip surface [1]. Pipette vigorously with a smaller pipette, angling the tip to apply shear force without touching the tissue or scraping the chip [2].

    - Talent pipetting 350 microliters of preheated nuclease-free water onto the chip.

    - Talent vigorously pipetting with a P200 pipette at an angle, avoiding contact with the tissue.

  - Combine the wash with the 400 microliters of complementary DNA release mix collected earlier, ensuring that only material from a single chip is combined [1].

    - Talent pipetting the 350 microliter wash into the tube containing the previously collected complementary DNA release mix from the same chip.

  - Place 100 microliters of nuclease-free water on the chip [1]. Seal the Stereo-seq chip slide and store it in the refrigerator until the end of the protocol [2].

    - Talent pipetting 100 microliters of nuclease-free water onto the chip.

    - Talent sealing the Stereo-seq chip slide and placing it into the refrigerator.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 60.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Single-cell segmentation using the SAW pipeline was achieved on FFPE sections [1], enabling mapping to non-polyadenylated RNAs such as tRNA TRDMT1 (T-R-D-M-T-One) [2].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the overlay showing TRDMT1-positive cells marked in color against the black and white background.

  - Interactive spatial visualization showed putative cell types using the proprietary software StereoMap [1], with clusters displayed in various colors across a zoomed-in region of the tissue [2].

    - LAB MEDIA: Figure 4B.

    - LAB MEDIA: Figure 4B. Video editor: Zoom in on the red, green, and purple colored cells in the top-left, center, and bottom-right zones of the tissue region.

  - Whole-tissue expression of the non-poly adenylated RNA TRDMT1 was visualized using stereopy [1].

    - LAB MEDIA: Figure 4D.