# Submission ID #: 68650

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20938298

# Title: Microbioreactor-Based Production of Anchorage-Dependent Mesenchymal Stromal Cells Primed for Acute Respiratory Distress Syndrome

# Authors and Affiliations:

# Brandon Krupczak1,2, Junsung Lee2, Julia Dias2, Krystyn J. Van Vliet2

# 1Harvard-MIT Health Sciences and Technology, Massachusetts Institute of Technology

# 2Departments of Materials Science & Engineering and Biomedical Engineering, Cornell University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Krystyn Van Vliet	(krystyn.vv@cornell.edu)

# Email Addresses for All Authors:

Brandon Krupczak	(bkrupczak@mit.edu)

Junsung Lee		(jl3939@cornell.edu)

Julia Dias		(julia.dias@cornell.edu)

Krystyn J. Van Vliet	(krystyn.vv@cornell.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  23

Number of Shots:  51

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Microbioreactor Setup And Preparation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, remove the clear plastic cap connected to Bottle LL in the bottle rack [1]. Using a new sterile 50 milliliter syringe without a plunger, connect the nozzle to Bottle LL [2]. Pour the sterile filtered water into the syringe barrel and inject it into Bottle LL [3-TXT].

    - WIDE: Talent removing the plastic cap from Bottle LL in the rack.

    - Talent holding a 50 milliliter syringe without the plunger and connecting it to Bottle LL.

    - Talent pouring sterile filtered water into the syringe barrel and injecting it into the bottle. TXT: Reconnect the syringe several times if the connection port resists flow

  - Similarly, fill Bottle L with 25 milliliters of low glucose DMEM without FBS, Bottle R with 25 milliliters of sterile PBS and Bottle RR with 8 milliliters of anti-adherence rinse solution [1-TXT]. Repeat the procedure to prepare the required number of consumables for the experiment [2].

    - Shot of filled bottles L, R and RR. TXT: Use new syringe for each solution

    - Talent filling additional bottles using the same method with new sterile syringes.

  - Next, perform a self-test on each POD to be used in the experiment [1]. Remove the self-test cassettes and place them into light-protected storage bags [2]. Mount the consumable to the bioreactor [3].

    - Shot of PODs for testing.

    - Talent removing cassettes from POD and placing them into light-protected bags.

    - Talent positioning the consumable near the bioreactor and preparing for mounting.

  - Remove the green tape from the consumable valves [1] and install the consumable in the POD [2]. Reinstall the clamps and check for any hissing sound to confirm a secure seal [3].

    - Talent peeling off green tape from the consumable valves.

    - Talent mounting the consumable in the POD.

    - Talent tightening clamps, and listening for air leaks.

  - Connect the white pressure sensor line, the red air pressure line, and the blue vacuum line between the consumable and the base station or POD [1]. Confirm that the side injection port is clamped shut using a white teardrop clamp before initiating a new experiment [2-TXT].

    - Talent connecting the three colored lines from the consumable to the base station.

    - Talent inspecting and confirming the white teardrop clamp is secured on the side injection port. TXT: Autopriming and calibration can run for 4 – 5 h or overnight

- Cell And Microcarrier Injection

Demonstrator: Click here to enter name of demonstrator(s)

  - Click the Flush bottles icon in the software interface [1]. Enable the Radio button for Bottle L, select Output to Waste, then click Start Flush MSCserum (M-S-Sees-Serum)  [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20938298

    - SCREEN: Show user clicking on Flush bottles.

    - SCREEN: The Radio button is being enabled for Bottle , Output to Waste is being selected then Start Flush MSCserum is being clicked.

  - In the Bottle Contents window, indicate that MSCserum is located in Bottle R, which contains PBS [1]. Then navigate to Manual Ops (opps) and perform three eject-wash cycles on the waste bottle [2].

    - SCREEN: Show user accessing Bottle Contents and selecting MSCserum for Bottle R.

    - SCREEN: Show user navigating to Manual Ops, selecting Eject-Wash, and entering the cycle count as 3.

  - Now, add the anti-adherence rinse solution to the reactor [1].

    - Talent adding the anti-adherence rinse solution to the reactor.

  - In the Bottle Contents window, indicate that MSCserum is now located in Bottle RR, which contains the anti-adherence rinse solution [1]. Go back to Manual Ops and perform one eject-wash cycle on the waste bottle [2].

    - SCREEN: Show user selecting Bottle RR in Bottle Contents and assigning MSCserum label.

    - SCREEN: Show user initiating Eject-Wash from Manual Ops and running a single cycle.

  - Then rinse out the consumable with phosphate-buffered saline [1]. Empty the reactor to await cell and microcarrier injection [2].

    - Talent administering a rinse with PBS into the consumable and allowing flow-through.

    - Shot of reactor being emptied.

  - In the Manual Ops panel, click Reinoculate. Leave the system paused at the stage where the dashboard displays a prompt to inoculate the reactor [1].

    - SCREEN: User clicking on Reinoculate from the Manual Ops panel then show system paused at dashboard prompt indicating reactor is ready for inoculation.

  - Next, pipette a calculated volume of resuspended cells into a 15-milliliter conical tube containing microcarriers for each condition [1-TXT]. Top up each tube to between 2.2 and 2.5 milliliters with fresh, warm human mesenchymal stem cell media [2].

    - Talent pipetting cell suspension into the conical tube. TXT: Cell volume should be enough to reach 150,000 cells

    - Talent topping up the conical tube with pre-warmed hMSC media using a pipette.

  - Working with one or two consumables at a time, remove them from the base station and bring them into the biosafety cabinet [1]. Withdraw the cell and microcarrier mixture into a 5-milliliter syringe using a green 4-inch blunt needle [2]. Inject the mixture into the reactor [3]. Then return the consumable to the base station [4].

    - Talent detaching consumables and transferring them carefully into the biosafety cabinet.

    - Talent drawing up the cell and microcarrier solution into the syringe.

    - Talent injecting the solution into the reactor.’

    - Talent reconnecting the consumable to the base station.

  - After repeating the injection for all consumables, navigate through the software interface to indicate that inoculation is complete [1]. When the software returns to the home page, remove the white clamp from the consumable output lines [2].

    - SCREEN: Show user confirming inoculation complete in software and returning to home page.

    - Talent removing the white clamp from the consumable output line.

  - Enter Manual Ops and perform the Eject Excess function with the output port set to P for perfusion [1]. Enable static mixing mode using a cycle of 1680 seconds on and 120 seconds off, and set mixing frequency to 5 hertz [2].

    - SCREEN: Show user initiating Eject Excess in Manual Ops, selecting port P.

    - SCREEN: Choose the settings in the settings panel with static mixing enabled, 1680 s on/120 s off, and 5 Hz selected.

- Microbioreactor Harvest

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin cell harvesting, use a 1-milliliter syringe to draw up 200 microliters of Pronase and approximately 300 to 400 microliters of air [1-TXT].

    - Talent drawing 200 microliters of Pronase and then pulling 300 to 400 microliters of air into a 1 milliliter syringe. TXT: Pronase : 10 mg/mL

  - Unscrew the cap on the side port injection line [1] and spray the needleless valve connector with 70 percent ethanol [2]. Remove the tape from the knotted side port injection line, untie the knot, and unclamp the white teardrop clamp [3].

    - Talent unscrewing the cap on the side port injection line.

    - Talent spraying the connector with ethanol.

    - Talent removing tape, untying the knot, and unclamping the teardrop clamp.

  - Now, connect the 1 milliliter syringe and gently inject the Pronase into the reactor [1]. Chase the liquid with air to ensure complete delivery [2].

    - Talent connecting syringe and slowly injecting Pronase.

    - Talent pressing air from the syringe to push all contents into the reactor.

  - Re-engage the teardrop clamp and re-cap the injection line [1]. Then return the consumable to the POD, reconnect all lines, remove the white C-clamp, and resume mixing [2].

    - Talent securing the clamp and cap.

    - Talent reinstalling the consumable in the POD, reconnecting lines, removing C-clamp, and restarting mixing.

  - Place the waste bottle and media source bottle on ice [1]. Start a 5-minute timer and allow the Pronase to digest the microcarriers in the reactor [2]. After 5 minutes, verify that the microcarriers have degraded by checking their absence in the reactor [3-TXT].

    - Talent positioning the bottles on ice.

    - Talent starting a 5-minute countdown.

    - Close-up view of reactor contents with no visible microcarriers. TXT: If microcarriers are visible, allow for 1 min of additional digestion

  - Harvest the cells by entering Manual Ops [1]. Set the number of cycles to 3, choose output port W for waste, and click on Eject Wash [2].

    - SCREEN: Manual Ops is being opened.

    - SCREEN: Manual Ops is being configured with 3 cycles, output set  to W, then Eject Wash is started.

  - After the eject wash cycles are complete, transfer the consumable to the biosafety cabinet [1]. Then withdraw the contents of the waste bottle using a 10 or 20 milliliter syringe [2].

    - Shot of the consumable in a biosafety cabinet.

    - Talent drawing liquid from the waste bottle with a syringe.

  - Dispense the contents of the waste bottle into a 15-milliliter conical centrifuge tube [1]. Centrifuge the cells at 300 g for 5 minutes [2]. Aspirate the supernatant and evaluate the cell pellet size [3].

    - Talent transferring waste bottle contents into a conical tube.

    - Talent placing the tube into the centrifuge and setting parameters for 300 g and 5 minutes.

    - Talent aspirating supernatant and visually inspecting the cell pellet.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 88.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Environmental conditions including pH, temperature, dissolved oxygen, and carbon dioxide were stably maintained throughout the 10-day culture period in the microbioreactor system [1]. The pH variation was significantly lower in the microbioreactor compared to the tissue culture polystyrene flask condition [2].

    - LAB MEDIA: Figure 2A-D Video Editor: please sequentially show A to D

    - LAB MEDIA: Figure 2E. Video editor: Please highlight "Breez" boxplot.

  - Cell yield was higher in the microbioreactor than in the T25 (T-Twenty-Five) flask, while maintaining similar cell viability [1].

    - LAB MEDIA: Figure 3. Video editor: Highlight the bar for "GMC Breez"

  - Of the 14 measured potency-associated critical quality attributes [1], 9 showed significantly higher mRNA expression in the microbioreactor condition relative to the T75 flask [2].

    - LAB MEDIA: Figure 4. Video editor: Show the bottom graph

    - LAB MEDIA: Figure 4. Video editor: Show the zoomed out upper graph