# Submission ID #: 68668

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=20943788

Title: Decoding Natural Behavior from Neuroethological Embedding

# Authors and Affiliations:

Yaning Han1–5, Pengfei Wei2–6

1Department of Pharmacology, Joint Laboratory of Guangdong-Hong Kong Universities for Vascular Homeostasis and Diseases, SUSTech Homeostatic Medicine Institute, School of Medicine, Southern University of Science and Technology

2Shenzhen Key Laboratory of Neuropsychiatric Modulation and Collaborative Innovation Center for Brain Science, Shenzhen-Hong Kong Institute of Brain Science, Shenzhen Institutes of Advanced Technology, Chinese Academy of Sciences

3CAS Key Laboratory of Brain Connectome and Manipulation, the Brain Cognition and Brain Disease Institute, Shenzhen Institutes of Advanced Technology, Chinese Academy of Sciences

4Guangdong Provincial Key Laboratory of Brain Connectome and Behavior, the Brain Cognition and Brain Disease Institute, Shenzhen Institutes of Advanced Technology, Chinese Academy of Sciences

5Key Laboratory of Brain Cognition and Brain-inspired Intelligence Technology, the Brain Cognition and Brain Disease Institute, Shenzhen Institutes of Advanced Technology, Chinese Academy of Sciences

6School of Biological Science and Medical Engineering, State Key Laboratory of Digital Medicine, Southeast University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Yaning Han		(hanyn@sustech.edu.cn)

Pengfei Wei		(101014012@seu.edu.cn)

# Email Addresses for All Authors:

Yaning Han		(hanyn@sustech.edu.cn)

Pengfei Wei		(101014012@seu.edu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  xx

Number of Shots:  xx

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Animal Care and Use Committee at the Shenzhen Institute of Advanced Technology

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Platform Establishment for mTPM Imaging

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, connect the Universal Serial Bus cable of the synchronization module of the three-dimensional behavior device to the workstation of the same device [1]. Then, connect the synchronization module of the mTPM (M-T-P-M) device to its controller using one SMA (S-M-A) cable [2-TXT].

    - WIDE: Talent connecting the Universal Serial Bus cable from the synchronization module of the three-dimensional behavior device to its workstation.

    - Talent connecting the SubMiniature version A cable between the synchronization module and the controller of the miniature two-photon microscope device. TXT: mTPM: miniature Two-Photon Microscopy; SMA: SubMiniature version A

  - Connect the TTL (T-T-L) output port of the synchronization module of the three-dimensional behavior device to the TTL input port of the synchronization module of the mTPM device using one SMA BNC (B-N-C) conversion cable [1-TXT].

    - Talent connecting the SMA to BNC conversion cable between the TTL ports of both synchronization modules. TXT: TTL: Transistor-Transistor Logic;  BNC: Bayonet Neill-Concelman

  - To begin calibration, adjust the shooting angle of all four cameras [1] so that they cover the entire base of the open field and extend their field of view at least 20 centimeters above the farthest boundary to capture mouse rearing behavior [2].

    - Talent rotating and adjusting the positions of all four cameras around the open field arena.

    - Overhead shot of the four cameras positioned to cover the base and upper area around the open field.

  - Place the calibration module at the center of the shooting area [1], switch off all the lights [2], and run the camera calibration software [3].

    - Talent placing the calibration module at the center of the open field.

    - Talent switching off room lights.

    - SCREEN: Show the camera calibration software interface and demonstrate clicking on the calibration start function.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20943788

  - Now, fix the mouse restrainer to the micromanipulator of the mTPM [1]. Using the metal plate, secure the head of the mouse to the restrainer [2].

    - Talent mounting the mouse restrainer onto the micromanipulator of the miniature two-photon microscope.

    - Talent fixing the mouse’s head to the restrainer using a metal plate.

  - Switch off all the lights [1]. Then, fix the mTPM to its holder [2] and switch on the imaging system to locate the fluorescence signal [3].

    - Talent turning off the lights in the imaging room.

    - Talent mounting the miniature two-photon microscope onto its holder.

    - Talent activating the imaging system and checking the fluorescence signal on the screen.

- Neuroethological Data Recording

  - Add one drop of Carbomer eye gel to the top of the cranial window [1]. Move the mouse using the motion platform so that the cranial window is aligned directly beneath the objective of the mTPM [2].

    - Talent applying a single drop of Carbomer eye gel onto the cranial window of the mouse.

    - Talent adjusting the mouse position using the motion platform to align the cranial window under the microscope objective.

  - Move the micromanipulator vertically to locate the imaging plane [1]. Then, move the micromanipulator in-plane to center the imaging plane [2].

    - Talent adjusting the micromanipulator vertically.

    - Talent moving the micromanipulator laterally to center the imaging plane.

  - Then, fix the upper base to the mTPM [1]. Apply adhesive to glue the lower base to the upper base and secure it to the cranial window [2].

    - Talent attaching the upper base to the body of the miniature two-photon microscope.

    - Talent applying glue and pressing the lower base into place against both the upper base and the cranial window.

  - To ensure structural stability, fill the gap between the two bases and the metal plate bracket attached to the mouse’s head using a high-performance acrylic structural adhesive [1-TXT]. Then assess the bond's stability by gently probing the base with tweezers [2].

    - Talent applying high-performance acrylic structural adhesive to fill the gaps between the two bases and the metal plate bracket. TXT: Allow the adhesive to be cured for 30 min

    - Talent using tweezers to gently probe the fixed base after curing.

  - After that, add one drop of Carbomer eye gel into the base chamber [1]. Observe the neuronal fluorescence through the mTPM [2]. If the fluorescence is not clearly visible, remove the adhesive using a cranial drill to detach the base, then repeat the procedure until clear fluorescence is achieved [3].

    - Talent applies a single drop of Carbomer eye gel into the base chamber.

    - SCOPE: View through the miniature two-photon microscope showing neuronal fluorescence signal.

    - Talent using a cranial drill to remove adhesive and detach the base, preparing for repeat application.

  - Then, secure aluminum foil with tape between the fiber of the mTPM and the cranial window [1].

    - Talent positioning and taping a strip of aluminum foil between the optical fiber and the cranial window.

  - Switch on the room light [1] and test the clarity of the frames captured by the mTPM [2].

    - Talent turning on the overhead room lights.

    - SCREEN: Show the live feed of miniature two-photon microscope frames.

  - To put the mouse in an open field, inflate at least 10 helium balloons and tie each one separately with cotton twine [1]. Then, detach the metal plate from the mouse restrainer [2].

    - Talent inflating helium balloons and tying each with a piece of cotton twine.

    - Talent detaching the metal plate from the restrainer to release the mouse.

  - Hold the mouse gently by its tail using one hand [1]. With the other hand, support the optical fiber of the mTPM [2].

    - Talent holding the mouse by its tail.

    - Talent using the other hand to support the microscope’s optical fiber.

  - Carefully place the mouse into the open field [1]. Suspend the helium balloons by attaching the cotton twine to the fiber [2]. Adjust the number of balloons so that the mouse can move and explore the open field without restriction [3].

    - Talent gently lowering the mouse into the open field arena.

    - Talent tying the cotton twine from helium balloons to the microscope fiber.

    - Shot of the mouse freely exploring the open field with balloon-suspended fiber.

  - Close the door of the mTPM enclosure to reduce external disturbances [1].

    - Talent closing the enclosure door around the open field setup.

  - Start the mTPM recording software and the synchronization software [1]. Set the file paths and recording parameters according to the platform establishment procedure [2].

    - SCREEN: Show the startup of the miniature two-photon microscope recording software and synchronization software interfaces.

    - SCREEN: Demonstrate selecting the file path and adjusting recording parameters on both software interfaces.

  - Start the recording of the mTPM through the recording software [1]. Check the synchronization software to verify that time markers are accurately recorded for each two-photon frame [2].

    - SCREEN: Show the user clicking the Start Recording button in the miniature two-photon microscope recording software.

    - SCREEN: Highlight the timeline in the synchronization software, showing time markers aligning with each two-photon frame.

  - Evaluate whether the contrast of the two-photon images remains stable during recording [1]. Confirm that the mouse's movements do not disrupt the stability of the imaging frames [2].

    - SCREEN: Show the live feed of the two-photon imaging with focus on image contrast.

    - SCREEN: Display side-by-side footage of the mouse moving and the corresponding stable frames in the imaging feed.

  - Start the customized camera synchronization script to initiate behavior recording [1]. Set the file path and parameters according to the platform establishment procedure [2].

    - SCREEN: Show the user launching the script file.

    - SCREEN: Demonstrate selecting output file location and adjusting camera parameters.

  - Start the behavior recording using the customized synchronization script [1]. Confirm the presence of one time marker in the synchronization software for every 30 frames of behavior video [2].

    - SCREEN: Show the user starting behavior recording and footage of the mouse in the open field.

    - SCREEN: Display the synchronization software interface with time markers matching every 30 behavior frames.

  - Check that all four video streams from the cameras are synchronized correctly [1]. Verify that the video capture parameters of the three-dimensional behavioral tracking system are set properly [2].

    - SCREEN: Show a quad-screen display of the four camera feeds playing in parallel, confirming frame alignment.

    - SCREEN: Display the settings panel of the three-dimensional behavioral tracking system.

  - Once the behavioral recording stops automatically, manually switch off both the mTPM recording and synchronization software to conclude the trial [1].

    - SCREEN: Show the user manually stopping the miniature two-photon microscope recording and synchronization software.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 148.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Correlation coefficient matrices showed no distinct neuron-specific patterns for subject poses, object poses, or body distances, indicating weak correspondence between neural signals and behavioral metrics [1].

    - LAB MEDIA: Figure 2F.

  - All neuron-behavior correlation coefficients fell between minus 0.3 and 0.3, confirming weak associations under naturalistic conditions [1].

    - LAB MEDIA: Figure 2G. Video editor: Highlight the range of correlation values along the y-axis (from -0.3 to 0.3) across the three stacked dot plots.

  - CEBRA-derived neural embeddings form intricate patterns, incorporating components from multiple joint embeddings [1]. CEBRA embeddings demonstrated consistent alignment of behavioral and neural variables across three mouse pairs, particularly for body distance and social motifs [2].

    - LAB MEDIA: Figure 5A, last column. Video editor: Show the far-right panel in each row under “S1-embedding,”

    - LAB MEDIA: Figure 5B and C. Video editor: Highlight the “Distance” and “SBeA Categories” columns in 5B. Emphasize the lower RMSE bars for body distance and social motifs after alignment in 5C.

  - The decoding error for body distance embeddings was significantly higher than subject and object poses but remained within expected tracking error limits [1]. Joint embeddings of neural activity with various behavioral variables revealed high decoding accuracy across subject poses, object poses, and motifs [2].

    - LAB MEDIA: Figure 5D. Video editor: Highlight the taller bar labeled “Body” and compare it visually to the shorter bars labeled “Subject” and “Object.”

    - LAB MEDIA: Figure 5E.

  - Cosine similarity analysis using the S1–subject pose embedding as a reference showed lower alignment for object-related motifs, suggesting primary encoding of self and social behavior [1].

    - LAB MEDIA: Figure 5F. Video editor: Highlight the downward-pointing bar for “S1–Object motifs” .”