# Submission ID #: 68706

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20955378

# Title: Fabrication and Characterization of High-Q Silicon Nitride Membrane Resonators

# Authors and Affiliations:

# Atkin D. Hyatt, Oscar A. Flores, Aman R. Agrawal, Charles A. Condos, Dalziel J. Wilson

# Wyant College of Optical Sciences, University of Arizona

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Atkin D. Hyatt			(atkindavidhyatt@arizona.edu)

# Email Addresses for All Authors:

Atkin D. Hyatt			(atkindavidhyatt@arizona.edu)

Oscar A. Flores		(oscaraf@arizona.edu)

Aman R. Agrawal		(amanagrawal@arizona.edu)

Charles A. Condos		(cacondos@arizona.edu)

Dalziel J. Wilson		(dalziel@arizona.com)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20955378

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 26

Number of Shots: 57

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Spin Coating and Vapor-Phase Priming of Silicon Nitride Wafers for Photolithography Preparation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, obtain a glass Petri dish containing a clean, double sided silicon nitride wafer [1]. Place a few drops of HMDS (H-M-D-S) along the edge of a glass Petri dish using a disposable capillary pipette [2-TXT].

    - WIDE: Talent holding a glass Petri dish with a double sided Si3N4 wafer.

    - Talent using a capillary pipette to place drops of HMDS along the edge of a Petri dish. TXT: HMDS: Hexamethyldisilazane

  - Under a fume hood, cover the Petri dish [1].  Heat it on a hot plate at 90 degrees Celsius for 1 minute to evaporate the HMDS and allow it to adhere to the silicon nitride [2].

    - Shot of the Petri dish being covered inside a fume hood.

    - Talent placing the dish on a hot plate, covering it, and adjusting the temperature to 90 degrees Celsius.

  - Now, use a needle and syringe to extract no more than 4 milliliters of S1813 (S-One-Eight-One-Three) photoresist [1]. Gently flick the syringe [2] and dispense a small amount of fluid to remove any air bubbles [3].

    - Talent drawing S1813 photoresist into a syringe fitted with a needle.

    - Talent flicking the syringe.

    - Talent pushing out a small droplet to clear bubbles.

  - Holster the needle and attach a 2-micrometre filter to the syringe [1]. Flick the syringe again [2] and dispense 3 to 5 drops to remove air bubbles in the filter [3-TXT].

    - Talent removing the needle and attaching a 2 µm filter to the syringe.

    - Talent flicking the syringe with the filter.

    - Shot of the syringe dispensing several drops. TXT: Ensure at least 3 mL resist remains in the syringe

  - Deposit the resist drop by drop onto the centre of the wafer to form a large pool [1]. As the pool expands, continue depositing resist near its edge to keep it centred [2]. Use the needle tip to pop any surface bubbles that appear before proceeding [3].

    - Shot of the photoresist being dropped onto the center of the wafer.

    - Talent adjusting drop placement toward the pool’s edge as it grows.

    - Shot of a needle tip being used to burst visible bubbles on the resist surface.

  - Now lock the spin coater lid and set it to spin to create a uniform 1.5 micrometre thick layer across the wafer [1-TXT]. Bake the wafer for a minute then remove the wafer from the hot plate [2].

    - Talent placing the wafer inside the spin coater and locking the lid. TXT: 3000 rpm, 30 s,  Acceleration: 3000 rpm/s

    - Talent lifting the baked wafer off the hot plate using tweezers.

- Photolithography for Patterning Resonator Structures on Silicon Nitride Wafers Using a Maskless Aligner

Demonstrator: Click here to enter name of demonstrator(s)

  - For photolithography, load the coated wafer into a maskless alignment photolithography machine [1].  Center it to minimize global rotation and offset errors [2].

    - Talent placing the wafer into the maskless alignment photolithography system.

    - Talent adjusting it to center.

  - Load the populated wafer file onto the computer and convert it to a compatible format for the MLA software [1]. Begin patterning the topside layer with resonator designs [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20955378

    - SCREEN: Show user opening the wafer file on the computer and converting it to MLA-compatible format.

.

    - SCREEN: Show user initiating the patterning of the resonator designs on the topside layer.

  - After alignment, select the option to include global rotation error [1]. Load beam exposure parameters by setting the beam intensity to 140 millijoules per square centimetre at a wavelength of 375 nanometers [2].

    - SCREEN: Show user selecting global rotation error inclusion from the software menu.

    - SCREEN: Show user entering beam exposure parameters: 140 mJ/cm² at 375 nm.

  - Now fill a large dish with approximately 75 milliliters of MF-319 (M-F-Three-One-Nine) developer and another with deionized water [1].

    - Talent pouring MF-319 developer into one dish and deionized water into another.

  - Once the photolithography exposure is complete, unload the wafer from the photolithography machine [1]. Then transfer it into the MF-319 developer for 20 seconds [2]. After development, gently swirl the dish in a circular motion to agitate and remove the exposed resist for an additional 40 seconds [3-TXT].

    - Shot of the wafer being removed from the photolithography machine.

    - Talent transferring the exposed wafer into the MF-319 developer dish and letting it sit undisturbed.

    - Talent swirling the dish gently to agitate the developer. TXT: If resist remains, swirl for 30 s more

  - Then transfer the wafer to the deionized water dish to dilute off residual developer [1]. Rinse both sides of the wafer using either a wash bottle or a deionized water gun [2].

    - Talent moving the wafer into the deionized water bath.

    - Talent rinsing both sides of the wafer with a deionized water bottle or spray gun.

  - Use a compressed nitrogen gas gun to remove remaining water from the wafer surface, applying low pressure and proper orientation to prevent damage [1].

    - Talent drying the wafer using a compressed nitrogen gun at a low angle and low pressure.

- Reactive Ion Etching and Chip-Scale Wet Etching for Fabrication of Free-Standing Silicon Nitride Resonators

Demonstrator: Click here to enter name of demonstrator(s)

  - Load the developed wafer into a reactive ion etcher to transfer the resist patterns onto the silicon nitride film [1]. Run the etching process for 5 seconds per cycle with the given settings [2]. Repeat the process until the silicon nitride turns silver, indicating the substrate is exposed [3]. Finally, remove the wafer from the reactive ion etcher for backside patterning [4].

    - Talent placing the wafer into a reactive ion etcher chamber.

    - Talent setting the etch parameters.
AND
TEXT ON PLAIN BACKGROUND:
Etch Settings:
30 nm of Si3N4 [40]
Gas composition: 30 sccm of sulfur hexafluoride (SF6) and 10 sccm of Argon (Ar)
High frequency bias: 50W
Power of inductively coupled plasma: 1000 W
Chamber pressure: 10 mTorr
Video Editor: Please play both shots side by side

    - Shot  of the wafer surface turning silver under the etcher.

    - Talent opening the etcher and retrieving the processed wafer.

  - To begin chip-scale processing, release the patterned resonators from their silicon substrate, to produce free-standing films [1]. Carefully peel the diced chips from their tape [2]. Dip the chips into a sonicated acetone bath for at least 30 seconds to remove resist and surface contaminants [3-TXT].

    - Shot of the patterned resonators being removed from their silicon substrate.

    - Talent peeling off diced chips from tape using tweezers.

    - Talent lowering chips into a sonicated acetone bath. TXT: Rinse in IPA then dry with compressed N2

  - Optionally, to thin the silicon nitride film or remove stuck-on contaminants, dip the chip into a 10 percent hydrofluoric acid buffer solution to remove 1.55 nanometers per minute [1].

    - Talent dipping the chip into a clearly labeled hydrofluoric acid buffer solution using tweezers.
AUTHORS: Will you be preforming this step during the filming? Please confirm

  - To prevent contamination, immediately place the cleaned chip into a custom PTFE (P-T-F-E) holder under a fume hood [1-TXT].

    - Talent transferring chip into a custom PTFE holder inside a fume hood. TXT: PTFE: Polytetrafluoroethylene

  - To perform wet etching using potassium hydroxide, lower the custom chip holder into the potassium hydroxide bath [1-TXT]. Cover the solution to maintain a uniform thermal gradient [2].

    - Talent placing the PTFE chip holder into the potassium hydroxide bath.

    - Talent covering the container. TXT: Set up camera next to etch vessel for long-distance monitoring

  - After the silicon around the resonator is fully etched and the film is released, stop the reaction by removing the vessel from the hot plate [1]. Without exposing the chip, gradually pipette out the potassium hydroxide solution [2] and replace with deionized water deionized water, always maintaining liquid level above the chip to prevent shattering [3].

    - Talent turning off the hot plate and carefully removing the vessel.

    - Talent pipetting out KOH.

    - Talent pipetting in deionized water while maintaining constant liquid coverage.

  - To avoid cross-contamination, transfer the chip holder into a fresh bath of deionized water [1]. Then gradually replace the deionized water with isopropyl alcohol in the same way, ensuring the liquid level always remains above the chip [2-TXT]. After the last bath, dry it carefully along the chip plane using a gentle nitrogen stream [3].

    - Talent lifting the chip holder and placing it into a clean beaker of deionized water.

    - Talent pipetting out deionized water while simultaneously adding isopropyl alcohol into the beaker. TXT: Perform 2 IPA baths then 2 methanol baths

    - Talent removing the chip from the methanol bath.

    - Talent blow-drying it along the chip plane with a nitrogen gun.

- Optical Lever-Based Displacement and Energy Ringdown Measurements of Silicon Nitride Resonators

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin optical lever measurements, focus a collimated laser beam onto the sample with a spot size similar to the largest feature being measured [1-TXT]. Align the laser beam close to normal incidence onto the sample by retroreflecting into an optical fiber, which simplifies later alignment [2].

    - Talent adjusting a laser beam onto the sample surface to achieve appropriate focus. TXT: Pptical lever sensitivity is proportional to both spot size and reflected power

    - Talent fine-tuning the beam angle for retroreflection into an optical fiber at normal incidence.

  - Now, insert a beamsplitter between the sample and the focusing lens to pick off the reflected light from the resonator [1]. Place a balanced photodetector along the reflected beam path, positioned beyond the Rayleigh length of the beam to maximize sensitivity [2].

    - Talent positioning a beamsplitter in the optical path between the focusing lens and the sample.

    - Talent aligning a balanced photodetector at an appropriate distance along the beam path.

  - With the laser incident on the split or quadrant photodetector, the detector output is sent to a digitizer [1]. Compute the real-time power spectral density of the signal using the Fast Fourier Transform method [2].

    - SCREEN: Show detector signal on the digitizer interface.

    - SCREEN: Show software interface running a Fast Fourier Transform to generate the real-time power spectral density graph.

  - To identify specific mode peaks, compare the location of thermal noise peaks in the broadband signal to predicted eigenfrequencies from simulations [1]. Take a root mean square average of several power spectral density estimates to confirm the peaks [2].

    - SCREEN: Show overlay of measured PSD with simulation-predicted mode locations.

    - SCREEN: Show RMS averaging of multiple PSD estimates.

  - Begin energy ringdown by tracking the integral under the power spectral density peak at the resonant frequency to measure stored energy [1]. To drive the mode, apply energy either by placing a piezo actuator on the side of the or by sending a second laser beam to the sample at the resonant frequency [2].

    - SCREEN: Show zoomed-in PSD graph with narrow-band integration highlighted around the resonance peak.

    - Talent operating piezo actuator or aligning a second modulated laser beam onto the sample.

  - Once the drive is stopped, track the exponential decay of the oscillation energy to determine the damping rate [1]. Then calculate the Modal Q by dividing the resonant frequency with the damping rate [2].

    - SCREEN: Show exponential decay of the PSD peak after drive stops.

    - SCREEN: Show calculation of the quality factor using the ratio of frequency to damping rate.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 86.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

# AUTHORS: Please confirm that the results have been accurately summarized

  - COMSOL (comm-sol) simulations of the ribbon geometry revealed a 53 kilohertz flexural mode [1] and a 70 kilohertz torsional mode [2]. The flexural mode has the largest angular displacement halfway between the centre of the ribbon and its fillets [3].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the red-blue deformation shape in the upper plot

    - LAB MEDIA: Figure 4A. Video editor: Highlight the red-blue deformation shape in the lower plot

    - LAB MEDIA: Figure 4C.

  - A GDSII (G-D-S-Two) design was created with 37 chips of 12 square millimeters each, showing a variety of geometries for fabrication [1].

    - LAB MEDIA: Figure 4B.

  - Power spectral density analysis demonstrates the effectiveness of the optical lever in reading out the angular displacement of both modes [1].

    - LAB MEDIA: Figure 5A. 	Video Editor: Sequentially highlight the top and the bottom graph