# Submission ID #: 68707

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20955683

# Title: Navigating the Mass Spectrometry-Based Proteomic Data Using Free Computational Tools

# Authors and Affiliations:

# Shijie He1, Fangfei Zhang2

# 1School of Life Sciences, Westlake University

# 2Molemuse Biotech Studio

# Corresponding Authors:

# Fangfei Zhang		pushomix@molemuse.ac.cn

# Email Addresses for All Authors:

# Shijie He		heshijie@westlake.edu.cn

# Fangfei Zhang		pushomix@molemuse.ac.cn

Author Questionnaire1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. . Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film the interviews here: MM/DD/YYYY

When you are ready to submit your video files, please contact our China Location Producer, Yuan Yue.

Current Protocol Length

Number of Steps:  17

Number of Shots:  36 (35 SC)

# Introduction

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Shijie He: Our work provides a guide for biologists to analyze complex proteomic data using free tools. We aim to empower them to validate findings and explore public datasets.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1

What research gap are you addressing with your protocol?

  - Shijie He: Many biologists can’t use public proteomic data due to a lack of clear guides. Our protocol bridges this gap, enabling validation without new wet-lab experiments.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

What advantage does your protocol offer compared to other techniques?

  - Shijie He: Our protocol uses free, state-of-the-art software that is vendor-agnostic. These tools are faster, more sensitive, and provide more precise proteome discovery than many traditional approaches.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.3.1

# Protocol

- Data-Independent Acquisition (DIA) Data Analysis Using DIA-NN

Demonstrator: Shijie He

  - To begin, download the reference proteome FASTA (fasta) file from the UniProt database [1].

    - WIDE: Talent seated at a computer station browsing the UniProt website.

  - Click on the Add FASTA button to load the reference proteome file into the DIA-NN software [1].

    - SCREEN: 68707_screenshot_2.2.mp4 00:00–00:20.

  - Select the two options FASTA digest for library-free search library generation and Deep learning-based spectra, RTs and IMs prediction under the Precursor ion generation section [1]. Then, click on the Run button to generate a predicted spectral library [2].

    - SCREEN: 68707_screenshot_2.3.mp4 00:00–00:08.

    - SCREEN: 68707_screenshot_2.3.mp4 00:09–00:24.

  - Unselect the two options under the Precursor ion generation section [1]. Click on the Type button that corresponds to the file format under the Input section to load the DIA data [2].

    - SCREEN: 68707_screenshot_2.4-(1).mp4 00:00–00:07.

    - SCREEN: 68707_screenshot_2.4-(1).mp4 00:20–00:38.

  - Now, set both Mass Accuracy and MS1 Accuracy to 0 parts per million under the Algorithm section [1].

    - SCREEN: 68707_screenshot_2.5.mp4  00:00–00:16.

  - Adjust the precursor and fragment mass range settings under the Precursor ion generation section according to the experimental setup [1].

    - SCREEN: 68707_screenshot_2.6.mp4 00:05–00:25.

  - Keep the other software settings unchanged [1].

    - SCREEN: 68707_screenshot_2.7.mp4 00:00–00:10.

  - Next, click on the Run button [1]. Wait until Finished is displayed on the operation interface, indicating the analysis is complete [2].

    - SCREEN: 68707_screenshot_2.8.mp4 00:00–00:07.

    - SCREEN: 68707_screenshot_2.8.mp4 00:08–00:17.

- Data-Dependent Acquisition (DDA) Data Analysis Using FragPipe

  - Click on the FragPipe (frag-pipe) icon located in bin folder after installation [1]. Navigate to the Config tab to view all dependent settings [2]. Check whether MS-Fragger, Ion-Quant, dia-Tracer, DIA-NN, and Python modules are available on your system [3]. If any modules are missing, click on Download/Update (download update) or Download to retrieve them [4].

    - SCREEN: 68707_screenshot_3.1.mp4 00:00–00:15.

    - SCREEN: 68707_screenshot_3.1.mp4 00:22-00:40.

    - SCREEN:  68707_screenshot_3.1.mp4 00:47-00:50.

    - SCREEN:  68707_screenshot_3.1.mp4 00:50-01:00.

  - Now, switch to the Workflow tab [1]. Select Default from the workflow dropdown and click on Load workflow [2]. Then, click on Add files to input the file paths [3]. Assign experiment name and biological replicate number under Assign files, or leave it blank [4].

    - SCREEN: 68707_screenshot_3.2.mp4 00:00–00:05.

    - SCREEN: 68707_screenshot_3.2.mp4 00:06–00:15.

    - SCREEN: 68707_screenshot_3.2.mp4 00:25–00:40.

    - SCREEN: 68707_screenshot_3.2.mp4 00:55–01:05.

  - Next, click on the Database tab to switch to it [1]. Load a FASTA file from disk or download one that corresponds to the sample species [2]. During download, select the options Reviewed sequences only, Add decoys, and Add common contaminants for a simple run [3].

    - SCREEN: 68707_screenshot_3.3.mp4 00:00–00:05.

    - SCREEN: 68707_screenshot_3.3.mp4 00:15–00:23.

    - SCREEN: 68707_screenshot_3.3.mp4 00:24–00:36.

  - Click on the MSFragger (M-S-fragger) tab to change the view [1], Select Closed Search default config and click on Load [2].

    - SCREEN: 68707_screenshot_3.4.mp4 00:03–00:07.

    - SCREEN: 68707_screenshot_3.4.mp4 00:08–00:30.

  - Under Peak Matching settings, retain all default values [1]. For both Calibration and Optimization, select None to reduce processing time [2].

    - SCREEN: 68707_screenshot_3.5.mp4 00:00–00:07.

    - SCREEN: 68707_screenshot_3.5.mp4 00:08–00:30.

  - For protein digestion, adjust the parameters based on your experiment’s requirements [1] and maintain the remaining default settings [2].

    - SCREEN: 68707_screenshot_3.6.mp4 00:18–00:32.

    - SCREEN: 68707_screenshot_3.6.mp4 00:33–00:36.

  - Now, switch to the Validation tab [1]. Uncheck Predict RT and Predict spectra, as these options are intended for data-independent acquisition workflows [2].

    - SCREEN: 68707_screenshot_3.7.mp4 00:00–00:05.

    - SCREEN: 68707_screenshot_3.7.mp4 00:06–00:15.

  - Click on the Quant (MS1) (quant-MS-1) tab [1]. Select Run MS1 quant and then click on Load Quant defaults [2]. Choose IonQuant and leave all other settings at default values [3].

    - SCREEN: 68707_screenshot_3.8.mp4 00:00–00:05.

    - SCREEN: 68707_screenshot_3.8.mp4 00:06–00:09.

    - SCREEN: 68707_screenshot_3.8.mp4 00:10–00:20.

  - Finally, click on the Run tab to proceed [1]. Select the desired output directory [2] and click on RUN to begin analyzing the data [3].

    - SCREEN: 68707_screenshot_3.9.mp4 00:00-00:05.

    - SCREEN: 68707_screenshot_3.9.mp4 00:06-00:10.

    - SCREEN: 68707_screenshot_3.9.mp4 00:11-00:27.

# Results

- Results

  - In patients with pancreatic ductal adenocarcinoma or PDAC (P-D-A-C), SERPINA5 (serpin-A-5) and HPSE (H-P-S-E) showed significantly reduced expression [1], while FGB displayed increased expression in serum compared to normal individuals [2].

    - LAB MEDIA: Figure 7A. Video editor: Highlight the DATA labels "SERPINA5" and "HPSE" on the left side of the volcano plot.

    - LAB MEDIA: Figure 7A. Video editor: Highlight the data label "FGB" on the right side of the volcano plot.

  - In hepatocellular carcinoma tumor samples, ENO3 (eno-3), PLS3 (P-L-S-3), MTAP (M-tap), SERPINB9 (serpin-B-9), and ITPR2 (I-T-P-R-2) showed reduced expression relative to paired tissues [1], whereas ME1 (M-E-1), CYP27A1 (C-Y-P-27-A-1), RPS16 (R-P-S-16), and ATP5PF (A-T-P-5-P-F) were significantly increased [2].

    - LAB MEDIA: Figure 7B. Video editor: Highlight the data labels "ENO3", "PLS3", "MTAP", "SERPINB9", and "ITPR2" on the left side of the volcano plot.

    - LAB MEDIA: Figure 7B. Video editor: Highlight the data labels "ME1", "CYP27A1", "RPS16", and "ATP5PF" on the right side of the volcano plot.

  - Heatmap visualization revealed consistently elevated protein expression in the serum of PDAC patients compared to normal individuals [1].

    - LAB MEDIA: Figure 8A. Video editor: Highlight the right three columns labeled “PDAC_Serum_8696,” “PDAC_Serum_8568,” and “PDAC_Serum_8526” .

  - Gene Ontology enrichment analysis of PDAC serum revealed significant upregulation of processes related to coagulation and hemostasis [1].

    - LAB MEDIA: Figure 8C. Video editor: Highlight the “regulation of blood coagulation,” “ regulation of hemostasis,” and “ regulation of coagulation” on the y-axis.

  - GO analysis of hepatocellular carcinoma tumors identified enrichment in nucleotide and metabolic processes, including purine nucleotide metabolism and NAD metabolic pathways [1].

    - LAB MEDIA: Figure 8D. Video editor: Highlight the “purine nucleotide metabolic process,” “nucleotide metabolic process,” and “NAD metabolic process.”

  - KEGG (Kegg) pathway enrichment analysis of PDAC serum revealed significant activation of the complement and coagulation cascades pathway, along with glycosaminoglycan degradation [1].

    - LAB MEDIA: Figure 8E. Video editor: Highlight the “Complement and coagulation cascades” and “Glycosaminoglycan degradation.”

  - KEGG analysis in hepatocellular carcinoma tumor samples identified enrichment in PPAR (P-P-A-R) signaling, carbon metabolism, and neurodegenerative disease pathways, though with lower statistical significance [1].

    - LAB MEDIA: Figure 8F. Video editor: Highlight the lower right data points labeled “PPAR signaling pathway,” “Carbon metabolism,” “Parkinson disease”, “Huntington Disease” “prion disease”” “Alzheimer disease.”

  - The protein-protein interaction network for upregulated PDAC serum proteins revealed a central cluster involving coagulation factor XI (eleven), fibrinogen beta chain, and plasma serine protease inhibitor [1], as well as several isolated proteins including HPSE, CD5 antigen-like, and CRISP3 [2].

    - LAB MEDIA: Figure 8G. Video editor: Emphasize the central triangle formed by nodes “P03951,” “P02675,” and “P05154.”

    - LAB MEDIA: Figure 8G. Video editor: Highlight the circles “Q9Y251,” “O43866,” and “P54108” placed away from the central cluster.