# Submission ID #: 68708

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20955988

# Title: Microfluidics-Based High-Throughput Circulating Tumor Cell Sorting and Single-Cell Sequencing Technology

# Authors and Affiliations:

# Zheyu Liu1*, Ye Tian3*, Zian Zhang1, Lingling Wu2, Liang Dong1, Wei Xue1

# 1Department of Urology, Ren Ji Hospital, Shanghai Jiao Tong University School of Medicine

# 2Institute of Molecular Medicine, Ren Ji Hospital, Shanghai Jiao Tong University School of Medicine

# 3Shanghai Jiao Tong University School of Medicine

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Liang Dong                                   drdongliang@126.com

Wei Xue                                        xuewei@renji.com

# Email Addresses for All Authors:

Zheyu Liu                                     lzy02626@126.com

Ye Tian                                         late_fall@sjtu.edu.cn

Zian Zhang                                  zhang-zian@outlook.com

Lingling Wu                                 llwu@shsmu.edu.cn

Liang Dong                                   drdongliang@126.com

Wei Xue                                        xuewei@renji.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  26

Number of Shots:  56

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Preparation of Immunomagnetic Beads and Initial HB-Chip Operation for Tumor Cell Isolation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, pipette 25 microliters of washed and resuspended streptavidin-modified magnetic beads [1] into a tube containing 1 microgram of biotinylated EpCAM (Epp-Cam) antibody [2-TXT].  Incubate the mixture at room temperature while rotating at 20 revolutions per minute for 40 minutes to prepare the immunomagnetic beads [3].

    - WIDE: Talent pipetting streptavidin-modified magnetic beads into a microcentrifuge tube.

    - Talent pipetting EpCAM antibody into the tube. TXT: EpCAM: Epithelial Cell Adhesion Molecule

    - Talent placing the tube on a rotator set to 20 revolutions per minute.

  - Using a magnetic rack, separate the beads from the supernatant [1]. After removing the supernatant, resuspend the beads in 25 microliters of isolation buffer [2-TXT].

    - Talent placing the tube on a magnetic rack and allowing beads to collect at the side.

    - Talent adding 25 µL  isolation buffer to the bead pellet and gently resuspending it. TXT: Isolation Buffer: 1% BSA, 2 mM EDTA, D-PBS

  - Pipette 20 microliters of the magnetic bead suspension within 1 to 2 seconds, ensuring no air bubbles are introduced [1]. Immediately place the chip vertically on a magnet and allow the beads to settle for 5 minutes without disturbance [2].

    - Talent drawing 20 microliters of bead suspension into a pipette quickly, ensuring no bubbles form.

    - Talent positioning the chip vertically against a magnet.

  - Collect 4 milliliters of the blood sample into a syringe, ensuring air bubbles are removed [1]. Seal the chip’s inlet and outlet with liquid to eliminate air bubbles [2]. Then insert the sample inlet and outlet tubes into the chip [3].

    - Talent drawing blood into a syringe while avoiding air bubbles.

    - Talent sealing the chip’s inlet and outlet with liquid.

    - Talent connecting inlet and outlet tubing to the chip.

  - Using a syringe pump, inject the sample at a flow rate of 1.5 milliliters per hour [1]. After loading the sample, inject 60 microliters of DPBS into the HB-chip at a flow rate of 0.2 milliliters per hour to wash off unbound cells [2].

    - Talent setting the syringe pump and starting the injection.

    - Talent operating syringe pump to inject Dulbecco’s phosphate-buffered saline at the set flow rate.

  - Remove the magnet [1] and manually inject 1.5 milliliters of 5 percent BSA to wash the chip and release captured tumor cells [2].

    - Talent removing magnet from the chip.

    - Talent manually injecting bovine serum albumin solution into the chip.

- Microfluidic-based Circulating Tumor Cells (CTC) purification

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare a 10% MPTS solution in ethanol [1-TXT]. Immediately introduce 20 microliters of the solution into the HB-chip and incubate at room temperature for 1 hour [2].

    - Talent measuring and preparing (3-Mercaptopropyl) trimethoxysilane solution in ethanol. TXT: MPTS: (3-Mercaptopropyl) trimethoxysilane

    - Talent pipetting 20 microliters of the solution into the HB-chip inlet.

  - Rinse the HB-chip once with anhydrous ethanol [1]. Then dry it at 100 degrees Celsius for 1 hour [2].

    - Talent using a pipette to rinse the chip with anhydrous ethanol.

    - Talent placing the chip in a drying oven set to 100 degrees Celsius.

  - Next, prepare GMBS ester solution in ethanol at a concentration of 0.5 milligram per milliliter [1-TXT]. After cooling the chip to 37 degrees Celsius, introduce the GMBS solution and incubate [2-TXT].

    - Talent preparing GMBS solution in a volumetric flask. TXT: GMBS: N-𝛾-maleimidobutyryl-oxysuccinimide

    - Talent pipetting GMBS solution into the HB-chip inlet. TXT: Incubation: RT, 30 min

  - Rinse the HB-chip two times with double-distilled water, followed by two rinses with DPBS [1]. Immediately add 15 micrograms per milliliter of streptavidin into the HB-chip and incubate at room temperature for 1 hour or overnight at 4 degrees Celsius [2].

    - Talent the chip twice with double-distilled water and DPBS.
AUTHORS: Please perform one representative action

    - Talent pipetting streptavidin solution into the HB-chip inlet.

  - After incubation, rinse the HB-chip two times with DPBS saline [1].

    - Talent performing two Dulbecco’s phosphate-buffered saline rinses on the chip.

  - Now, mix 0.2 percent BSA  and 20 micrograms per milliliter biotinylated CD45 antibody, diluted to volume with DPBS to prepare the CD45 antibody buffer [1]. Inject 20 microliters of the CD45 antibody buffer into the HB-chip for negative selection of white blood cells [2]. After a 1-hour incubation at room temperature, rinse the chip with DPBS [3].

    - Talent preparing CD45 antibody buffer in a clean beaker.

    - Talent pipetting CD45 antibody buffer into the HB-chip inlet.

    - Talent rinsing the HB-chip with Dulbecco’s phosphate-buffered saline.

  - Add a blocking solution containing 3 percent BSA and 0.05 percent Tween-20 into the HB-chip [1-TXT].

    - Talent pipetting blocking solution into HB-chip inlet. TXT: Incubate and rinse with DPBS before sample loading

  - Aspirate the prepared sample into a syringe, ensuring no air bubbles are present [1]. Then seal the chip’s inlet and outlet with liquid [2], and connect inlet and outlet tubes to the chip [3].

    - Talent aspirating sample into syringe while avoiding air bubbles.

    - Talent sealing chip inlet and outlet with liquid.

    - Talent attaching inlet and outlet tubes to chip.

  - Using a syringe pump, inject the sample at a flow rate of 0.6 milliliters per hour [1]. Collect purified tumor cells from the chip outlet for counting and single-cell sequencing [2].

    - Talent setting and starting syringe pump for injection.

    - Talent collecting tumor cells from chip outlet into a microcentrifuge tube.

- Circulating Tumor Cell Capture, Barcoded Bead Loading, and mRNA Preparation Using the HB-Chip

Demonstrator: Click here to enter name of demonstrator(s)

  - Pipette 200 microliters of DPBS and 0.5 percent F-68 (F-Sixty-Eight) solution into the chip inlet [1]. Perform water bath sonication while holding the chip [2]. When bubbles are visible across the microporous region, continue sonication for 30 seconds to remove bubbles from the dual wells [3].

    - Talent pipetting Dulbecco’s phosphate-buffered saline and F-68 solution into chip inlet.

    - Talent submerging chip in water bath sonicator.

    - Close-up of bubbles across microporous region during sonication.

  - Next, inject 200 microliters of tumor cell suspension into the chip containing 60,000 dual wells [1-TXT].

    - Talent pipetting tumor cell suspension into chip inlet. TXT: Shake at 10 rpm/min, 5 min

  - Gently pipette the cell suspension in the chip up and down twice [1], then place on a decolorizing shaker again at for 5 minutes to resuspend uncaptured cells and allow them to settle again [2]. Now add 200 microliters of DPBS and 0.5 percent F-68 solution through inlet and aspirate from outlet [3-TXT].

    - Talent gently pipetting suspension inside chip.

    - Talent placing chip back on decolorizing shaker.

    - Talent adding wash solution through inlet and aspirating from outlet. TXT: Repeat for a total of 3 washes

  - Resuspend the barcoded bead suspension [1]. Immediately inject 200 microliters of suspension into the chip inlet [2] and shake at 10 revolutions per minute for 20 seconds [3].

    - Talent resuspending barcoded beads by pipetting.

    - Talent injecting beads into chip inlet.

    - Talent placing the chip  on a shaker set to 10 revolutions per minute.

  - Gently pipette bead suspension twice before placing it back on the shaker [1-TXT]

    - Talent gently pipetting bead suspension in chip. TXT: Repeat once

  - Now withdraw barcoded bead suspension from outlet [1]. Then pipette 200 microliters of 20x Tris-EDTA and 50 millimolar dithiothreitol solution [2].  Withdraw liquid from outlet [3-TXT].

    - Talent withdrawing bead suspension from outlet.

    - Talent adding Tris-EDTA and dithiothreitol solution into chip.

    - Talent withdrawing solution from outlet. TXT: Repeat wash for a total of 4 washes

  - For cell lysis and mRNA capture, slowly add 200 microliters of cell lysis buffer into the chip inlet [1]. Immediately add 200 microliters of mineral oil to seal the dual wells [2].

    - Talent pipetting lysis buffer into chip inlet.

    - Talent adding mineral oil immediately after lysis buffer.

  - Remove solution flowing from chip outlet into waste reservoir [1]. Then place the chip horizontally and let stand at room temperature for 5 minutes [2].

    - Talent removing waste solution from outlet.

    - Close-up of chip resting horizontally on bench.

  - Slowly add 200 microliters of 6x saline-sodium citrate solution into inlet [1].Remove the waste liquid and aspirate the remaining solution from chip outlet [2].

    - Talent adding saline-sodium citrate solution into chip inlet.

    - Talent removing waste solution from outlet and pipetting out the remaining solution from chip outlet.

  - Slowly add 200 microliters of 6x saline-sodium citrate to fill chip [1]. Hold a magnet near chip surface and move it slowly from inlet to outlet to gather barcoded beads [2]. Quickly aspirate solution and beads into a centrifuge tube containing 6x saline-sodium citrate [3].

    - Talent filling chip with saline-sodium citrate.

    - Close-up of magnet being moved along chip surface.

    - Talent aspirating bead-containing solution into centrifuge tube.

  - Wash the barcoded beads three times with 200 microliters of 6x saline-sodium citrate [1], followed by once with reverse transcription buffer [2].

    - Talent washing beads three times with saline-sodium citrate.

    - Talent washing beads once with reverse transcription buffer.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 220.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - A uniform distribution of immunomagnetic beads was observed at the bottom of the HB chip under a magnetic field [1], while minimal residual beads after magnetic removal confirmed successful release [2].

    - LAB MEDIA: Figure 2C. Video editor: please highlight the top image

    - LAB MEDIA: Figure 2C. Video editor: please highlight the bottom image.

  - The CTC (C-T-C)  isolation chip efficiently captured tumor cells from both 1 milliliter and 10 milliliter samples [1-TXT]. Using both the capture and purification chips together significantly increased tumor cell purity compared to either chip alone [2].

    - LAB MEDIA: Figure 2D. 
TXT: CTC: Circulating Tumor Cell
Video editor: Please highlight the 1mL and 10 mL bars

    - LAB MEDIA: Figure 2E. Video editor: Highlight the bars in the “Both” group

  - In peripheral blood samples spiked with 500–1000 LNCaP (L-N-Cap) cells per 10 milliliters [1], the CTC sorting system maintained high capture efficiency and purity [2].

    - LAB MEDIA: Figure 2F. Video editor: Highlight the green fluorescent cells in the “LNCaP-Calcein AM” panel.

    - LAB MEDIA: Figure 2G. Video editor: Highlight both the red bars and blue dots in the “1 mL” and “10 mL” groups.

  - The single-cell barcoding chip achieved an 85.6% cell [1] and 95.7% barcoded bead occupancy ratio [2] , resulting in a pairing rate of 81.9% [3].

    - LAB MEDIA: Figure 3D (left). Video editor: Please highlight the red bar labeled “Cell”

    - LAB MEDIA: Figure 3D (left). Video editor: Highlight the blue bar labeled “Bead”

    - LAB MEDIA: Figure 3D (left). Video editor: Highlight the green bar labeled “Pairing”

  - Increasing the number of loaded cells improved the microwell occupancy ratio [1] without reducing capture efficiency [2].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the blue line increasing toward the right side of the graph.

    - LAB MEDIA: Figure 3C. Video editor: Highlight the flat red line across the graph.

  - The integrated CTC isolation and single-cell sequencing workflow produced highly pure EpCAM-positive tumor cells [1] and accurately retained the original input cell ratios [2]. t-SNE analysis distinctly separated PC3, LNCaP, and Jurkat cells into three clusters, each characterized by unique marker expression [3].

    - LAB MEDIA: Figure 4B. Video editor: Highlight the large yellow and blue sections in the “Purified” bar.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the yellow and blue in “Purified” and “Output” bars.

    - LAB MEDIA: Figure 4A. Video editor: Highlight the three distinct color clusters.

  - The Jurkat cell cluster was identified by strong expression of TRBC1, IGLL1, CD1E, and CD3D [1], confirmed by pathway enrichment for T cell activation [2].

    - LAB MEDIA: Figure 4D. Video editor: Highlight the TRBC1, CD3D and CD1E marker plots

    - LAB MEDIA: Figure 4E. Video editor: Highlight the “alpha-beta T cell activation” and “T cell differentiation” boxes.

  - PC3 and LNCaP clusters were clearly distinguished by differentially expressed genes, with PC3 showing high microseminoprotein expression [1] and LNCaP expressing NEDD4 [2].

    - LAB MEDIA: Figure 4F–G. Video editor: Highlight the the MSMP plot in 4F

    - LAB MEDIA: Figure 4F–G. Video editor: Highlight the NEDD4 plot in 4F