# Submission ID #: 68726

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20961478

# Title: Enhancing Chimeric Antigen Receptor-Extracellular Vesicles (CAR-EV) Technology: The Future of Cancer Therapy

# Authors and Affiliations:

# Kartini Asari1, Sharenya Chelvaretnam1, Kol Thida Mom1, Sadman Bhuiyan1, Quang Pham1, Amirah Fitri1, Carlos Palma1, Mozhgan Shojaee1, Ramin Khanabdali1, Leearne Hinch1, Gregory Rice1,2

# 1INOVIQ Ltd.

# 2Centre for Clinical Research, Faculty of Medicine, The University of Queensland

# Corresponding Authors:

Ramin Khanabdali                    rkhanabdali@inoviq.com

Gregory Rice                             grice@inoviq.com

# Email Addresses for All Authors:

Kartini Asari                               kasari@inoviq.com

Sharenya Chelvaretnam          schelvaretnam@inoviq.com

Kol Thida Mom                          kmom@inoviq.com

Sadman Bhuiyan                       sbhuiyan@inoviq.com

Quang Pham                              qpham@inoviq.com

Amirah Fitri                                afitri@inoviq.com

Carlos Palma                              cpalma@inoviq.com

Mozhgan Shojaee                     mshojaee@inoviq.com

Ramin Khanabdali                    rkhanabdali@inoviq.com

Leearne Hinch                           lhinch@inoviq.com

Gregory Rice                             grice@inoviq.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?   Yes
SCREEN: 2.6.2,2.9.1, 2.11.1, 2.12.1, 2.13.1

Videographer: Please capture the screen of the instrument for all shots labeled SCREEN

3. Filming location: Will the filming need to take place in multiple locations?   No.

Current Protocol Length

Number of Steps:  12

Number of Shots:  24

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that some statements have been edited for brevity

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Gregory Rice :Our research focuses on developing exosome-based diagnostics and therapeutics. . Our objective is the engineering of Chimeric Antigen Receptor - exosome therapeutics that are safer, and more effective and accessible than cell-based therapies in treating in  solid tumors.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:3.3

What research gap are you addressing with your protocol?

  - Kartini Asari: Our EXO-NET and EXO-ACE platforms enable scalable, reproducible, and GMP-compliant exosome isolation with high yield and purity, addressing limitations of traditional methods for research and therapeutics.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Sadman Bhuiyan: EXO-NET and EXO-ACE enable rapid, scalable, and GMP-compliant EV isolation with superior purity and reproducibility, outperforming centrifugation and precipitation for research, diagnostics, and therapeutic applications.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

How will your findings advance research in your field?

  - Ramin Khanabdali: We have developed a rapid, scalable and validate method to engineer CAR-EVs and deliver next-generation cell-free targeted therapeutics, providing a robust workflow that can be applied to other disease conditions where there is clinical need.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What research questions will your laboratory focus on in the future?

  - Gregory Rice: Our next goal is to utilize the methods that we have developed to generate CAR-EV-based, targeted RNA delivery for the treatment of cancer and other inflammatory diseases

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Extracellular Vesicle Isolation and Enrichment Using Ion Exchange Chromatography and High-Throughput Pan-Exosome Capture

Demonstrator: Sadman Bhuiyan and Carlos Palma

  - To begin, bring the ion exchange column to room temperature by allowing it to stand upright for 15 minutes [1]. Using a pipette, add 10 column volumes of regeneration buffer [2], followed by 10 column volumes of equilibration buffer [3].

    - WIDE: Talent placing the column on the benchtop.

    - Talent pipetting 10 column volumes of regeneration buffer into the column.

    - Talent pipetting 10 column volumes of equilibration buffer into the column.

  - Pass the thawed conditioned medium through a 0.22-micrometer polyethersulfone filter [1].

    - Talent passing the thawed conditioned medium through a 0.22 micrometer PES filter into a clean container.

  - Now, add up to 31.2 column volumes of the filtered sample into the equilibrated column [1]. Then add 10 column volumes of wash buffer [2], followed by 2.5 column volumes of elution buffer [3]. Collect the flow through containing the enriched extracellular vesicles [4].

    - Talent loading the filtered sample into the ion exchange column using a pipette.

    - Talent adding 10 column volumes of wash buffer to the column.

    - Talent adding 2.5 column volumes of elution buffer.

    - Talent collecting the flow-through in a collection tube.

  - Using 30 kilodalton ultrafiltration centrifugal filters and a diluent, perform buffer exchange on the extracellular vesicle eluate, ensuring a minimum 100-fold dilution [1]. Adjust the final volume of the exchanged solution based on experimental needs [2].

    - Talent pipetting extracellular vesicle eluate into the 30 kilodalton ultrafiltration device and adding diluent solution.

    - Talent adjusting the final volume after buffer exchange according to experimental requirements.

  - Pass the enriched extracellular vesicle sample through a 0.22-micrometer filter to sterilize it for in vitro assays [1]. Determine the size distribution, concentration, and yield of CAR (car) extracellular vesicles using nanoparticle tracking analysis [2].

    - Talent filtering the extracellular vesicle sample through a 0.22 micrometer filter into a sterile container.

    - Talent loading the sample into the nanoparticle tracking instrument and initiating the analysis.

  - For high-throughput pan-exosome extracellular vesicle isolation, switch on the instrument [1]. Configure the settings to establish the HT EV (H-T E-V) Protein Isolation Protocol [2-TXT].

    - Talent switching on and logging into the instrument.

    - SCREEN: Shot of the HT EV Protein Isolation Protocol being selected. TXT: The system will request plate loading in reverse order

Videographer: Please capture the screen of the instrument for this shot

  - Prepare a Tip Comb Plate by placing a tip comb into a 96-well deep well plate [1]. Add 1 milliliter of PBS into each well to prepare 3 Wash Plates [2].

    - Talent placing a tip comb into a 96-well plate.

    - Talent pipetting 1 milliliter of phosphate-buffered saline into each well of three deep-well ‘Wash plates.

  - Now prepare an Elution plate by pipetting 35 microliters of 1 percent SDS buffer into each well of a 96-well plate [1]. Then prepare a Binding plate by adding 1 milliliter of the conditioned medium [2].

    - Talent pipetting 35 microliters of 1 percent SDS buffer into each well of a separate plate labeled “Elution”.

    - Talent pipetting 1 milliliter of conditioned medium.

  - On the automated isolation system, begin the protocol by selecting the program HT EV Protein Isolation Protocol and select the Play button [1]. Open the instrument to begin loading the plates [2]. Follow the instrument prompts and load the prepared Elution plates, followed by the three Wash deep-well plates into the instrument [3].

    - SCREEN: Shot of the HT EV Protein Isolation Protocol being clicked and the Play button being pressed.

Videographer: Please capture the screen of the instrument for this shot

    - Talent opening the instrument door.

    - Talent loading the plates into the high-throughput automated instrument.

  - Just prior to loading the Binding plate, add 30 microliters of pan-exosome capture beads into each well [1]. Load the Binding plate into the instrument [2]. Then, load the Tip Comb Plate [3], and close the instrument to initiate Binding [4].

    - Talent adding 30 microliters of pan-exosome capture beads into each well of the ‘Binding’ plate.

    - Shot of the binding plate being loaded into the instrument.

    - Talent loading the ‘tip well comb’ plate into the instrument.

    - Talent closing the instrument door.

  - Upon completion of the binding step, allow the system to perform three wash steps, mixing at a slow speed for 30 seconds to remove non-specific contaminants [1-TXT].

    - SCREEN: Shot of the instrument interface displaying “Wash 1”, “wash 2”, “Wash 3”. TXT” The system will execute 5 capture cycles of 30 s between each wash 
Videographer: Please capture the screen of the instrument for this shot

  - Allow the automated system to initiate extracellular vesicle lysis for protein recovery by performing a 30-second bottom mix [1]. During incubation, the instrument will pause for 7 minutes and 30 seconds while keeping the pipette tips positioned above each well [2].

    - SCREEN: Shot of the system interface displaying ‘Release’, initiating 30-second bottom mixing.
Videographer: Please capture the screen of the instrument for this shot

    - Shot of the pipette tips positioned above the wells.

  - Initiate another 30-second mix followed by another 7-minute and 30-second pause, [1-TXT]. When the protocol concludes, the system will lift the used tip comb, leaving the solution in the 96-well plate and the magnetic beads attached to the tips [2].

    - SCREEN: Shot of the mixing being initiated on the system.  TXT: The system will perform 3 cycles of capture and release, prior to bead removal from the final EV lysate
Videographer: Please capture the screen of the instrument for this shot

    - Shot of the tip comb being lifted off the plate.

  - Finally, the instrument will proceed to the Leave step, returning the Tip Comb into the Tip Comb Plate [1]. Open the instrument and remove the plates [2].

    - Shot of the tip comb being returned into the tip comb plate.

    - Talent opening the instrument cover and removing the used tip comb, binding, wash and elution plates.

# Results

- Results

  - GFP (G-F-P) fluorescence confirmed CAR (car) expression in transduced T cells, with localization evident in cell clusters [1], and co-localization verified by overlaying brightfield and GFP channels [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the GFP panel.

    - LAB MEDIA: Figure 2. Video editor: Highlight the merged image

  - Nanoparticle tracking analysis revealed a significantly higher concentration of extracellular vesicles in the enriched EV fraction compared to conditioned media for both EGFR (E-G-F-R) and HER2 (Her-Two) CAR constructs [1].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the blue EV columns for EGFR and HER2

  - Western blotting confirmed the presence of granzyme B in CAR-expressing cells and in the isolated extracellular vesicles [1], with calnexin absent in the extracellular vesicles, indicating lack of cellular contamination [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the top row “Granzyme B” EGFR CAR-T and HER2//GFP CAR-T lanes.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the calnexin row under the “EVs” column

  - EGFR-targeting CAR extracellular vesicles significantly reduced MCF-7 (M-C-F-Seven)  breast cancer cell viability by 70% [1] and K562 (K-Five-Six-Two) blood cancer cell viability by 40% [2].

    - LAB MEDIA: Figure 4A. Video editor: Please highlight the red points on the left graph (MCF-7 Breast Cancer cells)

    - LAB MEDIA: Figure 4A. Video editor: Please highlight the red points on the right graph (K-562 Blood Cancer cells)

  - HER2-targeting CAR extracellular vesicles about 10% reduction in MCF-7 breast cancer cell viability [1], while having no observable effect on K562 blood cancer cells [2].

    - LAB MEDIA: Figure 4B. Video editor: Please highlight the blue points on the left graph (MCF-7 Breast Cancer cells)

    - LAB MEDIA: Figure 4B. Video editor: Please highlight the right graph (K-562 Blood Cancer cells)