TITLE:

Improved Polydimethylsiloxane (PDMS) Double Casting via Silicone Oil Treatment for Densely Packed Microstructure Replication

AUTHORS AND AFFILIATIONS:

Yoonjae Lee, Taehoon Kim, Jae Hun Seol

School of Mechanical and Robotics Engineering, Gwangju Institute of Science and Technology, 123 Cheomdangwagi-ro, Buk-gu, Gwangju, 61005, Republic of Korea

Email addresses of the co-authors:

Yoonjae Lee		(yoonjae10@gm.gist.ac.kr)

Taehoon Kim		(enormerit@gm.gist.ac.kr)

Corresponding author:

Jae Hun Seol 		(jhseol@gist.ac.kr)

SUMMARY:

This protocol presents an improved demolding procedure for the Polydimethylsiloxane (PDMS)  double casting technique by introducing silicone oil as a non-adhesive barrier between PDMS layers. Unlike plasma or chemical surface modification methods, this approach requires no specialized or costly equipment, making it a more accessible and cost-effective alternative.

ABSTRACT:

Polydimethylsiloxane (PDMS) double casting is widely used for replicating microscale structures, including microfluidic channels and biomedical microdevices such as Bio-MEMS. Despite its versatility, strong interfacial adhesion between PDMS layers often results in incomplete replication or structural damage, particularly in densely packed microfeatures. Conventional approaches to reduce adhesion, such as plasma or chemical surface modification, require specialized equipment and can be time-consuming and costly. To address these limitations, we present an improved demolding strategy that combines thermal aging with the application of a thin silicone oil layer as a non-adhesive release barrier. A critical step in the protocol involves sweeping a tensioned thread across the surface to distribute the oil and promote PDMS penetration between micropillars evenly. This enhances mold release and preserves structural integrity without compromising delicate microstructures. The method is demonstrated using densely packed hole-array patterns, achieving clean replication with minimal dimensional deviation. This simple, reproducible, and cost-effective approach is well-suited for fabricating PDMS-based microsystems, including multilayer devices and geometrically complex features in soft lithography applications.

INTRODUCTION:

Soft-lithographic casting underpins microfluidics1,2, biosensing3,4, and analytical diagnostics5 by enabling rapid, high-fidelity pattern transfer. Various polymeric materials have been explored for this purpose, including thermoplastics6,7, UV-curable polymers8, and hydrogels9. However, these materials often involve trade-offs: thermoplastic materials are generally rigid and require high-temperature processing, which limits their ability to conform to soft or flexible features; UV-curable polymers require specialized equipment and may suffer from limited flexibility; and hydrogels are mechanically fragile and unstable under dry conditions. Among these, polydimethylsiloxane (PDMS) has become the most widely adopted casting material due to its mechanical flexibility, ease of molding, biocompatibility, and gas permeability. In particular, PDMS double casting is frequently used to replicate delicate or expensive silicon and SU-8 molds, or to duplicate non-inverted geometries such as biomimetic topographies10. Nevertheless, a persistent challenge in this method is the strong adhesion between the cured and uncured PDMS layers during the secondary casting step, driven by interfacial chain entanglement. This often results in incomplete demolding or structural failure, thereby limiting its broader applicability11.

To address this issue, various surface treatment strategies have been developed to reduce adhesion between PDMS layers. These include surface coatings12,13, varying curing conditions14, and plasma treatment15,16. However, these approaches typically require expensive equipment and involve delicate surface modification processes. As a simpler alternative, thermal aging has been proposed11,17. This technique involves heat-treating the PDMS mold to reduce the presence of uncrosslinked or low-molecular-weight chains on the surface. Studies by Kwapiszewska et al.17 and Li et al.11 have shown that thermally aged PDMS molds significantly improve replication fidelity without requiring additional chemical modification. However, even with thermal aging, problems such as adhesion-induced tearing and feature distortion persist, particularly in structures with high density and complex geometries.

This study presents an improved PDMS double casting method that combines thermal aging with an additional surface treatment using silicone oil. After the PDMS mold undergoes thermal aging, a thin layer of silicone oil is coated on the mold surface, forming a non-adhesive barrier that reduces interfacial adhesion. This simple modification significantly improves mold release performance, even for densely packed and high-aspect-ratio microfeatures, and eliminates the need for plasma treatment or specialized equipment. The protocol is designed to be reproducible and easily adoptable by users with limited access to surface modification infrastructure. Figure 1 and Figure 2 provide a detailed, step-by-step description of the fabrication and surface treatment procedure. In contrast, Figure 3 demonstrates the successful replication of high-density hole-array structures, confirming the method’s effectiveness under challenging geometric conditions.

### PROTOCOL:

- Fabrication of the PDMS mold (M2) from a silicon mold (M1) (Figure 1)

NOTE: All hexane procedures should be conducted in a fume hood or glove box to prevent inhalation of volatile organic compounds and ensure operator safety.

  - Silicon mold coating (M1)

    - Mix a solution of hexane and octadecyltrichlorosilane (OTS) in a 40:1 volume ratio in a clean glass beaker with a stirring rod.

    - Cover the glass beaker with aluminum foil to minimize evaporation.

    - Place the sealed glass beaker into a room-temperature ultrasonic bath filled with water. Sonicate at 40 kHz and 135 W for 5 min to ensure complete mixing.

    - Immerse the silicon mold (previously fabricated via deep reactive ion etching to feature a hole array) into the prepared hexane-OTS mixture for 30 min at room temperature (RT) (Figure 1A).

NOTE:  In this study, a silicon mold with dimensions of 5 cm × 0.5 cm × 725 µm was used.

    - Using clean tweezers, gently lift the entire silicon mold vertically out of the hexane-OTS solution. Immediately transfer the mold into a beaker containing neat hexane. Rinse the mold by gently agitating it back and forth 5–10 times in hexane.

    - Gently dry the mold using an N₂ blower from a distance of ~3 cm for 6–10 s. Ensure that no visible moisture remains on the surface.

  - PDMS mold fabrication (M2)

    - Mix the PDMS base and curing agent at a 10:1 ratio (w/w) in a clean plastic Petri dish for 15 min.

    - Place the mixed PDMS in a chamber and degas at 160 torr for approximately 30 min, or longer if needed, until no visible air bubbles remain on the surface.

    - Lightly coat a clean plastic Petri dish (e.g., 90 mm in diameter) with SO-100cSt (silicone oil with a viscosity of 100 cSt) using a lint-free wiper pre-soaked with SO-100cSt.

    - Place the OTS-coated silicon mold face-up in the center of the coated Petri dish. Slowly pour the degassed PDMS mixture over the mold until it is fully covered (Figure 1B).

    - Degas the mold again in the vacuum bubble remover until no visible bubbles remain.

    - Place the Petri dish on a preheated hot plate set to 90 °C and cure the PDMS for 50 min. After curing, allow the mold to cool to RT before demolding (Figure 1C).

    - Once cured, gently peel the PDMS mold from the silicon mold, taking care to preserve the microstructure (Figure 1D).

- Fabrication of the final PDMS product using the PDMS mold (M2) (Figure 2)

  - PDMS mold (M2) surface treatment

    - Place the fabricated PDMS mold on a hot plate set to 150 °C and thermally age it for 3 days in ambient air (Figure 2A).

    - After the thermal aging, immerse the mold in SO-100cSt.

    - Degas the mold under vacuum 160 torr for 10–15 min, or until no visible bubbles remain.

    - Remove the mold using tweezers and gently wipe the surface 3–5 times with a clean lint-free wiper to remove excess oil while leaving a uniform thin film (Figure 2B).

  - Minimizing the thickness of the oil layer between PDMS pillars

NOTE: This step is crucial, as an excessively thick oil layer can lead to inaccurate replication. The diameter of the thread should be determined depending on the geometry of the microstructure.

    - Prepare a PDMS mixture (10:1 w/w base to curing agent), following the same mixing and degassing steps described in step 1.2.

    - Gently pour the degassed PDMS mixture onto the PDMS mold treated with SO-100cSt, allowing it to spread across the surface (Figure 2C). Apply a sufficient volume so that the poured PDMS reaches at least halfway up the height of the micropillars.

    - Secure a 0.5 µm nylon thread under gentle tension. Swipe it once or twice across the PDMS surface in a single direction to thin out excess oil between micropillars and ensure uniform coating (Figure 2D).

    - Degas the PDMS mold with the thin PDMS layer in a vacuum chamber until no visible air bubbles remain.

  - Hole-array pattern PDMS fabrication

    - Lightly coat a clean plastic Petri dish with SO-100cSt, as described in step 1.2.3.

    - Place the PDMS mold into the coated plastic Petri dish, then pour the degassed PDMS mixture over the mold until the PDMS reaches the desired height (Figure 2E).

NOTE: In this study, the mixture was filled to a level 0.5 cm above the micropillar tips.

    - Degas the assembled mold again to remove any air bubbles that may have formed during the pouring step.

    - Cure the PDMS on a preheated hot plate at 110 °C for 10 min, or longer if needed, until fully solidified.

NOTE: The curing temperature must be sufficiently high to avoid prolonged curing times. Extended curing at lower temperatures could lead to silicone oil diffusion into the PDMS, thereby increasing adhesion between the mold and the replicated structure. In this study, the curing temperature was set to 110 °C, allowing complete curing within 10 min.

    - After curing, gently insert clean tweezers between the mold and the replica and carefully demold the final product from the mold (Figure 2F).

    - Gently wipe the final PDMS product using a wiper soaked in isopropyl alcohol to remove any residual SO-100cSt or dust.

    - Dry the surface using a N2 blower.

REPRESENTATIVE RESULTS:

A silicon mold (M1) featuring a densely packed array of circular holes was used to evaluate the improved double casting method. Figure 3A illustrates the SEM image of the top surface demonstrating a uniform pattern of hole array with a diameter of 143 µm and a period of 150 µm. The side-view image reveals a hole depth of 284 µm in Figure 3B, corresponding to an aspect ratio of approximately 2:1 and confirming a tightly packed microstructure layout. Replication using this mold produced a PDMS mold (M2) with micropillar features measuring 142 µm in diameter and 283 µm in height, as determined from SEM analysis of the top (Figure 4A) and side views (Figure 4B), respectively. These dimensions closely matched those of the original silicon mold, indicating successful and precise geometry transfer.

Following thermal aging of the primary PDMS mold (M2) at 150 °C for 3 days, a thin layer of SO-100cSt (100 cSt silicone oil) was coated onto the PDMS mold. In this study, SO-100cSt was selected for its moderate viscosity, enabling uniform coating across complex microstructures. A small amount of uncured PDMS was then dispensed onto the mold surface. To ensure uniform coverage and proper filling of the micropillar gaps, a tensioned thread was gently swept across the mold surface as shown in Figure 2D. This mechanical sweeping step helped distribute the SO-100cSt into a uniform, thin layer while guiding the PDMS prepolymer between densely packed micropillars. Figure 5 presents side-view optical microscope images that trace how thermal aging time and silicone oil viscosity influence PDMS double casting. Figure 5A (1 day aging at 150 °C, followed by coating with SO-100cSt) shows almost complete destruction of the wall features; severe tearing during demolding makes individual pillars unrecognizable, proving that 1 day of aging is insufficient to reduce interfacial adhesion. Figure 5B (2 days aging at 150 °C, followed by coating with SO-100cSt) displays distinct pillar outlines, but most walls are still ripped away, so 2 days does not yet guarantee reliable release. Figures 5C–E were prepared after 3 days of aging. In Figure 5C, no oil was applied, and the cured and uncured PDMS became interfacially cross-linked, leading to recombination between mold and replica. Figure 5D shows the result obtained with MR-100 oil (44.6 cSt). Because the oil readily flowed off the vertical sidewalls, it failed to form a continuous release layer. During demolding, the exposed areas experienced high friction, which caused extensive pillar fracture and partial tearing of the replica. Figure 5E employed SO-1000cSt; the thick oil layer hindered mold filling, so the replica solidified into wave-like ridges instead of discrete pillars. In contrast, when the optimized condition of thermal aging and SO-100cSt coating was employed, the final product exhibited high-quality features, including hole-patterned microstructure measuring 148 µm in diameter and 280 µm in height, as confirmed by top- and side-view SEM images (Figure 6A,B). The slight increase in diameter and reduction in height are likely attributed to the presence of the SO-100cSt layer, which serves as a non-adhesive barrier but may introduce minor dimensional variations. Despite these small deviations, the replicated structures preserved their intended geometry and structural integrity. Notably, micropillars with widths as narrow as 28 µm exhibited no signs of collapse or distortion, highlighting the mechanical robustness of the process. These results demonstrate that the proposed method enables reliable replication of high-density and mechanically fragile microstructures.

FIGURE AND TABLE LEGENDS:

#### Figure 1: Schematic illustration of the PDMS mold (M2) fabrication process. (A) Silicon mold immersed in hexane + OTS solution for surface coating. (B) Degassed PDMS poured over hexane + OTS coated silicon mold in SO-100cSt-coated Petri dish. (C) Curing PDMS at 90 °C. (D) Cured PDMS mold peeled off from the silicon mold.

#### Figure 2: Schematic illustration of the fabrication process for the final PDMS replica using a PDMS mold (M2). (A) Thermal aging of PDMS mold on hot plate at 150 °C for 3 days. (B) PDMS mold after SO-100cSt treatment and removal of excess oil. (C) Application of thin PDMS layer on mold. (D) Insertion of PDMS between micropillars using tensioned thread. (E) Pouring additional PDMS for final casting. (F) Demolding final PDMS product after curing. Only the main steps are illustrated. Supporting steps such as mixing, degassing, and post-processing are omitted for clarity.

#### Figure 3: Hole-array patterned silicon mold (M1). SEM images of the (A) top-view and (B) side-view.

Figure 4: Pillar array PDMS mold (M2). SEM images of the (A) top-view and (B) side-view.

Figure 5: Side-view optical microscope images of PDMS double casting results under various thermal aging durations and silicone oil treatment conditions. (A) 1 day aging followed by coating with SO-100cSt. (B) 2 days aging followed by coating with SO-100cSt. (C) 3 days aging with no oil coating. (D) 3 days aging with MR-100 oil. (E) 3 days aging with SO-1000cSt.

Figure 6: Final PDMS replica. SEM images of the (A) top-view and (B) side-view.

DISCUSSION:

This protocol introduces a cost-effective and reproducible approach for PDMS double casting that combines thermal aging with silicone oil surface treatment to overcome demolding challenges in microfabrication. Conventional techniques such as chemical surface treatments or thermal aging alone often require specialized equipment or provide inconsistent results, especially when replicating dense, high-aspect-ratio features. By integrating thermal aging with a non-adhesive barrier, our method simplifies implementation while improving replication fidelity and demolding success in densely packed microfeatures such as micropillar arrays.

A crucial step for successful replication is the application of SO-100cSt using a tensioned thread. This sweeping technique ensures uniform oil distribution across the master mold and effectively removes excess oil trapped between micropillars. The resulting thin and uniform oil layer minimizes adhesion between PDMS layers, thereby reducing the risk of tearing or distortion of the replicated structures. In parallel, thermal aging at 150 °C for 3 days plays an important role in eliminating uncured low-molecular-weight (ULMW) chains on the PDMS mold surface, changing the surface energy, and decreasing surface roughness, which improves replication quality11. The interplay of these two steps is essential for achieving consistent, high-resolution duplication of complex geometries.

To improve replication fidelity and ensure reproducibility, the viscosity of the silicone oil used for surface treatment was carefully selected. The oil viscosity directly influenced both the coating thickness and its function as a demolding barrier. Oils with excessively high viscosity tend to form thick residual layers that cannot be sufficiently removed by thread sweeping, leading to measurable distortion of micropillar dimensions after curing. Conversely, low-viscosity oil failed to form an effective barrier, resulting in strong interfacial adhesion and incomplete demolding. A SO-100cSt was selected as an optimal balance, minimizing the change in feature geometry. This refinement allows the protocol to achieve reliable demolding performance while maintaining high replication fidelity.

Despite improved performance, certain limitations remain. For instance, in structures with extremely high aspect ratios or ultra-soft features, frictional forces during demolding may still cause deformation or breakage. Also, the protocol depends on precise manual handling, such as applying appropriate pressure and maintaining consistent tension during the threading step. This may compromise reproducibility if not performed by adequately trained personnel. Future developments may include automated oil application systems and the formulation of custom silicone oils to improve coating stability and demolding performance.

Beyond soft lithography and microfluidics, this approach may find utility in biomedical device fabrication, elastomeric sensors, and implantable microstructures where gentle demolding is critical. The protocol’s compatibility with complex geometries and potential integration with bioinspired substrates could further extend its application space. Additionally, its simplicity and reproducibility make it well-suited for resource-limited settings.

ACKNOWLEDGMENTS:

This research was supported by the Challengeable Future Defense Technology Research and Development Program through the Agency for Defense Development (ADD), funded by the Defense Acquisition Program Administration (DAPA) in 2023 (No.915027201)

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES

1. 	Morbioli, G. G., Speller, N. C., Stockton, A. M. A practical guide to rapid-prototyping of PDMS-based microfluidic devices: A tutorial. Anal Chim Acta 1135, 150–174 (2020).

2.	Olmos, C. M. et al. Cost-effective fabrication of photopolymer molds with multi-level microstructures for PDMS microfluidic device manufacture. RSC Adv. 10 (7), 4071–4079 (2020).

3.	Wang, B. et al. A highly sensitive tapered fiber biosensor modified by PDMS combustion product and graphene oxide for MUC1 detection. Sens Actuators Rep. 9, 100287 (2025).

4.	Staicu, C. E., Jipa, F., Axente, E., Radu, M., Radu, B. M., Sima, F. Lab-on-a-chip platforms as tools for drug screening in neuropathologies associated with blood–brain barrier alterations. Biomolecules. 11 (6), 916 (2021).

5.	Chudy, M. et al. Miniaturized tools and devices for bioanalytical applications: an overview. Anal Bioanal Chem. 395 (3), 647–668 (2009).

6. 	Aghvami, S. A. et al. Rapid prototyping of cyclic olefin copolymer (COC) microfluidic devices. Sens Actuators B Chem. 247, 940–949 (2017).

7. 	Amadeo, F., Mukherjee, P., Gao, H., Zhou, J., Papautsky, I. Polycarbonate masters for soft lithography. Micromachines. 12 (11), 1392 (2021).

8.	Lim, W. -B. et al. A novel UV-curable acryl-polyurethane for flexural 3D printing architectures. Addit Manuf. 51, 102625 (2022).

9.	Asad, A., Sadrzadeh, M., Sameoto, D. Direct micropatterning of phase separation membranes using hydrogel soft lithography. Adv Mater Technol. 4 (7), 1800384 (2019).

10. 	Soffe, R., Bernach, M., Remus-Emsermann, M. N. P., Nock, V. Replicating Arabidopsis model leaf surfaces for phyllosphere microbiology. Sci Rep. 9 (1), 14420 (2019).

11. 	Li, S., Van Nguyen, S., Lee, B.-K. Role of heat treatment in improving replication quality of PDMS double-casting. Soft Matter. 18 (18), 3473–3478 (2022).

12.	Gitlin, L., Schulze, P., Belder, D. Rapid replication of master structures by double casting with PDMS. Lab Chip. 9 (20), 3000–3002 (2009).

13.	Zhuang, G., Kutter, J. P. Anti-stiction coating of PDMS moulds for rapid microchannel fabrication by double replica moulding. J Micromech Microeng. 21 (10), 105020 (2011).

14.	Sung, J., So, H. Facile and cost-effective PDMS double-casting method based on curing temperature and ratio for solvent detecting applications. Sens Actuators B Chem. 387, 133834 (2023).

15.	Shao, G., Wu, J., Cai, Z., Wang, W. Fabrication of elastomeric high-aspect-ratio microstructures using polydimethylsiloxane (PDMS) double casting technique. Sens Actuators A Phys. 178, 230–236 (2012).

16.	Kim, S. -H., Lee, S., Ahn, D., Park, J. Y. PDMS double casting method enabled by plasma treatment and alcohol passivation. Sens Actuators B Chem. 293, 115–121 (2019).

17.	Kwapiszewska, K., Żukowski, K., Kwapiszewski, R., Brzózka, Z. Double casting prototyping with a thermal aging step for fabrication of 3D microstructures in poly(dimethylsiloxane). AIMS Biophys. 3(4), 553–562 (2016).