TITLE:

Electrophysiological Methods to Assess Peripheral Pain Block in an Anesthetized Rat

AUTHORS AND AFFILIATIONS:

David B Green1, Shane A Bender2, Mohamed Elazab1, Varun S Thakkar2, Hope L Zimmerman1, Gustaf M Van Acker1,2, Tina L Vrabec1,2

1Department of Physical Medicine and Rehabiliation, The MetroHealth System, Cleveland, OH, USA

2Department of Physical Medicine and Rehabilitation, Case Western Reserve University School of Medicine, Cleveland, OH, USA

Email addresses of the co-authors:

Shane A Bender		(sxb1117@case.edu)

Mohamed Elazab		(mxe324@case.edu)

Varun S Thakkar		(vxt145@case.edu)

Hope L Zimmerman		(hlz6@case.edu)

Gustaf M Van Acker		(gvanacker@metrohealth.org)

Tina L Vrabec			(tlv@case.edu)

Corresponding author:

David B Green			(dbg36@case.edu)

# SUMMARY:

Here, we present a method for assessing the activation and block of sensory axons in peripheral nerves in acute, anesthetized, in vivo rat experiments using two types of spinal electrophysiological measurements that can discriminate the activity of nerve fiber subtypes: Local Field Potentials and Wide Dynamic Range single neuron recordings.

# ABSTRACT:

In vivo electrophysiological recordings from the lumbar region of the rat spine can be used to study the activation of sensory neural signals in the hindlimbs, as well as the efficacy of therapeutic interventions that interrupt ascending pain signals.

Here, we describe the surgical procedures (laminectomy and sciatic nerve exposure), data collection, and analysis of two complementary electrophysiological signals: local field potential recordings and wide dynamic range single neuron recordings. Both differentiate activation of nerve fiber subclasses based on conduction velocity relative to an electrical stimulation pulse.

Local field potentials (LFP) can differentiate between A α/β and C nerve fibers but cannot detect Aδ activity. They provide information about the global activation of the whole sciatic. Following electrical direct stimulation of the sciatic nerve using a J-cuff style bipolar electrode, area under the curve measurements of the two troughs corresponding to each component are calculated.

Wide dynamic range (WDR) single neuron recordings assess the activity of a subset of sciatic activation, and can differentiate Aα/β, Aδ, and C fiber types. Electrical stimulation can be applied directly to the sciatic as with LFP, or via needle electrodes placed in the plantar surface of the hindpaw. This higher-frequency signal yields high signal-to-noise action potential spikes. Spike counts within predefined latency windows reflect the level of activity of the various fiber types.

To date, these techniques have been used to assess the temporal properties of two different pain block modalities: Direct current electrical nerve block using a custom-made Carbon Separated Nerve Interface Electrode (CSINE), and photobiomodulation using an 830 nm laser. This surgical preparation has been used for nerve block interventions for up to 5 h.

# INTRODUCTION:

Directly blocking pain signals in peripheral nerves prior to reaching the spinal cord has potential for several pain therapy applications, such as knee osteoarthritis and post-amputation phantom limb syndrome1–4. In general, such pain therapy interventions would reduce/eliminate the systemic side effects noted in current pharmaceutical anesthetics and analgesics1,2.

Two types of complementary electrophysiological measurements can be recorded from the lumbar spinal cord to assess peripheral sensory activation: local field potentials (LFP)3,4 and wide dynamic range (WDR)5–7 single neuron recordings. LFP can be recorded from the spinal dorsal columns. They are used to measure the activation of the whole sciatic nerve; the LFP represents the responses of many cells, including excitatory postsynaptic potentials in the dendrites and action potentials recorded from the soma and axon terminals. They have been used to study spinal cord neuroplasticity3 and the pain-mitigating effects of electrical spinal cord stimulation8. From the LFP signals, one can measure the amplitude of large, myelinated Aα/β as well as the amplitude of unmyelinated C-fibers3. WDR neurons are present in the dorsal horn of the L4 and L5 spinal cord. These neurons are multi-receptive; they receive, and faithfully transmit, input from all subclasses of sensory neuron: nociceptive Aδ- and C-fibers, and non-nociceptive Aα/β-fibers7,9–11. Therefore, based on the latency with respect to the sensory stimulus, the activity of WDR neurons provides detailed information about peripheral sensory activity5. Such recordings have been used previously to assess sensory block using direct current (DC)9 and kilohertz frequency alternating current (KHFAC)10. Both techniques use the latency of the recorded signals to discriminate between the various subclasses of sensory peripheral nerve fibers; this is because of the different conduction velocities of the subclasses of nerve fibers12. The signals are complementary because LFP recordings reflect the activity of the whole sciatic nerve but can only distinguish Aα/β from C-fibers and don't detect Aδ13,14. At the same time, WDR recordings reflect the activity of a subpopulation of sciatic nerve fibers but can discriminate Aα/β, Aδ, and C-fibers7,9–11. This disadvantage can be overcome by multicontact electrode arrays to simultaneously record multiple WDR neurons15.

Different peripheral nerve fiber subtypes convey different types of sensory or motor signals. For example, large, myelinated sensory fibers transmit tactile signals whilst smaller, unmyelinated fibers transmit pain signals16–18. When assessing nerve block technologies, it is important to understand which fiber subtypes are primarily affected because it would be clinically advantageous to block pain signals while preserving tactile sensation. Furthermore, complex temporal properties of peripheral nerve block have been observed. For example, the local anesthetic lidocaine initially blocks only unmyelinated C-fibers, then proceeds to block myelinated fibers later19. Following a complete block of all nerve fibers with lidocaine, fiber-type differences have also been observed in recovery from block20. The electrophysiological technique described here allows researchers to elucidate the temporal properties of peripheral nerve block methodologies on the various subpopulations of sensory nerve fibers. To date, we have used this method to assess block using direct current electrical block21,22, kilohertz frequency alternating current electrical block23, and photobiomodulation using near infrared wavelengths24,25. These techniques would also be suitable to investigate other interventions that act locally on a peripheral nerve, such as cold, heat, and chemical injections26–28.

Assessment of peripheral nerve therapies often employs disease models of inflammatory29 or neuropathic pain30 combined with behavioral tests of mechanical and thermal hypersensitivity31. The electrophysiological methods described here can quantify the neural activity changes that would contribute to a reduction in pain sensation. Furthermore, they can provide useful data on any undesirable effects of peripheral nerve block, such as the block of large sensory fibers involved in tactile sensation.

# PROTOCOL:

This protocol involving animal experiments was approved by the Institutional Animal Care and Use Committee (IACUC) of Case Western Reserve University (CWRU). Case Western Reserve University is an AAALAC-accredited institution and conforms to appropriate federal, state, and local laws and regulations, as well as institutional policies. Our research group was trained and certified by CWRU staff.  When working on IACUC-approved protocols, we adhere to Public Health Service policy and the Guide for the Care and Use of Laboratory Animals (8th edition)32.

NOTE: The parameters for ventilation, anesthesia, and other drug administration described herein have been successfully used for adult rats of either sex in the weight range of 350–500 g.

## Anesthesia and ventilation

  - Induce anesthesia in a sealed acrylic box with 5% isoflurane. Once the rat is completely unconscious, move to a nose cone for shaving. Using electric clippers, remove fur from the back and the left hind leg from the iliac crest to the knee joint.

NOTE: The rat is ready for intubation when spontaneous respiration occurs at a rate of 15–30 breaths/min.

  - Intubate the rat in a supine position with the sheath from a 14 G angiocath IV catheter (a 16 G catheter may be more appropriate for smaller animals) and a laryngoscope with a Miller 0 or 00 size blade.

  - To improve visibility of the vocal cords, gently prop the tongue up using non-crushing forceps. Validate the intubation by chest excursion and ventilatory rate, which coincides with the rate of chest elevation.

  - Use positive pressure ventilation at a stroke rate of 60/min and a stroke volume of 3–5 cc/stroke, while keeping the isoflurane concentration at 1%–3%.

  - Catheterize a lateral caudal tail vein with a 22 G intravenous catheter. To improve visibility, cleanse the tail vein on the lateral side of the tail with lukewarm water and 70% isopropyl alcohol.

  - Inject approximately 1 mL of sterile saline while carefully monitoring flow through the catheter. Any edema indicates incorrect placement of the catheter.

  - Using polyethylene tubing, connect the inserted catheter to a syringe of rocuronium solution (2 mg/mL) mounted in a syringe driver. Do not start the infusion until ready to perform spinal recordings.

## Surgery

NOTE: All surgical procedures should be performed on the baseplate of a small animal stereotaxic apparatus. The rest of the stereotaxic equipment can be assembled in stages as the surgery progresses.

  - Spinal surgery

    - For a right-handed surgeon, position the rat with the tail to the right and the head to the left. A left-handed surgeon may prefer to position the rat with the head to the right.

    - Feel for the caudal-most rib on the left flank of the rat and follow it up to the spine. Using a scalpel, make a midline incision approximately 60 mm centered on this point.

    - Use the scalpel to scrape the tissue from the spinous processes. Use scissors to expose the ribs and locate the caudal-most rib.

    - Using the blunt dissection technique (insert scissors closed, then open scissors to separate tissue), confirm the caudal rib visually and tactilely. Use a surgical microscope at this step (3.5x–45x magnification). The caudal rib joins the rostral aspect of the T13 vertebra. Mark the T13 spinous process using a permanent marker.

    - Stabilize the spine using spinal clamps at the T11 and L4 vertebrae. To do this, use blunt dissection to create a pocket on both sides of each vertebra.

    - Slide the two vertical posts with base mounts into the T-track in the stereotax platform, align with T11 and L4 vertebrae, but do not tighten. Insert the cylindrical shafts of the vertebrae clamps into the post clamps, but do not tighten.

    - Starting with T11, hold the spine using toothed forceps, insert the jaws of the spine clamps on either side of the vertebrae, at approximately 45° away from the T13 vertebra, and tighten the jaws of the spine clamp. Then tighten the shaft of the spine clamp in the post clamp. Repeat this process for L4 vertebra.

    - Elevate both post clamps to lift the spine such that the torso of the rat is supported via the spine clamps (Figure 1A). This reduces respiration-related movement artifacts in the electrophysiological recordings.

    - Mark the rostro-caudal position of the T13 and L1 spinous processes using single sutures in the muscle surface lateral to the spine.

NOTE: The spinous process landmarks will be removed during the laminectomy.

  - Laminectomy

    - Temporarily position the U-shaped stereotaxic frame so that the horizontal rail can be used to rest the heels of the hands whilst performing this delicate procedure (Figure 1B). It should be removed prior to the sciatic nerve surgery.

    - Clear muscle and connective tissue from the surface of the vertebral laminae between T12 and L3 using toothed forceps, scissors, and scraping with a scalpel. Under a surgical microscope, use Friedman-Pearson Rongeurs to remove the vertebral laminae of L2 to T13.

    - To start, position the rongeurs close to horizontal and take small bites from the caudal portion of L2 where it overlaps L3. Extend the laminectomy rostrally to expose the midline of the spinal cord, taking care to minimize pressure on the spinal cord, and regularly clearing bone fragments from rangers.

    - Finally, extend the laminectomy laterally 2 mm on each side of the midline. Remove the dura mater from the exposed spinal cord using fine forceps and spring scissors.

    - Tent the dura mater prior to making any cuts. A small amount of cerebrospinal fluid will flow from the dura mater after the first cut. Gently soak this up with a twisted piece of lint-free tissue before removing the remaining section of dura mater.

    - Cover the laminectomy with a piece of saline-dampened tissue until the electrophysiology recording period.

  - Sciatic nerve surgery

    - Remove the stereotaxic U-shaped frame to access the animal's leg. Expose the sciatic nerve at the mid-thigh level by making an incision with a scalpel (Figure 1C). Clear connective tissue from the nerve using blunt dissection. The amount of exposed nerve will depend on whether the nerve is being electrically stimulated.

    - Place the device for a nerve block adjacent to the exposed nerve. Ensure the stimulation electrode and nerve block device are both proximal to the branch point at which the sciatic divides into the tibial, sural, and peroneal nerves33. Replace the stereotax frame and add the stereotax arm to prepare for electrophysiological recordings (Figure 1D).

    - Perform stimulation for WDR neuron recordings either on the plantar surface of the hindpaw or via direct stimulation of the sciatic using a nerve cuff electrode. For LFP recordings, perform stimulation via direct stimulation of the nerve because activation via foot stimulation causes the C-fiber notch to become too diffuse to detect.

    - If the sensory stimulation is being applied directly to the sciatic nerve, place a custom-made bipolar platinum J-cuff style electrode around the nerve34, exposed contact size 1 mm x 3 mm (comparable nerve cuff electrodes can be custom-made by MicroProbes for Life Science, Gaithersburg, MD, or World Precision Instruments, Sarasota, FL).

    - For the most effective direct nerve stimulation, ensure the electrode is placed proximal to the branch point at which the sciatic divides into the tibial, sural, and peroneal nerves33.

    - For plantar stimulation, insert two 13 mm stainless steel needle electrodes, inside of the 5th and outside of the 4th digits, close to the plantar surface.

## Electrical stimulation

  - If using neve cuff stimulation, start systemic infusion of rocuronium solution (2 mg/mL  at a rate of 1–1.4 mL/h). Systemic infusion of rocuronium should take effect within 30–60 s. Look for stimulation-related movement in the hindpaw and adjust the infusion rate as necessary to ensure that all movement is eliminated.

  - Apply current-controlled electrical stimulation to either the plantar surface of the foot or the sciatic nerve using a biphasic rectangular isolated pulse stimulator, using stimulation parameters: pulse width 1–5 ms, pulse rate 0.1–0.2 Hz, amplitude 1–10 mA peak-to-peak.

  - Adjust the stimulation parameters during the electrophysiological recordings, described in the following section, to ensure maximal stimulation of all fiber subtypes.

  - The stimulator has a trigger output signal, separate from the current-controlled stimulation pulse. Connect this to the data acquisition device to synchronize the electrophysiological data with the stimulation pulse. See the next section for further details.

## Electrophysiological recordings

  - Insert hypodermic needles (21 G, 1 ½ inch) into the muscle on each side of the spine, parallel to the spine. Connect the grounding needle to the metal housing of each of the head stages.

  - Connect the reference needle to each of the reference inputs on the head stages. Each of the 8 channels on the amplifier has its own BNC output port, connected to a separate analog-to-digital channel on the data acquisition device.

  - Digitize the signals continuously (20 kHz sampling frequency) and display (Spike2 software). Using a BNC cable, connect the trigger pulse output (labeled 'TRIG OUT') from the isolated pulse stimulator to one of the digital input channels on the data acquisition device.

  - In the software, set up the trigger channel to record Events. This will allow analysis of the LFP or WDR signals relative to the time of each electrical stimulation.

NOTE: LFP and WDR recordings can be made with the same custom microelectrode array (1 x 8 multielectrode array, 500 µm spacing between shafts, 1 MΩ impedance, custom-made). Penetration depth and amplifier bandpass filter settings are the key differences between signal types. The array was held and connected to the stereotax using a custom 3D printed connector (Figure 2A). However, a commercially available alternative is available (Figure 2B,  Standard Electrode Holder [Table of Materials]).

  - For LFPs, insert the array oriented in the rostrocaudal direction, with the rostral-most electrode level with the suture marking the T13 spinous process, as close to midline without damaging the midline blood vessel. The strongest signals are between the cord surface and 300 µm depth.

  - Set bandpass filters on the amplifier to 10–100 Hz, with 1,000x gain. Add a 60 Hz notch filter (or 50 Hz, depending on geographical location) to remove mains power noise. Signal strength quality will differ across the array. Select the best signal to use for further analysis.

  - WDR neurons are distributed throughout the lumbar enlargement of the spinal cord, in the dorsal horn from 600–1200 µm deep and 200–800 µm lateral to midline, ipsilateral to the stimulation.  Set bandpass filters on the amplifier to 300–10,000 Hz, with 10,000x gain. Use a notch filter for these recordings as well, although mains noise is typically removed by the bandpass filter.

  - Adjust the stimulation parameters while observing the electrophysiological signal. Adjust the stimulation amplitude and pulse width to ensure maximal activation of all nerve fiber subtypes.

NOTE: Large myelinated fibers (Aα/β) have the lowest activation thresholds, followed by small myelinated fibers (Aδ). Unmyelinated C-fibers require higher stimulation pulse widths and amplitudes to generate action potentials via electrical stimulation.

  - Starting at 1 ms pulse width, increase the amplitude until all components of the signal are seen. If the higher threshold C-fibers cannot be seen, increase the stimulation pulse width.

  - For LFP recording, observe the short latency, low threshold A-fiber response between 40–100 ms, and the longer latency, high threshold C-fiber response between 150–350 ms (Figure 3B)3,8.

  - For WDR recordings, use the following post-stimulus latencies to identify nerve fiber subtypes: Aα/β: 0 - 25 ms, Aδ: 25 - 100 ms, and C: 100–500 ms (Figure 3C)5–7.

## Peripheral nerve block

  - Using a carbon separated nerve interface electrode (CSINE)21, apply 0.1–5 mA cathodic direct current to the sciatic nerve, proximal to the stimulating cuff (if applicable). Example block trials of LFP and WDR recordings are shown in Figure 4 and Figure 5.

REPRESENTATIVE RESULTS:

The data generated using this protocol allow one to assess the relative amount of block for subclasses of sensory nerve fibers. It also allows the temporal properties of the block to be assessed; both the rate at which block in induced, and the rate of recovery following the cessation of the blocking stimulus35. For the LFP measurements the activation of fibers is determined by calculating the area under the curve for the specific time period corresponding to the fiber type of interest. In Figure 4, direct current was applied to the sciatic for 32 s to block nerve conduction. Block is induced in A- and C-fibers at approximately the same rate, as shown by a reduction of the area for both fiber types as compared to baseline. The blocking current was switched off at complete block and the recovery from block can be assessed for each fiber class. In this example, the A fibers recover full functionaly after approximately 250 s, whereas the C-fiber recovery takes considerably longer, approximately 14 min.

Analysis of WDR can provide a more detailed picture of the nerve fibers subtype-specific properties of the blocking stimulus. In Figure 5 longer latency C-fibers take longer to block and recover faster than shorter latecy C-fibers. The potential significance of this is yet to be determined.

FIGURE AND TABLE LEGENDS:

Figure 1: Surgical procedure. (A) Stabilize the spine with spine clamps attached to vertical, T-track mounted posts. (B) Position the stereotax frame temporarily to use as a hand rest while performing the laminectomy and removal of the dura mater. (C) Remove the stereotax frame to access the rat's hind leg and expose the sciatic nerve. (D) Replace the stereotax frame and add the stereotax arm to prepare for electrophysiological recordings

Figure 2: Microelectrode array and single microelectrodes. (A) The 1 x 8 microelectrode array was held by a 3D printed attachment to connect with the stereotax. (B) Alternatively, single microelectrodes can be used when mounted inside a glass capillary tube.

Figure 3: Experimental setup. (A) The pain signals are elicited either in the foot (with needle electrode stimulation) or via direct stimulation of the sciatic nerve. The blocking electrode is placed proximally to the stimulating electrode and will deliver DC current via the CSINE. Recordings in the spinal cord will be made of either the local field potentials (LFP) or of a single neuron that receives input from a wide gamut of fiber sizes, including both unmyelinated and myelinated fibers, called a wide dynamic range (WDR) neuron. Example recordings  (B)  LFP and a (C) WDR neuron.

Figure 4: Direct current block of local field potential. Normalized LFP area plot showing progression to complete block for both A- and C-fibers. Recovery is rapid for C-fibers and slow for A-fibers.

Figure 5: Direct current block of a wide dynamic range neuron. Raster plot showing the progression to total nerve conduction block resulting from application of 2.8 mA direct current. Recovery from block is staggered; C-fibers initially, followed later by large, myelinated fibers.

# DISCUSSION:

This method describes the collection of two complementary electrophysiological signals that can be used to measure the efficacy of potentially therapeutic interventions to block sensory signals in peripheral nerves.

Local field potentials (LFP) can be recorded from the spinal dorsal columns using high impedance (1 MΩ) microelectrodes. They are used to measure the activation of the whole sciatic nerve; the LFP represents the responses of many cells, including excitatory postsynaptic potentials in the dendrites and action potentials recorded from the soma and axon terminals36,37. They have been used for studying spinal cord neuroplasticity3 and the pain-mitigating effects of electrical spinal cord stimulation8. The LFP signals allow for quantification of the amplitudes of both large, myelinated Aα/β fibers and unmyelinated C-fibers3. Wide dynamic range (WDR) single neuron recordings yield a more detailed recording of the activation of nerve fiber subtypes.

Wide dynamic range (WDR) neurons reside in the dorsal horn of the L4 and L5 regions of the spinal cord. These neurons are multi-receptive, responding reliably to input from all subclasses of sensory fibers, including nociceptive Aδ- and C-fibers as well as non-nociceptive Aα/β-fibers7,9–11. Therefore, based on the latency with respect to the sensory stimulus, WDR neuron activity offers precise insight into peripheral sensory activity5. Such recordings have previously been employed to evaluate sensory nerve block using both DC9 and KHFAC10. Using high impedance (1 MΩ) sharp tungsten electrodes, action potentials of individual WDR neurons have been recorded with a high signal-to-noise ratio. This single neuron extracellular recording technique offers superior specificity of nerve fiber type recordings. We propose to use this combined with LFPs. Unlike LFP recordings, each WDR neuron reveals a subset of the activation of the sciatic nerve. To overcome this disadvantage, it is possible to use multichannel amplifiers with multielectrode arrays to record numerous WDR simultaneously.

Sharp metal microelectrodes of 1 MΩ impedance can be used to record both LFP and WDR signals. The insertion depth and amplifier bandpass filter settings are the critical differences between the two signals. Data shown in the present manuscript were collected using a custom array (Microprobes, Gaithersburg, MD). One other company can provide comparable custom arrays (Neuronexus, Ann Arbor, MI), but we are unaware of any suppliers of microelectrode arrays that are not custom-made. Single-channel recordings are possible using single electrodes (1 MΩ tungsten, part number WE30031.0A3, or 1 MΩ platinum iridium, part number PI20031.0A3 Microprobes, Gaithersburg, MD). These electrodes can be mounted inside a glass capillary tube (part number 9530-2, Corning Life Science Products, Corning, NY). The tubes need to be cut approximately in half. Insert the microelectrode until 3 mm protrudes and secure at both ends using gel super glue (Gorilla Glue Company, Cincinnati, Ohio). These can be held using a stereotax electrode holder (Model 1770 Standard Electrode Holder, David Kopf Instruments, Tujunga, CA) and used in the same manner as for the electrode array (Figure 2B).

Preliminary electrical nerve block experiments revealed that movement artifact contaminates the A-fiber peak of the LFP. When stimulating the sciatic nerve directly via a nerve cuff electrode, action potentials are transmitted in both directions: afferent signals travel towards the spine and generate the electrophysiological signals that are used in this assay; efferent signals travel to the muscles and generate muscle activation. Initially, it was thought that cutting and/or ligating the nerve distal to the simulation cuff would be an appropriate countermeasure. However, whilst this approach eliminated movement, it also caused the nerve to desiccate over a period of 1–2 h so that the stimulation cuff could no longer activate sensory action potentials. The use of the neuromuscular blocker, rocuronium, successfully eliminates movement artifacts whilst preserving nerve health. The use of systemically administered neuromuscular blockers necessitates the use of positive pressure ventilation. However, ventilation also reduces breathing-related noise for all electrophysiological signals, making it beneficial for WDR recordings too.

The in vivo method described here can be used to assess the temporal properties of block induction and recovery35 and can be used to quantify partial nerve conduction block21,22. Stimulation rates of greater than 0.3 Hz, of sufficient amplitude to cause C-fiber activation, lead to windup, a neuroplastic potentiation of pain-related activity in the spinal cord38. To avoid this phenomenon and hence assess solely the effects of peripheral nerve block, we kept stimulation rates to a maximum of 0.2 Hz.

LFP recordings can be collected using a single high impedance electrode and a single-channel amplifier. In preliminary experiments, we observed that signal quality varied more as a result of rostro-caudal position than medio-lateral variability or depth. For this reason, the approach described above allows for multiple rostro-caudal positions to be assessed simultaneously to yield the best quality LFP signal.

The majority of reports in the literature of WDR recordings do not specify recording location further than specifying the lumbar enlargement and the range of penetration depths. One report used histology to show that multireceptive WDR (as compared to nociceptive-selective neurons) are more commonly found in the medial portion of the dorsal horn39.

Both LFP and WDR recordings rely on latency to discriminate subclasses of sensory nerve fiber. The activation of the sensory system needs to be delivered in a temporally precise manner with stimulus-triggered data acquisition, as we have shown here with electrical stimulation. Therefore, this method would be unsuitable for sensory stimulation that is less temporally precise, such as pinch, heat, or local injections of pain-producing substances40–43.

Current methods of treating pain, and particularly chronic pain, are inadequate; negatively impacting the quality of life for millions of people44,45. Many chronic pain syndromes are improved by temporarily blocking peripheral nerves that transmit pain to the central nervous system46,47, highlighting the potential for peripheral nerve block devices to improve clinical treatment.  As new peripheral pain therapies are developed, it is essential to assess fiber-type specificity of the block as well as the temporal properties of block onset and recovery from block following the cessation of the blocking agent. The anesthetized in vivo technique described here allows investigators to assess fiber-specific effects of nerve block technologies, as well as the temporal properties of block onset and recovery. This can be a complementary technique to the well-established methods of behavioral pain hypersensitivity testing31,48.

ACKNOWLEDGMENTS:

None.

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

- Paul, A. K. et al. Opioid analgesia and opioid-induced adverse effects:a review. Pharmaceuticals (Basel). 14 (11), 1091 (2021).

- Guichard, L. et al. Opioid-induced hyperalgesia in patients with chronic pain:a systematic review of published cases. Clin J Pain. 38 (1), 49–57 (2022).

- Hu, N. W. et al. Protein synthesis inhibition blocks the late-phase LTP of C-fiber evoked field potentials in rat spinal dorsal horn. J Neurophysiol. 89 (5), 2354–2359 (2003).

- Gozariu, M. et al. Temporal summation of C-fiber afferent inputs:competition between facilitatory and inhibitory effects on C-fiber reflex in the rat. J Neurophysiol. 78 (6), 3165–3179 (1997).

- Zhang, Z. et al. Understanding of spinal wide dynamic range neurons and their modulation on pathological pain. J Pain Res. 17, 441–457 (2024).

- Duan-Mu, C. L. et al. Electroacupuncture-induced muscular inflammatory pain relief was associated with activation of low-threshold mechanoreceptor neurons and inhibition of wide dynamic range neurons in spinal dorsal horn. Front Neurosci. 15, 687173 (2021).

- Wallin, J. et al. Spinal cord stimulation inhibits long-term potentiation of spinal wide dynamic range neurons. Brain Res. 973 (1), 39–43 (2003).

- Yang, F. et al. Activation of cannabinoid CB1 receptor contributes to suppression of spinal nociceptive transmission and inhibition of mechanical hypersensitivity by Aβ-fiber stimulation. Pain. 157 (11), 2582–2593 (2016).

- Yang, F. et al. Differential expression of voltage-gated sodium channels in afferent neurons renders selective neural block by ionic direct current. Sci Adv. 4 (4), eaaq1438 (2018).

- Cuellar, J. M. et al. Effect of high-frequency alternating current on spinal afferent nociceptive transmission. Neuromodulation. 16 (4), 318–327 (2013).

- Omori, Y. et al. A mouse model of sural nerve injury-induced neuropathy:gabapentin inhibits pain-related behaviors and the hyperactivity of wide-dynamic range neurons in the dorsal horn. J Pharmacol Sci. 2009, 532–539.

- Vande Perre, L. et al. Differences in conduction velocities of nerve fibers excited by infrared and electrical stimulation. J Neurosci Methods. 418, 110427 (2025).

- Paquette, T. et al. Spinal neurovascular coupling is preserved despite time-dependent alterations of spinal cord blood flow responses in a rat model of chronic back pain:implications for functional spinal cord imaging. Pain. 164 (4), 758–770 (2023).

- Yang, C.-T. et al. Novel pulsed ultrahigh-frequency spinal cord stimulation inhibits mechanical hypersensitivity and brain neuronal activity in rats after nerve injury. Anesthesiology. 139 (5), 646–663 (2023).

- Nierula, B. et al. A multichannel electrophysiological approach to noninvasively and precisely record human spinal cord activity. PLoS Biol. 22 (10), e3002828 (2024).

- Arcourt, A. et al. Touch receptor-derived sensory information alleviates acute pain signaling and fine-tunes nociceptive reflex coordination. Neuron. 93 (1), 179–193 (2017).

- Zimmerman, A., Bai, L., Ginty, D. D. The gentle touch receptors of mammalian skin. Science. 346 (6212), 950–954 (2014).

- Wellnitz, S. A. et al. The regularity of sustained firing reveals two populations of slowly adapting touch receptors in mouse hairy skin. J Neurophysiol. 103 (6), 3378–3384 (2010).

- Falinower, S. et al. A C-fiber reflex modulated by heterotopic noxious somatic stimuli in the rat. J Neurophysiol. 72 (1), 194–213 (1994).

- Jones, M. G. et al. Neuromodulation using ultra low frequency current waveform reversibly blocks axonal conduction and chronic pain. Sci Transl Med. 13 (608) (2021).

- Vrabec, T. L. et al. A carbon slurry separated interface nerve electrode for electrical block of nerve conduction. IEEE Trans Neural Syst Rehabil Eng. 27 (5), 836–845 (2019).

- Bender, S. A. et al. Effects on heart rate from direct current block of the stimulated rat vagus nerve. J Neural Eng. 20 (1), 10.1088/1741-2552/acacc9 (2023).

- Green, D. B. et al. Effects of waveform shape and electrode material on kilohertz frequency alternating current block of mammalian peripheral nerve. Bioelectron Med. 8 (1), 11 (2022).

- Buzza, A. S. et al. Direct photobiomodulation therapy on the sciatic nerve significantly attenuates acute nociceptive sensitivity without affecting motor output. Neuromodulation. 27 (8), 1338–1346 (2024).

- Buzza, A. et al. Selective neural inhibition via photobiomodulation alleviates behavioral hypersensitivity associated with small sensory fiber activation. Lasers Surg Med. 56 (3), 305–314 (2024).

- Lothet, E. H. et al. Alternating current and infrared produce an onset-free reversible nerve block. Neurophotonics. 1 (1), 011010 (2014).

- Fishman, M. A. et al. Temperature-mediated nerve blocks in the treatment of pain. Curr Pain Headache Rep. 25 (9), 60 (2021).

- Wang, F. et al. Nociceptor-localized cGMP-dependent protein kinase I is a critical generator for central sensitization and neuropathic pain. Pain. 162 (1), 135–151 (2021).

- Shi, C. Y. et al. Luteoloside exerts analgesic effect in a complete Freund's adjuvant-induced inflammatory model via inhibiting interleukin-1β expression and macrophage/microglia activation. Front Pharmacol. 11, 1158 (2020).

- Leong, M. L., Speltz, R., Wessendorf, M. Effects of chronic constriction injury and spared nerve injury, two models of neuropathic pain, on the numbers of neurons and glia in the rostral ventromedial medulla. Neurosci Lett. 2016, 82–87.

- Zhao, X. H., Zhang, T., Li, Y. Q. The up-regulation of spinal Toll-like receptor 4 in rats with inflammatory pain induced by complete Freund's adjuvant. Brain Res Bull. 111, 97–103 (2015).

- Committee for the Update of the Guide for the Care and Use of Laboratory Animals. Guide for the Care and Use of Laboratory Animals. U.S. Department of Health and Human Services, Public Health Service, National Institutes of Health (1986).

- Greene, E. C. Anatomy of the Rat. American Philosophical Society, Philadelphia (1935).

- Foldes, E. L. et al. Design, fabrication and evaluation of a conforming circumpolar peripheral nerve cuff electrode for acute experimental use. J Neurosci Methods. 196 (1), 31–37 (2011).

- Green, D. B. et al. Temporal properties of transcutaneous direct current motor conduction block. J Neural Eng. 22 (1), 10.1088/1741-2552/adb07b (2025).

- Sandkühler, J., Gruber-Schoffnegger, D. Hyperalgesia by synaptic long-term potentiation (LTP):an update. Curr Opin Pharmacol. 12 (1), 18–27 (2012).

- Drdla-Schutting, R. et al. Erasure of a spinal memory trace of pain by a brief, high-dose opioid administration. Science. 335 (6065), 235–238 (2012).

- Guan, Y. et al. Windup in dorsal horn neurons is modulated by endogenous spinal μ-opioid mechanisms. J Neurosci. 26 (1), 4298–4307 (2006).

- Morgan, M. M. Paradoxical inhibition of nociceptive neurons in the dorsal horn of the rat spinal cord during a nociceptive hindlimb reflex. Neuroscience. 88 (2), 489–498 (1999).

- Deng, W. et al. Paravertebrally-injected multifunctional hydrogel for sustained anti-inflammation and pain relief in lumbar disc herniation. Adv Healthc Mater. 13 (27), 2401227 (2024).

- Jones, A. F. et al. Sex and age effects on chronic inflammatory pain development, maintenance, and resolution in Wistar rats. J Pain. 28, 104789 (2025).

- Goo, B. et al. Bee venom alleviated edema and pain in monosodium urate crystals-induced gouty arthritis in rat by inhibiting inflammation. Toxins (Basel). 13 (9), 661 (2021).

- Thibault, K. et al. Antinociceptive and anti-allodynic effects of oral PL37, a complete inhibitor of enkephalin-catabolizing enzymes, in a rat model of peripheral neuropathic pain induced by vincristine. Eur J Pharmacol. 600 (1–3), 71–77 (2008).

- Henschke, N., Kamper, S. J., Maher, C. G. The epidemiology and economic consequences of pain. Mayo Clin Proc. 90 (1), 430–437 (2015).

- Dorner, T. E. Pain and chronic pain epidemiology:implications for clinical and public health fields. Wien Klin Wochenschr. 130 (1), 1–3 (2018).

- Memtsoudis, S. G. et al. Peripheral nerve block anesthesia/analgesia for patients undergoing primary hip and knee arthroplasty:recommendations from the International Consensus on Anesthesia-Related Outcomes after Surgery (ICAROS) group based on a systematic review and meta-analysis of current literature. Reg Anesth Pain Med. 46 (11), 971–985 (2021).

- Irajian, M., Fattahi, V. Rebound pain after peripheral nerve block for ankle surgery and postoperative analgesic:systematic review. Eurasian J Chem Med Pet Res. 2 (3), 43–52 (2023).

- Su, T. F. et al. Peripheral direct current reduces naturally evoked nociceptive activity at the spinal cord in rodent models of pain. J Neural Eng. 21 (2), 026044 (2024).