TITLE:

Use of Cerebral Open-Flow Microperfusion for the Longitudinal Collection of Interstitial Fluid in an Animal Model of Glioblastoma

AUTHORS AND AFFILIATIONS:

Ian E. Olson, Rafal Chojak, Umme H. Faisal, Jillyn Turunen, Irene Lazanyi, Jason Miska, Atique U. Ahmed

Department of Neurological Surgery, Feinberg School of Medicine, Northwestern University, Chicago, IL, USA

Email addresses of co-authors:

Ian E. Olson			(ian.olson1@northwestern.edu)

Rafal Chojak			(rafal.chojak@northwestern.edu)

Umme H. Faisal		(faisal.ummeh@northwestern.edu)

Jillyn Turunen			(jillyn.turunen@northwestern.edu)

Irene Lazanyi			(irenelazanyi2027@u.northwestern.edu)

Jason Miska			(jason.miska@northwestern.edu)

Corresponding author:

Atique U. Ahmed		(atique.ahmed@northwestern.edu)

SUMMARY:

In vivo, intercellular communications underpinning many central nervous system diseases, such as glioblastoma (GBM), are notoriously difficult to measure and characterize. Here, we describe procedures of cerebral open-flow microperfusion (cOFM) that can be employed to sample interstitial fluid components in a longitudinal animal model of GBM.

ABSTRACT:

Diseases of the central nervous system (CNS) manifest as a result of a complex, dynamic network of intercellular communications. Glioblastoma (GBM), the most common and aggressive primary brain tumor, is emblematic of this complexity, with its rapid progression and dismal prognosis measured in months rather than years. GBM's biology is driven by intricate signaling molecule exchanges between neoplastic and stromal cells, underpinning aggressive disease progression. Here, we describe a detailed cerebral open-flow microperfusion (cOFM) protocol in GBM mouse models, enabling real-time longitudinal monitoring of tumor microenvironment dynamics within the interstitial fluid (ISF). Our approach describes the implantation of durable guide cannula head-mounts, their use for intracerebral glioma engraftment directly through the guide, and the collection of high-fidelity cOFM samples for metabolomic and proteomic LC-MS analyses. Crucially, cOFM overcomes the molecular size limitations of traditional microdialysis. Beyond GBM, cOFM methodology promises transformative insights into a spectrum of CNS disorders, including neurodegenerative, epileptic, and neuropsychiatric conditions, through its capacity to provide etiological and treatment-responsive biomarkers within their respective animal models.

INTRODUCTION:

Investigating central nervous system (CNS) diseases is notoriously challenging due to the complex, multimodal intercellular signaling mediated by the interstitial fluid (ISF)1-4. This complexity is particularly pronounced in brain tumors, such as glioblastoma (GBM), where intercellular signals are conveyed between both neoplastic and stromal cells5-9. In many cases, the aberrant exchange of diverse biomolecules, including metabolites and proteinaceous messengers, contributes to the underlying etiology of CNS pathologies. This investigational challenge is exacerbated, particularly in GBM, by the fact that the molecular composition of ISF is temporally dynamic and evolves throughout disease progression as well as in response to interventional treatments10,11.

Traditional preclinical GBM investigation methods include in vitro studies and single-endpoint animal models. The nature of these approaches limits their broader clinical applicability due to their inability to capture both the characteristics of the tumor microenvironment and longitudinal temporal changes. Advancements made in the early 1980s overcame these contextual limitations with the development of intracerebral microdialysis (cMD)12-15. Since its inception 45 years ago, cMD has established itself as the standard method for longitudinal sampling of interstitial fluid (ISF) within the living brain16. This is accomplished through the free diffusion and convection of high-concentration ISF solutes through a semipermeable membrane into a continually flowing, low-solute-concentration perfusate, typically artificial cerebrospinal fluid (aCSF)17. These semipermeable membranes are composed of various biocompatible polymers with common molecular-weight pore size cutoffs ranging from 20 kDa to 3 MDa18. This minimally invasive procedure enables the longitudinal in situ collection of a diverse array of analytes, ranging from small molecules, such as metabolites or neurotransmitters, up to large proteins, such as antibodies. However, the structural porosity of cMD membranes coupled with the adsorptive nature of its compositional polymers can significantly impact the relative recovery of analytes with particular biochemical or dimensional characteristics, such as lipids or antibodies, respectively19,20.

Advancements to overcome this limitation of cMD membranes began in the early 2010s with the development of cerebral open-flow microperfusion (cOFM)21. Functioning under similar general principles as cMD, cOFM removes biochemical limitations imposed by semipermeable membranes by exchanging them for a plastic-lattice probe with low-adsorption macroscopic openings of approximately 100 μm size20. A multitude of reports have demonstrated the improved utility of cOFM over cMD through the collection of detectable ISF components, including peptide hormones, nanobodies/antibodies, small lipophilic therapeutics, and PEGylated liposomes19,22-25. Prior reports examining the physiologic tissue reaction to cOFM guide probe implantation show that blood-brain barrier integrity is re-established by 15 days post-implantation, and that no glial scarring is formed up to 30 days post-implantation26. Due to the replacement of microdialysis membranes with macroscopic openings, investigators have also demonstrated the innovative capacity of cOFM guide probes to facilitate the injection of xenografted glioma cells into the brains of immunodeficient rats, such that atraumatic tumor engraftment and growth occur directly around cOFM sampling area27.

Considerations in the use of cOFM in the study of CNS pathologies must still acknowledge its methodological limitations. Owing to its reliance on the passive diffusion and convection of ISF analytes into a flowing perfusate, these limitations revolve around analyte concentration and sample volume18. Sampled ISF components will be diluted within the collected cOFM perfusate compared to endogenous levels, leading many investigations to compare relative analyte ratios between experimental conditions28. Typical flow rates range from 0.1 μL/min to 1.0 μL/min, equivalent to only 6 μL/h to 60 μL/h. When accounting for tubing dead-space clearance times, the total sampling duration should also be considered. This is particularly important when performing cOFM collections in anesthetized animals, where animal welfare concerns must be carefully addressed. A more detailed description of these and other considerations is available in a previous methods report from the cOFM development team29.

In this manuscript, we provide an updated protocol for employing longitudinal cOFM sampling in the study of neurologic disease, with a focus on GBM. The protocol includes steps for cOFM guide cannula implantation, tumor cell injection, and engraftment through the cOFM guide, as well as two cOFM sampling configurations in awake, freely moving animals. We present representative data demonstrating treatment effects on metabolomic and proteomic ISF components sampled by cOFM, the effect of sampling configuration on analyte concentrations, and the efficacy of cOFM guide-mediated tumor cell implantation.

PROTOCOL:

All animal procedures within this protocol are approved by the Institutional Animal Care and Use Committee (IACUC) at Northwestern University (protocol ID: IS00021383) and follow National Institutes of Health (NIH) Guidelines. This protocol was developed for use in C57BL/6J mice, both male and female, with a minimum age of 8-10 weeks. The murine glioma cell line used in this protocol, CT2A, was provided by the Seyfried Lab at Boston University and was cultured and prepared following sterile tissue culture conditions.

- Surgical planning and preparation

  - Animal information: For cOFM experiments, use mice that are a minimum of 8-10 weeks old to allow for complete growth and development. Fixed-position cranial implants may become dislodged or impair proper growth in the still-developing skull and/or brain.

  - Surgical coordinate selection: Use an animal brain atlas to locate the orthogonal coordinates of the region of interest relative to Bregma. For example, glioma cell implantations are typically performed into the striatum to best replicate native GBM microenvironments and maximize the efficacy of subsequent tumor development. The cOFM guide implantation coordinates used in this protocol are mediolateral (ML) = 2.5 mm, anteroposterior (AP) = 0 mm, and dorsoventral (DV) = 3.5 mm.

NOTE: Stereotactic coordinates can vary between mouse strains and ages. Please use species- and strain-specific atlas coordinates to ensure desired cOFM guide placement.

  - Selection of appropriate cOFM component configurations: Order components for appropriate cOFM configurations in specific total lengths ranging from 2 mm to 22 mm, with open surface lengths of 1 mm to 2 mm.

NOTE: Animals can dislodge improperly implanted cOFM guide head-mounts while performing grooming behaviors. To minimize mechanical leverage upon the head-mount during this activity, we recommend using guides no longer than 2 to 3 mm more than the intended DV coordinate distance.

  - Planning surgical and sampling procedure timepoints for experimental goals: Depending on the disease of interest and the model characteristics, carefully plan out the timing and order of cOFM-related procedures to optimally investigate the underlying biology in question.

    - If investigating ISF compositional differences between healthy brain and tumor microenvironments, perform cOFM sampling procedures before and after tumor implantation within the same animal.

    - If investigating effects of clinical interventions on CNS pathologies, perform cOFM sampling procedures before and after administration in parallel animal cohorts receiving either control or experimental treatment.

- cOFM guide placement surgery

  - Assemble surgical tools for cOFM guide placement surgery (Table of Materials) and sterilize by autoclave if indicated.

  - Surgical workplace preparation:

    - Disinfect biosafety cabinet: Perform surgical procedures within a properly disinfected biosafety cabinet. Activate the bio-safety cabinet air flow and clean the interior surfaces with an institutionally approved disinfectant and wipe-down method. Line the bottom surface of the cabinet with sterile drapes.

    - Prepare stereotactic instruments: Clean the stereotactic frame with a disinfectant and place it in the bio-safety cabinet. Similarly, clean and disinfect the stereotactic-mounted drill and guide holder and place it in the bio-safety cabinet.

    - Surgical stage heating pad: Use a heating pad on the stereotactic surgical stage to provide supplemental heat while the animal is anesthetized. Clean and disinfect the heating pad surface and place it onto the stereotactic frame where the animal will be situated. Turn on the heating pad to a low heat and place 1-2 sterile drapes on top.

    - Set out additional surgical instruments and equipment: Aseptically set out additional sterilized equipment into the bio-safety cabinet.

    - Recovery cage setup: Place a clean recovery cage onto a heating pad set to the lowest possible temperature. Each animal will need to be placed into an individual recovery cage until the animal is fully recovered, thus the total number of recovery cages will depend on surgery performance and recovery times.

  - Presurgical animal preparations (summarized in Figure 1A):

    - Anesthesia: Administer institutionally approved anesthetic compounds and doses to achieve appropriate anesthetic depth, using the paw pinch reflex test as well as respiratory depth/rate to ensure sufficient anesthesia. For example, intraperitoneal injection of ketamine – xylazine cocktail (100 mg/kg – 10 mg/kg, in saline) is sufficient for achieving appropriate anesthetic depth for C57BL/6J mice.

    - Analgesia: Administer institutionally approved analgesic compounds to aid in peri- and post-operative pain management. For example, subcutaneous injection of meloxicam (20 mg/kg, in saline) is appropriate for perioperative pain management.

    - Hair removal (shaving, depilatory cream): Remove hair from the intended surgical site atop the skull using an electric shaver and/or depilatory cream. If using depilatory cream, ensure it is not left on the skin too long to avoid irritation.

    - Ophthalmic ointment: Use a sterile cotton-tipped applicator to gently apply ophthalmic ointment to both eyes to prevent corneal drying during surgery.

    - Animal placement into stereotactic frame: Properly place the animal into the stereotactic frame by inserting incisors into the bite block, inserting ear bars firmly but gently into the ear canals, and fastening the nose clamp over the animal’s nasal bone (Figure 1B). If properly positioned, the animal’s skull should be firmly affixed without any movement.

    - Aseptic surgical site preparations: Wipe down skin around the surgical area with three alternating swabs of alcohol (ethyl- or isopropyl-) and povidone iodine to aseptically disinfect the area for incision.

  - Incision and skull surface preparation:

NOTE: All the following steps should be performed as aseptically as possible. To this end, the primary animal surgeon should wear sterile surgical gloves over standard laboratory gloves before continuing to the incision.

    - Incision location and length: Use a sterile scalpel to make a sagittal midline incision along the surface of the skull beginning between the eyes and extending caudally 8-10 mm (Figure 1C).

    - Skin retraction: Use sterile forceps, cotton-tipped applicators, and/or a scalpel blade to laterally retract skin from the midline incision. Ensure that both Bregma and Lambda are visible and extend the incision if not.

    - Periosteum incision: Use a sterile scalpel to make an incision into the periosteum and laterally retract the tissue with forceps.

    - Hydrogen peroxide swab: Clean the skull surface with dilute 1%-3% hydrogen peroxide applied with a sterile cotton-tipped applicator (Figure 1D). This also aids in the identification of Bregma and Lambda through the sagittal, coronal, and lambdoid cranial sutures.

    - Self-etching dental adhesive: Use a 0.3 mL to 1.0 mL insulin syringe to evenly apply 20-40 µL of self-etching dental adhesive to the surface of the skull (Figure 1D). Apply a dental curing light to aid in etching. Once cured, use sterile cotton-tipped applicators and saline to wipe away excess adhesive.

CAUTION: Self-etching dental adhesives, such as Bond Force, are potentially hazardous substances: flammable hazard (GHS02: H225), health hazard (GHS07 and GHS08: H315, H319, H317, H361fd, H336), and environmental hazard (GHS09: H412). Please follow local and institutional guidelines for proper hazardous waste disposal.

  - Locating and drilling burr holes:

    - Insert a sterilized 0.7 mm drill bit into the microdrill and install the drill into the stereotactic frame with the appropriate holder.

    - Locate Bregma at the intersection of the sagittal and coronal sutures and use stereotactic micromanipulators to position the drill bit there.

    - Reposition the drill bit to the cOFM guide coordinate (ML = 2.5, AP = 0.0), engage the drill to 15,000 rpm, and carefully drill a burr hole by adjusting the DV micromanipulator dial (Figure 1E). Make frequent observations of the skull thickness while drilling to prevent damage to the underlying brain. Use physiologic saline during drilling to flush away bone debris and reduce heat between the drill bit and skull.

    - Repeat drilling procedure for each anchor screw coordinate (Figure 1E). Recommended anchor screw locations are ML = 2.5, AP = -2.5, and ML = -2.5, AP = -2.5.

    - After burr holes are drilled, detach the microdrill and drill holder from the stereotactic frame.

    - Use a 30 G needle to gently puncture the dura mater under the cOFM guide burr hole.

  - Install anchor screws using a pair of sterile forceps and an appropriately sized sterile screwdriver (Figure 1F). Depending on the thread pitch of the screw, anchorage is sufficient when the screw is inserted one to two thread lengths deep. Be careful not to drive anchor screws too deeply to avoid damage to the cortex.

  - Install the cOFM guide and cOFM dummy assemblage into the guide holder and mount holder to the stereotactic frame. Position the cOFM guide tip above the burr hole (ML = 2.5 mm, AP = 0.0 mm) at a DV height equal to that of Bregma, and slowly descend the cOFM guide through the burr hole to the appropriate pre-determined depth at a rate of 1 mm/min (Figure 1F). For example, the cOFM guide placement depth with subsequently intended tumor cell implantation is DV = -3.5 mm.

  - Apply cementing agent onto the surface of the skull, making sure to cover the areas under and around both the cOFM guide and anchor screws in thin, uniform layers. Use a dental curing light to harden each layer of cementing agent before applying subsequent layers (Figure 1G). Continue applying cementing agent until the skull surface between each component is covered, anchor screws are completely covered, and the area under the cOFM guide up to and around the groove is covered. Be careful not to place the cementing agent on or near the locking wedge.

CAUTION: Cementing agents, such as Tetric EvoFlow, are potentially hazardous substances: health hazard (GHS07: H317, H319, H335, H360). Please follow local and institutional guidelines for proper hazardous waste disposal.

  - Detach the guide holder from the cOFM guide and slowly raise the guide holder with the DV adjustment knob of the micromanipulator. Remove the micromanipulator from the stereotactic frame.

  - Detach the animal from the stereotactic frame by first loosening and removing the ear bars, loosening and retracting the nose clamp, then lifting the animal’s incisors from the bite block.

  - Suture skin closed above the dental cementing agent, ensuring that the cOFM guide body remains exposed. Absorbable 4-0 sutures, such as polyglycolic acid (PGA) or polyglactin (Vicryl), are recommended (Figure 1H).

  - Apply triple antibiotic ointment to the skin area adjacent to the original incision.

  - Animal recovery and support:

    - Transfer the animal to an isolated recovery cage (one animal per cage) and provide supplemental heat from a heating pad set at low.

    - Optional: Provide the animal with an anesthetic reversal agent to expedite recovery. For example, subcutaneous injections of atipamezole (1 mg/kg, in physiological saline) will expedite anesthetic recovery times from approximately 1 h to approximately 20 min.

    - Provide continual observation and support until the animal has sufficiently regained consciousness and sternal recumbency. Do not leave animals unattended until they have fully recovered from surgery and anesthesia.

    - Once the animal has fully recovered, it can be returned to communal housing cages with other animals.

    - One day after surgery, provide additional analgesic support by administering an institutionally approved analgesic, such as meloxicam (see step 2.3.2).

  - Allow a 14-day recovery time after the cOFM guide implantation surgery to permit complete healing of the blood-brain barrier before performing any additional procedures on the animals.

- Intracranial tumor cell implantation by cOFM guide

  - Cell culture and preparation:

    - Culture and expand cells according to cell type-specific protocols. For example, syngeneic mouse glioma cells such as CT2A can be grown in 10 cm dishes or T-75 flasks containing DMEM with 10% fetal bovine serum (FBS) and 1% penicillin/streptomycin supplements.

    - Prepare cultured cells for implantation according to cell type-specific protocols.

      - For example, with syngeneic CT2A glioma cells, remove growth media, briefly wash with PBS, and incubate cells for 5 min in 0.05% Trypsin (with 0.53 mM EDTA) at 37 °C.

      - Neutralize trypsin with an equal volume of 1% FBS-containing DMEM, transfer cells to a 15 mL conical tube, and centrifuge at 300 x g for 5 min at 4 °C to pellet cells.

      - Remove supernatant and resuspend cell pellet in 1 mL of PBS (or physiologic saline). Determine the total number of cells per mL with either a manual or automated hemocytometer. Centrifuge the cell suspension again at 300 x g for 5 min at 4 °C, remove supernatant, and resuspend in an appropriate volume of PBS (or saline) to achieve 50,000 cells per μL. Place cell suspension on ice until ready to implant (step 3.5.2).

  - Assemble surgical tools for intracranial tumor cell implantation surgery (Table of Materials) and sterilize by autoclave if indicated.

  - Surgical workspace preparation:

    - Disinfect biosafety cabinet: See step 2.2.1.

    - Prepare stereotactic instruments: Clean the stereotactic frame with disinfectants and place it in the bio-safety cabinet. Similarly, clean and disinfect the stereotactic-mounted syringe holder and attach it to the stereotactic frame.

    - Perform steps 2.2.3.-2.2.5. for the remaining preparatory steps.

  - Presurgical animal preparations:

    - Perform steps 2.3.1., 2.3.2., 2.3.4., and 2.3.5. for animal preparation.

  - Tumor cell implantation:

    - Syringe and infusion insert assembly (summarized in Figure 2)

      - Soak flanged tubing connectors in 70% ethanol for at least 5 min.

      - Insert the tip of a sterilized 10 μL or 25 μL gastight glass syringe into one end of a flanged tubing connector.

      - Place the inlet of a cOFM infusion insert into the other end of the tubing connector.

      - Fix the syringe-infusion insert assembly into the stereotactic-mounted syringe holder.

    - Load the syringe-infusion insert assembly with an appropriate volume of cell suspension. For example, load 3 μL of cell suspension at 50,000 cells per μL for a total injection of 150,000 cells per animal.

    - Replacing dummy insert with infusion insert:

      - Use forceps to remove the locking wedge from the cOFM guide and dummy assembly, then gently lift out the cOFM dummy from the guide.

      - Use the ML and AP adjustment knobs on the micromanipulator to maneuver the syringe-infusion insert assembly above the cOFM guide. Use the DV adjustment knob to carefully lower the infusion insert into the cOFM guide and secure it in position by reinserting the locking wedge firmly with forceps.

    - Inject 3 μL of cell suspension from the syringe at a rate of 1 μL/min. Carefully observe the area around the cOFM guide and infusion insert to ensure that no cell suspension effluxes out of the assembly. After the entire volume has been injected, wait an additional 1 min for intracranial pressure to equilibrate.

    - Replace infusion insert with dummy insert.

      - Use forceps to remove the locking wedge from the cOFM guide and infusion insert assembly, then gently adjust the DV adjustment knob of the micromanipulator to lift out the cOFM infusion insert from the guide.

      - Replace the cOFM dummy into the guide and secure it into position by reinserting the locking wedge with forceps.

  - Detach the animal from the stereotactic frame by first loosening and removing the ear bars, loosening and retracting the nose clamp, then lifting the animal’s incisors from the bite block.

  - Animal recovery and support:

    - Transfer the animal to an isolated recovery cage (one animal per cage) and provide supplemental heat from a heating pad set at low.

    - Optional: Provide the animal with an anesthetic reversal agent (such as atipamezole) to expedite recovery duration, see step 2.13.2.

    - Provide continual observation and support until the animal has sufficiently regained consciousness and sternal recumbency. Do not leave animals unattended until they have fully recovered from surgery and anesthesia.

    - Once the animal has fully recovered, it can be returned to communal housing cages with the company of other animals.

    - On the day after surgery, provide additional analgesic support by administering an institutionally approved analgesic, such as meloxicam (see step 2.3.2).

NOTE: If using luciferase-positive cell lines, bioluminescent imaging (BLI) can be performed 1-2 weeks after cell implantation to verify tumor engraftment success. While physical characteristics such as animal fur or head-mount presence can impede detected luminescence, it can still be used to make rough approximations of tumor presence or absence. Alternatively, MRI can be performed if the anchor screws used in the cOFM guide placement are non-ferromagnetic and MRI compatible.

- cOFM sampling of cerebral interstitial fluid

NOTE: Given its reliance on passive analyte diffusion, cOFM samples contain diluted analyte concentrations compared to the endogenous ISF environment. Due to this, several methods have been previously proposed to calibrate sample measurements to better reflect in situ concentrations18. This section describes two different sampling modalities. Step 4.1. describes the configuration mode recommended by the manufacturer (from here referred to as fractionated) that offers greater temporal sensitivity, but at the expense of analyte concentration. Step 4.2. details an alternative mode of configuration we have developed (from here referred to as recirculated) that can achieve greater analyte concentration at the expense of decreased temporal resolution.

  - Fractionated cOFM sampling (summarized in Figure 3A):

    - Soak flanged tubing connectors in 70% ethanol for at least 5 min to facilitate attachment onto tubing and sampling inserts.

    - Load perfusate bag with sufficient aCSF perfusate. For example, 680 µL is minimally sufficient for both a 20 min line flush at 10 µL/min and an 8 h sampling at 1 µL/min. However, a minimum volume of 2 mL is recommended to prevent perfusate bag collapse and malfunction.

    - Prefill both push and pull tubing lines with an appropriate volume of aCSF using gastight glass syringes. For example, Universal Push-Pull Low-Bind Tubing has an inner diameter of 0.25 mm and individual tubing lengths of 100 cm. This equates to approximately 1 µL per 2 cm, and thus approximately 55 µL in the push tubing and 100 µL in the pull tubing.

    - Correctly install the peristaltic section of the tubing into the pump head of the microperfusion pump as shown in Figure 3A.

NOTE: See BASi instruction manual for additional instructions if needed.

    - Connect the perfusate bag to the push section of the tubing using the Luer lock connector (Figure 3A, component i).

    - Connect the sampling insert to the tubing lines using flanged tubing connectors. The sampling insert inlet (longer shaft length) should be attached to the output end of the push tubing, opposite the perfusate bag tube line (Figure 3A, top left). The sampling insert outlet (shorter shaft) should be attached to the input end of the pull tubing, parallel to the perfusate bag tube line (Figure 3A, top right). Place the connected sampling insert into a sterile microcentrifuge tube containing 750 µL of aCSF in preparation for system flush.

    - Connect the fraction collector needle with a flanged tubing connector to the pull tube output line (opposite end from the sampling insert outlet).

    - Perform a tubing system flush for 20 min at 10 µL/min to remove any trapped gas bubbles within the tubing system.

    - Fraction collector setup:

      - Label and weigh fraction collection tubes, annotating each weight for subsequent comparison and validation of sample volume collected. Place tubes into the corresponding slots of the fraction collector carousel.

      - Turn on the fraction collector and configure the settings to the desired values. Example settings include # of samples, sample time (m), delay (hours), refrig cooling, and _cannula mode.

NOTE: The discarding of dead-space fluid volume in the pull tube that never contacted orthotopic ISF is approximated by i) tubing length and volume (approximately 2 cm/ µL for OFM-PP2-100-LB), ii) flow rate, and iii) delay (hours). These parameters should be carefully considered when setting up the collection system to ensure proper fraction collection.

  - Recirculated cOFM sampling (summarized in Figure 3B):

    - Soak flanged tubing connectors in 70% ethanol to facilitate attachment onto tubing and sampling inserts.

    - Prefill pull tubing line with an appropriate volume of aCSF using gastight glass syringes.

    - Correctly install the peristaltic section of the tubing into the pump head of the microperfusion pump.

    - Connect the sampling insert to the tubing lines using flanged tubing connectors. The sampling insert inlet (longer shaft length) should be attached to the output end of the pull tubing. The sampling insert outlet (shorter shaft) should be attached to the input end of the pull tubing. Place the connected sampling insert into a sterile microcentrifuge tube containing 750 µL of aCSF in preparation for system flush.

    - Perform a tubing system flush for 20 min at 10 µL/min to remove any trapped gas bubbles within the tubing system.

  - Rotating cage system setup:

NOTE: Rotating animal cage systems, such as the Raturn System, facilitate awake animal cOFM sampling by preventing hyper-coiling and tangling of the push and pull tubing. This can also aid in the automation of cOFM sampling by eliminating the need for manually detangling tubes during awake cOFM collection sessions.

    - Place clean cage bedding evenly across the rotating cage floor and equip the cage with easily accessible food and water sources.

    - Turn on the cage rotation controller and test its activity by rotating the suspended tether. The cage should counter-rotate relative to the rotational direction imparted upon the tether. Set the rotation controller to standby until the animal is attached to the tether.

4.4. Connecting animal to cOFM system:

NOTE: Connection and detachment of animals to the cOFM system is most easily performed while the animal is under temporary isoflurane anesthesia. If performed correctly, this process takes no more than 5 min per animal; however, the use of ophthalmic ointment is highly recommended.

    - Animal anesthesia: Place the animal into the isoflurane anesthesia induction chamber. Begin anesthesia with oxygen flow at 2 L/min and isoflurane set to 3%. Observe the animal until it reaches an appropriate level of anesthesia (immobile with a respiration rate of approximately 1 breath/s). Transfer the animal from the induction chamber to the anesthesia mask set at 2 L/min oxygen flow and 3% isoflurane.

    - Animal jacketing: Place the animal in an appropriately sized jacket, drawing the forelimbs completely through the arm holes and fastening the jacket securely along the animal’s back (shown in Figure 3C).

    - Replacing dummy insert with sampling insert: Use a pair of forceps to remove the locking wedge from the guide and dummy assembly and carefully lift the dummy out of the guide. Gently install the sampling insert it into the guide, then reinsert the locking wedge.

    - Remove the animal from anesthesia and place it into the rotating cage system. Attach the cage tether to the animal jacket and activate the rotating cage system.

  - Performing cOFM sampling:

    - Set microperfusion pumps to 5 μL/min and perform a 2 min flush to remove any microbubbles that may have resulted from the cOFM sampling insert installation.

    - Change the microperfusion pump settings to the correctly desired flow rate for pump mode (for example, 1 µL/min).

    - Activate pump mode. If performing fractionated cOFM sampling, activate the fraction collector.

    - During the initial stages of cOFM sampling, make close observations of the push and pull tubing to ensure the absence of gas bubbles, as these will impair proper machine function and sample collection and potentially endanger the animal. If gas bubbles are observed, stop system components, detach the animal from cOFM system, and remove gas bubbles by aCSF flush through the tubing.

    - Throughout the duration of the cOFM sampling process, make additional frequent observations of the cOFM tubing and animal behavior. If animal behavior indicates sudden health changes, immediately stop system components and address the animal health concern. Consult with institutional veterinary staff if necessary.

  - Detaching an animal from the cOFM system:

    - Deactivate the rotating cage system and detach the cage tether from the animal jacket.

    - Transfer the animal to the isoflurane anesthesia induction chamber, with sampling insert and cOFM tubing still attached. Begin anesthesia with oxygen flow at 2 L/min and isoflurane set to 3%. Observe the animal until it reaches an appropriate level of anesthesia (immobile with a respiration rate of approximately 1 breath/s). Transfer the animal from induction chamber to the anesthesia mask set at 2 L/min oxygen flow and 3% isoflurane.

    - Replace sampling insert with dummy insert: Use a pair of forceps to remove the locking wedge from the guide and sampling insert assembly, and carefully lift the sampling insert out of the guide. Gently install the dummy insert back into the guide, then reinsert the locking wedge.

    - De-jacketing: Detach fasteners from the back side of the animal jacket and gently remove the jacket from the animal.

    - Animal recovery and observation: Remove animal from isoflurane anesthesia and place into a clean recovery cage, providing continual observation until the animal fully regains consciousness and sternal recumbency. Re-house into a home cage once the animal is fully recovered.

  - Sample collection and storage:

    - Fractionated sampling:

      - Remove fraction collection tubes from the fraction collector and place on ice for short-term transport.

      - Weigh each collection tube and compare to the pre-collection weight to verify the sample volume.

      - Proceed to downstream analyses of cOFM samples or place them into -80 °C freezer for long-term storage.

    - Recirculated sampling:

      - Leaving the pull tube attached to the cOFM sampling insert outlet (shorter shaft), detach from the rest of the setup and place the tube and sampling insert into a new, clean microcentrifuge tube.

      - Attach a sterile 18G needle to a 1 mL to 5 mL sterile syringe and fill with air.

      - Carefully insert the needle into the flanged tubing connector at the input end of the pull tube.

      - Ensuring that the cOFM sampling insert remains in the microcentrifuge tube, press down on the syringe plunger to eject the recirculated cOFM sample volume from the pull tube with air. Make sure that the entire cOFM sample is ejected from the pull tube and into the microcentrifuge tube, detaching the syringe and refilling with air if necessary.

      - Place the recirculated cOFM sample on ice for short-term transport.

      - Proceed to downstream analyses or place them into -80 °C freezer for long-term storage.

  - Storing cOFM supplies if repeating cOFM sampling in the same animal:

NOTE: Re-use of cOFM disposables, such as sampling inserts and inlet-/outlet-tubing, is not recommended by the manufacturer.

    - Flush the cOFM push-pull tubing with approximately 500 μL of sterile aCSF or saline at a rate of no more than 10 μL/min. Follow this with a similar flush of 1-2 mL of 70% ethanol. Finally, use a 5 or 10 mL syringe equipped with an 18G needle and flanged tubing connector to flush the tubing out with air.

    - Flush inlet and outlet tubes of the cOFM sampling insert with 50 μL of sterile aCSF or saline using a gastight glass syringe equipped with a flanged tubing connector. Follow this with 50 μL of 70% ethanol. Detach the cOFM sampling insert from the tubing connector and store it in a vial filled with 70% ethanol until ready for reuse.

RESULTS:

Various evaluative measures to determine experimental success can occur at intermediate or culminating experimental stages, depending on the specific nature of the underlying pathology and investigational animal model. For examinations into GBM biology, bioluminescent imaging (BLI) can be used as an intermediate evaluative measure for the efficacy of cOFM guide-mediated tumor cell engraftment (Figure 4A). However, this is used for simple dichotomous present or absent tumor evaluations, given that the physical properties of implanted head-mounts can attenuate the detected luminosity when comparing tumor sizes between animals.

As previously stated, cerebral open-flow microperfusion (cOFM) allows for the broad sampling of various sizes of ISF-soluble molecules, ranging from small metabolites to large proteins. Experimental comparisons can be made either within the same animal (example: before versus after treatments) or between different animals (treated versus untreated). Liquid chromatography paired with mass spectrometry (LC-MS) can be used to analyze both metabolomic and proteomic components of cOFM-sampled ISF. Proteomic principal component analysis of cOFM samples reveals cleanly separated groupings of animal replicates treated with either TMZ or DMSO (Figure 4B). When examining LC-MS metabolomics data from cOFM, global signal distributions overlap almost perfectly between temozolomide (TMZ) and DMSO samples (Figure 4C, left), confirming that downstream differences reflect biology rather than instrumentation. Despite this similarity, metabolomic volcano analysis reveals a distinct TMZ-driven shift (Figure 4C, right). These results highlight a robust, treatment-specific molecular fingerprint across two independent -omics layers. Complementing these findings, comparison of quantitative metabolomic values between fractionated and recirculated collections from the same 4 animals (with 1 week between collections) demonstrates that recirculated configurations can improve analyte concentration while maintaining relative proportionalities between metabolites (Figure 4D). The results show that for each individual animal, log₁₀-transformed recirculated concentrations track linearly with fractionated aliquots (R² = 0.82–0.95; Figure 4D), demonstrating excellent proportional agreement and systematically higher metabolite recovery. Together, these orthogonal readouts from cOFM sampling of ISF composition establish short-term TMZ exposure as a coordinated metabolomic-proteomic perturbation that can be faithfully captured in vivo using recirculated cOFM sampling.

FIGURE AND TABLE LEGENDS:

Figure 1: Overview of cOFM guide placement surgery. (A) Presurgical animal preparations include anesthesia and analgesia administration, ophthalmic ointment placement, shaving of the surgical site, and disinfection of the surgical site with alcohol and iodine. (B) The mouse is positioned in the stereotactic frame. (C) A sterile scalpel is used to make a sagittal midline incision along the surface of the skull, beginning between the eyes and extending caudally 8-10 mm. (D) The skull surface is cleaned with hydrogen peroxide, then self-etching dental adhesive is applied to the skull surface. (E) A microdrill equipped with a 0.7 mm drill bit is used to drill three burr holes: two for guide screws and one for the cOFM guide. (F) Guide screws are screwed into the burr holes at a depth shallow enough to avoid damage to the cortex; then the cOFM guide is slowly lowered into its burr hole. (G) A cementing agent is applied to the skull surface in thin layers, using a dental curing light to harden each layer before continuing, until anchor screws are completely covered and the cOFM guide is sufficiently attached. (H) Skin is sutured closed around the cement and the COFM guide, and the mouse is observed throughout its recovery.

Figure 2: Syringe and infusion insert assembly. A flanged tubing connector is used to connect the tip of a glass syringe to the inlet of a cOFM infusion insert; then the dummy insert is removed from the cOFM guide and replaced with the infusion insert.

Figure 3: cOFM sampling of cerebral interstitial fluid. (A) Fractionated sampling configurations involve proper connections for two tubing sections with the push tubing (blue) flowing from the perfusate bag to the cOFM sampling insert inlet, and for the pull tubing (purple) flowing from the sampling insert outlet to the fraction collector. The peristaltic pump head rotates clockwise, thus necessitating the correct installation of peristaltic tubing sections with flow inputs on the right and flow outputs on the left. (B) Recirculated sampling configurations involve the proper tubing connection of a single tubing section with the push tubing end connecting to the sampling insert inlet and the pull tubing end connected to the sampling insert outlet. Recirculated perfusate is collected after the sampling session by reconnecting the pull tubing end to a syringe and placing the sampling insert, still connected to the push tubing end, into a collection vial. (C) Donning mice with animal jackets by first inserting the forelimbs through their respective arm holes, then drawing the two ends of the jacket together along the animal’s back and finally securing the two jacket ends together with a clip.

Figure 4: Representative results from studies of GBM with cOFM. (A) Bioluminescent imaging (BLI) of mice with engrafted tumors resulting from the implantation of GBM cells through previously placed cOFM guide cannulas. (B) PCA of top-500 variable proteins from proteomic LC-MS showing clear separation of CT2A glioma ISF proteomes following TMZ versus DMSO treatment. (C) Metabolomics results from fractionated cOFM samples of C57Bl6 mice bearing CT2A gliomas showing overlaid density curves of log₂-transformed metabolite abundances for both DMSO and TMZ treatment groups (left), and composite gradient volcano and MA plot summarizing differential metabolomics between TMZ and DMSO treatments (right). (D) Scatter plots of quantitative metabolomics results from four individual animals (m031, m032, m033, and m034) that underwent both fractionated and recirculated cOFM sampling (separated by 1 week) as log₁₀-transformed recirculated concentrations plotted against the mean of log₁₀-transformed fractionated aliquot concentrations, with a fitted linear regression and R² value demonstrating a strong positive correlation.

DISCUSSION:

The cOFM procedures described in this protocol hold the potential to revolutionize the study of CNS diseases through their ability to longitudinally sample endogenous components of the ISF of pathologic tissue. However, the investigational success of employing this methodology relies upon the proper performance of several critical steps. Of these, the correct and secure placement of the cOFM guide cannula is one of the most important. Improper surgical procedures or attachment strategies can result in the dislodgement of the entire head-mount and subsequent withdrawal of the animal from further investigational studies. Dislocation of the entire head-mount usually results from insufficient anchor screw installation or improper use of cementing agents. Drill bit diameter should be between the anchor screws’ inner and outer diameters to ensure proper anchor screw fit within the burr hole and permit the adequate screw depth necessary to secure it in place. Improper use of cementing agents and self-etching dental adhesives, or the use of expired reagents, can also result in an insufficient hold of the head-mount to the skull. More thorough removal of excess self-etching dental adhesive and drying the skull prior to cementing agent application can also improve head-mount bonding strength to the skull.

Insecure head-mount components can also negatively impact cOFM sampling procedures. Manipulations to the exterior components of a surgically implanted cOFM guide can cause slight angular displacements of the guide’s tip within the brain, causing small but significant micro-damages to tip-adjacent blood vessels. This can result in loss of blood-brain barrier (BBB) integrity and possible contamination of cerebral ISF with hematologic components. An example of these manipulations includes the removal and replacement of dummy inserts with sampling inserts when connecting animals to the cOFM collection systems. To circumvent this possibility, we recommend using cOFM guides that are less than 3 mm longer than the intended implantation depth so that the guide body is situated as close to the skull as possible. This will minimize the angular torque applied to the guide tip when making necessary manipulations to the locking wedge or inserts. Similarly, applying additional cementing agent further up onto the cOFM guide body can minimize the amount of translating force that can be transferred from the guide body to the tip.

Sampling procedures also require careful attention to correctly connect tubing lengths to their respective sampling insert components, as well as to peristaltic pump direction when installing tubing into pump heads. Sampling inserts and guides are designed to maximize solute exchange and perfusate volume recovery through unidirectional fluid flow through a concentric dual-lumen system. Thus, the cOFM sampling functionality will be impaired if improper connections are made between the corresponding inflow and outflow ends of the sampling insert and tubing lines. Similarly, incorrect installation of the peristaltic tubing section within the pump head of a peristaltic pump will result in improper fluid flow direction and subsequent microperfusion malfunction. When coupled with the use of automated rotating cage systems, properly connected cOFM collection systems can accommodate awake animals with reduced, intermittent observation (30 minutes to 2 hours between observations) over the course of a cOFM sample collection session (5 to 10+ hours long, depending on experimental paradigm).

As stated previously, one of the largest limitations of this methodology is the relative dilution of sampled analytes, relative to in situ concentrations. To help mitigate this limitation, we have detailed the alternative configuration of recirculated cOFM sampling wherein a fixed perfusate volume occupying the entire tubing dead space (approximately 100 μL) is repeatedly infused through the tissue sampling interface. When pumped at 1 μL per minute for 5 hours, this equates to 3 complete cycles of perfusate recirculation, resulting in higher analyte concentrations within the sample. Despite this, microfluidic sampling modalities still struggle to replicate endogenous concentrations. As a result of this persistent challenge, several calibration methods for estimating physiologic analyte concentrations have been designed for cerebral microdialysis and can be readily applied to microperfusion. These include strategies such as endogenous reference analytes, no-net-flux, low-flow rate, retro-/reverse microdialysis, and in vitro recovery comparison methods30. Minimally residual solute adsorption onto the cOFM system components does pose another hurdle to accurately assessing endogenous analyte levels, but this can be partially mitigated through the reduction of tubing lengths (and corresponding adsorptive surface area) or by using aCSF additives, such as albumin, within the perfusate to compete for adsorptive surface contact with sampled analytes of interest31.

Cerebral open-flow microperfusion holds many significant advantages over other comparable methods. With respect to cerebral microdialysis (cMD), cOFM enables the sampling of a wider range of molecular weights of ISF components. This includes antibodies, nanobodies, lipophilic compounds, protein hormones, and liposomal nanoparticles19,20,22-25. Employment of cOFM in animal disease models allows greater endogenous contextualization compared to in vitro methods; however, it has also been used for real-time monitoring of 3-dimensional tissue cultures32. Compared to single-timepoint post-mortem analyses, such as immunohistochemistry (IHC), cOFM permits longitudinal monitoring and internally controlled sampling from individual animals, thereby improving the signal-to-noise ratios associated with inter-animal variability.

Although many investigations into CNS disorders other than GBM are now using traditional cMD in their animal models, these studies could greatly benefit from using cerebral-open-flow microperfusion. For example, several recent reports investigating Alzheimer’s Disease with cMD have examined proteinaceous ISF components using 2 MDa or 3 MDa cutoff membranes composed of polyethersulfone or polyethylene, respectively33,34. Despite the large patency of these 2-3 MDa cutoff membranes, they pale in comparison to cOFM, with their diffusion-permitting pore size (approximately 200 nm) being nearly 1000-fold smaller than the macroscopic openings of cOFM solute exchange interfaces (approximately 100 μm)20,35. This decrease in relative pore size equates to increased surface-area interface for adsorptive loss of molecular analytes. Moreover, these smaller pores within cMD catheters could be more vulnerable to clogging when exposed to cellular debris that results from neurodegenerative cell death.

The use of cerebral open-flow microperfusion can greatly facilitate investigations into the make-up and temporal dynamics of ISF composition of both healthy and diseased CNS tissues. In this manuscript, we have detailed the procedural steps for performing cOFM within animal models, focusing on a glioblastoma model. However, these procedures can be readily adapted to investigate myriad disorders of the central nervous system.

ACKNOWLEDGMENTS:

This work was supported by the National Institute of Neurological Disorders and Stroke grant 1R01NS096376, 1R01NS112856, and P50CA221747 SPORE for Translational Approaches to Brain Cancer (A.U.A.).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1	Shetty, A. K. Zanirati, G. The interstitial system of the brain in health and disease. Aging Dis. 11 (1), 200-211 (2020).

2	Taoka, T. et al. Interstitial fluidopathy of the central nervous system: An umbrella term for disorders with impaired neurofluid dynamics. Magn Reson Med Sci. 23 (1), 1-13 (2024).

3	Matsumae, M. et al. Research into the physiology of cerebrospinal fluid reaches a new horizon: Intimate exchange between cerebrospinal fluid and interstitial fluid may contribute to maintenance of homeostasis in the central nervous system. Neurol Med Chir (Tokyo). 56 (7), 416-441 (2016).

4	Filannino, F. M., Panaro, M. A., Benameur, T., Pizzolorusso, I., Porro, C. Extracellular vesicles in the central nervous system: A novel mechanism of neuronal cell communication. Int J Mol Sci. 25 (3), 1629 (2024).

5	Marcus, H. J., Carpenter, K. L., Price, S. J., Hutchinson, P. J. In vivo assessment of high-grade glioma biochemistry using microdialysis: A study of energy-related molecules, growth factors and cytokines. J Neurooncol. 97 (1), 11-23 (2010).

6	De Ruiter Swain, J., Michalopoulou, E., Noch, E. K., Lukey, M. J., Van Aelst, L. Metabolic partitioning in the brain and its hijacking by glioblastoma. Genes Dev. 37 (15-16), 681-702 (2023).

7	Teer, L., Yaddanapudi, K., Chen, J. Biophysical control of the glioblastoma immunosuppressive microenvironment: Opportunities for immunotherapy. Bioengineering (Basel). 11 (1), 93 (2024).

8	De Boeck, A. et al. Glioma-derived il-33 orchestrates an inflammatory brain tumor microenvironment that accelerates glioma progression. Nat Commun. 11 (1), 4997 (2020).

9	Yeo, E. C. F., Brown, M. P., Gargett, T., Ebert, L. M. The role of cytokines and chemokines in shaping the immune microenvironment of glioblastoma: Implications for immunotherapy. Cells. 10 (3), 607 (2021).

10	Riviere-Cazaux, C. et al. Longitudinal glioma monitoring via cerebrospinal fluid cell-free DNA. Clin Cancer Res. 31 (5), 881-889 (2025).

11	Wang, X. et al. Reciprocal signaling between glioblastoma stem cells and differentiated tumor cells promotes malignant progression. Cell Stem Cell. 22 (4), 514-528 e515 (2018).

12	Lehmann, A., Isacsson, H., Hamberger, A. Effects of in vivo administration of kainic acid on the extracellular amino acid pool in the rabbit hippocampus. J Neurochem. 40 (5), 1314-1320 (1983).

13	Sandberg, M. Lindstrom, S. Amino acids in the dorsal lateral geniculate nucleus of the cat--collection in vivo. J Neurosci Methods. 9 (1), 65-74 (1983).

14	Tossman, U. et al. Brain amino acids measured by intracerebral dialysis in portacaval shunted rats. J Neurochem. 41 (4), 1046-1051 (1983).

15	Zetterstrom, T. et al. Purine levels in the intact rat brain. Studies with an implanted perfused hollow fibre. Neurosci Lett. 29 (2), 111-115 (1982).

16	Bourne, J. A. Intracerebral microdialysis: 30 years as a tool for the neuroscientist. Clin Exp Pharmacol Physiol. 30 (1-2), 16-24 (2003).

17	Darvesh, A. S. et al. In vivo brain microdialysis: Advances in neuropsychopharmacology and drug discovery. Expert Opin Drug Discov. 6 (2), 109-127 (2011).

18	Chefer, V. I., Thompson, A. C., Zapata, A., Shippenberg, T. S. Overview of brain microdialysis. Curr Protoc Neurosci. Chapter 7, Unit7 1 (2009).

19	Altendorfer-Kroath, T. et al. Comparison of cerebral open flow microperfusion and microdialysis when sampling small lipophilic and small hydrophilic substances. J Neurosci Methods. 311, 394-401 (2019).

20	Custers, M. L. et al. Applicability of cerebral open flow microperfusion and microdialysis to quantify a brain-penetrating nanobody in mice. Anal Chim Acta. 1178, 338803 (2021).

21	Birngruber, T. et al. Cerebral open flow microperfusion: A new in vivo technique for continuous measurement of substance transport across the intact blood-brain barrier. Clin Exp Pharmacol Physiol. 40 (12), 864-871 (2013).

22	Kleinert, M. et al. Time-resolved hypothalamic open flow micro-perfusion reveals normal leptin transport across the blood-brain barrier in leptin resistant mice. Mol Metab. 13, 77-82 (2018).

23	Le Prieult, F., Barini, E., Laplanche, L., Schlegel, K., Mezler, M. Collecting antibodies and large molecule biomarkers in mouse interstitial brain fluid: A comparison of microdialysis and cerebral open flow microperfusion. MAbs. 13 (1), 1918819 (2021).

24	Altendorfer-Kroath, T. et al. Quantification of the therapeutic antibody ocrelizumab in mouse brain interstitial fluid using cerebral open flow microperfusion and simultaneous monitoring of the blood-brain barrier integrity. Pharmaceutics. 15 (7), 1880 (2023).

25	Birngruber, T. et al. Enhanced doxorubicin delivery to the brain administered through glutathione pegylated liposomal doxorubicin (2b3-101) as compared with generic caelyx,((r))/doxil((r))--a cerebral open flow microperfusion pilot study. J Pharm Sci. 103 (7), 1945-1948 (2014).

26	Birngruber, T. et al. Long-term implanted cOFM probe causes minimal tissue reaction in the brain. PLoS One. 9 (3), e90221 (2014).

27	Altendorfer-Kroath, T. et al. Atraumatic access to human glioblastoma in a xenograft animal model by cerebral open flow microperfusion. J Neurosci Methods. 393 109893 (2023).

28	Stangler, L. A. et al. Microdialysis and microperfusion electrodes in neurologic disease monitoring. Fluids Barriers CNS. 18 (1), 52 (2021).

29	Hummer, J., Altendorfer-Kroath, T., Birngruber, T. Cerebral open flow microperfusion to monitor drug transport across the blood-brain barrier. Curr Protoc Pharmacol. 85 (1), e60 (2019).

30	Sundheimer, J. K. et al. Experimental insights and recommendations for successfully performing cerebral microdialysis with hydrophobic drug candidates. Clin Transl Sci. 18 (5), e70226 (2025).

31	Altendorfer-Kroath, T., Hummer, J., Birngruber, T. In vivo monitoring of brain pharmacokinetics and pharmacodynamics with cerebral open flow microperfusion. Biopharm Drug Dispos. 44 (1), 84-93 (2023).

32	Kreß, S. et al. Innovative platform for the advanced online monitoring of three-dimensional cells and tissue cultures. Cells. 11 (3), 412 (2022).

33	Bjorkli, C. et al. In vivo microdialysis in mice captures changes in alzheimer's disease cerebrospinal fluid biomarkers consistent with developing pathology. J Alzheimers Dis. 84 (4), 1781-1794 (2021).

34	Gorska, A. M. et al. Evaluation of cerebrospinal fluid (csf) and interstitial fluid (isf) mouse proteomes for the validation and description of alzheimer's disease biomarkers. J Neurosci Methods. 411, 110239 (2024).

35	Pemmari, T. et al. Screening of homing and tissue-penetrating peptides by microdialysis and in vivo phage display. Life Sci Alliance. 8 (5), e202201490 (2025).