# Submission ID #: 68766

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=20973678

Title: Optically Trapping Large Metallic Particles in Air Using a 'Boat' Trap with Direct-Drawn Sidewalls

# Authors and Affiliations:

Stephen B. Griffith, Ryan M. Camacho, Siavash Mirzaei-Ghormish, Daniel E. Smalley*

Ira A. Fulton College of Engineering, Brigham Young University

# Corresponding Authors:

Daniel E. Smalley 		(smalley@byu.edu)

# Email Addresses for All Authors:

Stephen B. Griffith 		(sbg97@student.byu.edu)

Ryan M. Camacho 		(camacho@byu.edu)

Siavash Mirzaei-Ghormish 	(smirzaei@student.byu.edu)

Daniel E. Smalley 		(smalley@byu.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?    No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  partial

3. Filming location: Will the filming need to take place in multiple locations?   no

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. no

Current Protocol Length

Number of Steps:  36

Number of Shots:  53

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Stephen Griffith or Jay Dearden: Our work describes the construction and operation of a reconfigurable boat-shaped optical trap for capturing and manipulating particles in air.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Daniel Smalley: Existing trapping methods compromise between trap localization and capture area; this protocol introduces a boat trap achieving both simultaneously.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Daniel Smalley: This protocol can be applied in standard laboratory environments under ambient air conditions while following class IV laser safety protocols.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Daniel Smalley: This protocol allows a researcher to draw and quickly modify a boat trap to trap and move a wide variety of particles in the air.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Daniel Smalley: Future studies can integrate Field-Programmable Gate Array control to enable programmable manipulation of trap shape, weighting, and cross-sectional location within a 2D plane.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Optical System Setup for Particle Trapping

Demonstrator: Stephen Griffith

  - After preparing the carbon-coated glass microsphere, set up the optical system using a kinematic beam elevator and a ruler to set the beam height to 23 centimeters [1].

    - LAB MEDIA: IMG_4235.MOV: 04:18-04:22

  - Reduce the laser power to less than 5 milliwatts [1]. Use a polarizer to determine whether the polarization is vertically oriented [2].

    - LAB MEDIA: rotated.mov: 00:00 – 00:07

    - LAB MEDIA: polarization1.mov: 00:00-00:11

  - Adjust the microscope to beam height, facing in the negative z direction, at a distance greater than 100 centimeters from the output of the beam elevator [1].

    - LAB MEDIA: IMG_4235.MOV: 06:00-06:20

  - Place a Fourier transform lens 10 centimeters in the negative z direction, with the convex surface facing in the positive z direction [1].

    - LAB MEDIA: IMG_4235.MOV Timestamps: 11:24 – 11:40

  - Then, place the remaining 3 Fourier transform lenses 20 centimeters apart, with alternating convexities [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 01:17 – 01:24

  - Next, position the acousto-optic modulators 10 centimeters in the negative z direction from the lenses closest to and furthest from the laser [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 01:32 – 01:37

  - Ensure that the acousto-optic modulator closest to the laser is vertically oriented [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 11:07 – 11:17

  - Position the acousto-optic modulator 2 ten centimeters from the lens furthest from the laser. Align it horizontally and rotate it approximately 2 degrees away from the optical axis [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 02:23 – 02:30

  - For each channel of the arbitrary waveform generator, connect a voltage-controlled oscillator, an amplifier, and 1 acousto-optic modulator [1]. Then, connect the amplifiers to the acousto-optic modulators [2].

    - LAB MEDIA: Figure 5C

    - LAB MEDIA: IMG_4325.MOV Timestamps: 06:06-06:19, 06:52-06:54

  - Using the arbitrary waveform generator, turn the radio frequency signal to both acousto-optic modulators to 175 megahertz [1].

    - LAB MEDIA: IMG_4325.mov Timestamps: 21:00 – 21:17.

  - Then, decrease the tilt of acousto-optic modulator 2 to zero. Gradually increase the angle until the first-order beam reaches its maximum brightness. Confirm that the acousto-optic modulator has returned to approximately the original tilt angle of 2 degrees [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 12:45 – 12:55

  - Align both beams exiting the first acousto-optic modulator to enter the second modulator. Of the four exiting beams, allow only the top-right beam to pass through the aperture [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 14:04-14:30

  - Next, place a beamsplitter to direct a portion of the beam to an observation surface [1].

    - LAB MEDIA: IMG_4325.MOV: 17:26-17:40, 18:00-18:03

  - With the arbitrary waveform generator amplitudes set to zero, observe the resulting beam at the observation surface appearing as a dot [1].

    - LAB MEDIA: IMG_4325.mov: Timestamps: 22:36 – 22:50

  - Set the vertical channel offset to 3 volts, amplitude to 5 volts, and frequency to 4 kilohertz [1]. Observe the beam forming a vertical line at the observation surface [2].

    - LAB MEDIA: Figure 7C

    - LAB MEDIA: IMG_4325.mov Timestamps: 23:00 – 23:30

  - Then adjust the horizontal channel offset to 3 volts, the amplitude to 5 volts, and the frequency to 4 kilohertz [1]. The beam should form a diagonal line at the observation surface [2].

    - LAB MEDIA: Figure 7E

    - LAB MEDIA: IMG_4325.mov Timestamps: 23:40 – 23:50

  - Tune the vertical channel to 8 kilohertz and a 90-degree phase offset [1], resulting in a Lissajous pattern on the observation surface [2].

    - LAB MEDIA: Figure 7G

    - LAB MEDIA: IMG_4325.mov Timestamps: 24:39 – 24:45

  - Then, press the Align Phase button to convert the Lissajous pattern to a parabolic shape [1]. Adjust the vertical channel phase offset to refine the parabolic shape [2] and observe the refined parabolic pattern at the observation surface [3].

    - LAB MEDIA: Figure 7I and IMG_4325.mov Timestamps: 24:45 – 24:50

    - LAB MEDIA: Figure 7K

    - LAB MEDIA: IMG_4325.mov: 24:48-24:58.

- Imaging System Setup and Particle Trapping Procedure

  - Place a telecentric lens with a 45 millimeter focal length on a linear stage, positioning it 55 millimeters in front of the objective in the positive z direction [1]. Then, place a dichroic filter designed to reflect 532 nanometer light in front of the lens [2].

    - LAB MEDIA: IMG_4348.mov: 00:26-00:30

    - LAB MEDIA: IMG_4348.mov: 04:29-04:44

  - Connect the camera to a personal computer using a universal serial bus cable with the associated imaging software [1].

    - LAB MEDIA: IMG_4348.mov: 01:29-01:32

  - Then, tilt the dichroic filter slightly between 5 and 10 degrees until the parabolic trap shape appears [1].

    - LAB MEDIA: IMG_4348.mov: 04:56-05:14

  - Illuminate the beamsplitter with a fiber light source [1] and adjust the fiber light to center its illumination around the parabolic trap [2].

    - LAB MEDIA: IMG_4362.mov: 00:15-00:25

    - LAB MEDIA: light.mp4

  - Using a laboratory spatula, place approximately 1 gram of particles inside a 25 millimeter long, 12 millimeter diameter glass cylinder mounted to allow rotation along the cylinder axis [1].

    - LAB MEDIA: insertion.MOV

  - Place the loaded glass cylinder centered at 15 millimeters away from the objective, corresponding to the objective working distance [1].

    - LAB MEDIA: IMG_4362.mov: 01:39-01:47

  - After rotating and tapping the cylinder, observe the camera display showing default or no trapped particles [1], particles falling [2], and trapped particles [3].

    - LAB MEDIA: tap.avi: 00:00-00:05

    - LAB MEDIA: tap.avi: 02:58-03:03

    - LAB MEDIA: tap.avi: 03:37-03:39

- Computational Tracking with OpenCV

  - After installing and configuring the software, launch Visual Studio 2022 and open the project file [1]. Press the green Run button to start the program. Observe the video feed and terminal appearing on the screen [2].

    - SCREEN: ScreenRecording1.MP4: 00:00-00:09

    - SCREEN: ScreenRecording1.MP4: 00:09-00:15

  - Ensure that the green trapping parabola is visible on the video feed. If it is not visible, adjust power, filtering, or alignment until the trapping region appears [1].

    - SCREEN: IMG_4348.MOV Timestamps: 04:56 – 05:14

  - Press the Windows, Shift, and S key simultaneously to capture the screen [1]. Click and drag the mouse pointer from the top left to the bottom right corner of the video feed [2]. Click the pop-up to open the screenshot editor [3]. Click the Edit in MS Paint button within the editor [4].

    - SCREEN: ScreenRecording1.mp4: 00:17-00:19,

    - SCREEN: ScreenRecording1.mp4: 00:20-00:25

    - SCREEN: ScreenRecording1.mp4: 00:26-00:29

    - SCREEN: ScreenRecording1.mp4: 00:29-00:33

  - Then, place the cursor in the top left corner of the parabola in the MS Paint window [1]. Record the coordinates shown at the bottom left corner as xmin (X-Minimum) and ymin (y-Minimum) [2].

    - SCREEN: ScreenRecording1.mp4: 00:35-00:42.

    - SCREEN: ScreenRecording1.mp4: 01:01 and 01:19-01:20.   Video editor: Highlight the values displayed at the bottom left corner of the window

  - Once done, close the video feed by pressing the Escape key [1].

    - SCREEN: ScreenRecording1.mp4:  01:27-01:28

  - Enter xmin, xmax, ymin, and ymax on line 280 in the is_trapped (Is-Underscore-Trapped) function of main.cpp (Main-C-P-P) within the project [1].

    - SCREEN: CalibrationR2.mp4: 01:10-01:35

  - For frequency selection, launch Visual Studio 2022 and open the project file if it is not already open [1].

    - SCREEN: ScreenRecording1.MP4: 00:06 – 00:09

  - Open Windows PowerShell or Command Prompt. Run the command python -c import random and print a random sample from the range 0 to 101. Then, copy the generated list of test numbers [1].

    - SCREEN: GetRandomNumbers.mp4: 00:00 –00:11

  - Edit line 443 of main.cpp by pasting the generated list into the test numbers sequence [1] and save the project in Visual Studio 2022 [1].

    - SCREEN: EditingR1.mp4:  03:30-03:40

    - SCREEN: ReplasceAndSaveRandomNumbers.mp4: 00:10 –00:13

  - Increase laser power to the level needed for the experiment and open the results.txt file in a text editor. Observe that each program run generates new results under the heading Start of a new batch of results in the format test number result, followed by trap time in nanoseconds [1].

    - SCREEN: EditingR1.mp4: 05:37-06:04

  - For data visualization, copy the test numbers and trap times from the comma-separated values file into example.xlsx. After applying the required filters, observe the additional columns and a scatter plot that populates with trap time versus trap draw frequency [1].

    - SCREEN: EditingR1.mp4: 9:17-9:28

# Results

- Results

  - Carbon-coated microspheres produced dark shadows when backlit [1].

    - LAB MEDIA: Figure 9E,F. Video editor: Highlight the dark particle shadows on the pale background

  - Glass microsphere particles with dimensions on the order of 100 micrometers settled approximately to the bottom of the parabolic trap with a slight bias toward the direction of scan [1].

    - LAB MEDIA: Figure 9F. Video editor: Highlight the green curved trap area with the dark particle shadows near its lower edge

  - When a particle was successfully trapped, the automated particle detection software displayed a red “T” [1]. When no trapped particle was found, the software displayed a green “N” [2].

    - LAB MEDIA: Figure 12A. Video editor: Highlight the red “T” label

    - LAB MEDIA: Figure 12B. Video editor: Highlight the green “N” label

  - Trapping rates and lifetimes may increase or decrease as a function of environmental variables such as temperature or humidity [1].

    - LAB MEDIA: Figure 13A–C.

  - Solid gold particles on the order of 1 micrometer were not observable along the optical axis, but their light scatter was observed orthogonal to the axis [1].

    - LAB MEDIA: Figure 14C-E.

  - Video recordings confirmed that particles maintained their position for extended durations exceeding several minutes [1].

    - LAB MEDIA: Figure 14C–E. Video editor: Highlight the circled trap point in each frame

- Microsphere
Pronunciation link: https://www.merriam-webster.com/dictionary/microsphere
IPA: /ˈmaɪkrəˌsfɪr/
Phonetic Spelling: my·kruh·sfeer

- Kinematic
Pronunciation link: https://www.merriam-webster.com/dictionary/kinematic
IPA: /ˌkɪnəˈmætɪk/
Phonetic Spelling: kin·uh·mat·ik

- Polarizer
Pronunciation link: https://www.merriam-webster.com/dictionary/polarizer
IPA: /ˈpoʊləˌraɪzər/
Phonetic Spelling: poh·luh·ry·zur

- Polarization
Pronunciation link: https://www.merriam-webster.com/dictionary/polarization
IPA: /ˌpoʊlərəˈzeɪʃən/
Phonetic Spelling: poh·luh·ruh·zay·shuhn

- Fourier
Pronunciation link: https://www.merriam-webster.com/dictionary/Fourier
IPA: /ˈfʊrieɪ/, /ˈfʊriər/
Phonetic Spelling: foor·ee·ay; foor·ee·ur

- Convexities
Pronunciation link: https://www.howtopronounce.com/convexities
IPA: /kənˈvɛksətiz/
Phonetic Spelling: kuhn·vek·suh·teez

- Acousto-optic
Pronunciation link: https://www.howtopronounce.com/acousto-optic
IPA: /əˌkuːstoʊ ˈɑːptɪk/
Phonetic Spelling: uh·koos·toh op·tik

- Modulator
Pronunciation link: https://www.merriam-webster.com/dictionary/modulator
IPA: /ˈmɑːdjəˌleɪtər/
Phonetic Spelling: mod·yuh·lay·tur

- Arbitrary
Pronunciation link: https://www.merriam-webster.com/dictionary/arbitrary
IPA: /ˈɑːrbəˌtreri/
Phonetic Spelling: ar·buh·trair·ee

- Waveform
Pronunciation link: https://www.merriam-webster.com/dictionary/waveform
IPA: /ˈweɪvˌfɔːrm/
Phonetic Spelling: wayv·form

- Oscillator
Pronunciation link: https://www.merriam-webster.com/dictionary/oscillator
IPA: /ˈɑːsəˌleɪtər/
Phonetic Spelling: os·uh·lay·tur

- Amplifier
Pronunciation link: https://www.merriam-webster.com/dictionary/amplifier
IPA: /ˈæmpləˌfaɪər/
Phonetic Spelling: am·pluh·fy·ur

- Megahertz
Pronunciation link: https://www.merriam-webster.com/dictionary/megahertz
IPA: /ˈmeɡəˌhɝːts/
Phonetic Spelling: meg·uh·hurts

- Aperture
Pronunciation link: https://www.merriam-webster.com/dictionary/aperture
IPA: /ˈæpərˌtʃʊr/
Phonetic Spelling: ap·ur·chur

- Beamsplitter
Pronunciation link: https://www.howtopronounce.com/beamsplitter
IPA: /ˈbiːmˌsplɪtər/
Phonetic Spelling: beem·split·ur

- Lissajous
Pronunciation link: https://www.howtopronounce.com/lissajous
IPA: /ˈliːsɑːʒuː/
Phonetic Spelling: lee·sah·zhoo

- Parabolic
Pronunciation link: https://www.merriam-webster.com/dictionary/parabolic
IPA: /ˌperəˈbɑːlɪk/
Phonetic Spelling: pair·uh·bol·ik

- Telecentric
Pronunciation link: https://www.howtopronounce.com/telecentric
IPA: /ˌtɛliˈsɛntrɪk/
Phonetic Spelling: tel·ee·sen·trik

- Dichroic
Pronunciation link: https://www.howtopronounce.com/dichroic
IPA: /daɪˈkroʊɪk/
Phonetic Spelling: dye·kroh·ik

- Universal Serial Bus
Pronunciation link: https://www.merriam-webster.com/dictionary/universal
IPA: /ˌjuːnəˈvɝːsəl ˈsɪriəl bʌs/
Phonetic Spelling: yoo·nuh·vur·suhl seer·ee·uhl bus

- Objective
Pronunciation link: https://www.merriam-webster.com/dictionary/objective
IPA: /əbˈdʒektɪv/
Phonetic Spelling: ub·jek·tiv

- Spatula
Pronunciation link: https://www.merriam-webster.com/dictionary/spatula
IPA: /ˈspætʃələ/
Phonetic Spelling: spach·uh·luh

- OpenCV
Pronunciation link: No confirmed link found
IPA: /ˈoʊpən siː viː/
Phonetic Spelling: oh·puhn see·vee

- Simultaneously
Pronunciation link: https://www.merriam-webster.com/dictionary/simultaneously
IPA: /ˌsaɪməlˈteɪniəsli/
Phonetic Spelling: sy·muhl·tay·nee·uhs·lee

- Nanoseconds
Pronunciation link: https://www.merriam-webster.com/dictionary/nanosecond
IPA: /ˈnænəˌsekənd/
Phonetic Spelling: nan·uh·sek·uhnd