# Submission ID #: 68766

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=20973678

Title: Optically Trapping Large Metallic Particles in Air Using a 'Boat' Trap with Direct-Drawn Sidewalls

# Authors and Affiliations:

Stephen B. Griffith, Ryan M. Camacho, Siavash Mirzaei-Ghormish, Daniel E. Smalley*

Ira A. Fulton College of Engineering, Brigham Young University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Daniel E. Smalley 		(smalley@byu.edu)

# Email Addresses for All Authors:

Stephen B. Griffith 		(sbg97@student.byu.edu)

Ryan M. Camacho 		(camacho@byu.edu)

Siavash Mirzaei-Ghormish 	(smirzaei@student.byu.edu)

Daniel E. Smalley 		(smalley@byu.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  36

Number of Shots:  53

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Optical System Setup for Particle Trapping

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - After preparing the carbon-coated glass microsphere, set up the optical system using a kinematic beam elevator and a ruler to set the beam height to 23 centimeters [1].

    - LAB MEDIA: IMG_4235.MOV: 04:18-04:22

  - Reduce the laser power to less than 20 milliwatts [1]. Use a polarizer to determine whether the polarization is vertically oriented [2].

    - LAB MEDIA: rotated.mov: 00:00 – 00:07

    - LAB MEDIA: polarization1.mov: 00:00-00:11

  - Adjust the microscope to beam height, facing in the negative z direction, at a distance greater than 100 centimeters from the output of the beam elevator [1].

    - LAB MEDIA: IMG_4235.MOV: 06:00-06:20

  - Place a Fourier transform lens 10 centimeters in the negative z direction, with the convex surface facing in the positive z direction [1].

    - LAB MEDIA: IMG_4235.MOV Timestamps: 11:24 – 11:40

  - Then, place the remaining 3 Fourier transform lenses 20 centimeters apart, with alternating convexities [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 01:17 – 01:24

  - Next, position the acousto-optic modulators 10 centimeters in the negative z direction from the lenses closest to and furthest from the laser [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 01:32 – 01:37

  - Ensure that the acousto-optic modulator closest to the laser is vertically oriented [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 11:07 – 11:17

  - Place the acousto-optic modulator two 10 centimeters from the lens furthest from the laser. Orient this acousto-optic modulator horizontally and rotate acousto-optic modulator 2 approximately 2 degrees away from the optical axis [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 02:23 – 02:30

  - For each channel of the arbitrary waveform generator, connect a voltage-controlled oscillator, an amplifier, and 1 acousto-optic modulator [1]. First, connect the amplifiers to the acousto-optic modulators [2].

    - LAB MEDIA: Figure 5C

    - LAB MEDIA: IMG_4325.MOV Timestamps: 06:06 – 06:19, 06:52-06:54

  - Using the arbitrary waveform generator, turn the radio frequency signal to both acousto-optic modulators to 175 megahertz [1].

    - LAB MEDIA: IMG_4325.mov Timestamps: 21:00 – 21:17.

  - Then, decrease the tilt of acousto-optic modulator 2 to zero. Gradually increase the angle until the first-order beam is at its brightest. Confirm that the acousto-optic modulator has returned to approximately the original tilt angle of 2 degrees [1].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 12:45 – 12:55

  - Ensure that both beams exiting the first acousto-optic modulator enter the second acousto-optic modulator. Ensure that, of the 4 beams entering the second acousto-optic modulator, the top right beam is chosen to pass through an aperture [2].

    - LAB MEDIA: IMG_4325.MOV Timestamps: 14:04-14:30

  - Next, place a beamsplitter to direct a portion of the beam to an observation surface [1].

    - LAB MEDIA: IMG_4325.MOV: 17:26-17:40, 18:00-18:03

  - With the arbitrary waveform generator amplitudes set to zero, observe the resulting beam at the observation surface appearing as a dot [1].

    - LAB MEDIA: IMG_4325.mov: Timestamps: 22:36 – 22:50

  - Set the vertical channel offset to 3 volts, amplitude to 5 volts, and frequency to 4 kilohertz [1]. Observe the beam forming a vertical line at the observation surface [2].

    - LAB MEDIA: Figure 7C

    - LAB MEDIA: IMG_4325.mov Timestamps: 23:00 – 23:30

  - Then, set the horizontal channel offset to 3 volts, amplitude to 5 volts, and frequency to 4 kilohertz [1]. Observe the beam forming a diagonal line at the observation surface [2].

    - LAB MEDIA: Figure 7E

    - LAB MEDIA: IMG_4325.mov Timestamps: 23:40 – 23:50

  - Set the vertical channel frequency to 8 kilohertz and the phase offset to 90 degrees [1]. Observe the formation of a Lissajous pattern at the observation surface [2].

    - LAB MEDIA: Figure 7G

    - LAB MEDIA: IMG_4325.mov Timestamps: 24:39 – 24:45

  - Then, press the Align Phase button to convert the Lissajous pattern to a parabolic shape [1]. Adjust the vertical channel phase offset to refine the parabolic shape [2] and observe the refined parabolic pattern at the observation surface [3].

    - LAB MEDIA: Figure 7I and IMG_4325.mov Timestamps: 24:45 – 24:50

    - LAB MEDIA: Figure 7K

    - LAB MEDIA: IMG_4325.mov: 24:48-24:58.

- Imaging System Setup and Particle Trapping Procedure

Demonstrator: Click here to enter name of demonstrator(s)

  - Place a telecentric lens with a 45 millimeter focal length on a linear stage, positioning it 55 millimeters in front of the objective in the positive z direction [1]. Place a dichroic filter designed to reflect 532 nanometer light in front of the lens [2].

    - LAB MEDIA: IMG_4348.mov: 00:26-00:30

    - LAB MEDIA: IMG_4348.mov: 04:29-04:44

  - Connect the camera to a personal computer using a universal serial bus cable with the associated imaging software [1].

    - LAB MEDIA: IMG_4348.mov: 01:29-01:32

  - Then, tilt the dichroic filter slightly between 5 and 10 degrees until the parabolic trap shape appears [1].

    - LAB MEDIA: IMG_4348.mov: 04:56-05:14

  - Next, illuminate the beamsplitter with a fiber light source [1] and adjust the fiber light to center its illumination around the parabolic trap [2].

    - LAB MEDIA: IMG_4362.mov: 00:15-00:25

    - LAB MEDIA: light.mp4

  - Using a laboratory spatula, place approximately 1 gram of particles inside a 25 millimeter long, 12 millimeter diameter glass cylinder mounted to allow rotation along the cylinder axis [1].

    - LAB MEDIA: insertion.MOV

  - Place the loaded glass cylinder centered at 15 millimeters away from the objective, corresponding to the objective working distance [1].

    - LAB MEDIA: IMG_4362.mov: 01:39-01:47

  - After rotating and tapping the cylinder, observe the camera display showing default or no trapped particles [1], particles falling [2], and trapped particles [1].

    - LAB MEDIA: tap.avi: 00:00-00:05

    - LAB MEDIA: tap.avi: 02:58-03:03

    - LAB MEDIA: tap.avi: 03:37-03:39

- Computational Tracking with OpenCV

Demonstrator: Click here to enter name of demonstrator(s)

  - After installing and configuring the software, launch Visual Studio 2022 and open the project file [1]. Press the green Run button to start the program. Observe the video feed and terminal appearing on the screen [2].

    - LAB MEDIA: ScreenRecording1.MP4: 00:00-00:09

    - LAB MEDIA: ScreenRecording1.MP4: 00:09-00:15

  - Ensure that the green trapping parabola is visible on the video feed. If it is not visible, adjust power, filtering, or alignment until the trapping region appears [1].

    - LAB MEDIA: IMG_4348.MOV Timestamps: 04:56 – 05:14

  - Press the Windows key, Shift key, and S key simultaneously to capture the screen [1]. Click and drag the mouse pointer from the top left to the bottom right corner of the video feed [2]. Click the pop-up to open the screenshot editor [3]. Click the Edit in MS Paint button within the editor [4].

    - LAB MEDIA: ScreenRecording1.mp4: 00:17-00:19,

    - LAB MEDIA: ScreenRecording1.mp4: 00:20-00:25

    - LAB MEDIA: ScreenRecording1.mp4: 00:26-00:29

    - LAB MEDIA: ScreenRecording1.mp4: 00:29-00:33

  - Then, place the cursor in the top left corner of the parabola in the MS Paint window [1]. Record the coordinates shown at the bottom left corner as xmin (X-Minimum) and ymin (y-Minimum) [2].

    - LAB MEDIA: ScreenRecording1.mp4: 00:35-00:42.

    - LAB MEDIA: ScreenRecording1.mp4: 01:01 and 01:19-01:20.   Video editor: Highlight the values displayed at the bottom left corner of the window

  - Once done, close the video feed by pressing the Escape key [1].

    - LAB MEDIA: ScreenRecording1.mp4:  01:27-01:28

  - Enter xmin, xmax, ymin, and ymax on line 280 in the is_trapped function of main.cpp (Main-C-P-P) within the project [1].

    - LAB MEDIA: CalibrationR2.mp4: 01:10-01:35

  - For frequency selection, launch Visual Studio 2022 and open the project file if it is not already open [1].

    - LAB MEDIA: ScreenRecording1.MP4 Timestamps: 00:06 – 00:09

  - Open Windows PowerShell or Command Prompt. Run the command python -c import random and print a random sample from the range 0 to 101. Copy the generated list of test numbers [1].

    - LAB MEDIA: GetRandomNumbers.mp4  Timestamps: 00:00 –00:11

  - Edit line 443 of main.cpp by pasting the generated list into the test numbers sequence [1]. Then, save the project in Visual Studio 2022 [1].

    - LAB MEDIA: EditingR1.mp4 Timestamps: 03:30-03:40

    - LAB MEDIA: ReplasceAndSaveRandomNumbers.mp4  Timestamps: 00:10 –00:13

  - After running the experiment, open the results.txt file in a text editor. Observe that each program run generates new results under the heading Start of a new batch of results in the format test number result, followed by trap time in nanoseconds [1].

    - SCREEN: EditingR1.mp4: 05:37-06:04

  - For data visualization, copy the test numbers and trap times from the comma-separated values file into example.xlsx. After applying the required filters, observe additional columns and a scatter plot graph populating with trap time versus trap draw frequency [1].

    - LAB MEDIA: EditingR1.mp4: 9:17-9:28

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 128.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Carbon-coated microspheres produced dark shadows when backlit [1].

    - LAB MEDIA: Figure 9E,F. Video editor: Highlight the dark particle shadows on the pale background

  - Glass microsphere particles with dimensions on the order of 100 micrometer settled approximately to the bottom of the parabolic trap with a slight bias toward the direction of scan [1].

    - LAB MEDIA: Figure 9F. Video editor: Highlight the green curved trap area with the dark particle shadows near its lower edge

  - When a particle was successfully trapped, the automated particle detection software displayed a red “T”[1]. When no trapped particle was found, the software displayed a green “N” [2].

    - LAB MEDIA: Figure 12A. Video editor: Highlight the red “T” label

    - LAB MEDIA: Figure 12B. Video editor: Highlight the green “N” label

  - Trapping rates and lifetimes may increase or decrease as a function of environmental variables such as temperature or humidity [1].

    - LAB MEDIA: Figure 13A–C.

  - Solid gold particles on the order of 1 micrometer were not observable along the optical axis, but their light scatter was observed orthogonal to the axis [1].

    - LAB MEDIA: Figure 14C-E.

  - Video recordings confirmed that particles maintained their position for extended durations exceeding several minutes [1].

    - LAB MEDIA: Figure 14C–E. Video editor: Highlight the circled trap point in each frame