# Submission ID #: 68773

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20975813

# Title: In Vitro Intraluminal Gel Infusion: An Advanced Approach for Microscopic Analysis of Human Resistance Arteries

# Authors and Affiliations:

# Md Abdul Hakim1, Andrew M Blakely2, Bianca M Nagata3, Derron A Alves3, Hans C Ackerman1

# 1Physiology Unit, Laboratory of Malaria and Vector Research, National Institute of Allergy and Infectious Diseases

# 2Surgical Oncology Program, Center for Cancer Research, National Cancer Institute

# 3Infectious Disease Pathogenesis Section, National Institute of Allergy and Infectious Diseases

# Corresponding Authors:

# Md Abdul Hakim	mdabdul.hakim@nih.gov

# Email Addresses for All Authors:

# Andrew M Blakely	andrew.blakely@nih.gov

# Bianca M Nagata	bianca.nagata@nih.gov

# Derron A Alves	derron.alves@nih.gov

# Hans C Ackerman	hans.ackerman@nih.gov

# Md Abdul Hakim	mdabdul.hakim@nih.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  23

Number of Shots:  40

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Md Abdul Hakim: The research refines a technique to preserve and analyze human resistance arteries, enhancing visualization, molecular understanding, and potentially improving diagnostics and therapies for cardiovascular conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1

What are the most recent developments in your field of research?

  - Md Abdul Hakim: Our recent study found tetrameric hemoglobin regulates NO-mediated vascular function in human resistance arteries, where this technique was used to preserve arterial structure and enable part of advanced molecular analysis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

What research gap are you addressing with your protocol?

  - Md Abdul Hakim: The protocol addresses the gap in effectively preserving the structural and molecular architecture of human resistance arteries for accurate analysis and improved understanding of cardiovascular disease mechanisms.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.1.2

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at NIH

# Protocol

- Microdissection, Cannulation and Pressurization of Human Small Resistance Arteries

Demonstrator: Md Abdul Hakim

  - To begin, obtain the human omental tissues on ice for the procedure [1]. Cut a piece of the visibly vascularized region of the tissue and transfer it to a petri-dish containing Krebs-Henseleit buffer on ice [2].

    - WIDE: Talent placing the ice box with tissues on the work bench.

    - LAB MEDIA: To be provided by authors: Image of the cut tissue placed in the dish containing buffer.

  - Using a dissection microscope, carefully isolate the small resistance arteries of 100 to 300 micrometers in diameter, clean the arteries from surrounding adipose tissues and remove blood from the lumen without damaging the arteries [1-TXT].

    - LAB MEDIA: To be provided by authors: Images of the isolated small resistance arteries. TXT: Keep the isolated arteries in cold buffer throughout the procedure

  - Prepare a culture myograph chamber with two glass cannulas to cannulate and pressurize the dissected arteries [1].

    - Talent assembling the myograph chamber with two parallel glass cannulas positioned correctly.

  - Fill a 5-milliliter syringe attached to a clean capillary tubing with fresh cold Krebs-Henseleit buffer [1] and connect the tubing to one end of a cannula [2]. Then fill the glass cannula with the buffer, ensuring no air bubbles are present [3].

    - Talent filling a 5 milliliter syringe with Krebs-Henseleit buffer.

    - Talent connecting the syringe to the cannula.

    - Talent pushing buffer through the cannula, checking for air bubbles.

  - With a wide-bore transfer pipette, carefully transfer the dissected artery to the myograph chamber [1]. Cannulate the proximal end of the artery by sliding it onto a glass cannula using fine forceps [2] and secure it with two nylon sutures [3-TXT].

    - Talent gently lifting the artery with a transfer pipette and placing it into the myograph chamber.

    - Talent guiding the proximal end of the artery onto the glass cannula.

    - Talent tying sutures to hold canula in place. TXT: Similarly cannulate the distal end of the artery and secure it

  - Place the chamber onto the myograph unit, ensuring it is connected to the pressure controller [1] and set the initial pressure to 10 millimeters of mercury [2].

    - Talent positioning the chamber on the myograph unit and connecting the pressure and temperature lines.

    - Talent turning on the controller and set the pressure using a knob on the device with the display showing the pressure at 10 mmHg.

  - Increase the intraluminal pressure in 10 millimeters of mercury increments every 10 minutes until reaching 60 millimeters of mercury [1]. Use the pressure regulator to maintain consistent pressure throughout the pressurization process [2].

    - Show the pressure adjustment sequence with increments of 10 millimeters of mercury displayed on the controller.

    - Talent adjusting the pressure regulator to keep the pressure steady.

  - Next, use the micro-positioner to straighten the pressurized artery longitudinally to approximate its physiological length [1].

    - Talent adjusting the micro-positioner knobs to gently straighten the artery inside the chamber.

  - Run MyoVIEW (my-oh-view) or another suitable software on the computer monitor to track the inner and outer arterial diameters using digital calipers [1].

    - Show the MyoVIEW interface on opening on the monitor and running the program.

  - Allow the artery to equilibrate for 45 minutes to achieve a stable diameter and ensure that it maintains its physiological dimensions and tone [1].

    - Shot of the artery in the myograph chamber while the software displays stable diameter readings during the equilibration period.

  - To test the artery’s viability, add a vasoconstrictor or a vasodilator and record the changes in arterial diameter [1-TXT].

    - LAB MEDIA: To be provided by authors: Video showing the effect of vasoconstrictor 60 mM KCl. TXT: Vasoconstrictor: 60 mM KCl or Phenylephrine; Vasodilator: Acetylcholine

- Artery Fixation and Preparation of Tissue-Stabilizing Gel

  - Wash the artery with fresh solution to let it restore its resting baseline diameter [1] and then fix the artery by introducing 10 percent neutral buffered formalin both into the lumen [2] and around the vessel in the chamber. Incubate overnight [3].

    - Talent adding the wash solution and flushing it.

    - Talent adding formalin solution luminally.

    - Talent adding formalin to the chamber and covering it with a lid.

  - After fixation, rinse the arteries inside and outside with PBS to remove any residual fixative from the artery and chamber at 37 degrees Celsius [1].

    - Talent rinsing both luminal and abluminal sides of the artery in the myograph chamber with PBS using a syringe and tubing.

  - Place the tube of liquefied tissue-stabilizing gel at room temperature for 3 to 5 minutes to slightly cool the liquid [1] and then transfer it to a 40 degrees Celsius heating block to maintain the liquid gel for 10 to 15 minutes [2]. Withdraw the liquid gel using a 3-milliliter sterile syringe connected to 10 to 15-inch-long capillary tubing [3].

    - Talent placing the gel tube at room temperature on the bench.

    - Talent placing the tube onto a 40 degrees Celsius heating block.

    - Talent withdrawing liquid gel from the tube using sterile syringe connected to a long capillary tubing.

- Intraluminal Gel Infusion and Embedding

  - Connect the distal end of the tubing filled with liquid gel to the proximal cannula [1] and gently infuse the gel into the artery lumen [2]. Immediately replace the PBS in the chamber with an equal volume of liquid gel to fill it to the top [3, 4].

    - Talent attaching the capillary tubing carrying the gel to the proximal end of the cannula.

    - LAB MEDIA: To be provided authors: Show the gel infusion into the artery lumen.

    - Talent aspirating out PBS from the chamber and pouring in liquid gel to fill it to the top level.

4.1.4. LAB MEDIA: To be provided authors: Also, a microscopic video showing the aspiration followed by filling the chamber with gel.

  - Now, disconnect the myograph unit from the temperature controller and allow the chamber to rest at room temperature for 10 minutes [1].

    - Talent unplugging the temperature controller and placing the chamber on the bench.

  - Using fine forceps, loosen the nylon sutures and gently remove the cannulas from the artery and chamber [1].

    - Talent using forceps to untie and extract the cannulas from each end of the artery embedded in solidified gel.

  - Finally, transfer the entire solidified gel containing the artery from the chamber into a container filled with 70 percent ethanol [1-TXT].

    - Talent lifting the block of gel containing the artery and placing it into a labeled container filled with 70 percent ethanol. TXT: Perform histopathological and immunohistochemical assays with the embedded artery

# Results

- Results

  - Equilibrated human omental artery in solution was visualized at physiological conditions [1]. Upon exposure to 60 millimolar potassium chloride, viable arteries showed a clear constriction [2], followed by a return to baseline diameter after washing [3].

    - LAB MEDIA: Figure 2 Video editor: Highlight A and point to the text “Baseline”

    - LAB MEDIA: Figure 2. Video editor: Highlight B and point to the text “60 mM KCl”

    - LAB MEDIA: Figure 2. Video editor: Highlight C and point to the text “Wash”

  - Hematoxylin and eosin staining of gel-embedded arterial cross-sections showed a well-preserved lumen [1] and clear layering of endothelial, smooth muscle, and adventitial cells [2].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the inset round section

    - LAB MEDIA: Figure 4A. Video editor: Highlight the EC (endothelial cell), TM (Tunica Media) and TA (Tunica Adventitia) regions in the image

  - Immunohistochemistry revealed intact expression of CD31 in endothelial cells [1] and alpha-SMA in smooth muscle cells, confirming structural preservation of the vessel wall [2].

    - LAB MEDIA: Figure 4B. Video editor: Highlight dark brown boundary of the artery.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the dark brown layers.

  - In situ hybridization using a probe for Homo sapiens peptidylprolyl isomerase B showed bright red punctate signals in smooth muscle cells, indicating preserved mRNA integrity [1].

    - LAB MEDIA: Figure 4D. Video editor: Highlight the red/pink dots spread across.