TITLE:

In Vitro Intraluminal Gel Infusion: An Advanced Approach for Microscopic Analysis of Human Resistance Arteries

AUTHORS AND AFFILIATIONS:

Md Abdul Hakim1*, Andrew M Blakely2, Bianca M Nagata3, Derron A Alves3, Hans C Ackerman1

1Physiology Unit, Laboratory of Malaria and Vector Research, National Institute of Allergy and Infectious Diseases, Rockville, MD

2Surgical Oncology Program, Center for Cancer Research, National Cancer Institute, Bethesda, MD

3Infectious Disease Pathogenesis Section, National Institute of Allergy and Infectious Diseases, Rockville MD

Email addresses of the co-authors:

Andrew M Blakely	(andrew.blakely@nih.gov)

Bianca M Nagata	(bianca.nagata@nih.gov)

Derron A Alves	(derron.alves@nih.gov)

Hans C Ackerman	(hans.ackerman@nih.gov)

*Corresponding author:

Md Abdul Hakim	(mdabdul.hakim@nih.gov)

KEYWORDS:

human resistance arteries, histopathology, intraluminal gel infusion, vascular biology, arterial remodeling, endothelial cells, smooth muscle cells, gene expression

SUMMARY:

Here, we present a protocol for preserving human arterial architecture by infusing tissue-stabilizing gel into the vessel lumen before sectioning for molecular or histopathological analysis.

ABSTRACT:

Resistance arteries, which include small arteries and arterioles, play essential roles in regulating blood pressure and tissue perfusion. Dysfunction in these arteries can lead to various cardiovascular conditions such as hypertension, atherosclerosis, and heart failure, as well as neurovascular conditions. The examination of human resistance arteries is crucial for understanding cardiovascular disease mechanisms and developing targeted therapeutic strategies. This study presents an innovative method for preparing isolated human resistance arteries by infusing a tissue-stabilizing gel into the lumen, preserving their native architecture and cellular integrity. Human omental tissues were obtained from patients undergoing abdominal surgeries, and small resistance arteries (100–300 µm in diameter) were isolated by careful micro-dissection. The arteries were then cannulated, pressurized in a culture myograph chamber, and fixed with 10% neutral buffered formalin. A tissue-stabilizing gel was infused into the lumen of the cannulated artery, which was allowed to solidify to preserve the three-dimensional structure. Histological, immunohistochemical, and gene expression analyses were performed to assess the preservation of the arteries. Histological sections revealed the well-preserved structural integrity and natural architecture of the arteries, maintaining well-defined endothelial and smooth muscle layers. Immunohistochemical staining showed distinct localization of markers such as CD31 and α-smooth muscle actin. In situ hybridization revealed specific gene expression patterns, providing insights into the molecular mechanisms. This advanced method of intraluminal gel infusion offers significant advantages, enabling advanced imaging and comprehensive analysis of arterial structure, remodeling, and cellular interactions in both healthy and diseased states. This method has the potential to improve clinical diagnostics and therapeutic strategies for vascular diseases, thereby providing a valuable tool for advancing vascular biology research.

INTRODUCTION:

Resistance arteries regulate blood flow and pressure and undergo significant changes in conditions like hypertension, diabetes, and atherosclerosis1–5. Examining human resistance arteries is essential for understanding cardiovascular pathologies and developing targeted therapies6–10. Traditional methods for investigating blood vessels have often led to artifacts and loss of three-dimensional integrity10–15. To address these limitations, we present an innovative method for preparing isolated human resistance arteries by infusing a gel into the lumen, thereby preserving their approximate ex vivo and/or in vivo structure.

This intraluminal gel infusion technique maintains the natural architecture of the arteries, allowing for a more accurate representation of their physiological state. By stabilizing the vessel structure, this method facilitates detailed examination of arterial remodeling, cellular structure, microdomains, hetero-cellular junctions, and gene/protein expression across different cell layers. This technique is particularly advantageous for studying cell-type-specific components in both healthy and diseased states.

This technique has been successfully applied in our recent study16, demonstrating its effectiveness in preserving the structural and molecular integrity of human resistance arteries, facilitating advanced imaging and comprehensive analysis. The success of this application inspired us to document this detailed protocol for others to use.

In this method paper, we describe the protocol for preparing isolated human resistance arteries and infusing them with a biocompatible tissue-stabilizing gel (Tissue Guard Gel). Here, we describe the experimental method and illustrate its applications for the assessment of arterial structure and the investigation of gene and protein expression patterns in different cell layers. By providing a comprehensive and reproducible technique for the preparation of human resistance arteries, we aim to advance cardiovascular biology research, improve the reproducibility of results, and contribute to novel diagnostic and therapeutic approaches for cardiovascular diseases.

PROTOCOL:

Before conducting the following experiments, ensure that the use of human tissues and the following procedures are approved by the Institutional Review Board (IRB). The collection of omental tissue from patients undergoing clinically indicated abdominal operations at the National Institutes of Health (NIH) Clinical Center was conducted with the approval of the NIH Institutional Review Board (NCT01915225). All participants provided written informed consent.

- Materials and equipment

  - Refer to the Table of Materials for the information on all reagents and materials required for this protocol. For additional details, the manuals and websites associated with the respective vendors can be consulted as needed.

- Collection of human omental tissues

  - Collect human omental tissues from the surgical team.

  - Immediately place the tissues into a pre-chilled specimen container containing cold Krebs Henseleit (KH) buffer (composition: 118 mM NaCl, 4.7 mM KCl, 1.2 mM MgSO4, 1.2 mM KH2PO4, 25 mM NaHCO3, 10 mM HEPES, 2.0 mM CaCl2, and 11.1 mM glucose) on ice.

  - Ensure the tissues are fully submerged in the buffer and then securely close the lid.

  - Transport the tissues in the closed container on ice to the laboratory within 30 min of collection to ensure tissue viability.

NOTE: Make sure to adjust pH to 7.4 using NaOH during preparation of the buffer.

- Microdissection of human small resistance arteries

  - Upon arrival at the laboratory, rinse the omental tissues with cold KH buffer to remove excess blood.

  - Select a piece of the more vascularized region of the tissue for dissection in cold buffer in a petri dish on ice.

  - Under a dissection microscope, identify small resistance arteries (100–300 µm in diameter) based on their location and branching pattern.

  - Carefully isolate the identified arteries from the surrounding adipose and connective tissues. Using fine forceps and micro-scissors, cut and remove the surrounding tissues without damaging the artery.

  - Keep the isolated arteries in a cold buffer throughout the dissection procedure to maintain viability and prevent any enzymatic degradation.

NOTE: Before dissection, ensure the dissection area is clean. Verify that the microscope objective scale and/or camera software are properly calibrated to accurately measure the diameter at different magnifications. Usually, the veins are clearly visible, and the arteries are located right next to or around the veins. The walls of arteries are thicker than those of veins. When isolated from surrounding tissue, arteries maintain their structure as intact vessel tubes. In contrast, veins have thinner walls, often appear brighter due to the blood in their lumen, and tend to be more fragile once separated from the tissue.

- Preparation of the culture myograph chamber

  - Prepare a culture myograph chamber with two glass cannulas for the cannulation and pressurization of the dissected arteries.

  - Prepare a 5 mL syringe with clean capillary tubing and fill with fresh KH buffer. Connect the tubing to one end of the cannula and fill with the KH, leaving no air bubbles.

  - Fill the chamber with cold buffer and place it on ice to maintain a low temperature.

NOTE: A custom-made small dish with two cannulas, designed to mimic the myograph chamber, can be used.

- Cannulation and pressurization of arteries

  - Carefully transfer the dissected artery to the myograph chamber using fine forceps or a transfer pipette with a diameter larger than that of the artery.

  - Prepare four open knots with the nylon suture (11/0 suture, 7 ply) and put two of them onto each cannula before cannulating the artery.

  - Cannulate the proximal end of the artery by sliding it onto a glass cannula using fine forceps and secure it with the two nylon sutures.

  - Use the KH buffer in the syringe to gently flush the cannulated artery to remove any remaining blood.

  - Cannulate the distal end of the artery and secure it similarly.

  - Place the chamber onto the myograph unit that is connected to the pressure and temperature controller.

  - Set the temperature to 37 °C.

  - Set the initial intraluminal pressure to 10 mmHg.

  - Increase the intraluminal pressure by 10 mmHg increments every 10 min until reaching 60 mmHg. Ensure that the pressure is consistently maintained using the pressure regulator connected to the culture myograph system.

  - Use the micro-positioner to longitudinally straighten the pressurized artery as needed to bring the length approximately to its physiological level.

  - Run MyoVIEW or other suitable software on the computer monitor to track the inner and outer arterial diameters with digital calipers.

  - Allow the artery to equilibrate for 45 min to achieve a stable diameter, ensuring it maintains its physiological dimensions and tone.

  - Test the viability of the artery by using a vasoconstrictor (e.g., 60 mM KCl or Phenylephrine) or vasodilator (e.g., Acetylcholine) and record the changes in the arterial diameter.

NOTE: Applying excessive pressure with a syringe can damage the artery, so it is important to exercise caution when flushing it. Use a minimal amount of buffer and proceed gently. Alternatively, the arterial blood can be flushed out by using the perfusion buffer while pressurizing the artery. Arteries can be pressurized at 80 mmHg, and equilibration time can be up to 1 h.

- Artery fixation

  - Following equilibration, fix the arteries luminally and abluminally overnight with 10% neutral buffered formalin. Maintain a constant pressure of 60 mmHg to ensure the fixation process preserves the structural integrity of the arterial wall and cellular components.

  - After fixation, rinse the arteries luminally and abluminally with PBS to remove any residual fixative from the artery and the chamber.

NOTE: Depending on the study objective and the region of interest for analysis, the mounted vessel can be fixed in the presence of pharmacological agents such as a vasodilator or vasoconstrictor. At this stage, the artery can be stored in PBS at 4 °C for up to 48 h. 4% Paraformaldehyde can also be used to fix the arteries.

- Preparation of tissue-stabilizing gel

  - Liquefy the tissue-stabilizing gel in its tube by heating it to 60 ± 5 °C before use.

  - Place the tube at room temperature (RT) for 3–5 min for the liquid gel to lower the temperature, and then place it on a heating block at 40 °C to maintain the liquid gel for 10–15 min.

  - Use a 3-mL sterile syringe connected to a 10–15 inch-long capillary tubing to withdraw the liquid gel. Proceed immediately to the infusion steps below.

NOTE: The gel can be liquefied using different methods. It is essential to follow the manufacturer's instructions.

- Intraluminal gel infusion and embedding

  - Keep the fixed arteries cannulated in the chamber with PBS at 37 °C.

  - Connect the distal end of the capillary tubing filled with liquid gel to the proximal cannula.

  - To avoid air bubbles going through the lumen while infusing the gel, take the proximal end of the artery off the first cannula to let any air bubbles out and allow the gel to fill the cannula.

  - Mount the artery back onto the cannula and gently infuse the gel into the artery lumen until it comes out of the distal cannula.

  - Immediately replace the PBS in the chamber with an equal volume of liquid gel to fill the chamber to the top level.

  - Allow the chamber with the arteries to rest at RT by disconnecting the unit from the temperature controller for around 10 min to allow the gel to solidify inside the lumen as well as outside the lumen in the chamber. This ensures that the artery is fully embedded in the gel, preserving its three-dimensional structure.

  - Using fine forceps, loosen the nylon sutures and gently pull out the cannulas from the chamber.

  - Transfer the entire solidified gel containing the artery from the chamber into a container filled with 70% ethanol. The ethanol serves as a holding solution to preserve the sample until further processing.

NOTE: A three-way valve can facilitate removing air bubbles before infusing the gel. Solidification of the gel can be confirmed by gently touching the gel in the chamber using a clean pipette tip.

- Histopathology

  - Cut the artery transversely while still in the gel and place these samples in the tissue processing machine for processing according to the manufacturer's instructions.

  - Subsequently, embed the tissue to make a paraffin block. Ensure the samples are embedded "on-end" so that cross sections are facing down on the block.

  - Cut axial sections at 5 µm thickness using a microtome. Transfer the cut sections onto adhesive slides.

  - Bake the sections at 60 °C for 1 h, then dewax with xylene, followed by rehydration with graded alcohol washes.

  - Stain the sections with hematoxylin and eosin (HE) for routine histopathology and differentiate in 1% acid alcohol. Examine the sections under light microscopy using an appropriate microscope and acquire photographs using a compatible camera.

- Immunohistochemistry

  - Achieve staining using an automated system with the polymer refine detection system according to the manufacturer's protocol.

  - Dewax the tissue sections at 72 °C for 30 s with a dewaxing solution, then rehydrate the sections with graded alcohol washes and wash solution.

  - Perform heat-induced epitope retrieval by heating the sections to 100 °C for 20 min in epitope retrieval solution 1 and apply a peroxide block for 5 min to quench endogenous peroxidase activity.

  - Apply primary antibodies (e.g., anti-CD31 or anti-smooth muscle actin) at appropriate concentrations diluted in background reducing antibody diluent. Incubate the sections with a horseradish peroxidase polymer for 8 min and colorize the sections with a chromogen solution for 10 min. Counterstain the slides with hematoxylin for 5 min.

- RNAScope chromogenic in situ hybridization

  - Perform staining using an automated system with an appropriate kit and the polymer refine red detection kit according to the manufacturer's protocol.

  - Bake the sections for 30 min at 60 °C, then dewax the sections for 30 s in a dewax solution heated to 72 °C.

  - Rehydrate the tissues with absolute ethanol washes and wash solution.

  - Treat the sections with epitope retrieval solution 2 for 15 min at 95 °C and incubate the sections with an enzyme solution for 15 min at 40 °C.

  - Hybridize the samples with the appropriate RNAScope probes for the target genes.

  - Use a medium-expressing housekeeping gene probe (e.g., peptidylprolyl isomerase B) to confirm adequate RNA abundance and integrity.

REPRESENTATIVE RESULTS:

Human omental tissues were obtained from patients undergoing clinically-indicated abdominal surgeries. Small resistance arteries (100–300 µm in diameter) were meticulously isolated from the surrounding adipose and connective tissues under a dissection microscope (Figure 1A–C). The isolated arteries were cleaned, successfully cannulated, and mounted onto the glass cannulas in the culture myograph chamber for pressurization (Figure 1D–F). The arteries maintained their physiological dimensions and tone when pressurized to 60–80 mmHg, indicating successful cannulation. Fixation of the arteries with 10% neutral buffered formalin at a constant pressure of 60–80 mmHg preserved the structural integrity of the arterial wall and cellular components. The arteries retained their natural architecture, with well-defined endothelial and smooth muscle layers. The viability test experiment showed that the artery constricted when exposed to 60 mM KCl, with the diameter returning to baseline after washing (Figure 2A–C). Arteries that constricted by 50% or more were considered viable. The tissue stabilizing gel was infused into the lumen of the fixed artery without air bubbles using a fine glass pipette connected to a syringe (Figure 3A,B), ensuring that the gel filled the entire lumen of the artery. The artery was successfully embedded abluminally in the chamber (Figure 3C). The solidified gel that provided excellent support for the artery (Figure 3D), preserving the three-dimensional structure for subsequent analysis, was transferred to 70% ethanol (Figure 3E).

Histological sections of the gel-embedded arteries revealed well-preserved endothelial and smooth muscle layers with a clear open lumen (Figure 4A), suggesting that the native organization of the vessel wall was maintained, allowing for detailed examination of the spatial relationships between different cellular and extracellular components. Immunohistochemical (IHC) staining was performed to assess the expression of specific markers in endothelial and smooth muscle cells. The results showed distinct localization and expression patterns of markers such as CD31 for endothelial cells and α-SMA for smooth muscle cells, providing insights into the cellular composition and interactions within the arterial wall (Figure 4B,C).

The preserved arterial structure and cellular integrity also allowed for the analysis of gene expression patterns using in situ hybridization (ISH). A specific probe for Homo sapiens peptidylprolyl isomerase B (PPIB) was used to detect gene expression by ISH, and the results revealed the expression of the housekeeping gene PPIB across the arterial section (Figure 4D). These findings suggest that molecular markers at the protein and gene levels are clearly detectable in the sections.

FIGURE AND TABLE LEGENDS:

Figure 1: Preparation of human resistance arteries. This figure illustrates the isolation and preparation of human omental resistance arteries. (A) Omental tissue placed in a dish for dissection under a microscope. The circle shows a representative region for dissecting arteries. (B) The process of dissecting a resistance artery from the tissue in KH buffer is depicted, with arrows indicating the isolated arteries in a fresh solution on ice. (C) The isolated arteries. (D) A myograph chamber on a unit and connected to a syringe used for artery perfusion and cannulation. (E) Arterial segments devoid of blood after perfusion with KH buffer. (F) A cannulated artery that has been prepared for pressurization and fixation.

Figure 2: Functional assessment of a human resistance artery. This figure represents arterial function assessed by pressure myography. (A) A pressurized artery with a baseline diameter of ~186 µm. (B) The arterial constriction in response to a high potassium solution (60 mM KCl). (C) The artery returning to the baseline after washing with buffer.

Figure 3: Infusion of tissue-stabilizing gel into a human artery. This figure provides representative images of the effective embedding of an omental artery with the gel. (A) The infusion of the gel into the lumen of the fixed artery. (B) The arrow indicates the direction of the gel moving through the artery, and the proximal arterial end shows the gel (light pink) entering the arterial lumen. (C) Abluminal embedding of the artery inside the chamber. (D) A syringe containing the liquid gel connected to the setup for intraluminal gel infusion, with the arrow indicating the artery embedded both luminal and abluminal inside the chamber. (E) The solidified gel containing the artery, which has been transferred to a dish containing 70% ethanol for further processing, with the arrow indicating the location of the artery between the nylon sutures.

Figure 4: Representative images of examined arteries prepared through intraluminal gel infusion. (A) H&E staining of an arterial section, clearly highlighting the key structural components: intimal endothelial cells on the luminal side of the artery, multiple layers of concentrically arranged smooth muscle cells in the tunica media, and the outermost tunica adventitia. Inset: Lower magnification of a cross-section of the same artery. (B) IHC staining with CD31 antibodies, indicating the intact innermost endothelium. (C) IHC staining with SMA, demonstrating the intact smooth muscle layer. (D) In-situ hybridization with a PPIB probe, showing the mRNA integrity in the artery prepared following this protocol, and identified as punctate bright red staining in smooth muscle cells. Images taken at 100x. Scale bars: 10 µm. EC = endothelial cells. TM = tunica media. TA = tunica adventitia.

DISCUSSION:

Advancements in medical imaging, surgical techniques, and research methodologies have improved our understanding of 3D vascular architecture, revolutionizing diagnostics, surgical planning, and research17–20. Despite these innovations, preserving the 3D structure of isolated human resistance arteries remains challenging due to their delicate and intricate nature, which complicates isolation and imaging, limiting the comprehensive study of their anatomical and physiological characteristics. To address this, we have developed an advanced method of intraluminal gel infusion that effectively preserves the native architecture and cellular integrity of isolated human resistance arteries.

This technique preserves the physiological dimensions and structural properties of the native artery. It preserves well-defined endothelial and smooth muscle layers and the three-dimensional organization of the vessel wall, facilitating detailed histopathological examination and advanced imaging analyses. Imaging of histological sections using this method revealed well-preserved cellular and extracellular components, allowing clear visualization of spatial relationships between different cell types. Immunohistochemical staining demonstrated distinct localization and expression patterns of specific proteins, providing valuable insights into cellular composition and interactions. Additionally, the preserved arterial structure enabled spatial analysis of gene expression patterns using in situ hybridization.

For successful experiments and reliable data analysis, it is essential to ensure that the artery is securely mounted with no pressure leaks during preparation. The infusion of gel should be performed very gently while observing under a microscope. Additionally, it is crucial to confirm that the artery is fully embedded and then remove the glass cannulas without stretching the artery.

Successful application of this method offers several benefits over conventional techniques, by: 1) minimizing the risk of structural destruction and deformation during the preparation of thin sections for histological analysis13, 2) preserving the three-dimensional organization of the vessel wall, essential for understanding the spatial relationships between different cellular components21–24, and 3) allowing for the application of advanced imaging modalities to obtain high-resolution images of the arterial microstructure25,26. This method enabled effective preservation of the structural and molecular architecture of human resistance arteries, facilitating the gene expression analysis16.

While this method significantly advances the preservation of human resistance artery architecture, it does have certain limitations. The dependence on omental tissues from surgical patients may restrict specimen availability. Additionally, since this technique is performed under ex vivo and subsequently in vitro conditions, it may not fully replicate the physiological environment of human resistance arteries in vivo. Furthermore, the method demands precise handling and expertise, necessitating thorough training and consistent practice.

This innovative technique advances vascular biology by enabling detailed examination of human resistance arteries, offering insights into vascular diseases like hypertension, diabetes, and atherosclerosis. It may support the development of novel diagnostics and therapies by facilitating advanced imaging modalities, such as confocal and electron microscopy, to obtain high-resolution images of arterial microstructure. The prepared sections can be used for various analyses, including fluorescence in situ hybridization (FISH), RNA in situ hybridization (ISH), and special stains to identify and characterize different tissue components. Morphometric analysis can quantify structural features, and comparative pathology studies can compare healthy versus diseased tissues. This comprehensive and reproducible technique represents a significant advancement in the study of vascular biology and has the potential to impact clinical practice by improving our understanding of the molecular architecture of the arterial wall and how it changes in health, disease, and under experimental conditions.

ACKNOWLEDGMENTS:

This research was funded by the Division of Intramural Research in the National Institute of Allergy and Infectious Diseases, project number AI001150 to HCA. We thank Jian Wu (Malaria Functional Genomics Section, LMVR, NIAID) for helping with capturing some images during preparations.

DISCLOSURES:

NIAID GenAI was used to generate an initial outline and draft of the manuscript, which was thoroughly written, reviewed, and edited by the human authors to ensure accuracy and coherence.

REFERENCES:

- Intengan, H. D. Schiffrin, E. L. Vascular remodeling in hypertension: Roles of apoptosis, inflammation, and fibrosis. Hypertension. 38 (3 Pt 2), 581–587 (2001).

- Mulvany, M. J. Small artery remodelling in hypertension. Basic Clin Pharmacol Toxicol. 110 (1), 49–55 (2012).

- Petrie, J. R., Guzik, T. J., Touyz, R. M. Diabetes, hypertension, and cardiovascular disease: Clinical insights and vascular mechanisms. Can J Cardiol. 34 (5), 575–584 (2018).

- Schiffrin, E. L. Vascular remodeling in hypertension: Mechanisms and treatment. Hypertension. 59 (2), 367–374 (2012).

- Zieman, S. J., Melenovsky, V., Kass, D. A. Mechanisms, pathophysiology, and therapy of arterial stiffness. Arterioscler Thromb Vasc Biol. 25 (5), 932–943 (2005).

- Bell, J. S. et al. Microstructure and mechanics of human resistance arteries. Am J Physiol Heart Circ Physiol. 311 (6), H1560–H1568 (2016).

- Intengan, H. D. Schiffrin, E. L. Structure and mechanical properties of resistance arteries in hypertension: Role of adhesion molecules and extracellular matrix determinants. Hypertension. 36 (3), 312–318 (2000).

- Rajendran, P. et al. The vascular endothelium and human diseases. Int J Biol Sci. 9 (10), 1057–1069 (2013).

- Chistiakov, D. A., Orekhov, A. N., Bobryshev, Y. V. Endothelial barrier and its abnormalities in cardiovascular disease. Front Physiol. 6, 365 (2015).

- Gurina, T. S. Simms, L. Histology, Staining. Statpearls Publishing, Treasure Island, FL (2025).

- Hillman, H. Limitations of clinical and biological histology. Med Hypotheses. 54 (4), 553–564 (2000).

- Taylor, A. M. Bordoni, B. Histology, Blood Vascular System. Statpearls Publishing, Treasure Island, FL (2025).

- Nolte, P. et al. Spatial correlation of 2D hard-tissue histology with 3D microCT scans through 3C printed phantoms. Sci Rep. 13 (1), 18479 (2023).

- Taqi, S. A., Sami, S. A., Sami, L. B., Zaki, S. A. A review of artifacts in histopathology. J Oral Maxillofac Pathol. 22 (2), 279 (2018).

- Torii, S. et al. Histopathologic characterization of peripheral arteries in subjects with abundant risk factors: Correlating imaging with pathology. JACC Cardiovasc Imaging. 12 (8 Pt 1), 1501–1513 (2019).

- Brooks, S. D. et al. Sickle trait and alpha thalassemia increase nos-dependent vasodilation of human arteries through disruption of endothelial hemoglobin-enos interactions. Circulation. 151 (1), 8–30 (2025).

- Chatzizisis, Y. S. et al. Role of endothelial shear stress in the natural history of coronary atherosclerosis and vascular remodeling: Molecular, cellular, and vascular behavior. J Am Coll Cardiol. 49 (25), 2379–2393 (2007).

- Li, S., Liu, S., Wang, X. Advances of 3D printing in vascularized organ construction. Int J Bioprint. 8 (3), 588 (2022).

- Rengier, F. et al. 3D printing based on imaging data: Review of medical applications. Int J Comput Assist Radiol Surg. 5 (4), 335–341 (2010).

- Solanki, R. et al. The importance of three dimensional coronary artery reconstruction accuracy when computing virtual fractional flow reserve from invasive angiography. Sci Rep. 11 (1), 19694 (2021).

- Tucker, W. D., Arora, Y., Mahajan, K.  Anatomy, Blood Vessels. Statpearls Publishing, Treasure Island, FL (2025).

- Choi, J., Lee, E. J., Jang, W. B., Kwon, S. M. Development of biocompatible 3D-printed artificial blood vessels through multidimensional approaches. J Funct Biomater. 14 (10), 497 (2023).

- De Graaf, M. N. S. et al. Multiplexed fluidic circuit board for controlled perfusion of 3D blood vessels-on-a-chip. Lab Chip. 23 (1), 168–181 (2022).

- Lapierre-Landry, M., Liu, Y., Bayat, M., Wilson, D. L., Jenkins, M. W. Digital labeling for 3D histology: Segmenting blood vessels without a vascular contrast agent using deep learning. Biomed Opt Express. 14 (6), 2416–2431 (2023).

- Abdul Sisak, M. A. et al. A near-infrared organic fluorescent probe for broad applications for blood vessel imaging by high-throughput screening via 3D-blood vessel models. Small Methods. 5 (8), e2100338 (2021).

- Yu, T., Yang, Q., Peng, B., Gu, Z., Zhu, D. Vascularized organoid-on-a-chip: Design, imaging, and analysis. Angiogenesis. 27 (2), 147–172 (2024).