# Submission ID #: 68823

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20991063

# Title: Preparing Porcine Eyes for Confocal Reflectance Microscopy to Visualize the Vitreous Collagen Fiber Network

# Authors and Affiliations:

# Denise J. Morgan,1 Alisha S. Ruiz,1 Kaden P. Cordner2, Dustin J. Layton,4 Brittany Coats1,2,3, Eileen S. Hwang1

# 1Department of Ophthalmology and Visual Sciences, University of Utah

# 2 Department of Biomedical Engineering, University of Utah

# 3Department of Mechanical Engineering, University of Utah

# 4Department of Chemistry, University of Utah

# Corresponding Authors:

# EILEEN S. HWANG				eileenhwang@yahoo.com

# Email Addresses for All Authors:

# DENISE J. MORGAN				denisej.jones@hsc.utah.edu

# ALISHA S. RUIZ					u1389883@utah.edu

# KADEN P. CORDNER				kaden.cordner@utah.edu

# DUSTIN J. LAYTON				dusty.layton@utah.edu

# BRITTANY COATS				brittany.coats@utah.edu

# EILEEN S. HWANG				eileenhwang@yahoo.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

Videographer: Please record the computer screen for the shots labeled as SCREEN as back-up

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 10 feet

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps: 20

Number of Shots: 33 (8 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Alisha Ruiz: Changes in the vitreous lead to retinal detachment.  We think that changes in the vitreous collagen fiber network change gel stiffness, causing focal traction on the retina.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1

What are the current experimental challenges?

  - Eileen Hwang: It's hard to image vitreous. Traditional histology causes shrinkage, loss and a honeycomb artifact since the vitreous is more than 98% water. Most tissues are under 80% water.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.2.1

What advantage does your protocol offer compared to other techniques?

  - Eileen Hwang: Our imaging strategy preserves the natural arrangement of collagen fibers in the vitreous since it requires minimal processing, only gross dissection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

How will your findings advance research in your field?

  - Alisha Ruiz: We hope that this strategy will allow us to discover the root cause of retinal detachment, and provide more effective ways to prevent it.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.1.1

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Tissue Preparation and Dissection

Demonstrator: Denise Morgan

  - To begin, obtain ex vivo porcine eyes from a meat processing plant [1-TXT].

    - WIDE: Talent placing the sample on the dissection desk. TXT: Use the eyes within 48 hours of death

  - Using dissecting scissors or forceps, remove any excess muscle and connective tissue from the globe [1].

    - Talent carefully trimming off muscle and connective tissue from the globe on a sterile workspace.

  - Now, position a three-prong pedestal at the base of a cube mold, such as an extra-large silicone ice cube mold [1] and position the globe on the pedestal, ensuring the limbus rests securely on the prongs [2].

    - Talent placing the three-prong pedestal inside a cube mold.

    - Talent gently lowering the eye onto the pedestal so that the limbus is evenly supported on all prongs.

  - Next, prepare a 3 percent agarose gel by adding 3 grams of general-purpose agarose to 100 milliliters of distilled water [1] and heat the mixture until fully dissolved [2]. Allow the solution to cool to approximately 37 degrees Celsius [3] and pour it into the mold until the globe is completely submerged [4].

    - Talent weighing and adding 3 grams of agarose into a beaker with 100 milliliters of distilled water.

    - Talent placing the beaker in a microwave.

    - Close-up of the beaker being kept aside on the work bench.

    - Talent pouring the cooled agarose into the mold, submerging the globe completely.

  - Place the agarose cube in a refrigerator and chill for at least 4 hours [1].

    - Talent placing the mold with embedded globe into a refrigerator.

  - After chilling, remove the solidified agarose cube from the mold [1] and carefully remove the pedestal from the base of the cube [2].

    - Talent gently extracting the cube from the mold.

    - Talent pulling out the pedestal from the bottom of the cube without disturbing the embedded globe.

  - Construct a three-sided frame matching the dimensions of the agarose cube using 1 by 8 Lego bricks, plates, and tiles [1].

    - Talent assembling a U-shaped Lego frame on a workbench using 1 by 8 bricks.

  - Then, place the chilled agarose cube in the Lego frame [1]. Hold a high-profile microtome blade by the blunt edges and align it with the top of the Lego frame [2]. Apply gentle downward pressure and drag the blade back and forth through the entire cube and embedded globe [3].

    - Talent placing the agarose cube snugly inside the Lego frame.

    - Talent holding the microtome blade by the blunt edges and positioning it on the top of the frame.

    - Talent slowly slicing through the agarose cube and eye with gentle, even strokes of the blade.

- Mounting Sample for Imaging

  - Using a microtome blade, trim approximately 1 millimeter of agarose from the entire cut surface of the cube [1].

    - Talent holding the agarose cube steady and slicing a thin 1 millimeter layer off the entire exposed surface using the microtome blade.

  - Use a tissue wipe or a small triangular cellulose sponge to gently dry the cut surface of the agarose cube, focusing near the border of the eye cap [1].

    - Talent dabbing the surface of the agarose cube with a triangular cellulose sponge.

  - Now, add approximately one teaspoon of all-purpose silicone caulk to a small plastic sandwich bag [1] and cut a 3-millimeter hole in one of the bottom corners of the bag to create a makeshift piping bag [2].

    - Talent spooning silicone caulk into a clear plastic sandwich bag.

    - Close-up of scissors cutting a small 3 millimeter hole in the corner of the bag.

  - Using the piping bag, apply a thin bead of silicone caulk along the cut surface of the agarose cube, precisely around the edge of the eye cap to form a waterproof seal [1]. Ensure that the caulk forms a complete and continuous border to prevent vitreous gel leakage [2].

    - Talent gently squeezing the piping bag to apply a controlled line of caulk around the perimeter of the eye cap.

    - Close-up of the caulk forming a complete seal around the eye cap.

  - Then, place a large coverslip glass over the eye cap and press it down until the surface of the eye cap makes full contact with the glass [1-TXT]. Confirm that the silicone caulk forms an unbroken seal with the coverslip [2].

    - Talent lowering the large coverslip onto the eye cap and pressing it down gently. TXT: Ensure no air or fluid is trapped underneath

    - Close-up shot showing the edge of the coverslip with the silicone bead forming a continuous seal.

  - Next, while holding the agarose cube, invert the sample [1] and place it on a large coverslip adapter suitable for imaging on an inverted microscope [2].

    - Talent flipping the agarose cube.

    - Talent setting the sample carefully onto a coverslip adapter, aligning it for imaging on an inverted microscope.

- Image Acquisition

  - Use an inverted confocal microscope that is not a spinning disk type [1]. Select an oil objective for imaging [2-TXT].

    - Talent positioning the sample on the stage of a non-spinning disk inverted confocal microscope.

    - Talent adjusting the microscope focus. TXT: Magnification: 30 - 60x; Working distance: 200 µm; Use the objective with at least a 0.90 NA

  - Adjust the light path settings on the confocal microscope to obtain reflectance images [1]. Replace the dichroic mirror with a beam-splitting mirror that redirects part of the illuminating laser and transmits a portion of the reflected light [2].

    - SCREEN: Show the settings panel where reflectance imaging mode is selected.

    - SCREEN: Show the selection of a beam-splitting mirror in place of a standard dichroic mirror.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon: https://review.jove.com/account/file-uploader?src=20991063

  - Then, set the detection wavelengths to include the wavelength of the illuminating laser [1].

    - SCREEN: Show the laser panel where detection wavelength is manually set to match the illuminating laser.

  - To orient the Z position within the sample, reduce the laser power to its lowest possible setting [1]. Identify the brief flash of reflected light that appears at both the top and bottom of the coverslip to mark the Z-position boundaries [2].

    - SCREEN: Show the laser power being adjusted to the minimum setting.

    - SCREEN: Display the brief reflected flashes from the top and bottom surfaces of the coverslip indicating Z boundaries.

  - Increase the laser power to a level higher than typically used for fluorescence imaging [1].

    - SCREEN: Show the laser power being increased significantly above normal fluorescence settings.

  - Finally, in the image acquisition settings, activate line averaging and increase the pixel dwell time to improve the signal-to-noise ratio [1] and acquire the images [2].

    - SCREEN: Show the user enabling Line averaging and adjusting Pixel dwell time in the acquisition software settings.

    - SCREEN: Image acquisition in progress.

# Results

- Results

  - One eye each from three young adult pigs was imaged after sectioning the eye in an axial plane through the inferior limbus [1]. Representative confocal reflectance images showed visually denser fiber networks in pigs 1 and 2 [2] compared to pig 3 [3].

    - LAB MEDIA: Figure 8.

    - LAB MEDIA: Figure 8. Video editor: Highlight pig 1 and pig 2 images.

    - LAB MEDIA: Figure 8. Video editor: Highlight pig 3 images.

  - The total length of vitreous fibers per tile was similar across all three pigs, indicating no significant difference in fiber abundance [1], but the fraction of pixels occupied by signal differed between the three pigs [2].

    - LAB MEDIA: Figure 9A.

    - LAB MEDIA: Figure 9B.

  - The curvature of the fibers, the mean incremental change in angle along a fiber [1] and the lacunarity was similar between the three pigs [2].

    - LAB MEDIA: Figure 9D.

    - LAB MEDIA: Figure 9F.

  - The hyphal growth unit, defined as branch points per fiber length, was highest in pig 3, differing significantly from pigs 1 and 2 [1].

    - LAB MEDIA: Figure 9G. Video editor: Highlight the bar labeled “pig 3”, which is visibly taller than the others.

NOTE to Authors:

It's better if you upload each screen recording after naming each file according to the corresponding shot number (3-digit bullet, e.g, 2.2.1, 2.1.3, etc).

But if you prefer to record all the steps together and upload a single screen capture file, that is okay.

In this case, you need to indicate the corresponding timestamp against each shot.

For example if the action described in shot 2.1.2 is present in the file name xxx.mp4 and is in between timestamp 00:30 to 00:45 then write as following in script above (shown in red font below).

Example, shot 2.1.2 SCREEN: performing ........... action.   xxx.mp4 00:30-00:45.

2.2.2 SCREEN: clicking on.................button... xxx.mp4 01:00-01:25

Please note that every shot (3-digit step) should have the best corresponding video clip of only 20 to 25 seconds and not more than that, so that the voice narration can match the duration.

If a particular shot takes minutes to complete, we can choose timestamps at the beginning and end of the process so that the total time is again within the 25-second limit.

Example: 3.1.1 SCREEN: Clicking on the 'analyze and plot' button, analysis in progress and the graph being plotted.  xxx.mp4 00:00-00:10 and 02:30-02:40