# Submission ID #: 68824

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20991368

# Title: High-Definition Transcranial Direct Current Stimulation over Right Dorsolateral Prefrontal Cortex to Enhance Metacognitive Sensitivity

# Authors and Affiliations:

# Xiangyi Lyu1, Jun Wu1, Shinan Zhao1, Tao Liu2, Helen Hong Yang3, Zhigang Ma4, Jialu Qin5

# 1 Economics and Management School, Jiangsu University of Science and Technology

# 2 School of Management, Shanghai University

# 3 Business School, La Trobe University

# 4 Wuhan Marine Machinery Plant Co.

# 5 School of Artificial Intelligence, Xi'an Jiaotong University

# Corresponding Authors:

Jun Wu		(wujunergo@just.edu.cn)

# Email Addresses for All Authors:

Xiangyi Lyu		(xylyu@stu.just.edu.cn)

Jun Wu		(wujunergo@just.edu.cn)

Shinan Zhao		(shinan89@just.edu.cn)

Tao Liu			(liu_tao@shu.edu.cn)

Helen Hong Yang	(Helen.yang@latrobe.edu.au)

Zhigang Ma		(Mazhig@163.com)

Jialu Qin		(jlqin@stu.xjtu.edu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20991368

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No.

Current Protocol Length

Number of Steps:  23

Number of Shots:  51

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Jun Wu: Our study focuses on human–AI collaboration. We examine the effect of HD-tDCS on human metacognition in AI-delegated tasks.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:3.1

What research gap are you addressing with your protocol?

  - Jun Wu: Our protocol proposes a new approach using HD-tDCS to improve human–AI collaboration efficiency.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.2

What research questions will your laboratory focus on in the future?

  - Jun Wu: Our lab will study the effect of co-learning on human–AI collaboration performance.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card
This research has been approved by the Institutional Review Board (IRB) at Jiangsu University of Science and Technology

# Protocol

- Implementation of HD-tDCS in Human Subjects with Pre- and Post-Test Image Classification Tasks

Demonstrator: Xiangyi Lyu , Yang Ding

  - To begin, ensure that the participant has no contraindications to high-definition transcranial direct current stimulation or HD-tDCS (H-D-T-D-C-S) and does not meet any exclusion criteria [1]. Introduce the experimental procedure to the participants and obtain written informed consent after confirming their understanding [2].

    - WIDE: Talent greeting the participant and reviewing screening questions.

    - Talent explaining the experimental procedure and obtaining written consent from the participant.

  - Verify that the HD-tDCS stimulation device is fully charged [1].  Make sure that all accessories including electrodes, electrode gel, the syringe provided with the instrument, electrode cables, and the computer used to operate the system are ready for use [2].

    - Talent checking the device’s battery status.

    - Talent arranging all accessories on the table.

  - Now, randomly select one of the two experimental tasks as the pretest condition and instruct the participant to complete the image classification task [1].

    - Talent instructing the participant to begin the image classification task of either one experiment.

  - Insert the bottom portions of the five electrodes directly into the designated positions on the neoprene headcap [1].

    - Talent inserting the bottom portions of the electrodes into the designated positions on the neoprene headcap.

  - Instruct the participant to sit comfortably in a chair [1]. Position the front edge of the neoprene headcap approximately one to two centimeters above the eyebrows [2], ensuring that Cz (C-Z) is aligned with the midpoint between the two preauricular points [3-TXT]. Fit the headcap securely on the participant’s head ensuring proper alignment [4].

    - Shot of the participant sitting in a chair.

    - Talent placing the headcap on the participant.

    - Talent pointing to the Cz between the midpoint of the 2 preauricular points. TXT: Cz: Central zero

    - Shot of the headcap alignment being adjusted.

  - Next, using the syringe provided with the instrument, fill the syringe with electrode gel [1]. Part the participant’s hair with the syringe, for each electrode site to expose the scalp [2].

    - Talent filling the syringe with electrode gel.

    - Talent parting hair with the syringe to reveal scalp.

  - Inject a sufficient amount of electrode gel onto the exposed scalp inside the bottom parts of all the electrodes [1]. Then, screw together the top and bottom parts of all the electrodes [2].

    - Talent applying gel inside the bottom parts of electrodes.

    - Talent screwing the electrode halves together on each site.

  - Turn on the high-definition transcranial direct current stimulation device after connecting it [1] and launch the corresponding control software [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20991368

    - Talent pressing the power button on the device.

    - SCREEN: Show the control software startup screen on the computer.

  - Enable Bluetooth on the computer and in the control software, select USE Wi-Fi Devices to begin the connection process [1]. When the device’s MAC (mack) address appears in the list, select the device [2].

    - SCREEN: Show computer’s Bluetooth being enabled then select USE Wi-Fi Devices.

    - SCREEN: Show the list with device’s MAC address appearing and being clicked.

  - In the Use Noise Filter setting of the control software select 50 Hz (Hertz) to eliminate electrical interference [1]. Then click the Use This Device button in the bottom of the settings panel to establish a connection with the device [2].

    - SCREEN: Show Use Noise Filter setting and selection of 50 Hertz.

    - SCREEN: Show button click and device connection being confirmed.

  - To configure the stimulation protocol, click the head-shaped icon on the left panel of the control software [1]. Then press ADD NEW PROTOCOL to create a new protocol [2] and name the new protocol and step [3].

    - SCREEN: The head shaped icon is being clicked.

    - SCREEN: Show clicking the head-shaped icon and ADD NEW PROTOCOL option.

    - SCREEN: Name the new protocol and STEP.

  - Set the protocol duration to 21 min (minutes) with a 30 s (second) ramp-up and a 30 s ramp-down period [1].

    - SCREEN:Protocol duration is being set to 21 min with 30 s ramp-up and 30 s ramp-down periods.

  - Now, drag the F4 electrode into the Stimulation column on the right, set the channel to stimulation mode, enter a current intensity of 2000 µA (microamperes), then select anodal stimulation, and designate F4 as the anode site [1].

    - SCREEN: Show dragging F4, switching mode to stimulation, entering “2000 µA” as current intensity, selecting anodal stimulation, and labeling F4 as anode site.

  - Drag electrodes Fp2 (F-P-Two), Fz (F-Z), C4 (C-four), and F8 (F-Eight) into the Stimulation column [1]. Set each channel to return mode, assigning 25 percent of the total current to each [2], and save the protocol [3].

    - SCREEN: Show dragging each electrode into the Stimulation column.

    - SCREEN: Each channel is being set to return mode, assigning 25 % of total current to each.

    - SCREEN: Save the protocol.

  - Select the configured stimulation protocol [1]. Then attach the device to the Velcro strap at the back of the headcap [2] and use the electrode cables to connect the device to the electrodes [3].

    - SCREEN: Talent selecting the protocol on screen.

    - Talent attaching device to the Velcro strap at the back of the headcap.

    - Talent connecting the device to the electrodes using the electrode cables.

  - Confirm that all cables are properly connected [1].  Click the LOAD PROTOCOL button [2]. Press the CHECK IMPEDANCE button to perform an impedance check [3]. Now, click the START STIMULATION button to initiate the stimulation [4].

    - Talent checking all cable connections.

    - SCREEN: LOAD PROTOCOL is being clicked.

    - SCREEN: Show CHECK IMPEDANCE button being clicked and impedance values appearing.

    - SCREEN: Show START STIMULATION being clicked and stimulation indicators starting.

  - Instruct the participant to report their sensations at multiple time points during the stimulation session [1].

    - Talent reminding participant to note sensations at intervals.

  - Once the experiment is complete, turn off the control software [1]. Disconnect the cables from the electrodes [2] and carefully remove the device [3].

    - Talent closing the software.

    - Talent unplugging cables from the electrodes.

    - Shot of the device being removed.

  - Remove the headcap from the participant’s head [1]. Then detach all electrodes [2].

    - Talent lifting the cap off.

    - Talent removing electrodes from scalp.

  - Select the other experimental program that has not yet been completed [1]. Instruct the participant to complete the image classification task as the post-test [2]. Then provide the participant with supplies to clean their hair [3].

    - SCREEN: Talent selecting the second program.

    - Talent instructing participant to begin post-test task.

    - Talent handing over cleaning supplies.

  - Ask the participants to complete a sensation questionnaire after the stimulation session to assess their tolerance and subjective experience [1].

    - Talent handing over a questionnaire to the participant.

  - Now, rinse the headcap thoroughly with water and hang it to air-dry [1].

    - Talent rinsing the headcap under running water then hanging it.

  - Gently rinse the gel from the electrodes in tap water [1]. Leave the electrodes to air-dry on a paper towel away from direct sunlight [2]. Once they are dry, place them in their packaging for long-term storage [3].

    - Talent rinsing each electrode under tap water.

    - Talent placing electrodes on towel to dry out of sunlight.

    - Talent packaging the dried electrodes for storage.

# Results

- Results

  - Metacognitive sensitivity significantly increased following anodal stimulation between the pre-test and post-test conditions [1], while no significant changes were observed under cathodal [2] or sham stimulation [3].

    - LAB MEDIA: Figure 6. Video editor: Highlight the red bars under "anodal"

    - LAB MEDIA: Figure 6. Video editor: Highlight the orange and red bars under "cathodal”

    - LAB MEDIA: Figure 6. Video editor: Highlight the orange and red bars under "sham"

  - A significant interaction was found between time and stimulation type in the repeated measures ANOVA [1], despite no significant main effects of time [2] or stimulation type alone [3].

    - LAB MEDIA: Table 1. Video editor: Highlight the row “Time × Stimulation”,

    - LAB MEDIA: Table 1. Video editor: Highlight the row “Time”

    - LAB MEDIA: Table 1. Video editor: Highlight the row “Types of stimulation”