# Submission ID #: 68834

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20994418

# Title: Field-Deployable Lens-Free Imaging Platform for Rapid Label-Free Analysis of Natural Killer Cell Activation

# Authors and Affiliations:

# Samir Kumar1*, Sanghoon Shin1*, Hojin Cheon1, Inha Lee2,3, Young-Sun Lee4, Myung-Hyun Nam5, Sunmi Han1,3, Hyun Sik Jun2,3, Sungkyu Seo1,3

# 1Department of Electronics and Information Engineering, Korea University

# 2Department of Biotechnology and Bioinformatics, Korea University

# 3Metaimmunetech Inc.

# 4Department of Gastroenterology and Hepatology, Guro Hospital, Korea University College of Medicine

# 5Department of Laboratory Medicine, Anam Hospital, Korea University College of Medicine

*These authors contributed equally

☒   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Sungkyu Seo 		sseo@korea.ac.kr

# Email Addresses for All Authors:

# Samir Kumar 		skumar@korea.ac.kr

# Sanghoon Shin 	ghost10s@korea.ac.kr

# Hojin Cheon 		cheon_hj@korea.ac.kr

# Inha Lee 		dlsgk1017@korea.ac.kr

# Young-Sun Lee 	lys810@korea.ac.kr

# Myung-Hyun Nam 	yuret@korea.ac.kr

# Sunmi Han 		sunmi.han@metaimmunetech.kr

# Hyun Sik Jun 		toddjun@korea.ac.kr

# Sungkyu Seo 		sseo@korea.ac.kr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? less than 100 m

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  25

Number of Shots:  55 (15 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Samir Kumar: Our goal is to rapidly assess immune function by quantifying NK cell activation in real time using label-free, lens-free imaging to improve immune monitoring.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words..

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Samir Kumar: We have shown that the innate immunity index or I³ reliably distinguishes between the NK activity of healthy and immunocompromised donors and correlates strongly with cytokine and flow cytometry markers.

What research gap are you addressing with your protocol?

  - Samir Kumar: The existing NK cell assays require labels, bulky instruments, and long incubation times. Our LSIT platform fills this gap by enabling fast, affordable, label‑free profiling using simple optoelectronics.

What advantage does your protocol offer compared to other techniques?

  - Samir Kumar: Our label‑free LSIT platform differentiates NK cell activation at the single cell level within thirty seconds using shadow parameters, eliminating the need for staining and costly flow cytometry.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Samir Kumar: We will extend LSIT to monitor T and B cell activation and integrate deep learning algorithms for high-throughput classification of different immune cell states.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card

This research has been approved by the Institutional Review Board of Korea University Anam Hospital

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Natural Killer Cell Isolation and Activation

Demonstrator: Hyosung Kim/ Inha Lee

  - To begin, remove the kits for natural killer or NK cell isolation from the refrigerator [1] and allow them to come to room temperature between 15 and 28 degrees Celsius [2].

    - WIDE: Talent opening a refrigerator and taking out the kits.

    - Talent placing the kits on a bench.

  - Prepare the required equipment by placing a magnetic separator, pipettes with sterile tips, [1] and set an incubator or heating block to 37 degrees Celsius [2].

    - Talent arranging the magnetic separator, pipettes with sterile tips on the workbench.

    - Talent setting the temperature to 37 degrees Celius on the heatblock or incubator.

  - Using a pipette, add 0.5 milliliters of whole blood to the green-capped reaction tube containing the antibody cocktail [1]. Gently mix the contents by inverting the tube 2 to 3 times [2], then incubate the tube for 5 minutes [3].

    - Talent pipetting whole blood into a green-capped tube.

    - Talent gently inverting the green-capped tube.

    - Talent placing the green-capped tube in a rack and starting a 5-minute timer.

  - Transfer the entire contents of the green-capped tube into the red-capped separation tube 1 using a pipette [1] and gently mix by inverting the tube 2 to 3 times [2].

    - Talent transferring the contents into a red-capped tube.

    - Talent inverting the red-capped tube.

  - Place the red-capped tube on the magnetic separator and incubate at room temperature for 10 minutes [1].

    - Talent placing the red-capped tube on the magnetic separator and starting a 10-minute timer.

  - While keeping the magnet in place, use a pipette to transfer approximately 1.5 milliliters of the supernatant into the purple-capped separation tube 2 [1]. Gently mix the contents by inverting the tube 2 to 3 times [2].

    - Talent transferring the supernatant into a purple-capped tube while the red-capped tube remains on the magnet.

    - Talent gently inverting the purple-capped tube.

  - Now, place the purple-capped tube on the magnetic separator and incubate for 10 minutes [1].

    - Talent placing the purple-capped tube on the magnetic separator and starting a 10-minute timer.

  - While the magnet is still in place, transfer approximately 1 milliliter of the supernatant into a recovery tube with a gray lid using a pipette [1] and carefully mix the contents by inverting the tube [2].

    - Talent transferring the supernatant into a gray-lidded tube while keeping the purple-capped tube on the magnet.

    - Talent gently inverting the gray-lidded tube.

  - Next, add 100 microliters of the isolated natural killer cell suspension into the Vehicle tube [1] and another 100 microliters into the activation stimulator cocktail or ASC tube [2].

    - Talent pipetting 100 microliters of NK cell suspension into the labelled “Vehicle tube”.

    - Talent pipetting 100 microliters of NK cell suspension into the labelled “ASC tube”.

  - Gently mix the contents of both tubes to ensure even distribution [1]. Incubate the tubes in the heating block or incubator set at 37 degrees Celsius for 1 hour [2].

    - Talent gently mixing both the Vehicle and ASC tubes by inverting.

    - Talent placing the tubes into a 37-degree Celsius incubator and setting a 1-hour timer.

- Imaging the Cells with the LSIT Platform for NK Cell Activity Assessment

Demonstrator: Hyosung Kim/ Inha Lee

  - Switch on the LSIT (L-S-I-T) platform [1-TXT].

    - Talent reaching to power on the LSIT platform. TXT: LSIT: Lens-free Shadow Imaging Technology

  - Launch the LSIT Capture software [1], log in by entering your ID and password [2]. Then, navigate to Settings and select Calibrate to initiate calibration mode [3].

    - SCREEN: Show desktop view where talent opens the LSIT Capture software. 68834-Screenshot.mp4 00:00–00:10

    - SCREEN: Show the software interface where talent log in by entering your ID and password. 68834-Screenshot.mp4 00:11–00:24

    - SCREEN: Show user clicking on Settings and selecting Calibration from the dropdown menu. 68834-Screenshot.mp4 00:25–00:30

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20994418

Please let me know if your hospital system does not allow you to install the SCREEN recording software

  - Press the Open button on the touchscreen or use the physical sliding door button to open the drawer [1]. When the drawer opens, remove the calibration slide and store it [2].

    - Talent pressing Open on the screen or using physical button; drawer slides open.

    - Talent removing the calibration slide and placing it in a labeled storage box.

  - Now, click Set background to calibrate the optical intensity [1].

    - SCREEN: Show the interface with the Set background button being clicked. 68834-Screenshot.mp4 00:35–00:45

  - Replace the calibration slide in the drawer [1] and close the drawer [2].

    - Talent placing the calibration slide back into the drawer.

    - Talent pressing Close or sliding the door shut.

  - Then, click Start calibration to complete the process [1].

    - SCREEN: Show Start calibration button being clicked. 68834-Screenshot.mp4 02:32–03:02

  - Remove an assay slide from its pouch, label it with the sample data before placing it on a clean, flat surface [1]. Pipette 10 microliters of the vehicle sample into channels A and B [2] and then pipette 10 microliters of the ASC-stimulated sample into channels C and D [3].

    - Talent unsealing an assay slide pouch, labeling the slide with a marker.

    - Talent pipetting the vehicle sample into channels A and B of the assay slide.

    - Talent pipetting the ASC-stimulated sample into channels C and D of the assay slide.

  - Now, press Open to eject the drawer [1], remove the calibration slide [2], and place it in a storage box [3].

    - Talent pressing Open on the touchscreen.

    - Talent lifting the calibration slide from the drawer.

    - Talent placing the slide in the storage box.

  - Insert the prepared assay slide into the drawer [1] and press Close to secure it [2].

    - Talent inserting the assay slide into the drawer.

    - Talent pressing Close or sliding the drawer shut.

  - Go back to the Main Menu and select the NK Cell Activity Test from the main screen [1]. Enter the sample ID or scan the barcode to load the sample profile [2]. Then, press Capture to begin image recording [3].

    - SCREEN: Show login screen being completed going back to the Main Menu, followed by selection of NK Cell Activity Test. 68834-Screenshot.mp4 03:04–03:19

    - SCREEN: Show sample ID being typed or barcode being scanned into the LSIT system. 68834-Screenshot.mp4 03:19–03:29

    - SCREEN: Show Capture button being pressed and image feed starting. 68834-Screenshot.mp4 03:45–04:00

  - After capturing the image, click on Analyze to begin processing [1]. Review the NK cell activity percentage and cell count displayed on the screen [2]. Download the results to a USB drive or print them using the touchscreen menu [3].

    - SCREEN: Show Analyze button being clicked, and analysis interface loading. 68834-Screenshot.mp4 04:00–04:48

    - SCREEN: cursor hovering over the NK cell activity (%) and total cell count metrics visible in the results window. 68834-Screenshot.mp4 04:49–05:24

    - SCREEN: Show options for Download to USB. 68834-Screenshot.mp4 05:23–05:40

- Cell Counting and Post-Analysis Clean-Up

Demonstrator: Hyosung Kim/ Inha Lee

  - Select Cell counting under Test menu 2 on the LSIT main interface [1]. Load 10 microliters of the new sample onto a fresh assay slide channel using a pipette [2]. Insert the slide into the drawer, close the drawer using the touchscreen or button [3], and enter the sample ID on the system [4].

    - SCREEN: Show LSIT main interface where Test Menu 2 is selected, followed by Cell counting. 68834-Screenshot.mp4 05:45–06:02

    - Talent pipetting 10 microliters of the sample into a new channel on a clean assay slide.

    - Talent inserting the assay slide into the drawer, pressing Close.

    - Talent entering the sample ID.

  - Enter the dilution factor on the touchscreen if applicable [1] and press Count to begin cell quantification [2]. View the results displayed as cells per microliter on the screen [3].

    - Show the dilution factor input field and talent entering the value.

    - SCREEN: Show Count button being clicked and real-time cell counting displayed. 68834-Screenshot.mp4 06:02–06:39

    - SCREEN: Show result summary with cell concentration shown in cells per microliter. 68834-Screenshot.mp4 06:40–06:47

  - After analysis, open the drawer by pressing the Open button or toggling the physical switch [1]. Remove the used slide from the drawer using gloved hands [2].

    - Talent pressing Open or using the switch; drawer slides open.

    - Talent carefully lifting out the used assay slide and discarding it in the designated waste container.

  - Finally, place the calibration slide back into the drawer to protect the sensor [1] and close the drawer using the touchscreen or the physical toggle switch [2].

    - Talent retrieving the calibration slide from the storage box and placing it in the drawer.

    - Talent pressing Close or sliding the drawer shut.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 130.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

# Authors, please check if the results are correctly described

  - The LSIT platform, with integrated software, quantitatively assessed NK cell activation by comparing the CSP values of activated and unstimulated control cells [1]. It provided the immunity report with a summarized statistical table [2].

    - LAB MEDIA: Figure 5A and B

    - LAB MEDIA: Figure 5C

  - ASC stimulation induced clear morphological changes in NK cells, including increased size and cytoplasmic complexity, as seen in Hema-3–stained cytospins after 30 minutes and 2 hours [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the “ASC”-stimulated cells.

  - Shadow images showed ASC-stimulated cells had visibly more complex diffraction patterns compared to vehicle controls [1], with extracted parameters indicating increased peak-to-peak distance, cytoplasmic granularity and combined shadow parameter [2].

    - LAB MEDIA: Figure 2B. Video editor: Focus on the “ASC”-stimulated shadow images in the lower row. These have a blue background.

    - LAB MEDIA: Figure 2C. Video editor: Highlight the bars for “ASC” in all 3 graphs of 2C.

  - Combined shadow parameter values allowed clear classification between unstimulated [1] and ASC-activated NK cells [2], with minimal overlap in single-cell distributions [3].

    - LAB MEDIA: Figure 2D. Video editor: Highlight the box plot for “unstimulated”.

    - LAB MEDIA: Figure 2D. Video editor: Highlight the box plot for “ASC”.

    - LAB MEDIA: Figure 2E. Video editor: Highlight red points (activated) .

  - Healthy donors showed significantly higher Innate Immunity Index values [1] than cancer patients following ASC stimulation [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the scatter plot for HD group.

    - LAB MEDIA: Figure 3A. Video editor: Highlight the scatter plot for CP group.

NOTE to Authors:

It's better if you upload each screen recording after naming each file according to the corresponding shot number (3-digit bullet, e.g, 2.2.1, 2.1.3, etc).

But if you prefer to record all the steps together and upload a single screen capture file, that is okay.

In this case, you need to indicate the corresponding timestamp against each shot.

For example if the action described in shot 2.1.2 is present in the file name xxx.mp4 and is in between timestamp 00:30 to 00:45 then write as following in script above (shown in red font below).

Example, shot 2.1.2 SCREEN: performing ........... action.   xxx.mp4 00:30-00:45.

2.2.2 SCREEN: clicking on.................button... xxx.mp4 01:00-01:25

Please note that every shot (3-digit step) should have the best corresponding video clip of only 20 to 25 seconds and not more than that, so that the voice narration can match the duration.

If a particular shot takes minutes to complete, we can choose timestamps at the beginning and end of the process so that the total time is again within the 25-second limit.

Example: 3.1.1 SCREEN: Clicking on the 'analyze and plot' button, analysis in progress and the graph being plotted.  xxx.mp4 00:00-00:10 and 02:30-02:40