# Submission ID #: 68841

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=20996553

# Title: Combined Recombinase Polymerase Amplification CRISPR/Cas12a Assay for Detecting Fusarium oxysporum f. sp. cubense Tropical Race 4

# Authors and Affiliations:

Jos Jansen van Vuuren1*, Megan Ceris Matthews1*, Isabelle Robène1,2, Samuel Rozsasi1,2, Manuela Campa3, Johan Burger3, Altus Viljoen1, Diane Mostert1

1Department of Plant Pathology, Faculty of Agrisciences, Stellenbosch University

2CIRAD, UMR PVBMT

3Department of Genetics, Faculty of Agrisciences, Stellenbosch University

* These authors contributed equally

# Corresponding Authors:

Diane Mostert	 		diane@sun.co.za

# Email Addresses for All Authors:

Jos Jansen van Vuuren 	22622381@sun.ac.za

Megan Ceris Matthews 	megandutoit@sun.ac.za

Isabelle Robène 		isabelle.robene@cirad.fr

Samuel Rozsasi 		samuel.rozsasi.ext@anses.fr

Manuela Campa 		mcampa@sun.ac.za

Johan Burger 			jtb@sun.ac.za

Altus Viljoen 			altus@sun.co.za

Diane Mostert	 		diane@sun.co.za

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 12 February 2026

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  23

Number of Shots:  38

# Introduction

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Jos Jansen van Vuuren: We are interested in rapid and accurate detection of the Fusarium wilt of banana pathogen, known as Foc TR4.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1

AUTHOR’S NOTE: Shot in 3 takes

What technologies are currently used to advance research in your field?

  - Jos Jansen van Vuuren: The combined use of recombinase polymerase amplification and CRISPR negates the use of expensive machines and improves the accuracy of current assays.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.1

AUTHOR’S NOTE: Shot in 4 takes

CONCLUSION:

What significant findings have you established in your field?

  - Jos Jansen van Vuuren: We have developed the first assay that employs CRISPR technology for detection of Foc TR4.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.2.1

AUTHOR’S NOTE: Shot in 2 takes

What advantage does your protocol offer compared to other techniques?

  - Jos Jansen van Vuuren: Once optimised, the assay offers faster, more accurate detection on inexpensive machines than existing commercial assays.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

AUTHOR’S NOTE: Shot in 2 takes

What questions will future research focus on?

  - Jos Jansen van Vuuren: Our further work will explore a smartphone-linked fluorescent detector to be combined with the assay.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

AUTHOR’S NOTE: Shot in 4 takes

# Protocol

- Simplified DNA Extraction from Plant Material

Demonstrator: Jos Jansen van Vuuren

  - To begin, transfer 250 milligrams of each piece of symptomatic pseudostem into a separate extraction bag [1].

    - WIDE: Talent placing pieces of symptomatic pseudostem into individual extraction bags.

AUTHOR’S NOTE: Shot in 2 takes in different angles

  - Add 2 milliliters of 0.5 molar sodium hydroxide-polyvinylpyrrolidone solution into each extraction bag containing plant material [1]. Using a manual grinder, such as a pestle, grind the infected vessels thoroughly inside the extraction bag [2].

    - Talent pipetting 2 milliliters of sodium hydroxide-polyvinylpyrrolidone solution into the extraction bag.
AUTHOR’S NOTE: Shot in 1 take

    - Talent grinding the plant material inside the bag using a pestle.
AUTHOR’S NOTE: Shot in 2 takes in different angles

  - Then, add 195 microliters of 100 millimolar Tris-HCl buffer at pH 8 into 1.5-milliliter tube [1]. Pipette 5 microliters of the plant extract from the extraction bag into the 1.5-milliliter tube containing Tris-HCl buffer to dilute the extract 40-fold [2].

    - Talent pipetting 195 microliters of Tris-HCl buffer into multiple 1.5 milliliter microcentrifuge tube.
AUTHOR’S NOTE: Shot in 4 takes in different angles

    - Talent pipetting 5 microliters of extract into a tube containing Tris-HCl buffer.
AUTHOR’S NOTE: Shot in 5 takes including cutoff

  - Vortex the tube for 15 to 30 seconds [1] and store it at minus 20 degrees Celsius until further use [2].

    - Talent vortexing each microcentrifuge tube for 15 to 30 seconds.
AUTHOR’S NOTE: Shot in 1 take

    - Talent placing the tube inside a minus 20 degree Celsius freezer.
AUTHOR’S NOTE: Shot in 1 take

- crRNA Synthesis and Quality Control

  - Using the RNA transcription kit, add the given components to a 0.2-milliliter PCR tube [1].

    - TEXT ON A PLAIN BACKGROUND

10x T7 Reaction buffer: 1.5 µL

dNTPs: 1.5 µL each

T7 DNA polymerase mix:  1.5 µL

Nuclease-free H2O: 1 µL

100 µM T7 template DNA: 10 µL

Total Volume: 20 µL

  - Incubate the prepared tube at 37 degrees Celsius in a water bath or PCR machine for at least 4 hours [1].

    - Talent placing the PCR tube into a water bath/PCR machine set to 37 degrees Celsius.
AUTHOR’S NOTE: 6 Takes (different stations and angles)

Takes 1-2 = Water bath

Takes 3-6 = PCR machine

  - Now, use a spectrophotometer to quantify the transcribed RNA [1]. Dilute the RNA to a concentration of 250 nanograms per microliter, in a final volume of 40 microliters using either nuclease-free water [2].

    - Talent placing the RNA sample into the spectrophotometer and initiating the measurement.
AUTHOR’S NOTE: 4 Takes (different angles and result of ~ 4000 ng/uL before cleaning)

    - Talent pipetting nuclease-free water into the tube to dilute the RNA.
AUTHOR’S NOTE: 3 Takes including a cutaway

  - Then, treat the RNA sample with DNase I (D-N-aze-1) provided in the RNA cleaning kit, following the manufacturer’s instructions [1].

    - Talent adding DNase I to the RNA sample.
AUTHOR’S NOTE: 3 Takes

  - After that, clean the RNA sample using the RNA cleaning kit [1].

    - Talent pipetting the clean-up reagent in the tube with the RNA cleaning kit placed in the frame.
AUTHOR’S NOTE: 2 Takes for reagent 1 (RNA Binding Buffer)

1 Take for reagent 2 (100% EtOH)

3 Takes for reagent 3 (RNA Prep Buffer)

1 Take for reagent 4 (RNA Wash Buffer)

1 Take for reagent 5 (Water)

  - Use a Nanodrop device to determine the quantity and quality of the cleaned crRNA [1]. Then, dilute the RNA to 100 nanograms per microliter with nuclease-free water [2-TXT].

    - Talent placing the cleaned RNA on the Nanodrop device and reviewing the results.
AUTHOR’S NOTE: 4 Takes (different angles)

Note: Screen shows ~ 100 ng/uL instead of ~ 250 ng/uL according to the protocol

    - Talent diluting the RNA with nuclease-free water. TXT: Store the RNA sample at -80 °C until use
AUTHOR’S NOTE: 2 Takes(Different angles)

  - Now heat the crRNA (C-R-R-N-A) mixed with RNA loading dye to 70 degrees Celsius for 10 minutes in a water bath [1] and run the sample on a 1.5 percent agarose gel to visualize the crRNA through electrophoresis [2].

    - Talent placing the RNA sample with loading dye into a water bath set to 70 degrees Celsius for 10 minutes.
AUTHOR’S NOTE: 2 Takes(Different angles)

    - Talent loading the sample onto a 1.5 percent agarose gel and initiating electrophoresis.
AUTHOR’S NOTE: 4 Takes

Take 1-3 = Bottom angle

Take 4 = Top angle

- Recombinase Polymerase Amplification (RPA)-Cas12a One-Tube Reaction for In Vitro Foc TR4 Detection

  - Prepare 20 microliters of Cas12a (Cas-Twelve-A) reaction mixture in a separate 0.5-milliliter tube using the given components [1].

    - TEXT ON A PLAIN BACKGROUND

10x NEBuffer r2.1: 2 µL

10 µM LbCas12a protein: 0.4 µL

100 ng/µL crRNA: 0.6 µL

10 µM reporter:  0.4 µL

Deionized water: 16.6 µL 

AUTHOR’S NOTE: Additional footage:

4.1.1.. Take 1-3 (pipetting CRISPR reagent into a clean 0.5 mL tube from different angles)

4.1.1. Take 4 (CRISPR reagents in ice box)

  - Next, prepare 9.5 microliters of RPA reaction mixture in a separate 0.5-milliliter tube [1] with the components shown here [2].

    - Talent pipetting a reagent into a clean 0.5 milliliter tube.

AUTHOR’S NOTE: 2 takes (different angles)

Additional footage:

4.2.1. Take 3 (RPA reagents in ice box)

4.2.1. Take 4 (RPA and CRISPR reagents in ice box)

4.2.1. Take 5 (CRISPR reaction mix tube)

4.2.1. Take 6 (RPA reaction mix tube)

    - TEXT ON A PLAIN BACKGROUND

2x Reaction Buffer: 5 µL

dNTP Mix: 1.6 µL each

10x Basic E-Mix : 1 µL

RPA primer at 10 µM:  0.5 µL each

20x Core Reaction Mix: 0.5 µL

Deionized water: 0.4 µL

  - Place an 8-tube strip into a tube rack set on ice [1] and transfer the 20 microliters of Cas12a reaction mixture into the base of each tube in the strip [2].

    - Talent positioning the 8-tube strip into the rack on an ice-filled container.
AUTHOR’S NOTE: 2 Takes(Different angles)

    - Talent pipetting the Cas12a reaction mix into the bottom of each tube in the 8-tube strip.
AUTHOR’S NOTE: 2 Takes(Different angles)

  - Then, transfer the 9.5 microliters of RPA reaction mixture into the lid of each tube in the strip [1]. Add 0.5 microliters of 280 nanomolar magnesium acetate to the RPA mix in the lid and mix by pipetting up and down [2].

    - Talent pipetting the RPA mixture into the lids of each tube.
AUTHOR’S NOTE: 2 Takes(Different angles)

    - Talent adding magnesium acetate and mixing the solution by pipetting up and down in the lid.
AUTHOR’S NOTE: 3 Takes(Different angles)

  - Next, add 0.5 microliters of deionized water to the lid of the non-template control tube and close it carefully to prevent the RPA and Cas12a reaction mixtures from mixing [1].

    - Talent pipetting deionized water into the non-template control tube lid and sealing it securely.
AUTHOR’S NOTE: 3 Takes(Different angles): Take 2 – the cap wasn’t sealed

  - Now, add 0.5 microliters of template DNA to the 10 microliters of RPA reaction mixture containing magnesium acetate in the tube strip lid [1-TXT]. Mix the contents by pipetting up and down [2].

    - Talent pipetting 0.5 microliters of template DNA into the lids of tubes containing RPA reaction mix, omitting the non-template control. TXT: For NTC, add deionized H2O; Add Foc TR4 DNA in one well as a +ve control
AUTHOR’S NOTE: 2 Takes

Take 1 – each cap closed individually after DNA is added

Take 2 – the 4 tubes with negative DNA are added and caps closed, then the 3 tubes with positive DNA are added and caps closed. 
Tube 1 = NTC

Tubes 2-5 = Negative DNA

Tubes 6-8 = Positive DNA

This is according to the tube strip used in the protocol. We made it the same for demonstration purposes. Therefore there are 3 wells for positive DNA and not just 1.

Talent pipetting up and down to mix the contents in each tube lid.
AUTHOR’S NOTE: 3 Takes(Different angles)

  - Carefully close all tube strip lids to ensure that the RPA and Cas12a reaction mixtures do not mix [1].

    - Talent gently closing the lids of the 8-tube strip to keep the reaction mixtures separated.

AUTHOR’S NOTE: 1 Take (the other takes are combined with Step 4.6.1.); Additional footage:

4.7.1. Take 2 (Showing no run down of the top reaction mix into the bottom reaction mix

  - Afterward, switch on the portable fluorometer and create a Run profile for the RPA-Cas12a assay [1]. Open the saved Run profile [2] and place the tube strip inside the fluorometer to incubate for 30 minutes at 37 degrees Celsius [3].

    - Show the fluorometer display as the talent navigates the menu to create the Run Profile for the RPA-Cas12a assay.
AUTHOR’S NOTE: 1 Take

    - Talent opens the saved run profile
AUTHOR’S NOTE: 1 Take

    - Talent placing the tube strip into the fluorometer and starting the 30-minute incubation at 37 degrees Celsius.
AUTHOR’S NOTE: 2 Takes

  - After 30 minutes, remove the tube strip from the fluorometer [1]. Invert the tubes six times to mix the RPA and Cas12a reactions [2] and briefly spin the strip down in a mini centrifuge for 5 seconds [3].

    - Talent taking the tube strip out of the fluorometer.
AUTHOR’S NOTE: 1 Take

    - Talent inverting the tubes to allow mixing of the contents.
AUTHOR’S NOTE: : 1 Take

    - Talent placing the tube strip in a mini centrifuge and spinning it for 5 seconds.
AUTHOR’S NOTE: 2 Takes (Take 1: Not spun long enough)

  - Then, return the tube strip to the fluorometer and incubate for another 30 minutes at 37 degrees Celsius using the saved Run profile [1].

    - Talent placing the mixed and spun-down tube strip back into the fluorometer and starting incubation.
AUTHOR’S NOTE: 2 Takes
Take 1 – spun down tube, put back into fluorometer, but did not start incubation

Take 2 – spun down tube, put back into fluorometer, did start incubation

  - Interpret the average relative fluorescence units measured on the portable fluorometer [1].

    - Show the fluorometer display with average relative fluorescence units.
AUTHOR’S NOTE: 4 Take; Take 1 – no highlighting

Take 2 – highlighting all samples

Take 3 – highlighting NTC and negative samples

Take 4 – highlighting positive samples

  - Finally, visualize the reaction tubes under LED blue light at an excitation wavelength of 465 nanometers using a blue light transilluminator [1] and capture images of the fluorescent signal using a phone camera [2].

    - Talent placing the tube strip on the blue light transilluminator.
AUTHOR’S NOTE: 1 Take; Additional Footage: 4.12.1. Take 2 (showing tubes with the lights off)

    - Talent using a phone camera to take images of the illuminated reaction tubes.
AUTHOR’S NOTE: 3 Takes(Different angles)

# Results

- Results

  - Positive samples produced visible fluorescence in the Genie III (Three) portable fluorometer following RPA-Cas12a detection Foc TR4 (F-O-C-T-R-4) DNA [1], while negative samples yielded low endpoint fluorescence [2].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the upward fluorescence amplification curves and bars labeled 6, 7, and 8 on the left and right graphs.

    - LAB MEDIA: Figure 4A. Video editor: Highlight the flat or low-level curves labeled 1 to 5 on the left and right graphs.

  - When viewed under LED blue light, the sample tubes containing DNA from Foc TR4-infected plant material displayed visible fluorescence [1], while tubes with DNA from uninfected tissue did not show any fluorescence [2].

    - LAB MEDIA: Figure 4B. Video editor: Highlight tubes 6, 7, and 8 with visibly glowing contents.

    - LAB MEDIA: Figure 4B. Video editor: Highlight tubes 1 to 5, which show no visible glow.

Pronunciation Guide:

Recombinase
Pronunciation link: https://www.merriam-webster.com/dictionary/recombinase
IPA: /riːˈkɑːmbəˌneɪs/
Phonetic Spelling: ree·kom·buh·nays

Polymerase
Pronunciation link: https://www.merriam-webster.com/dictionary/polymerase
IPA: /pəˈlɪməˌreɪs/
Phonetic Spelling: puh·lim·uh·rays

Amplification
Pronunciation link: https://www.merriam-webster.com/dictionary/amplification
IPA: /ˌæmpləfəˈkeɪʃən/
Phonetic Spelling: am·pluh·fuh·kay·shuhn

CRISPR
Pronunciation link: https://www.merriam-webster.com/dictionary/CRISPR
IPA: /ˈkrɪspər/
Phonetic Spelling: kris·per

Cas12a
Pronunciation link: No confirmed link found
IPA: /kæz twɛlv eɪ/
Phonetic Spelling: kaz·twelv·ay

Fusarium
Pronunciation link: https://www.merriam-webster.com/dictionary/Fusarium
IPA: /fjuːˈzɛəriəm/
Phonetic Spelling: fyoo·zair·ee·uhm

Oxysporum
Pronunciation link: https://www.merriam-webster.com/dictionary/oxysporum
IPA: /ˌɑːksiˈspɔːrəm/
Phonetic Spelling: ok·see·spor·uhm

Cubense
Pronunciation link: No confirmed link found
IPA: /kjuːˈbɛnseɪ/
Phonetic Spelling: kyoo·ben·say

Pseudostem
Pronunciation link: https://www.merriam-webster.com/dictionary/pseudostem
IPA: /ˈsuːdoʊˌstɛm/
Phonetic Spelling: soo·doh·stem

Polyvinylpyrrolidone
Pronunciation link: https://www.merriam-webster.com/dictionary/polyvinylpyrrolidone
IPA: /ˌpɑːliˌvaɪnəlˌpɪrəˈlɪdoʊn/
Phonetic Spelling: pol·ee·vy·nuhl·pir·uh·lih·dohn

Spectrophotometer
Pronunciation link: https://www.merriam-webster.com/dictionary/spectrophotometer
IPA: /ˌspɛktrəfoʊˈtɑːmətər/
Phonetic Spelling: spek·truh·foh·tom·uh·ter

DNase
Pronunciation link: https://www.merriam-webster.com/dictionary/DNase
IPA: /ˈdiːˌɛnˌeɪz/
Phonetic Spelling: dee·en·ayz

Electrophoresis
Pronunciation link: https://www.merriam-webster.com/dictionary/electrophoresis
IPA: /ɪˌlɛktroʊfəˈriːsɪs/
Phonetic Spelling: ih·lek·troh·fuh·ree·suhs

Nanodrop
Pronunciation link: https://www.merriam-webster.com/dictionary/Nanodrop
IPA: /ˈnænoʊˌdrɑːp/
Phonetic Spelling: nan·oh·drop

Fluorometer
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorometer
IPA: /flʊˈrɑːmətər/
Phonetic Spelling: floor·om·uh·ter

Fluorescence
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescence
IPA: /flʊˈrɛsəns/
Phonetic Spelling: floor·es·uhns

Transilluminator
Pronunciation link: https://www.merriam-webster.com/dictionary/transilluminator
IPA: /ˌtrænzɪˈluːməˌneɪtər/
Phonetic Spelling: tranz·ih·loo·muh·nay·ter

Fluorometer
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorometer
IPA: /flʊˈrɑːmətər/
Phonetic Spelling: floor·om·uh·ter