# Submission ID #: 68859

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21002043

Title: Quantification of Endothelial Fatty Acid Uptake using Fluorescent Fatty Acid Analogs

# Authors and Affiliations:

Ayon Ibrahim1*, Tanisha Choudhury2, Boa Kim3*

1Department of Biology, Union College,

2Department of Biology, University of North Carolina Chapel Hill

3Department of Pathology & Laboratory Medicine and McAllister Heart Institute, University of North Carolina Chapel Hill

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Boa Kim 		(boakim@unc.edu)

Ayon Ibrahim		(ibrahima@union.edu)

# Email Addresses for All Authors:

Tanisha Choudhury 	(tanishac@ad.unc.edu)

Boa Kim 		(boakim@unc.edu)

Ayon Ibrahim		(ibrahima@union.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  13

Number of Shots:  27

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Gelatin Coating of 96-Well Plate and Cell Seeding

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, prepare a 0.1 percent gelatin solution by diluting 25 milliliters of 2 percent gelatin stock in 500 milliliters of PBS [1]. Mix the gelatin solution thoroughly [2] and filter-sterilize it using a 0.2-micrometer vacuum filter or autoclave [3].

    - WIDE: Talent pouring 25 milliliters of gelatin to a beaker containing 500 milliliters of PBS.

    - Talent stirring the gelatin solution in the beaker with a magnetic stir bar.

    - Talent attaching the vacuum filter unit and pouring the solution into the reservoir for sterilization.

  - Using a pipette, add 100 microliters of the 0.1 percent gelatin solution into each well of a black, clear-bottom 96-well plate [1]. Place the plate in a 37-degree Celsius incubator for at least 30 minutes or overnight [2].

    - Talent pipetting the gelatin solution into each well of the 96-well plate.

    - Talent placing the plate inside a 37 degree Celsius incubator.

  - To prepare a single-cell suspension of endothelial cells in complete media [1]. Pipette 100 microliters of the cell suspension into each well, using a seeding density that allows the cells to reach confluence by the next day [2].

    - Talent gently resuspending the endothelial cells in complete media to form a single-cell suspension.

    - Talent pipetting the cell suspension into each well of the pre-coated 96-well plate.

- Treatment Reagent Preparation and Application

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare 20 millimolar solutions of 3-hydroxyisobutyrate and lactate as positive controls. For the negative control, use 1 micromolar niclosamide [1].

    - Talent pipetting and mixing solutions to prepare 20 millimolar 3-hydroxyisobutyrate and lactate.

  - Wash the endothelial cells once with pre-warmed divalent PBS [1]. Add 50 microliters per well of the appropriate treatment reagent [2] and incubate the plate at 37 degrees Celsius for 30 minutes or 60 minutes [3].

    - Talent aspirating media and washing the wells with pre-warmed divalent phosphate-buffered saline.

    - Talent pipetting 50 microliters of treatment reagent into each well of the plate.

    - Talent placing the plate inside a 37 degree Celsius incubator.

  - To prepare the BODIPY-fatty acid:BSA (Bodi-Py-Fatty-Acid-B-S-A) complex, mix a 2 micromolar BODIPY-fatty acid solution with 1 micromolar fatty acid-free BSA in PBS [1]. Incubate the mixture at 37 degrees Celsius for 10 minutes before use [2].

    - Talent mixing BODIPY-fatty acid with fatty acid-free bovine serum albumin in a microcentrifuge tube.

    - Talent placing the tube in a 37 degree Celsius heat block for incubation.

  - Next, add 50 microliters of the prepared BODIPY-fatty acid:BSA complex to each treated well [1] and incubate the plate at 37 degrees Celsius for 5 minutes [2].

    - Talent pipetting BODIPY-fatty acid:BSA complex into the treated wells.

    - Talent placing the plate in a 37 degree Celsius incubator.

- Fluorescence Quenching and Intracellular Signal Detection

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare a 1 micromolar solution of fatty acid-free BSA in PBS as a wash buffer [1] and pre-warm it to 37 degrees Celsius [2]. Remove the BODIPY-fatty acid:BSA complex from the wells [3] and wash the entire plate twice with 50 microliters of the pre-warmed wash buffer, performing each wash for 1.5 minutes [4].

    - Talent preparing the 1 micromolar bovine serum albumin wash buffer.

    - Talent placing the buffer in a 37 degree Celsius water bath.

    - Talent aspirating the BODIPY-fatty acid:BSA solution.

    - Talent performing two washes with the pre-warmed buffer using a multichannel pipette.

  - Then, add 50 microliters of 0.08 percent Trypan Blue to each well to quench extracellular fluorescence [1]. Using a microplate reader immediately measure intracellular fluorescence [2-TXT].

    - Talent pipetting 50 microliters of 0.08 percent Trypan Blue into each well of the plate.

    - Talent places the plate in the microplate reader with the screen showing the serring visible. TXT: Excitation: 488 nm, Emission: 515 nm, Cutoff: 495 nm, Mode: Bottom-read

- Hoechst Nuclear Staining for Cell Normalization

Demonstrator: Click here to enter name of demonstrator(s)

  - After removing the Trypan Blue solution from the wells, gently wash the cells with PBS [1].

    - Talent washing the wells with phosphate-buffered saline using a multichannel pipette.

  - Add 4 micrograms per milliliter of Hoechst dye diluted in 10 percent media to each well [1]. Incubate the plate at 37 degrees Celsius for 30 minutes [2].

    - Talent pipetting Hoechst staining solution into each well.

    - Talent placing the plate inside a 37 degree Celsius incubator.

  - Then, wash the plate once with PBS to remove excess dye [1].

    - Talent performing a single wash of all wells with phosphate-buffered saline using a multichannel pipette.

  - After washing the plate with PBS once, add fresh PBS to each well [1] and measure Hoechst fluorescence using a microplate reader [2-TXT].

    - Talent pipetting fresh phosphate-buffered saline into each well.

    - Talent places the plate in the reader and starts it. TXT: Excitation: 350 nm, Emission: 461 nm, Cutoff: 455 nm Mode; Bottom-read

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 125.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - In both HUVEC (H-U-V-E-C) and EA.hy926 (E-A-H-Y-Nine-Two-Six) cells, intracellular BODIPY-C₁₂ (BODI-PY-C-Twelve) signal increased significantly with higher BODIPY-Fatty acid concentrations at 1 minute [1], 5 minutes [2], and 10 minutes of incubation [3].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the increasing bars for 0.5 μM, 1 μM, and 2 μM BODIPY-FA at 1-minute timepoint under HUVEC and EA.hy926

    - LAB MEDIA: Figure 2A. Video editor: Highlight the increasing bars for 0.5 μM, 1 μM, and 2 μM BODIPY-FA at 5-minute timepoint under HUVEC and EA.hy926

    - LAB MEDIA: Figure 2A. Video editor: Highlight the increasing bars for 0.5 μM, 1 μM, and 2 μM BODIPY-FA at 10-minute timepoint under HUVEC and EA.hy926

  - Lactate treatment for 1 hour increased BODIPY-C₁₂ uptake in a dose-dependent manner at 5 millimolar and 20 millimolar concentrations [1]. Treatment with 3-hydroxyisobutyrate also significantly enhanced BODIPY-C₁₂ uptake in a dose-dependent fashion, with the highest uptake observed at 20 millimolar [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the three bars labeled 0, 5, and 20 millimolar lactate, showing progressively higher heights

    - LAB MEDIA: Figure 3B. Video editor: Highlight the increasing bar heights at 0, 5, and 20 millimolar 3-HIB

  - Treatment with 1 micromolar niclosamide for 30 minutes led to a significant reduction in BODIPY-C₁₂ uptake compared to untreated controls [1].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the bar at 1 micromolar niclosamide, which is visibly shorter than the bar at 0 micromolar

  - Following 5-minute incubation with BODIPY-C₁₆ in HUVECs, lactate treatment at 10 millimolar and 20 millimolar significantly increased uptake in a dose-dependent manner [1]. Treatment with 1 micromolar niclosamide significantly decreased BODIPY-C₁₆ uptake compared to the untreated control [2].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the upward trend in bar heights across the 0, 10, and 20 millimolar lactate groups

    - LAB MEDIA: Figure 4B. Video editor: Highlight the bar labeled 1 micromolar niclosamide.