# Submission ID #: 68874

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21006618

# Title: On-site DNA Detection of Trypanosomatid Parasites and Nosema ceranae Through Alkaline Lysis Coupled to Recombinase Polymerase Amplification/Cas12a

# Authors and Affiliations:

# Jéssica Carreira de Paula1,2*, Jennifer Solano Parada1,2*, Juan Francisco Rosel Miñarro1,2, Pedro García Olmedo 1,2, Francisco José Orantes3, Antonio Osuna1, Luis Miguel de Pablos Tórro1,2

# 1Group of Biochemical and Molecular Parasitology CTS-183, Department of Parasitology, University of Granada

# 2 Institute of Biotechnology, Faculty of Sciences, University of Granada

# 3Apinevada S.L Parque Metropolitano Industrial de Granada, Calle Rubiales 17

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Jennifer Solano Parada (jsolano@ugr.es)

# Email Addresses for All Authors:

Jessica Carreira de Paula (jessicacarreira@ugr.es)

Jennifer Solano Parada (jsolano@ugr.es)

Juan Francisco Rosel Miñarro (jfroselmi1@ugr.es)

Pedro Olmedo Garcia (pgolmedo@ugr.es)

Francisco José Orantes (director@apinevada.com)

Antonio Osuna (aosuna@ugr.es)

Luis Miguel de Pablos Torró(lpablos@ugr.es)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  37

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name)

AUTHORS: Could you please provide the information above, if relevant to your research

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Extraction and Isothermal Amplification of Pathogen DNA from Honeybee Tissue Using HotSHOT Lysis

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, obtain an anesthetized honeybee [1]. With a sterile scalpel, dissect the abdomen of the bee [2]. Transfer the dissected tissue into a 1.5-milliliter microcentrifuge tube [3].

    - WIDE: Talent holding an anesthetized honeybee.
AUTHORS: Please note that JoVE requires the opening shot to be a wide, non-screen capture. This shot was added specifically to meet that requirement

    - Talent dissecting the abdomen of the bee using a sterile scalpel on a clean workbench.

    - Talent transferring the dissected tissue into a labeled 1.5 milliliter microcentrifuge tube.

  - Add 400 microliters of HotSHOT (Hot-shot) buffer to the tube [1]. Then u a disposable pestle to macerate the tissue thoroughly [2]. Vortex the tube to further homogenize the tissue [3].

    - Talent pipetting 400 microliters of HotSHOT buffer into the microcentrifuge tube.

    - Talent macerating the tissue inside the tube using a disposable pestle.

    - Talent vortexing the tube for homogenization.

  - Next, incubate the tube in a heating block set to 95 degrees Celsius for 10 minutes to lyse the cells [1]. After incubation, transfer the tube immediately onto ice to cool [2].

    - Talent placing the tube in a heating block at 95 degrees Celsius.

    - Talent transferring the tube onto an ice rack immediately after incubation.

  - Neutralize the reaction with 400 microliters of 40 millimolar Tris-HCl resulting in a final concentration of 20 millimolar Tris-HCl in the solution [1].

    - Talent pipetting 400 microliters of 40 millimolar Tris-HCl into the tube.

  - For isothermal amplification by RPA (R-P-A), first prepare the master mix according to the number of reactions required [1-TXT]. Use Diethyl Pyrocarbonate -treated water instead of amplification-ready cell lysis for the negative control, and pathogen DNA for the positive control [2].

    - Talent pipetting reagents into a master mix tube at a clean workstation. TXT: RPA: Recombinase Polymerase Amplification
AND
LAB MEDIA: Table 1
Video Editor: Please play both shots side by side

    - Talent preparing separate tubes labelled for negative and positive controls.

  - Transfer 46.5 microliters of the master mix into 0.2-milliliter PCR tubes [1].

    - Talent pipetting 46.5 microliters of the master mix into multiple 0.2 milliliter PCR tubes.

  - Add magnesium acetate and template DNA to the caps of each PCR tube according to specified volumes [1]. Briefly centrifuge the tubes to mix and initiate the RPA reaction [2]. Then incubate the tubes in a thermocycler at 39 degrees Celsius for 40 minutes to carry out the RPA amplification reaction [3].

    - Talent pipetting magnesium acetate and DNA into the caps of PCR tubes.
AND
LAB MEDIA: Table 2
Video Editor: Please play both shots side by side

    - Talent placing tubes into a centrifuge and starting a brief spin.

    - Talent placing PCR tubes into a thermocycler and starting incubation.

- Rapid Molecular Detection of Pathogen DNA in Honey Bees

Demonstrator: Click here to enter name of demonstrator(s)

  - First,prepare a 100 micromolar crRNA (Crisper-R-N-A) stock solution [1]. Reconstitute 10 nanomoles of lyophilized crRNA in 100 microliters of Diethyl Pyrocarbonate-treated water [2-TXT].

    - Shot of vial containing crRNA.

    - Talent pipetting 100 microliters of DEPC-treated water into a vial containing 10 nanomoles of lyophilized crRNA. TXT: Store at - 20 °C

  - To prepare a 1-micromolar working solution, mix 1 microliter of the 100 micromolar stock with 99 microliters of Diethyl Pyrocarbonate -treated water in a 0.2-milliliter tube [1].

    - Talent preparing a 1:100 dilution by mixing 1 microliter of crRNA stock with 99 microliters of DEPC-treated water in a 0.2 milliliter tube.

  - To prepare the Cas12a (Kahs-Twelve-A) enzyme solution, dilute the 100 micromolar solution to a 1 micromolar working solution by mixing 1 microliter of the enzyme with 99 microliters of the diluent provided in the kit [1].

    - Talent pipetting 1 microliter of Cas12a enzyme and 99 microliters of diluent into a microcentrifuge tube for dilution.

  - Now, prepare a 100 micromolar stock solution of the FAM (Fam) probe, by resuspending it in 1 microliter of Diethyl Pyrocarbonate -treated water per 1 nanomole of probe [1-TXT]. For the 10-micromolar working solution, mix 90 microliters of DEPC-treated water [2] with 10 microliters of the 100-micromolar stock [3].

    - Talent pipetting DEPC-treated water into a vial containing lyophilized probe, matching the volume to the nanomole content. TXT: Store at - 20 °C

    - Talent pipetting 90 microliters of DEPC-treated water into a tube.

    - Talent pipetting 10 microliters of the 100 micromolar probe stock to the labelled tube.

  - Next, prepare the CRISPR reaction mix excluding the amplicons in a 1.5-milliliter microcentrifuge tube [1]. Vortex the suspension to mix well [2] then distribute it into PCR tubes [3].

    - Talent preparing a reaction mix in a 1.5 milliliter microcentrifuge tube without adding the amplicons.
AND
LAB MEDIA: Table 3
Video Editor: Please play both shots side by side

    - Talent vortexing the tube.

    - Talent pipetting the mixture into multiple PCR tubes.

  - Now pipette 4 microliters of RPA amplicon into each tube [1]. Place the tubes in a thermocycler set to 37 degrees Celsius [2] and incubate for 120 minutes with fluorescence recorded every minute [3].

    - Talent pipetting 4 microliters of RPA amplicon into labeled PCR tubes.

    - Talent inserting PCR tubes into a fluorescence-capable thermocycler.

    - Shot of the program parameters being input into the machine.
Videographer: please capture the instrument screen for this step

  - At the end of the incubation, transfer the reactions into 0.2-milliliter tubes for visualization using a gel documentation system [1].

    - Talent transferring samples to 0.2 milliliter tubes and placing them into a gel documentation system for imaging.
Videographer: This is an optional step. Please record if necessary

  - To detect biotin probe in a lateral flow test, prepare the flow test components in a 1.5-milliliter tube [1]. After vortexing the solution, distribute it into a PCR plate [2].Then add 4 microliters of amplicon to the respective wells [3].

    - Talent preparing a mix for lateral flow detection in a 1.5 milliliter tube.
AND
LAB MEDIA: Table 4
Video Editor: Please play both shots side by side

    - Talent distributing the mix into a PCR plate.

    - Talent adding 4 µL amplicon solution into the wells.

  - Incubate the PCR plate at 37 degrees Celsius for 120 minutes using a thermocycler or thermal block without fluorescence reading [1]. Then transfer the samples to 0.2-milliliter tubes [2].

    - Talent placing the PCR plate into a thermal block and starting the incubation.

    - Shot of the samples being pipetted into 0.2 mL tubes.

  - Then add 50 microliters of running buffer and 10 microliters of the reaction mixture to each tube [1]. Insert immunostrips and incubate for 15 minutes at room temperature [2]. Read results after 10 minutes of immersion [3].

    - Talent pipetting running buffer and reaction mix to each 0.2 milliliter tube.

    - Talent inserting immunostrips into the tubes.

    - Shot of the immunostrips after incubation.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 81.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Recombinase polymerase amplification detected Lotmaria passim in 16 out of 32 honeybee samples [1], whereas quantitative polymerase chain reaction identified only 12 positives, demonstrating higher sensitivity of the RPA method [2].

    - LAB MEDIA: Figure 5A. Video editor: Please highlight RPA bar

    - LAB MEDIA: Figure 5A. Video editor: Please highlight PCR bar

  - The detection limit of quantitative polymerase chain reaction was approximately 9.6 parasites, as shown by the amplification curve with the lowest visible signal [1].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the rightmost curve labeled “9.67 parasites”

  - The detection limit of recombinase polymerase amplification matched that of qPCR [1], detecting as low as 6 picograms corresponding to 96 parasites [2].

    - LAB MEDIA: Figure 5C. Video editor: Highlight the curve labeled “96.7 parasites”

    - LAB MEDIA: Figure 5D. Video editor: Highlight the Biotin strips from “107” to  “10²”.