# Submission ID #: 68896

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21013328

# Title: NiO Nanoflowers for Non-Enzymatic Amperometric Detection of Glucose

# Authors and Affiliations:

# Piyush Choudhary1, Chhavi Chetiwal1, Vijay K. Singh2, Ambesh Dixit1,3

# 1A-MAD Laboratory, Department of Physics, Indian Institute of Technology, Jodhpur

# 2Department of Physics, Indian Institute of Technology, Ropar

# 3Rishabh Centre for Research and Innovation in Clean Energy, Indian Institute of Technology, Jodhpur

# Corresponding Authors:

Ambesh Dixit 			ambesh@iitj.ac.in

# Email Addresses for All Authors:

Piyush Choudhary 		choudhary.25@iitj.ac.in

Chhavi Chetiwal 		m23ph1004@iitj.ac.in

# Vijay Kumar Singh 		vksingh@iitrpr.ac.in

Ambesh Dixit 			ambesh@iitj.ac.in

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here:  11/10/2025

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  25

Number of Shots:  55

# Introduction

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Piyush Choudhary: The objective of this research is to demonstrate the effective processes involved in non-enzymatic electrochemical glucose detection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1

What are the most recent developments in your field of research?

  - Piyush Choudhary: Transition Metal-Oxide nanoparticles have been an upcoming trend in modern glucose sensors thus giving rise to an era of non-enzymatic glucose sensors.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.1

CONCLUSION:

What advantage does your protocol offer compared to other techniques?

  - Piyush Choudhary: Almost all current glucometers in the market rely on enzymes for the detection of glucose. The NiO nanoflower catalyst is among the best materials for replacing enzymes in glucose sensing.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

How will your findings advance research in your field?

  - Piyush Choudhary: This video article paves the way for better understanding of procedures specially for beginners and researchers starting afresh in the field of biosensors.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 6.2.1

# Protocol

- NiO Nanostructured Flower Synthesis

Demonstrator: Piyush Choudhary

  - To begin, prepare a 6 millimolar solution of nickel chloride dihydrate in 10 milliliters of ethanol [1].

    - WIDE: Talent adding nickel chloride dihydrate to a clean beaker.

  - In a separate beaker, prepare 10 milliliters of a 3 percent polyvinylpyrrolidone or PVP solution in deionized water [1]. Ultrasonicate the solution for 5 minutes at 40 kilohertz and 50 watts [2], then mechanically stir it for an additional 5 minutes [3-TXT].

    - Talent adding deionized water to a beaker containing PVP.

    - Talent placing the beaker in the ultrasonic bath and setting the frequency to 40 kilohertz and power to 50 watts.

    - Talent mechanically stirring the solution for 5 minutes using a magnetic stirrer. TXT: Repeat the ultrasonication and stirring cycle 2x

  - Once the PVP is completely dissolved, use a pipette to add 10 milliliters of the PVP solution dropwise into 10 milliliters of the nickel precursor solution under vigorous stirring [1]. Continue stirring the mixture for 30 minutes after the PVP addition [2].

    - Talent using a pipette to add the PVP solution dropwise into the nickel precursor solution while stirring continuously.

    - Talent placing the solution on a magnetic stirrer.

  - Next, add 10 milliliters of an 18 millimolar urea solution, prepared in a 1 to 1 mixture of deionized water and ethanol, dropwise to the stirred mixture [1]. Ensure that the total volume of the resulting solution is 30 milliliters [2].

    - Talent pipetting the urea solution dropwise into the beaker containing the nickel–PVP mixture.

    - Close-up shot showing the total solution volume reaching 30 milliliters mark on the beaker.

  - Stir the complete solution for 10 minutes [1]. Then, transfer it into a polytetrafluoroethylene vessel and seal the vessel inside a stainless steel autoclave [2].

    - Talent increasing the speed of the magnetic stirrer.

    - Talent carefully pouring the mixed solution into a polytetrafluoroethylene vessel and sealing it securely within the stainless steel autoclave.

  - Place the sealed autoclave in an electric oven set at 160 degrees Celsius and maintain it for 6 to 8 hours [1]. After completion, allow the autoclave to cool naturally to room temperature [2].

    - Talent placing the sealed autoclave into an electric oven and setting the temperature to 160 degrees Celsius.

    - Shot of turning off the oven.

  - Now, centrifuge the resultant product at 26.88 g to collect the green-colored, gelatinous nickel hydroxide precipitate [1]. Decant the clear supernatant solvent [2] and wash the precipitate with ethanol or deionized water at least three times [3]. Dry the washed precipitate at 70 degrees Celsius for 10 hours in an electric oven [4].

    - Talent loading the centrifuge tubes into the centrifuge.

    - Talent decanting the clear solvent from the centrifuged mixture.

    - Talent adding the green precipitate with ethanol or deionized water.

    - Talent placing the washed precipitate in an electric oven set at 70 degrees Celsius for 10 hours.

  - Then, place the dried powder in a box furnace set at 450 degrees Celsius for 4 hours to anneal [1] and obtain the pure-phase nickel oxide nanoflakes, which appear grey in color [2].

    - Talent placing the dried powder sample into a box furnace.

    - Close-up Shot of the grey nanoflakes.

- Electrode Fabrication

  - Polish the glassy carbon electrode with 0.05 micrometer alumina nanoparticle slurry on a clean electrode polishing pad by moving it repeatedly in the shape of the numeral eight [1]. Rinse the electrode immediately with deionized water [2] and ultrasonicate it using a bath sonicator in isopropyl alcohol and deionized water for 2 minutes each at 40 kilohertz and 50 watts [3].

    - Talent rubbing the glassy carbon electrode with 0.05 micrometer alumina nanoparticle slurry on a polishing pad in a figure-eight motion.

    - Talent adding deionized water to the the polished electrode.

    - Talent placing the electrode in a bath sonicator containing isopropyl alcohol and deionized water.

  - Next, add a known mass of nickel oxide nanoflake powder, ranging from 3 to 15 milligrams, to 3 milliliters of deionized water to prepare a nanoparticle suspension [1]. Adjust the amount of powder so that the nanoparticle concentration ranges between 1 and 5 milligrams per milliliter [2].

    - Talent weighing nickel oxide nanoflake powder in a beaker.

    - Talent adding water to the beaker with nanoflake powder.

  - Place the mixture in a bath ultrasonicator for 10 to 20 minutes to achieve a uniform dispersion [1-TXT].

    - Talent placing the beaker containing the nanoparticle suspension into a bath sonicator. TXT: Ensure that no precipitates or settled particles remain

  - Now, cast 10 microliters of the aliquot by drop-casting it onto the cleaned surface of the glassy carbon electrodes [1]. Depending on the concentration of the loading solution, label the electrodes as NiO (N-I-O) NF 1 to NiO NF 5, respectively [2]. Allow the modified electrodes to dry at room temperature overnight for 10 to 12 hours [3].

    - Talent pipetting and drop-casting 10 microliters of nanoparticle suspension onto the surface of the cleaned electrodes.

    - Talent labeling the electrodes sequentially as NiO NF 1 through NiO NF 5.

    - Talent placing the coated electrodes on a clean bench surface.

  - Use a diluted binder solution containing 0.5 weight percent in ethanol to compactly bind the nanoparticles onto the surface of the electrodes [1]. Carefully drop-cast 6 microliters of the binder solution onto each modified electrode [2] and let them dry in air at room temperature for 30 minutes [3]. Keep the prepared electrodes in a desiccator until further use [4].

    - Talent mixing the diluted binder solution in ethanol.

    - Talent drop-casting 6 microliters of the binder solution onto each electrode.

    - Talent placing the electrodes on work bench.

    - Talent placing the dried electrodes carefully inside a desiccator and closing the lid securely.

- Electrochemical Detection Process

  - Take 20 milliliters of 0.1 molar sodium hydroxide solution in the electrochemical cell to prepare the electroanalytical solution [1]. Use a three-electrode setup to analyze the glucose concentration [2]. Insert the silver or silver chloride electrode with 3 molar potassium chloride as the reference electrode and the platinum wire as the counter electrode [3].

    - Talent pouring 20 milliliters of 0.1 molar sodium hydroxide solution into the electrochemical cell.

    - Talent assembling the three-electrode system on the electrochemical workstation.

    - Close-up shot showing the silver/silver chloride reference electrode and platinum wire counter electrode properly positioned in the electrochemical cell.

  - Activate the nickel oxide nanoflake-modified glassy carbon electrode by stabilizing it with 15 cycles of cyclic voltammetry [1-TXT]. Set the potential window between 0 and 0.8 volts at a scan rate of 200 millivolts per second [2]. Observe that the nickel(III)/nickel(II) (nickel 3 to 2) reduction peak potential typically appears around 0.4 to 0.6 volts [3].

    - Talent placing the NiO NF@GCE electrode into the electrochemical cell. TXT: NiO NF@GCE: Nickel Oxide Nanoflake-Modified Glassy Carbon Electrode

    - SCREEN: Show the cyclic voltammetry window with scan rates being set to 200 mV/s and potential range 0–0.8 V.

    - SCREEN: Shot of the Display of voltammogram showing the Ni³⁺/Ni²⁺ redox peak between 0.4 and 0.6 volts.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible :  https://review.jove.com/account/file-uploader?src=21013328

  - After stabilization, run chronoamperometry for real-time glucose detection using the glassy carbon electrode [1]. Firstly, establish the baseline by running chronoamperometry at the nickel reduction potential or glucose oxidation potential for 100 seconds [2]. Once the base current is established, pause the chronoamperometric experiment by selecting the Pause button in the software [3].

    - SCREEN: Show the chronoamperometry setup window with the NiO NF@GCE electrode selected for measurement.

    - SCREEN: Show the chronoamperometric plot displaying baseline stabilization over 100 seconds at the selected potential.

    - SCREEN: Show the user clicking the Pause button on the instrument software after baseline current stabilization.

  - Next, prepare a 2 molar glucose stock solution for analysis [1].

    - Talent mixing the glucose stock solution by inverting the tube.

  - Lift the electrode stand and add 10 microliters of the glucose stock solution to the electroanalytical solution to achieve a final glucose concentration of 1 millimolar [1-TXT]. Stir the solution for 30 seconds to achieve uniform mixing [2].

    - Talent lifting the electrode stand and pipetting 10 microliters of glucose stock into the electrochemical cell. TXT: Ensure negligible total volume change

    - Talent stirring the cell solution gently.

  - Place the electrodes back into their previous positions and resume the chronoamperometric measurement after 5 seconds by pressing the Resume button in the software [1]. Choose a 30-second analysis window for the chronoamperometric detection of different glucose concentrations [2].

    - SCREEN: Show the user clicking the Resume button and the chronoamperometric curve restarting after electrode immersion.

    - SCREEN: Highlight the 30-second time window selection in the chronoamperometry setup panel.

  - Repeat the process of glucose addition and measurement to gradually increase the glucose concentration up to 15 millimolar and record the corresponding chronoamperometric responses [1].

    - Talent adding glucose aliquots to the cell.

- Optimization of Electrochemical Process Parameters

  - Using a low loading concentration of the nanomaterial, optimize the potential window where the Faradaic reaction occurs [1-TXT]. Perform an initial broad scan from negative 1 volt to positive 1 volt using cyclic voltammetry [2].

    - SCREEN: Show the user setting up the potential window optimization parameters on the electrochemical software. TXT: Use ~1mg/mL nanomaterial

    - SCREEN: Show the cyclic voltammetry window with potential limits set to –1 V to +1 V and scan initiated.

  - Identify a smaller potential range where the Faradaic reaction occurs by locating the reduction and oxidation peaks in the cyclic voltammogram [1-TXT].  Collect the cyclic voltammograms for the electrochemical process within the selected potential range [2].

    - SCREEN: Display the cyclic voltammogram showing clear redox peaks and hover the cursor over the 0.1–0.8 volt range suitable for further experiments. TXT: Use 0.1 - 0.8 V window for NiO NF@GCE based electrodes in 0.1 M NaOH

    - SCREEN: Show the software recording and saving cyclic voltammograms for the process within the defined window.

  - Now, add a small amount of glucose, typically 1 millimolar, to the electrochemical solution to generate distinct redox peaks [1]. Observe that the glucose addition enhances the peak corresponding to glucose oxidation, helping to resolve multiple peaks in the voltammogram [2].

    - Talent pipetting 10 microliters of glucose solution into the electrochemical cell.

    - SCREEN: Show the updated cyclic voltammogram with enhanced redox peaks after glucose addition.

  - Identify the anodic peak potential corresponding to glucose oxidation, which changes with glucose concentration [1]. Measure chronoamperometric responses slightly above this potential for accurate detection [2].

    - SCREEN: cursor hovering over the anodic peak potential on the cyclic voltammogram.

    - SCREEN: Show the chronoamperometry setup window with potential set slightly above the identified glucose oxidation potential.

  - Finally, once the potential window and glucose oxidation potential are determined, optimize the loading concentration by varying the nanomaterial suspension concentration drop-cast onto the electrode [1].

    - Talent drop-casting nanomaterial onto the electrode.

# Results

- Results

  - The X-ray diffraction pattern of the nickel oxide nanoflowers showed distinct peaks corresponding to the 111, 200, 220, 311, and 222 planes of nickel oxide, confirming phase-pure formation [1].

    - LAB MEDIA: Figure 1A. Video editor: Highlight the 5 peaks.

  - The Raman spectrum of nickel oxide nanoflowers displayed characteristic peaks at 512, 692, 1073, and 1460 inverse centimeters, confirming the nickel oxide phase [1].

    - LAB MEDIA: Figure 1B. Video editor: Highlight the four labelled peaks at 512, 692, 1073, and 1460 on the Raman spectrum.

  - The low-magnification micrograph showed uniformly distributed flower-shaped nickel oxide particles [1] and the high-magnification micrograph revealed marigold flower-like spherical particles with an average diameter of approximately 0.91 micrometer [1].

    - LAB MEDIA: Figure 1C.

    - LAB MEDIA: Figure 1D.

  - The cyclic voltammograms for different loading concentrations of nickel oxide nanoflowers showed increasing peak currents up to 4 milligram per milliliter, after which they saturated [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the curve labelled 5 mg/mL and the curve labelled 4 mg/mL.

  - Chronoamperometric responses obtained for different nanomaterial loadings demonstrated that electrodes with 4 milligram per milliliter loading showed the highest current response to glucose [1].

    - LAB MEDIA: Figure 2B. Video editor: Emphasize the purple trace graph corresponding to 4 mg/mL .

  - The current response plotted against glucose concentration confirmed a higher slope for the 4 milligram per milliliter nickel oxide nanoflower electrode, indicating greater sensitivity [1].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the line corresponding to 4 mg/mL NiO NF

  - The cyclic voltammogram of nickel oxide nanoflower-coated electrodes recorded with and without 2 millimolar glucose revealed an enhancement of the nickel redox peak upon glucose addition [1].

    - LAB MEDIA: Figure 2D. Video editor: Highlight the line corresponding to “nafion NiO NF4 @GCE+ 2mM glucose .

  - The chronoamperometric selectivity response indicated excellent discrimination against ascorbic acid, sucrose, fructose, and sodium chloride at 0.1 millimolar concentration [1].

    - LAB MEDIA: Figure 4A. Video editor: Sequentially highlight each labelled spike corresponding to AA, sucrose, fructose, and NaCl.

  - The chronoamperometric curves recorded across multiple cycles showed reproducible current responses, confirming electrode repeatability [1].

    - LAB MEDIA: Figure 4C. Video editor: Display the overlapping traces for cycle 1, cycle 5, cycle 10, and cycle 20 to show consistent current steps.

NOTE to Authors:

- It's better if you upload each screen recording after naming each file according to the corresponding shot number (3-digit bullet, e.g, 2.2.1.mp4, 2.1.3.mp4, etc).

Each clip’s duration should be less than 25 seconds.

- But if you prefer to record all the steps together and upload a single screen capture file, that is okay.

In this case, you need to indicate the corresponding timestamp against each shot.

For example if the action described in shot 2.1.2 is present in the file name xxx.mp4 and is in between timestamp 00:30 to 00:45 then write as following in script above (shown in red font below).

Example, shot 2.1.2 SCREEN: performing ........... action.   xxx.mp4 00:30-00:45.

2.2.2 SCREEN: clicking on.................button... xxx.mp4 01:00-01:25

Please note that every shot (3-digit step) should have the best corresponding video clip of only 20 to 25 seconds and not more than that, so that the voice narration can match the duration.

If a particular shot takes minutes to complete, we can choose timestamps at the beginning and end of the process so that the total time is again within the 25-second limit.

Example: 3.1.1 SCREEN: Clicking on the 'analyze and plot' button, analysis in progress and the graph being plotted.  xxx.mp4 00:00-00:10 and 02:30-02:40

.