# Submission ID #: 68910

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21017598

Title: Developmental Toxicity Assay Based on Real-Time Monitoring of Fibroblast Growth Factor Signal Disruption in Human Induced Pluripotent Stem Cells

# Authors and Affiliations:

Koki Murayama1,2, Kashu Mizota1,2, Rieko Matsuura2, Yusuke Okubo2*, Yoshihiro Nakajima3, Atsushi Suzuki1, Junji Fukuda1,4**

1Faculty of Engineering, Yokohama National University, 79-5 Tokiwadai, Hodogaya Ward, Yokohama

2Division of Cellular & Molecular Toxicology, Center for Biological Safety & Research, National Institute of Health Sciences

3Health and Medical Research Institute, National Institute of Advanced Industrial Science and Technology (AIST)

4Kanagawa Institute of Industrial Science and Technology (KISTEC)

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Yusuke Okubo				okubo@nihs.go.jp

Junji Fukuda				fukuda@ynu.ac.jp

# Email Addresses for All Authors:

Koki Murayama			murayama-koki-xg@ynu.jp

Kashu Mizota				mizota-kashu-bn@ynu.ac.jp

Rieko Matsuura			rieko.matsuura@nihs.go.jp

Yoshihiro Nakajima			y-nakajima@aist.go.jp

Atsushi Suzuki				suzuki-atsushi-gz@ynu.ac.jp

Yusuke Okubo				okubo@nihs.go.jp

Junji Fukuda				fukuda@ynu.ac.jp

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  27

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Cytotoxicity Assay

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, seed cells into an ECM (E-C-M)-coated 96-well plate containing 200 microliters of fresh maintenance medium supplemented with 10 micromolar ROCK inhibitor [1-TXT]. Seal the plate with a gas-permeable film [2].

    - WIDE: Talent pipetting cell suspension into each well of an extracellular matrix-coated 96-well plate. TXT: Seed 2.0 × 10⁴ cells/well

    - Talent sealing the plate with a transparent, gas-permeable film.

  - After 24 hours, replace the medium in each well with 200 microliters of fresh maintenance medium [1] and reseal the plate [2-TXT].

    - Talent aspirating old medium and pipetting 200 microliters of fresh maintenance medium into each well.

    - Talent resealing the plate with a gas-permeable film. TXT: After 72 h and 96 h, replace the medium with serum-free medium

  - Next, dissolve the test chemical in serum-free medium to its maximum solubility [1].

    - Talent adding test chemical to a tube of serum-free medium.

  - Prepare a five-point, five-fold serial dilution of the test chemical in serum-free medium using the previously prepared solution [1].

    - Talent pipetting test chemical in labeled tubes.

  - Add 11 microliters per well of the prepared chemical solutions [1]. For the vehicle control, add 11 microliters per well of serum-free medium containing the same concentration of DMSO (D-M-S-O) [2]. After 48 hours of treatment, incubate the plates at 25 degrees Celsius for 30 minutes [3].

    - Talent pipetting 11 microliters of the test chemical solution into the wells of the 96-well plate. Authors: Please keep the labelled vial of chemical solution in the frame

    - Talent pipetting 11 microliters of vehicle control into designated control wells.

    - Talent placing the plate into an incubator set at 25 degrees Celsius.

  - Then, add 111 microliters per well of pre-equilibrated ATP-based luminescent cell viability assay reagent at 25 degrees Celsius [1]. For the blank well, add 111 microliters of serum-free medium and 111 microliters of the reagent [2].

    - Talent pipetting 111 microliters of cell viability reagent into each well of the plate. Authors: Please keep the labelled vial of chemical solution in the frame

    - Talent pipetting 111 microliters of serum-free medium and 111 microliters of reagent into the blank well.

  - Using a microplate shaker, shake the plate at 300 revolutions per minute for 2 minutes [1].

    - Talent placing the plate on a microplate shaker and starting the 2-minute shake cycle.

  - Transfer 200 microliters of the mixture from each well to a black plate for luminescence measurement [1] and incubate the black plate at 25 degrees Celsius for 10 minutes [2].

    - Talent transferring 200 microliters of mixture from each well to a black 96-well plate.

    - Talent placing the black plate into an incubator set at 25 degrees Celsius.

  - Then, measure the luminescence intensity [1].

    - Show the luminometer software interface as the luminescence readings are acquired.

  - For the determination test, after incubating the cells for 96 hours, replace the medium in each well with 100 microliters of serum-free medium [1]. Dissolve the test chemical in serum-free medium based on the results obtained from the preliminary test [2].

    - Talent aspirating medium from the wells and pipetting 100 microliters of fresh serum-free medium.

    - Talent dissolving the test chemical in serum-free medium.

  - Prepare a nine-point, two-fold serial dilution of the test chemical in serum-free medium using the previously prepared solution [1].

    - Talent performing a nine-point, two-fold serial dilution using pipettes and a set of labeled tubes.

  - Add 11 microliters per well of the prepared chemical solutions [1]. For the vehicle control, add 11 microliters per well of serum-free medium containing the same concentration of DMSO [2-TXT].

    - Talent pipetting 11 microliters of diluted chemical solutions into the wells.

    - Talent pipetting 11 microliters of vehicle control solution into control wells. TXT: Incubate for 48 h and proceed similarly to the preliminary test

- Real-Time Reporter Assay

  - After incubating the cells for 96 hours, replace the medium in each well with 100 microliters of serum-free medium containing 1 percent luminescent substrate [1]. Dissolve the test chemical in serum-free medium at the concentration determined from the previous section [2].

    - Talent aspirating old medium and pipetting 100 microliters of serum-free medium with luminescent substrate into each well.

    - Talent preparing the test chemical solution in serum-free medium based on recorded concentration data.

  - Prepare an eight-point, two-fold serial dilution of the test chemical in serum-free medium using the previously prepared solution [1].

    - Talent performing eight-point, two-fold serial dilution using pipettes and labeled tubes.

  - Two hours after the medium exchange, add 11 microliters per well of the serially diluted chemical solutions [1]. For the vehicle control, add 11 microliters per well of serum-free medium containing the same concentration of DMSO [2].

    - Talent pipetting 11 microliters of diluted test chemical into experimental wells.

    - Talent pipetting 11 microliters of vehicle control solution into control wells.

  - One hour after starting chemical exposure, add 12 microliters per well of serum-free medium containing basic fibroblast growth factor [1-TXT]. Measure luminescence continuously for 48 hours using a real-time luminescence measurement system under 5 percent carbon dioxide at 37 degrees Celsius [2].

    - Talent pipetting 12 microliters of serum-free medium with bFGF into each well. TXT: Final concentration: 2 ng/mL

    - Show real-time luminescence measurement screen displaying luminescence from the loaded plate.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 122.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Phase contrast imaging confirmed a confluent cell layer covering nearly the entire surface of the wells both before [1] and after chemical exposure [2].

    - LAB MEDIA: Figure 2A. Video editor: Show the “Before exposure” panel

    - LAB MEDIA: Figure 2A. Video editor: Show the “After exposure” panel

  - Live and dead staining showed that while the number of propidium iodide-stained dead cells increased after chemical exposure [1], the majority of cells remained viable and were stained with calcein-AM [2].

    - LAB MEDIA: Figure 2B. Video editor: Highlight the “After exposure” panel.

    - LAB MEDIA: Figure 2B. Video editor: Emphasize the dominant green fluorescence in the “After exposure” panel

  - In the absence of test chemicals, luminescence intensity showed two distinct peaks across all six replicate wells, demonstrating high reproducibility and temporal resolution [1].

    - LAB MEDIA: Figure 3A.

  - Automated real-time monitoring revealed that valproic acid disrupted fibroblast growth factor signaling in a concentration-dependent manner [1], with stronger suppression at higher concentrations [2].

    - LAB MEDIA: Figure 3B (center panel, “Automatic”). Video editor: Highlight the gradual suppression of luminescence curves from low (blue) to high (red) concentrations.

    - LAB MEDIA: Figure 3B (center panel, “Automatic”). Video editor: Emphasize the red curve which shows the most pronounced signal change.

  - Manual luminescence measurements captured a general suppression pattern by valproic acid but lacked the temporal resolution seen in automated detection [1].

    - LAB MEDIA: Figure 3B (right panel, “Manual”). Video editor: Highlight the rising red and orange curves (higher VPA doses).