# Submission ID #: 68921

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21020953

# Title: Detection of Aggregation-Prone Behavior in Mutant p53 V157F Breast Cancer Cells Using Multipoint Thioflavin T Fluorescence

# Authors and Affiliations:

# Shao-I Chin1,*, Zi-Min Zeng2,*, Sih-Tong Chen3,*, Kuan-Yu Lin3, Jing-Yan Chen3, Yi-Ting Cheng3, Hsiao-Hsuan Wang3, Kuan-Yo Wu4, Chia-Chi Chen1,5,6,7, Bi-He Cai1

# 1School of Medicine, I-Shou University

# 2School of Chinese Medicine for Post Baccalaureate, I-Shou University

# 3Department of Medical Science and Biotechnology, I-Shou University

# 4Department of Biomedical Engineering, I-Shou University

# 5Department of Pathology, E-Da Hospital

# 6Department of Physical Therapy, I-Shou University

# 7Department of Occupational Therapy, I-Shou University

*These authors contributed equally

# Corresponding Authors:

# Chia-Chi Chen			sasabelievemydream@gmail.com

# Bi-He Cai			bigbiha@isu.edu.tw

# Email Addresses for All Authors:

### Shao-I Chin			chin080911@gmail.com

### Zi-Min Zeng			zmn7109@gmail.com

### Sih-Tong Chen			0613armychen@gmail.com

### Kuan-Yu Lin			tommy100088@gmail.com

### Jing-Yan Chen			g0910880975@gmail.com

### Yi-Ting Cheng			yiting.cheng711@gmail.com

### Hsiao-Hsuan Wang		lindawang1216@gmail.com

### Kuan-Yo Wu			a0932359630@gmail.com

### Chia-Chi Chen			sasabelievemydream@gmail.com

### Bi-He Cai			bigbiha@isu.edu.tw

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct 
Authors: All the protocol videos are already provided by you and are approved to be used

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

Authors: We will internally generate the voice-over for the interview answers. So you don’t have to shoot anything

Current Protocol Length

Number of Steps:  14

Number of Shots:  28

# Introduction

Authors: Please check the 3 answers below and confirm if they are good to be used.

INTRODUCTION:

What is the scope of this research?

  - This study examines the aggregation propensity of mutant p53 V157F in breast cancer cells and evaluates multipoint plate-reading for detection.

    - B: Roll: 2.1.3

What are the current experimental challenges?

  - Current experimental challenges include accurately detecting p53 aggregation, quantifying amyloid-like structures, and ensuring consistent measurement across cell-based assay surfaces.

    - B: Roll: 3.4.1

CONCLUSION:

What advantage does this protocol offer compared to other techniques?

  - This protocol enables accurate protein aggregation detection in cellular contexts using Thioflavin T staining combined with reliable multipoint fluorescence plate-reading methods.

    - B: Roll: 4.2.1

# Protocol

- Seeding the Cells before Staining

Demonstrator: Click here to enter name of demonstrator(s)

Authors: Please fill the names of the demonstrators for each section

Authors: Please check the timestamps added below for each shot and confirm if they are correct. If you need any changes, please let me know

  - To begin, take 10 microliters of Trypan Blue in a microcentrifuge tube [1]. Add 10 microliters of resuspended cells in DPBS to the same tube [2-TXT], and mix the contents thoroughly to ensure homogeneity [3].

    - LAB MEDIA: 1.2. 00:22-00:30 taking trypan blue AND 00:45-00:48 adding to a tube.

    - LAB MEDIA: 1.2. 01:55-02:20. TXT: DPBS: Dulbecco's Phosphate-Buffered Saline

    - LAB MEDIA: 1.3. 00:40-00:45.

  - Load 10 microliters of the prepared mixture onto a counter slide [1] to count the live cells using an automated cell counter [2].

    - LAB MEDIA: 1.3. 00:55-01:10.

    - LAB MEDIA: 1.4. 00-00:05 and 00:15-00:23.

  - Based on the viability count, seed 30,000 viable cells per well into a 96-well culture plate [1]. Designate 1 well as a non-stained control, and designate the remaining 3 wells for staining [2-TXT].

    - LAB MEDIA: 1.5. 00:25-00:35.

    - LAB MEDIA: 1.5. 00:40-00:50. TXT: Incubate at 37 oC; 12 h

- Thioflavin T Staining and Nuclear Counterstaining

Demonstrator: Click here to enter name of demonstrator(s)

  - Weigh 0.02 grams of Thioflavin T or ThT powder using a balance [1]. Add the powder to 5 milliliters of deionized water [2], and mix thoroughly until the powder is completely dissolved [3].

    - LAB MEDIA: 3-1. 00:20-00:30.

    - LAB MEDIA: 3-2. 00:25-00:32.

    - LAB MEDIA: 3-2. 00:33-00:41.

  - Then, add the staining components to 1 milliliter of DPBS [1]. Add ThT and Hoechst stock solutions to the tube and mix gently to ensure homogeneity [2-TXT].

    - LAB MEDIA: 4-1. 00:20-00:32.

    - LAB MEDIA: 4-1. 01:20-01:01:30 and 4-3. TXT: ThT: Add 1 µL of 1,000x ThT stock (Final concentration: 12.5 µM)

Hoechst 33342: Add 1 µL of 1 mg/mL stock (Final concentration: ~1 µg/mL =1.6 µM)

  - Now, remove the culture medium from each well of the 96-well culture plate [1]. Add 100 microliters of the prepared ThT and Hoechst staining buffer to each staining well [2], followed by 100 microliters of DPBS to the non-stained control well [3].

    - LAB MEDIA: 5. 00:10-00:20.

    - LAB MEDIA: 5. 02:39-02:50.

    - LAB MEDIA: 5. 01:58-02:10.

  - Place the culture plate in a dark place at room temperature for 30 minutes [1].

    - LAB MEDIA: 6.

  - Carefully aspirate or discard the staining solution from each well without disturbing the cell monolayer [1].

    - LAB MEDIA: 7. 00:05-00:20.

  - Then, add 100 microliters of DPBS to each well and leave it for 30 seconds [1]. Then, discard the DPBS [2].

    - LAB MEDIA: 7. 00:30-00:40.

    - LAB MEDIA: 7. 01:10-01:20.

  - After repeating the washing step, add 100 microliters of fresh DPBS to each well [1].

    - LAB MEDIA: 7. 01:55-02:00 AND 02:14-02:17.

- Fluorescence Measurement and Data Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - Remove the cap from the 96-well culture plate before reading the fluorescence signal [1-TXT].

    - LAB MEDIA: 8. 00:24-00:29. TXT: Select either a single- or four-point reading method

  - Place the 96-well culture plate into the microplate reader [1]. Measure ThT fluorescence with excitation at 450 nanometers and emission at 490 nanometers [2], and measure Hoechst 33342 fluorescence with excitation at 360 nanometers and emission at 460 nanometers [3]. Select the desired read area [4] and then set the reader parameters, including shaking for 5 seconds prior to reading, top read direction and an integration time of 140 milliseconds [5-TXT].

    - LAB MEDIA: 8. 00:29-00:34.

    - LAB MEDIA: 8. 00:08-00:12 (Freeze frame at 00:12). Video editor: Highlight the numbers 450 and 490  in the boxes

    - LAB MEDIA: 8. 00:12 (Freeze frame at 00:12). Video editor: Highlight the numbers 360 and 460 in the boxes.

    - LAB MEDIA: 8. 00:14-00:17.

    - LAB MEDIA: 8. 00:18-00:22. TXT: Acquire the fluorescence data

  - Calculate protein aggregation using the acquired fluorescence data [1].

    - TEXT ON PLAIN BACKGROUND:

  - Finally, normalize the ThT fluorescence intensity by setting the ratio in MCF7 cells as 1 to serve as the baseline control [1].

    - LAB MEDIA: 8. 00:50-00:58. Authors: A representative shot will be used here as the actual shot is not available

# Results

- Results

  - Measurements were performed using both a single-point [1] and a four-point method across stained and non-stained wells in MCF7 and Hs578T cells (H-S-578-T) [2].

    - LAB MEDIA: Figure 1. Video editor: Show the well diagram marked "1-point" to show the red dot in the center.

    - LAB MEDIA: Figure 1. Video editor: Show the well diagram marked "4-point" to show the four color-coded dots

  - Hs578T breast cancer cells showed a 3.2-fold increase in Thioflavin T fluorescence intensity compared to MCF7 cells using the single-point reading method [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the single bar labeled "Hs578T" under the "1 point" group

  - When using the four-point average reading method, Hs578T cells exhibited a 3.86-fold increase in Thioflavin T fluorescence compared to MCF7 cells [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the bar labeled "Hs578T" under the "4 points (average)" group

  - Thioflavin T fluorescence in Hs578T cells was consistently elevated at all four measurement points compared to MCF7 cells [1].

    - LAB MEDIA: Figure 3. Video editor: Highlight the 4 bars for "Hs578T"