# Submission ID #: 69839

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21026443

# Title: Microvascular Embolism Mouse Model for In Vivo Two-Photon Microscopy Using Fluorescent Polystyrene Microspheres

# Authors and Affiliations:

# Kevin Mol1,2,3, Judith de Vos1,2,3, Sanne Kok1, Paul Bloemen1, Ed van Bavel1,3, Inge Mulder1,2,3

# 1Biomedical Engineering and Physics, Amsterdam University Medical Center, University of Amsterdam

# 2Amsterdam Neuroscience, Neurovascular disorders

# 3Amsterdam Cardiovascular Sciences, Microcirculation

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Inge Mulder	 	(i.mulder1@amsterdamumc.nl)

# Email Addresses for All Authors:

Kevin Mol		(k.mol1@amsterdamumc.nl)

Judith de Vos    	(j.devos@amsterdamumc.nl)

Sanne Kok                      (s.f.kok@amsterdamumc.nl)

Paul Bloemen		(p.r.bloemen@amsterdamumc.nl)

Ed van Bavel		(e.vanbavel@amsterdamumc.nl)

Inge Mulder	 	(i.mulder1@amsterdamumc.nl)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 27

Number of Shots: 57

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Central Committee on Animal Experiments at University of Amsterdam

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- External Carotid Artery Catheterization

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, pinch the toe of an anesthetized mouse to verify the depth of anesthesia [1-TXT]. Make a midline incision of approximately 0.5 centimeter over the trachea below the mandible using surgical scissors and dissecting forceps [2].

    - WIDE: Talent performing toe pinch test on anesthetized animal. TXT: Anesthesia: 3 - 4 % isoflurane inhalation

    - Talent making midline incision over the trachea with surgical scissors.

  - Dissect the connective tissue superficial to the cervical fascia using micro-suture-tying forceps to expose the underlying sternohyoid muscles [1]. Now, separate the left and right sternohyoid muscles by gently tearing the connective tissue between them [2].

    - Talent using micro-suture-tying forceps to lift and clear connective tissue.

    - Talent separating sternohyoid muscles.

  - Retract the right omohyoid muscle caudo-laterally with a tissue hook [1]. Ensure that the right carotid triangle including the common carotid artery, internal carotid artery, and external carotid artery is clearly visible [3].

    - Shot of the Tissue hook being used to retract right omohyoid muscle caudo-laterally.

    - Shot of Exposed carotid triangle and arteries clearly visible.

  - Next, remove any remaining fascia and adipose tissue surrounding the common carotid artery [1]. Carefully separate the common carotid artery from the vagus nerve [2]. Place two 4/0 (four-by-oh) 1.5 threads around the common carotid artery and tie them loosely ensuring the knots do not impede blood flow [3].

    - Talent removing fascia and adipose tissue around the CCA.

    - Shot of common carotid artery and vagus nerve being seperated.

    - Talent placing two 4/0-1.5 threads and tying loosely.

  - Remove fascia and adipose tissue from the internal carotid artery and posterior parietal artery [1]. Then temporarily ligate the posterior parietal artery and all internal carotid side branches including the occipital artery by tying a knot with a 4/0 1.5 thread [2].

    - Talent removing fascia and adipose tissue from the internal carotid and posterior parietal arteries.

    - Talent tying temporary ligatures on posterior parietal artery and side branches.

  - Remove fascia and adipose tissue from the external carotid artery and the temporal artery [1]. Place two loose knots around the external carotid artery and temporal artery using four-slash-zero size one-point-five threads [2].

    - Talent removing fascia and adipose tissue from external carotid and temporal arteries.

    - Talent placing two knots around the ECA and temporal artery.

  - Position the most distal thread as far away from the Y-shaped bifurcation as possible [1] and use it to permanently ligate the external carotid artery and temporal artery [2]. Leave the proximal knot untied [3].

    - Shot of the most distal thread being positioned away from the Y-sahped bifurcation.

    - Shot of the distal thread being used to ligate the ECA and temporal artery.

    - Shot of the untied proximal knot.

- Controlled Injection of FITC-Dextran 10-Micrometer Microspheres into the Mouse Internal Carotid Artery

Demonstrator: Click here to enter name of demonstrator(s)

  - Homogenize and sonicate the ten-micrometer microspheres to obtain a uniform suspension of individual particles [1].

    - Talent sonicating the microsphere solution.

  - Prepare 140 microliters of FITC (Fit-C)-dextran containing 0.1% Tween-20 [1-TXT], then add 20 microliters of homogenized microspheres to obtain 160 microliters of mixture containing 1.44 × 10⁵ microspheres [2].

    - Talent preparing 140 µL of FITC-Dextran. TXT: FitC-Dextran: 25 mg/mL 70 kDa

    - Talent adding 20 µL microspheres solution to the FITC-Dextran mixture.

  - Briefly retract the syringe connected to the catheter to create an airlock [1]. Then immerse the catheter tip into the prepared FITC-Dextran/Tween-20/microsphere (Fit-C-Dextran-Tween-Twenty-Microsphere) mixture [2] and slowly pull back the syringe until the mixture is in the catheter [3]. Ensure no air bubbles are present in the catheter [4-TXT].

    - Talent retracting syringe to create airlock.

    - Talent Immersing catheter tip into mixture.

    - Shot of the mixture being drawn into the catheter.

    - Talent checking the catheter for air bubbles. TXT: If bubbles are present, empty mixture into 0.5 mL container and re-perform retraction and immersion

  - Place the syringe with the loaded catheter in the syringe pump [1]. Set the pump to ten microliters per minute [2] and run until a small drop of microsphere mixture appears at the catheter tip [3].

    - Talent mounting catheter in the syringe pump.

    - Talent setting the flow rate on pump.

    - Shot of a small drop forming at catheter tip.

  - Now, place a vessel clip on the internal carotid artery [1] and tighten one of the previously prepared proximal knots around the common carotid artery [2].

    - Talent placing vessel clip on ICA.

    - Talent tightening CCA knot.

  - Using micro-scissors make a small diagonal incision in the external carotid artery approximately 0.5 millimeters distal to the ligation thread ensuring the incision size is slightly smaller than the catheter diameter [1]. Absorb any blood with a sterile cloth or tissue ensuring no blood continues to leak past the ligations and vessel clip [2].

    - Talent incising the ECA with micro-scissors.

    - Talent wiping away blood with sterile cloth.

  - Briefly start the syringe pump to form a drop of microsphere mixture at the catheter tip confirming that no air remains in the catheter tip [1]. Open the external carotid artery incision and insert the catheter using fine micro-forceps [2-TXT]. Then secure the catheter in the external carotid artery by tightening the proximal suture around the external carotid artery [3].

    - Shot of the pump being started.

    - Shot of catheter being inserted through ECA with micro-forceps. TXT: Avoid touching any other surfaces to prevent microsphere loss

    - Talent tightening the proximal suture.

  - Start the syringe pump at ten microliters per minute to ensure no leakage or bubbles [1]. If either is present detach the catheter and return to catheter insertion [2].

    - Shot of pump running at ten microliters per minute.

    - Talent detaching catheter.

  - If no leakage or air bubbles are detected, continue pumping at ten microliters per minute to gradually increase the pressure in the catheter and vasculature until a visible enlargement of the artery is observed [1-TXT].

    - Shot of arteries enlarging.  TXT: Maintain adequate pressure in catheter and vasculature to match the animal’s arterial pressure

  - Visually confirm the injection of the microsphere mixture into the external carotid artery and that the buildup of pressure is successful by observing the green FITC dye filling the arteries [1]. If this is not observed, stop the syringe pump, remove the catheter and repeat insertion of catheter [2].

    - Shot of FITC dye filling the arteries.

    - Talent stopping pump, removing catheter if needed.

  - Next, remove the vessel clip from the internal carotid artery and the ligation from the common carotid artery [1], then increase the syringe pump flow rate to twenty microliters per minute [2].

    - Talent removing ligation and clip.

    - Talent adjusting pump flow rate to twenty microliters per minute.

  - Confirm successful microsphere injection by verifying that the internal carotid artery distal to the posterior parietal artery bifurcation is filled with FITC dye [1]. If confirmation is not seen, reposition the posterior parietal artery ligation further distally from the bifurcation then tighten the ligation [2].

    - Shot of dye-filled ICA.

    - Talent repositioning and tightening the PPA ligation.

  - Once injection is successful, remove the thread that ligated the common carotid artery to enable the microsphere mixture to flow into the internal carotid artery [1].

    - Talent removing CCA ligature.

  - If retrograde flow into the common carotid artery occurs, decrease the syringe pump flow to ten microliters per minute [1]. If retrograde flow continues, gently squeeze the external carotid artery, internal carotid artery and common carotid artery using micro-forceps to ensure no obstruction is present due to a thrombus [2].

    - Talent reducing syringe pump flow.

    - Shot of ECA, ICA and CCA being squeezed with micro-forceps.

  - Visually confirm that no air embolus is present inside the vasculature [1-TXT]. If present, stop the syringe pump [1]. Move the air embolus to the external carotid artery by gently squeezing the artery using micro-forceps [2].

    - Shot of vasculature with air embolus. TXT: If present, stop syringe pump

    - Shot of the artery being squeezed with micro-forceps to move air embolus.

  - Then ligate the common carotid artery and place a vessel clip on the external carotid artery [1]. Remove the catheter and air embolus and return to catheter insertion [2-TXT].

    - Shot of the CCA being ligated and a clip being placed on the ECA.

    - Talent removing the catheter and air embolus. TXT: If obstructed but retrograde flow continues, close CCA with vessel clip

  - Switch off the syringe pump once the mixture in the catheter reaches the 80-microliter mark to stop injection [1]

    - Talent switching off pump.

  - Then ligate the common carotid artery using the remaining prepared knot and close the internal carotid artery with the vessel clip [1]. Remove the catheter from the external carotid artery while keeping the thread securing the catheter in position [2]. Permanently ligate the external carotid artery by tightening the thread that had secured the catheter [3].

    - Talent ligating CCA and clipping ICA.

    - Talent removing catheter from ECA while holding thread.

    - Talent tightening thread permanently on ECA.

  - Remove the vessel clip and threads around the common carotid artery, internal carotid artery and posterior parietal artery to restore blood flow [1]. Then moisten the surgical area with a few drops of saline [2].

    - Talent removing the clips and threads around the CCA, ICA and PPA.

    - Talent applying saline drops to surgical field.

  - Suture the skin with a reverse cutting 12-millimeter long, 3/8 (Three-by-Eight) curved needle and a non-absorbable three-zero silk suture [1].

    - Talent suturing skin with specified needle and suture.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 155.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The success of the microvascular embolism surgery was confirmed by full-body and full-brain post-mortem in situ imaging 4 days after surgery [1]. A sagittal brain slice showed lodging of microspheres in the brain [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3	 Video Editor: Please highlight A

  - Extracted mouse brains imaged 1 day post-surgery showed that microspheres were predominantly lodged in the ipsilateral hemisphere, within the flow territory of the middle and anterior cerebral arteries [1]. Microsphere counts in brain slices were significantly increased when Tween20 was added to the microsphere mixture [2].

    - LAB MEDIA: Figure 3	Video Editor: Please highlight B,C

    - LAB MEDIA: Figure 3E. 	Video editor: Highlight the bar labeled with Tween20

  - Mice lost less weight and recovered faster after surgery when injected with a microsphere mixture that contained Tween20 [1].

    - LAB MEDIA: Figure 3F. Video editor: Highlight the orange line.

  - Fluorescence microscopy images of the brain cortex taken 0.5 hours after surgery showed individual white dots representing microspheres occluding capillaries [1]. Two-photon z-stack projection images showed microspheres causing cerebral microvascular embolisms with impaired perfusion [2].

    - LAB MEDIA: Figure 4A,B. 	Video Editor: Please emphasize the red dotted square

    - LAB MEDIA: Figure 4C,D. 	Video Editor: Please emphasize the white dotted square

  - Embolisms also caused disruption of the blood-brain barrier with visible dye leakage from the vessels [1].

    - LAB MEDIA: Figure 4F,G. Video Editor: Please emphasize the white dotted square