Screenshot Summary for Article 68950

68950_screenshot_1.mp4

- 2.16.1 (Experiment > Setup is being navigated to.) 00:00-00:02

- 2.16.2 (The start and end channel numbers are being entered.) 00:03-00:16

68950_screenshot_2.mp4

- 2.17.1 (The Refresh Threshold is being set to 0.50, Refresh interval to N.A and Refresh Window to Auto.) 00:00-00:03

- 2.17.2 (The box for Purge Sensors is being navigated to and checked.) 00:04-00:05

- 2.17.3 (The unchecked boxes for the Auto Volume Measurement, O₂ Consumption Positive, and Enable Open Flow Mode are seen.) 00:06-00:17

68950_screenshot_3.mp4

- 2.18.1 (The Sample Interval is being set to 8.00 and Experiment Duration to N.A.) 00:00-00:05

- 2.18.2 (The gas and time units are being set.) 00:06-00:14

68950_screenshot_4.mp4

- 2.19.1 (The unchecked box for Manually Enter Chamber Temps is being seen.) 00:00-00:01

- 2.19.2 (The box for Venting mode is checked and the Drain mode is unselected.) 00:02-00:03

- 2.19.3 (The unchecked box for Anaerobic Venting mode is seen.) 00:04-00:05

68950_screenshot_5.mp4

- 2.20.1 (Show Chamber Setup interface and entry of labels.) 00:00-00:08

68950_screenshot_6.mp4

- 2.22.1 (Show Tools > Service Menu, display probe readout and confirm stability at 30 °C ± 2 °C.) 00:00-00:06

- 2.22.2 (Show the Run button being clicked.) 00:07-00:09

68950_screenshot_7.mp4

- 2.23.1 (Show file save dialog, enter filename with date, and confirm save.) 00:00-00:00-00:18