# Submission ID #: 68959

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21032543

Title: Establishment and Quantification of De Novo Lytic Infection by Cell-Free Kaposi’s Sarcoma-Associated Herpesvirus

# Authors and Affiliations:

Qing Zhu1, Janvhi Suresh Machhar1, Pinghui Feng2, Chengyu Liang1

1Program in Molecular and Cellular Oncogenesis, The Wistar Institute

2Section of Infection and Immunity, Herman Ostrow School of Dentistry, University of Southern California

# Corresponding Authors:

Qing Zhu 			(qzhu@wistar.org)

Chengyu Liang 		(cliang@wistar.org)

# Email Addresses for All Authors:

Janvhi Suresh Machhar	(jmachhar@wistar.org)

Pinghui Feng			(pinghuif@usc.edu)

Qing Zhu 			(qzhu@wistar.org)

Chengyu Liang 		(cliang@wistar.org)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes, all done

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   Yes

They are on the same floor, about 50 meters apart.

Current Protocol Length

Number of Steps:  18

Number of Shots:  35

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

  - Janvhi Machhar: Tractable and reproducible systems to model KSHV primary lytic infection are limited. We established a reliable and robust in vitro platform for modeling KSHV de novo lytic infection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.  Suggested B roll: Figure 1

What are the current experimental challenges?

  - Janvhi Machhar: It’s challenging to model KSHV lytic infection because of its strong latency bias, and the few primary cells that support it are delicate and have a limited lifespan, which severely limits reproducibility and scalability.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What significant findings have you established in your field?

  - Janvhi Machhar: We developed a tractable and reproducible model in HCT116 cells that captures efficient KSHV lytic replication during primary infection, offering a unique platform to study early events in herpesvirus replication.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.  Suggested B roll: Figure 2

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

NOTE: LAB MEDIA/SCOPE timestamps for protocol were added at the postshoot stage. Please contact the postshoot note integrator (Sulakshana Karkala) for queries regarding lab media

- Production of Cell-Free BAC16-Derived KSHV

Demonstrator: Qing Zhu

  - To begin, seed five T75 (T-Seventy) flasks with Dox-inducible iSLK (I-S-L-K) cells containing wild-type KSHV (K-S-H-V) BAC16 (Bac-Sixteen) at approximately 80 percent confluency [1]. Incubate the flasks at 37 degrees Celsius in a humidified incubator with 5 percent carbon dioxide for 24 hours [2].

    - WIDE: Talent seeding T75 flasks with Dox-inducible iSLK cells using a pipette.

    - Talent placing the flasks in a 37 degrees Celsius incubator set at 5 percent carbon dioxide.

  - Add 1 microgram per milliliter of doxycycline and 1 millimolar sodium butyrate to each flask to induce lytic reactivation [1-TXT].

    - Talent pipetting doxycycline and sodium butyrate into each flask. TXT: Incubate for 76 h and 96 h

  - Using phase-contrast microscopy, monitor the cells daily [1]. Collect the supernatant once more than 90 percent of cells show rounding, detachment from the flask surface, or visible lysis [4].

    - LAB MEDIA: 2.3.1-shot-of-the-cell.tif.

    - Talent collecting the supernatant from the flasks after confirming cell rounding and lysis.

  - Then, centrifuge the collected supernatants at 1,500 g for 10 minutes at 4 degrees Celsius to remove cellular debris [1]. Filter the resulting supernatant through a 0.45 micrometer polyethersulfone membrane filter without disturbing the pellet [2].

    - Talent placing the supernatant tubes into a centrifuge set at 1,500 g and 4 degrees Celsius.

    - Talent filtering the supernatant through a 0.45 micrometer polyethersulfone membrane filter.

  - Transfer the filtered supernatants to ultracentrifuge tubes [1]. Centrifuge the tubes at 25,000 g for 3 hours at 4 degrees Celsius using an SW28 (S-W-Twenty-Eight) rotor to pellet the viral particles [2].

    - Talent transferring filtered supernatant into ultracentrifuge tubes.

    - Talent loading the tubes into an ultracentrifuge with an SW28 rotor and setting it to 25,000 g at 4 degrees Celsius.
Videographer’s Note: Settings on the centrifuge were incorrect for this shot. Please blur or crop

  - Carefully discard the supernatant into a container with 10 percent bleach [1]. Resuspend the viral pellet in 1 milliliter of serum-free DMEM (D-M-E-M) [2].

    - Talent pouring off the supernatant into a bleach-containing waste container.

    - Talent resuspending the viral pellet in 1 milliliter of serum-free DMEM using a pipette.

- De Novo Infection of HCT116 Cells

  - Seed 1 × 105 HCT116 (H-C-T-One-One-Six) cells per well in a 12-well tissue culture plate [1]. Incubate the plate at 37 degrees Celsius in a humidified incubator with 5 percent carbon dioxide for 24 hours [2].

    - Talent seeding 1 × 10^5 HCT116 cells in each well of a 12-well plate using a pipette.

    - Talent placing the culture plate inside a 37 degrees Celsius, 5 percent carbon dioxide incubator.

  - Dilute the concentrated virus stock in 250 microliters of pre-warmed, serum-free DMEM to achieve a multiplicity of infection of 10 [1].

    - Talent pipetting virus stock into a microcentrifuge tube containing 250 microliters of pre-warmed, serum-free DMEM.

  - Aspirate the culture medium from each well [1] and add 250 microliters of the diluted virus directly onto the cells [2].

    - Talent aspirating the culture medium from each well using a vacuum aspirator.

    - Talent pipetting 250 microliters of the virus dilution into each well.

  - Centrifuge the plate at 1,500 g for 1 hour at 30 degrees Celsius to synchronize infection [1]. Immediately transfer the plate to a 37 degrees Celsius incubator and continue incubation for 1 hour [2].

    - Talent placing the plate into a centrifuge and setting it to 1,500 g and 30 degrees Celsius for 1 hour.

    - Talent moving the plate from the centrifuge into a 37 degrees Celsius incubator.

  - Aspirate the viral inoculum from each well [1]. Wash the cells three times with pre-warmed PBS to remove residual virus [2]. Add 1 milliliter of complete DMEM to each well [3].

    - Talent aspirating the inoculum from the wells.

    - Talent washing each well three times with pre-warmed phosphate-buffered saline using a pipette.

    - Talent adding 1 milliliter of complete DMEM to each well. TXT: Monitor GFP expression at 36 h, 60 h, and 96 h post-infection

  - Then, collect 1 milliliter of culture supernatant from each well [2].

    - Talent pipetting 1 milliliter of culture supernatant from each well into labeled collection tubes.

- Infectious Units Assay (IU assay)

  - Seed 1 × 104 SLK cells per well in a 96-well plate 24 hours before infection [1-TXT].

    - WIDE: Talent seeding SLK cells into a 96-well plate using a multichannel pipette. TXT: Seed cells to reach ~60–70% confluence on infection day

  - Label nine 1.5-milliliter microcentrifuge tubes for a serial two-fold dilution series [1].

    - Talent labeling each microcentrifuge tube with dilution ratios using a permanent marker.

  - Add 200 microliters of virus supernatant to Tube 1 [1]. Add 100 microliters of pre-warmed, serum-free DMEM to each of Tubes 2 through 9 [2]. Begin the serial dilution by transferring 100 microliters from Tube 1 to Tube 2 and mixing thoroughly by pipetting [3-TXT].

    - Talent pipetting virus supernatant into Tube 1.

    - Talent adding DMEM into Tubes 2 through 9.

    - Talent transferring 100 microliters from Tube 1 to Tube 2 and mixing. TXT: Repeat the process sequentially through tube 9

Videographer’s Note: Take 2 is better shot for 4.3.3

  - Now, aspirate the culture medium from SLK cells [1]. Add 100 microliters of each virus dilution to the designated wells, using 27 wells in total [2].

    - Talent aspirating media from the 96-well plate using a multichannel aspirator.

    - Talent dispensing 100 microliters of each dilution into designated triplicate wells.

  - Centrifuge the 96-well plate at 1,500 g for 1 hour at 30 degrees Celsius to promote viral adsorption [1]. Transfer the plate to a 37 degrees Celsius incubator with 5 percent carbon dioxide and incubate for an additional hour [2].

    - Talent placing the 96-well plate in a centrifuge set at 1,500 g and 30 degrees Celsius.

    - Talent transferring the plate from the centrifuge to a 37 degrees Celsius carbon dioxide incubator.

  - Remove the inoculum from each well [1]. Then, gently add 100 microliters of complete DMEM to each well [2]. Incubate the plate for 24 hours at 37 degrees Celsius [3]. Then, analyse the GFP positive cells [4].

    - Talent aspirating the inoculum from all wells in the 96-well plate.

    - Talent adding 100 microliters of complete DMEM to each well using a multichannel pipette.

    - Talent placing the plate back in the 37 degrees Celsius incubator.

    - LAB MEDIA: 4.6.4-shot-of-the-GFP-pisitive-cells.tif

# Results

- Results

  - A two-fold serial dilution of BAC16-derived virus stock showed a progressive decrease in the number of GFP–positive SLK cells, confirming a measurable and dilution-sensitive infectious titer [1]. The calculated infectious titer of the BAC16-derived virus stock was approximately 1.3 million infectious units per milliliter [2].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the downward trend in the bar graph, moving left to right across the dilution factors.

    - LAB MEDIA: Figure 2B.

  - GFP expression in HCT116 cells increased over time following de novo infection, with the most intense signal observed at 60 hours post-infection [1], indicating robust viral replication at that timepoint [2].

    - LAB MEDIA: Figure 2C. Video editor: Highlight the three green micrographs under the 36 h, 60 h, and 96 h timepoints, emphasizing the brightest image at 60 h.

    - LAB MEDIA: Figure 2D. Video editor: Highlight the corresponding three green-stained SLK cell images in the right column labeled 36 h, 60 h, and 96 h, emphasizing the most densely green image at 60 h.

  - Flow cytometry analysis confirmed a peak in GFP–positive SLK cells at 60 hours post-infection, reaching 74.4% positivity [1], followed by a decrease to 62.7% at 96 hours [2].

    - LAB MEDIA: Figure 2E. Video editor: Highlight the orange peak labeled "60 h" with the 74.4% annotation.

    - LAB MEDIA: Figure 2E. Video editor: Highlight the green peak labeled "96 h" with the 62.7% annotation.

  - Quantitative PCR of viral DNA in supernatants showed a sharp increase in viral genome copies, peaking at 60 hours post-infection and declining thereafter [1].

    - LAB MEDIA: Figure 2F.

Pronunciation Guide:

- Kaposi’s sarcoma-associated herpesvirus

  - Pronunciation link: Cambridge Dictionary provides the pronunciation for Kaposi’s sarcoma; the rest (herpesvirus) follows standard pronunciation patterns YouTube+11Cambridge Dictionary+11Wikipedia+11

  - IPA (American): /kəˌpoʊ.siːz sɑːrˈkoʊ.mə-əˈsoʊ.siˌeɪ.tɪd ˈhɜr.pizˌvɜr.əs/

  - Phonetic Spelling: kuh-POH-seez sar-KOH-muh-uh-soh-see-ay-tud HER-peez-vur-us

- KSHV (Kaposi’s sarcoma-associated herpesvirus)

  - Pronunciation link: Defined by its abbreviation; “K-S-H-V” pronounced as individual letters, matching the full term Cambridge Dictionary+1How To Pronounce+3Wikipedia+3Wikipedia+3

  - IPA: /keɪ-ɛs-eɪtʃ-viː/

  - Phonetic Spelling: kay-ess-aych-vee

- BAC16 (BAC Sixteen derived KSHV)

  - Pronunciation link: Cambridge Dictionary for "BAC" covers the abbreviation Wikipedia+9Cambridge Dictionary+9YouTube+9How To PronouncePronounce Names+6DigiKey+6L-com+6Cambridge Dictionary

  - IPA: /biː.eɪ.siː ˈsɪkˌstiːn/

  - Phonetic Spelling: bee-ay-see SIX-teen

- Dox-inducible

  - Pronunciation link: While not listed in dictionaries, derived from “doxycycline-inducible”—standard pronunciation rules apply

  - IPA: /dɒk.sɪnˈdju.sə.bəl/ (American: /dɑk.sɪnˈdju.sə.bəl/)

  - Phonetic Spelling: dok-sin-DYOO-suh-buhl

- Ultracentrifuge (Ultracentrifugation)

  - Pronunciation link: The base word ultracentrifuge is pronounced per standard patterns

  - IPA: /ˌʌl.trəˌsɛn.trəˈfjuːdʒ/

  - Phonetic Spelling: uhl-truh-sen-truh-FYOODGE

- iSLK (cell line name)

  - Pronunciation link: Treated as separate letters in common lab usage

  - IPA: /aɪ-ɛs-ɛl-keɪ/

  - Phonetic Spelling: eye-ess-el-kay

- HCT116 (cell line name)

  - Pronunciation link: Standard scientific naming; pronounced as letters and numbers

  - IPA: /eɪtʃ-si-ti-wʌn-wʌn-sɪks/

  - Phonetic Spelling: H-C-T-one-one-six

- Multiplicity of Infection (MOI)

  - Pronunciation link: Standard scientific phrase

  - IPA: /ˌmʌl.təˈplɪs.ɪ.ti əv ɪnˈfɛk.ʃən/

  - Phonetic Spelling: mul-tuh-PLIS-ih-tee of in-FEK-shun

- Phase-contrast microscopy

  - Pronunciation link: Standard compound term in microscopy

  - IPA: /feɪz-ˈkɑn.træst maɪˈkrɑs.kə.pi/

  - Phonetic Spelling: faz-KON-trast my-KRAS-kuh-pee

- Serial two-fold dilution

  - Pronunciation link: Common lab phrase

  - IPA: /ˈsɪə.ri.əl tuː-foʊld daɪˈluː.ʃən/

  - Phonetic Spelling: SEER-ee-uhl too-fold dy-LOO-shun