# Submission ID #: 69094

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21073718

# Title: Automated Analysis of C. elegans Fluorescence Images using SegElegans

# Authors and Affiliations:

# Konstantinos Kounakis1,2, Pablo E. Layana Castro3, Antonio Garcia Garvi3, Antonio-José Sánchez-Salmerón3, Nektarios Tavernarakis1,2

# 1Department of Basic Sciences, Faculty of Medicine, University of Crete

# 2Institute of Molecular Biology and Biotechnology, Foundation for Research and Technology-Hellas

# 3Universitat Politècnica de València, Instituto de Automática e Informática Industrial

# Corresponding Authors:

Nektarios Tavernarakis 		(tavernarakis@imbb.forth.gr)

# Email Addresses for All Authors:

Konstantinos Kounakis 		(kostas_kounakis@imbb.forth.gr)

Pablo E. Layana Castro 		(pablacas@doctor.upv.es)

Antonio Garcia Garvi	 		(angar25a@upv.edu.es)

Antonio-José Sánchez-Salmerón 	(asanchez@isa.upv.es)

Nektarios Tavernarakis 		(tavernarakis@imbb.forth.gr)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21073718

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 10/20/2025

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare

Current Protocol Length

Number of Steps:  18

Number of Shots:  38

# Introduction

INTRODUCTION:

What technologies are currently used to advance research in your field?

  - Konstantinos Kounakis: C. elegans research makes routine use of in vivo imaging techniques to monitor processes and answer questions about cell biology.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.2.1

What are the current experimental challenges?

  - Konstantinos Kounakis: The analysis of the imaging data often requires spending significant time designating Regions of Interest by making manual selections in the software.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What research gap are you addressing with your protocol?

  - Konstantinos Kounakis: Existing options that could automate the process of generating individual worm ROIs are lacking in precision and often have difficulties distinguishing touching or overlapping worms.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Konstantinos Kounakis: SegElegans is a deep learning system that utilizes a special architecture that permits the accurate segmentation of individual worms even in crowded images.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.2.1

How will your findings advance research in your field?

  - Konstantinos Kounakis: SegElegans is a potent and versatile tool that can help expedite the analysis of microscopy data without sacrificing accuracy.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.1.1

# Protocol

- Acquisition and Segmentation of C. elegans Images Using SegElegans Online

Demonstrator: Konstantinos Kounakis

  - To begin, image adult worms using a widefield microscope with a 4X objective lens [1].

    - WIDE: Talent positioning a slide with adult worms under the widefield microscope and capturing brightfield images.
AUTHORS: Please note that JoVE requires the opening shot to be a wide, non-screen capture. This shot was added specifically to meet that requirement

  - If the data is measured in brightfield images, acquire them normally [1]. If the data is measured in darkfield fluorescence images, acquire them simultaneously with matching brightfield guide images using the multichannel acquisition options in the microscope's software [2]. Ensure both image sets are saved with identical names but placed in separate folders [3].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21073718

    - SCREEN: Capture brightfield images of worm samples using the microscope.

    - SCREEN: Select multichannel acquisition in the microscope software and configure channels for both brightfield and darkfield, then capture channels simultaneously.

    - SCREEN: File explorer view showing matching image names in two different folders, one for brightfield and one for darkfield.

  - To run the online version of SegElegans (Segg-Ele-guns), first, log in to a Google account using a web browser [1]. Enter Google Drive and upload the folder containing brightfield or guide images [2].

    - SCREEN: A Google account is being logged into.

    - SCREEN: Google Drive interface with right click>upload of a folder containing the brightfield images.

  - Open the GitHub (gitt-Hub) page and click on the SegElegans Body Prediction Interface.ipynb (Interface-dot-I-P-Y-N-B) file [1-TXT]. Press the Open in Colab button at the top of the opened file [2].

    - SCREEN: GitHub page is being navigated to then SegElegans Body Prediction Interface.ipynb is being clicked. TXT: https://github.com/KonstantinosKounakis/SegElegansOnline/tree/v1.0

    - SCREEN: Colab interface launching after clicking Open in Colab.

  - Ensure that Colab is running a CUDA (Koo-duh) compatible GPU runtime [1]. Press the play button to execute code block 1 and grant runtime permissions [2].

    - (swapped from below and altered) SCREEN: The play icon is being pressed and runtime permissions are being granted.

    - SCREEN: Window view demonstrating connecting to the GPU runtime and confirming it’s the correct one.

    - (swapped from above) SCREEN: The play icon is being pressed and runtime permissions are being granted.

  - Next, execute code block 2 to load Google Drive into the runtime [1]. Accept all confirmation dialogues and grant all requested permissions [2]. Then execute code blocks 3 and 4 in order, ensuring block 3 completes fully before running block 4 [3].

    - SCREEN: Code block 2 is being executed.

    - SCREEN: Permission prompts are being accepted.

    - SCREEN: Code block 3 running, showing loading messages, and followed by execution of code block 4.

  - Open the folder tab icon on the left in the Colab interface and find the folder with your guide images [1]. Copy the path, then paste it into the test_images (Test-images) input form of code block 5 [2]. Also specify a separate path for the analysis output [3]. Execute code block 5 [4].

    - SCREEN: Folder tab in Colab expanded, navigating to the correct path.

    - SCREEN: Path being copied and pasted into the test_images input field in code block 5.

    - SCREEN: Output path field being filled with a new folder path.

    - SCREEN: Code block 5 running in Colab with status bar and green checkmark after completion.

  - Specify the exact image extension to be analysed in code block 6 [1-TXT]. Execute code block 6 and wait for completion [2-TXT].

    - SCREEN: Form in code block 6 filled with ".TIF" extension.
TXT: For the purpose of this input ".tif", ".TIF", and ".tiff" are treated as different extensions

    - SCREEN: Code block 6 being executed with progress indicator and final green checkmark. TXT: Reduce the value of batch_crop_img to 4 if memory availability issues emerge

  - Now, execute code block 7 without changing inputs unless memory issues occur [1-TXT]. In a separate tab or window, access Google Drive and open the output folder [2].

    - SCREEN: Code block 7 executing with visible subprocess status messages.
TXT: Reduce the number of subprocesses or outright disable parallel processing if memory availability issues emerge

    - SCREEN: Google Drive folder showing the subfolders such as 0_summary_results, 1_complete_mask, and 1_all_rois_results.

  - Choose one of three options. The first option is to use the ROIs (R-O-Eyes) from 1_all_rois_results (One-All-R-O-Eyes-Results) and reject unwanted ROIs in ImageJ (Image-J) [1]. The second option is to accept the curated good masks from 1_complete_mask (One-Complete-Mask) without any manual correction [2], although this will not include the segmentations of overlapping worms.

    - SCREEN: ImageJ interface open with ROIs from 1_all_rois_results and some being deleted manually (same footage as 3.3.1).

    - SCREEN: Folder showing 1_complete_mask contents with no adjustments being made.

  - The third, and recommended, option is to manually adjust the curation. In order to do that, use code block 8 [1]. Examine the results of the initial curation from the summary graphs in the 0_summary results folder [2].

    - SCREEN: Code block 8 is being seen.

    - SCREEN: The results of the initial curation is being seen.

  - For each image that needs correction, input the full name of the original input image in the name_image_change (name-image-change) form [1] and the numbers of the masks to be kept, separated by commas in the index_images (index-images) form [2].  Now, execute code block 8 [3-TXT].

    - SCREEN: The full name is being input into the name_image_change form.

    - SCREEN: The numbers of the masks to be kept is being input into the index_images form.

    - SCREEN: Code block 8 is being executed. TXT: Repeat this step for every image that needs correction.

  - After completing or skipping the curation correction, execute code block 9 to generate the 2_curated_rois_results (two-Curated-R-O-Eyes_results) folder [1]. The folder includes all the final curated segmentations in the ImageJ format [2].

    - SCREEN: Code block 9 executing, and new folder appearing in Drive labeled 2_curated_rois_results.

    - SCREEN: Curated segmentations in the ImageJ format are being seen in the folder view.

  - To run the pipeline on a new set of images, reset the runtime by navigating to Runtime then choose Restart Session and repeat the procedure from the beginning [1].

    - SCREEN: Colab interface showing Runtime > Restart Session being selected.

  - It is also possible to run SegElegans without cloud computing on a local machine, using Jupyter (Jupiter) or a Python script.[1].

    - SCREEN: View of the Github page for the offline tools.

- ImageJ Segmentation Import and Processing

  - To import the segmentations, open one of the actual data images in ImageJ [1].

    - SCREEN: ImageJ interface showing an actual data image being opened.

  - Open the corresponding zip file containing the ROIs of that image to load the selections into the ImageJ ROI manager [1]. If they are from the 2_curated_rois_results output, proceed with analysis using the desired methods, preferably automated with macros [2].

    - SCREEN: ImageJ ROI manager being populated after opening the corresponding zip file. Demonstration of ROIs matching worms.

    - SCREEN: Macro interface in ImageJ running automated analysis on loaded ROIs.

  - If the ROIs originate from the 1_all_rois_results output, remove unwanted segmentations from the ROI manager. Select them and press the Delete button on the ROI manager window [1]. Then proceed with analysis normally [2].

    - (merged former 1 and 2 shots) SCREEN: ImageJ interface open with ROIs from 1_all_rois_results and some being deleted manually by clicking the Delete button on the ROI manager window (Same footage as 2.10.1)

    - .

    - (former 3.3.3) SCREEN: Macro interface in ImageJ running automated analysis on loaded ROIs.

  - If software other than ImageJ is required, import the segmentations as binary masks instead [1-TXT].

    - SCREEN: File explorer window displaying binary mask files from 1_complete_mask and 1_overlap_mask. TXT: Use the files from the 1_complete_mask and 1_overlap_mask folders

# Results

- Results

  - In the validation and performance testing experiments, SegElegans significantly reduced the average time required per image compared to manual segmentation, cutting it from approximately 245 seconds [1] to under 60 seconds [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the tall black bar labeled “Manual”

    - LAB MEDIA: Figure 3. Video editor: Highlight the short gray bar labeled “SegElegans”

  - SegElegans achieved a segmentation Intersection over Union score above 93 percent, outperforming all alternative models listed at the time of publication [1].

    - LAB MEDIA: Table 1. Video editor: Highlight the row “SegElegans” and the value “0.9355” under “Whole Image”.