# Submission ID #: 69103

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=21076463

Title: Radiochemical Assessment of Glycogen Synthase Enzyme Activity in Animal Tissue

# Authors and Affiliations:

Bryce D. Holt, Bartholomew A. Pederson*

Indiana University School of Medicine-Muncie and Ball State University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Bartholomew A. Pederson 	(bapederson@bsu.edu)

# Email Addresses for All Authors:

Bryce D. Holt 			(bryce.holt@bsu.edu)

# Bartholomew A. Pederson 	(bapederson@bsu.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 05

Number of Shots: 13

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at the Ball State University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Radiochemical Glycogen Synthase Activity Reaction

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - Begin by taking the prepared murine skeletal muscle homogenate and the [14C]-UDP-glucose (14-Carbon-U-D-P-Glucose) reaction mix plate.

    - WIDE: Talent at the working bench with sample homogenate and reaction mix placed in front of him.

  - Using a multichannel pipette, add 25 microliters of the sample supernatant to the designated reaction wells [1]. Add 25 microliters of homogenization buffer to the blank and total wells [2]. Record the exact time at which the reaction is initiated for each row [4]. Ensure that equal volumes are added across all wells [5].

    - Talent pipetting 25 microliters of sample supernatant into reaction wells using a multichannel pipette.

    - Talent adding 25 microliters of homogenization buffer to the blank and total wells. TXT: Add one row at a time, waiting ≥1 min between rows

    - Talent records the time of reaction initiation,

    - Close-up shot showing even liquid volumes across wells on the reaction plate.

  - Allow the reaction to proceed for 10 to 15 minutes while making sure that all rows are run for an identical duration to maintain consistency [1].

    - Talent keeps the plates aside and starts the timer.

  - Afterward, mix the reaction in each well by pipetting up and down several times [1]. Aspirate 55 microliters from each well using a multichannel pipette [2] and dispense the liquid onto the corresponding chromatography papers prepared earlier [3]. Spot the liquid carefully at the center of each paper [4].

    - Talent pipetting up and down to mix the contents of each well.

    - Talent aspirating 55 microliters from the wells using a multichannel pipette.

    - Talent dispensing the aspirated liquid onto chromatography papers aligned in the template.

    - Close-up shot of the liquid being spotted at the center of the chromatography paper.

  - Using forceps, remove the chromatography papers labeled as totals from the clamp after spotting the liquid [1]. Place these total papers on aluminum foil to air-dry safely [2]. Drop all other chromatography papers into a stirring 66 percent ethanol bath [3-TXT].

    - WIDE: Talent using forceps to remove the total chromatography papers from the clamp.

    - Talent placing the total papers neatly on aluminum foil for drying.

    - Talent submerging remaining chromatography papers into a stirring 66 percent ethanol bath. TXT: Repeat the reaction and spotting for each row of the reaction plate

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 31.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Quadriceps glycogen synthase activity in murine skeletal muscle was lower under basal conditions without glucose-6-phosphate [1] and significantly higher under maximal conditions with glucose-6-phosphate, consistent with partial phosphorylation of glycogen synthase [2].

    - LAB MEDIA: Figure 1. Video editor: Highlight the two dark gray bars labeled “–GS activity” for female and male samples showing lower values.

    - LAB MEDIA: Figure 1. Video editor: Highlight the two light gray bars labeled “+GS