# Submission ID #: 69136

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21086528

# Title: Application of Bedside Lower Extremity Rehabilitation Robots in Stroke Rehabilitation: A Randomized Controlled Trial

# Authors and Affiliations:

# Biwen Yao1,2,3,4,5*,  Yingying Liu6*, Zhao Yao6, Jian Chen1, Binjie Qi6, Zuobing Chen6

# 1Stomatology Hospital, School of Stomatology, Zhejiang University School of Medicine

# 2Zhejiang Provincial Clinical Research Center for Oral Diseases

# 3Key Laboratory of Oral Biomedical Research of Zhejiang Province

# 4Cancer Center of Zhejiang University

# 5Engineering Research Center of Oral Biomaterials and Devices of Zhejiang Province

# 6Department of Rehabilitation Medicine, The First Affiliated Hospital, Zhejiang University School of Medicine

*These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Binjie Qi		1713045@zju.edu.cn

# Zuobing Chen		czb1971@zju.edu.cn

# Email Addresses for All Authors:

Biwen Yao		ybw1001@163.com

Yingying Liu		lyy10060820@163.com; Lyingying183@outlook.com

Zhao Yao		yaozhao09@foxmail.com

# Jian Chen		7519015@zju.edu.cn

# Binjie Qi		1713045@zju.edu.cn

# Zuobing Chen		czb1971@zju.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 12

Number of Shots: 30 (8 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Ethics Committee at the First Affiliated Hospital of Zhejiang University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Intervention Protocol

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, let the participant from the control group perform passive range-of-motion exercises, including hip and knee flexion-extension [1] and ankle dorsiflexion for 20 minutes per day while maintaining joint angles within safe limits [2-TXT].

    - WIDE: Talent guiding the patient’s hip and knee through controlled flexion-extension movements. TXT: Safe limits: Hip ≤ 90°; Knee ≤ 120°; Perform these for 2 weeks

    - Patient performing ankle dorsiflexion.

  - For the 3rd and 4th week, guide active resistance training using elastic bands providing 20 to 30 newton resistance [1]. Instruct the patient to perform hip abduction-adduction, knee extension-flexion, and ankle dorsiflexion-plantarflexion for 20 minutes per day [2]. Ensure the patient maintains a stable sitting position and avoids compensatory trunk movements [3].

    - Talent positioning elastic bands and demonstrating resistance exercises with the patient.

    - Talent supervising the patient performing lower-limb movements against the elastic band resistance.

    - Side view of the patient sitting upright while the talent observes for trunk stability.

  - For the robot-assisted therapy group, set up the device [1] and set the speed to 15 degrees per second for phase 1 or 20 degrees per second for phase 2 [2]. Set the torque limit to 30 newton-meter for the hip and knee and 15 newton-meter for the ankle [3]. Adjust the range-of-motion limits to hip 0 to 90 degrees, knee 0 to 120 degrees, and ankle minus 10 degrees to plus 20 degrees [4].

    - Show the device positioned.

    - SCREEN: Show the device menu where the speed parameter is selected and adjusted to 15 degrees per second or 20 degrees aper second.

    - SCREEN: Display the torque limit fields as the talent enters 30 newton-meter for hip and knee and 15 newton-meter for ankle.

    - SCREEN: Show the range-of-motion settings being modified to the specified degree limits.

  - Now, secure the patient in the supine position with a 30-degree head elevation [1]. Initiate passive mode on the device [2] and monitor electromyography activity to detect spasms, where readings greater than 50 microvolts per 100 milliseconds trigger an automatic pause [3].

    - Talent positioning the patient supine and adjusting the head support to 30 degrees.

    - Show the talent selecting and activating the passive mode on the device interface.

    - SCREEN: Display the electromyography monitoring panel with emphasis on the automatic pause trigger threshold.

  - Combine 20-minute therapist-led active training with 20-minute robot-assisted passive training [1]. Calibrate the force sensors before each training session and recalibrate them if drift becomes greater than 5 percent [2].

    - Talent conducting therapist-led active exercises with the patient.

    - SCREEN: Show the force sensor calibration page.

- Brace Installation and Training Execution

Demonstrator: Click here to enter name of demonstrator(s)

  - Position the patient in a supine, lateral, or prone position as needed [1].

    - Talent positioning the patient into the required position on the treatment table.

  - Using visual inspection, examine the patient’s lower limb to confirm it is suitable for bracing [1].

    - Talent closely inspecting the lower limb for any issues that may interfere with brace placement.

  - Inform the patient about the training procedures [1] before installing the brace on the patient’s lower limb [2].

    - Talent explaining the upcoming training steps to the patient.

    - Talent positioning the brace along the lower limb in preparation for installation.

  - Align the brace connectors marked with an upward arrow with the joint axes [1] and tighten the straps to a two-finger tightness that corresponds to 5 to 7 newton tension [2]. Confirm that there is no skin pinching or excessive pressure greater than 30 millimeters of mercury measured using pressure film [3]. Ensure proper alignment and comfort after installation [4].

    - Talent aligning the brace connectors with the joint axes.

    - Close-up of the talent tightening each strap to achieve two-finger tightness.

    - Talent placing pressure film under the straps and checking for pressure values.

    - Talent adjusting the brace and alignment with the patient.

  - In the passive mode, select Pre-programmed Trajectory 1 to perform flexion-extension cycles with ten repetitions per set [1]. For patients in phase 1 of the observation group during weeks 1 to 2, conduct 20 minutes of passive mode training daily [2]. If any joint misalignment occurs, reposition the brace and restart the procedure [3].

    - SCREEN: Show the device interface where Pre-programmed Trajectory 1 is selected for flexion-extension cycles.

    - Talent setting a timer for 20-minutes.

    - Talent pausing the procedure and readjusting the brace alignment.

  - In assistive mode, set the assistance level to 50 percent of the patient’s maximum voluntary contraction [1]. For patients in phase 2 of the observation group during weeks 3 to 4, combine 20 minutes of assistive mode training with 20 minutes of therapist-led active training daily [2]. Reassess the maximum voluntary contraction weekly using a handheld dynamometer [3].

    - SCREEN: Show the assistance level field being set to 50 percent of the maximum voluntary contraction.

    - Talent assisting the patient in therapist-led active exercises.

    - Talent measuring the patient’s maximum voluntary contraction using a handheld dynamometer.

  - Finally, export the session logs in CSV format to include joint angles, torque output, and spasm events [1].

    - SCREEN: Show the .CSV data including joint angles, torque output, and spasm event fields.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 105.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Before training, general comfort questionnaire scores were not significantly different between the groups [1], but after the first phase, the observation group scored significantly higher than the control group [2], and the difference further increased after the second phase [3].

    - LAB MEDIA: Table 3. Video editor: Highlight the columns “Before treatment” for both “Control” and “Observation” groups

    - LAB MEDIA: Table 3. Video editor: Highlight the column “After first-stage treatment” for and “Observation” groups

    - LAB MEDIA: Table 3. Video editor: Highlight the column “After second-stage treatment” for and “Observation” groups

  - Only the observation group showed a statistically significant increase in comfort level after the second phase of training [1].

    - LAB MEDIA: Table 3. Video editor: Highlight the “ΔGCQ (T2-T0)” value “3.80 ± 2.63” for the “Observation” group

  - After the second phase of training, the observation group showed significantly higher lower limb motor recovery scores than the control group [1].

    - LAB MEDIA: Table 4. Video editor: Highlight the cell under “After second-stage treatment” for “Observation” group

  - Modified Barthel index scores increased significantly in both groups after training [1], with the observation group scoring significantly higher than the control group [2].

    - LAB MEDIA: Table 6. Video editor: Highlight the column “After second-stage treatment” for both “Control” and “Observation” groups

    - LAB MEDIA: Table 6. Video editor: Highlight the cell “After second-stage treatment” value “20.05 ± 2.56” for “Observation”