# Submission ID #: 69155

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=21092323

# Title: Dynamic Clamp Methods to Investigate Impaired Neuronal Excitability Associated with Autism

# Authors and Affiliations:

# Samuel P. Brown, Joseph L. Ransdell*

# Department of Biology, Miami University

# Corresponding Authors:

# Joseph L. Ransdell 		(ransdejl@miamioh.edu)

# Email Addresses for All Authors:

# Samuel P. Brown		(brownsp2@miamioh.edu)

# Joseph L. Ransdell 		(ransdejl@miamioh.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?    Yes

Yes

Scientifica SliceScope (upright microscope with motorised frame)

Authors: Please use your microscope camera to film the scope shots and upload the file to your project page as soon as possible: https://review.jove.com/files_upload.php?src=21092323

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/files_upload.php?src=21092323

3. Filming location: Will the filming need to take place in multiple locations?   no

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. no

Current Protocol Length

Number of Steps: 25

Number of Shots: 59

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Joey Ransdell: Our lab studies how ion channels and ion channel regulation control the electrical activity of neurons in the central nervous system.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.  Suggested B roll: Figure 3

What are the current experimental challenges?

  - Joey Ransdell: Because ion channel function is typically characterized using voltage-clamp methods, it is difficult to directly link a change in ion channel function with an effect on neuronal action potential firing.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What significant findings have you established in your field?

  - Joey Ransdell: The TSC1 gene, implicated in tuberous sclerosis and autism spectrum disorders, when selectively deleted in mouse cerebellar Purkinje neurons, leads to impaired action potential firing and reduced Nav channel expression at axon initial segments.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: figure 2

What research gap are you addressing with your protocol?

  - Joey Ransdell: Using dynamic clamp electrophysiology, we can directly test if the loss of Nav channels in Tsc1 mutant Purkinje neurons causes reduced action potential firing of these cells.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 3.8.1., 3.8.2

What questions will future research focus on?

  - Joey Ransdell: Dynamic clamp methods can be used to directly test how changes or impairments in ion channel function affect the electrical outputs of neurons.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.12.1.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Miami University

# Protocol

- Configuring a Markov-based Conductance Model in Dynamic Clamp

Demonstrator: Samuel Brown

  - To begin, open the Dynamic Clamp Editor window in the data acquisition software [1] by selecting the SutterPatch (Sutter-Patch) tab and choosing Dynamic Clamp Editor [1].

    - WIDE: Talent seated at the workstation.

    - SCREEN: Navigating through the SutterPatch tab and selecting Dynamic Clamp Editor.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/files_upload.php?src=21092323

  - In the Conductance Pool interface, click New to create a pool and assign a name to it [1]. On the right side of the window, in the Headstage selector interface, select the model type for the conductance pool [2]. Choose when the model conductance should be applied, for example, during a routine or protocol [3]. In the same interface, set the Update Rate and select the Voltage Signal Source by choosing the headstage that is recording the voltage signal [4].

    - SCREEN: Talent clicking New in the Conductance Pool interface and typing a name into the prompt field.

    - SCREEN: Show the Headstage selector interface with the model selection dropdown menu.

    - SCREEN: Cursor clicking on the Active Mode dropdown and selecting an option like During Routine or Protocol.

    - SCREEN: Cursor selecting the Update Rate menu and then choosing the appropriate headstage under Voltage Signal Source.

  - In the Headstage selector panel, for the Nav conductance Markov model, select Markov Model under Model, During Sweeps under Active Mode, 200 kilohertz under Update Rate, and Headstage 1 under Voltage Signal Source [1]. Check the boxes for Apply and Command Signal to AuxOUT1 (Command-Signal-to-Aux-OUT-One) to begin model calculations based on the voltage signal and enable dynamic clamp current injection for current-clamp protocols [2].

    - SCREEN: Cursor selecting Markov Model, During Sweeps, 200 kHz, and Headstage 1 from their respective dropdown menus in the Headstage selector panel.

    - SCREEN: Cursor checking the boxes for Apply and Command Signal to AuxOUT1.

  - Then, click Edit Model Parameters in the Headstage selector interface to access the state matrix editor [1]. In the newly opened Dynamic Clamp Markov Model Parameters window, enter the state matrix equations corresponding to the Markov model conductance [2].

    - SCREEN: Cursor selecting Edit Model Parameters in the Headstage selector interface.

    - SCREEN: Display the Dynamic Clamp Markov Model Parameters window. Type the state matrix equations into the appropriate fields.

  - In the Channel Settings panel, select the saved conductance models to be applied for the dynamic clamp [1-TXT].  On the right side of this panel, enter 55.0 millivolts as the V reversal potential to reflect the sodium conductance value based on the artificial cerebrospinal fluid and the patch-electrode internal solution [2].

    - SCREEN: Cursor selecting a saved conductance model from the Channel Settings panel. TXT: Alternatively, select an empty channel to create a new conductance model

    - SCREEN: Cursor typing “55.0” in the V reversal input field.

  - In the same Channel Settings panel, enter the number of kinetic states for the selected conductance model [1].

    - SCREEN: Cursor entering the Number of kinetic states in the Channel Settings panel.

  - In the State Equations panel, input the state transition rate constant equations into the gating state matrix to match the topological structure of the Markov model. Assign each equation an ID starting from “S0” (S-Zero) [1]. Click Edit State Matrix on the right side of the panel to populate the matrix with the defined rate constant variables [2].

    - SCREEN: Talent entering rate constant equations and assigning IDs in the State Equations panel.

    - SCREEN: Cursor clicking Edit State Matrix on the right side of the State Equations panel and populating the matrix.

  - In the Conductance Equations panel, define the amplitude of the model conductance applied during dynamic clamp [1]. Select the open or conducting states in the Markov model and assign a conductance value to them [2].

    - SCREEN: Cursor opening the Conductance Equations (nS) panel and defining the amplitude.

    - SCREEN: Talent selecting the appropriate conducting states and entering a conductance value.

  - Enter 400 nanosiemens into the G7 box to assign a peak Nav current amplitude consistent with prior voltage-clamp data from mouse Purkinje neurons [1].

    - SCREEN: Close-up of the Conductance Equations panel with the cursor typing “400” into the G7 input field.

  - Once all model parameters are set, click Load to prepare the model for dynamic clamp application when a current-clamp routine is started [1].

    - SCREEN: Cursor clicking the Load button in the Dynamic Clamp Editor.

  - To apply the dynamic clamp conductance, create a current-clamp routine using the Routine Editor [1]. In the Routine Editor, choose the Parent Output Channel to open the configuration panel [2]. Set the Recording Mode to CC_Mode (C-C-Mode) to enable current-clamp operation [3].

    - SCREEN: Cursor opening the Routine Editor.

    - SCREEN: Cursor selecting Parent Output Channel.

    - SCREEN: Cursor setting Recording Mode to CC_Mode in the Routine Editor.

  - In the Routine Editor Input Channels, define the input signals to be recorded during the experiment [1]. Include the voltage signal, the routine’s command current injection labeled Current1, and the dynamic clamp current injection labeled AuxIN1 (Aux-In-One) [2].

    - SCREEN: Cursor navigating to the Input Channels panel and defining the input signal.

    - SCREEN: Cursor selecting checkboxes or fields for Voltage, Current1, and AuxIN1 inputs.

- Acquiring Current-Clamp Recordings from Mouse Purkinje Neurons in Parasagittal Cerebellar Slices

  - Equip the electrophysiology rig with a tissue slice chamber perfused with artificial cerebrospinal fluid warmed to 34–36 degrees Celsius [1]. Carefully place a parasagittal cerebellar slice into the chamber and use a slice harp to secure it in a fixed, submerged position [2]. Submerge a chlorided ground electrode and a temperature probe into the chamber and confirm they are stable [3].

    - WIDE: Talent setting up the tissue slice chamber and confirming fluid perfusion.

    - Talent placing the cerebellar slice into the chamber and positioning the slice harp.

    - Talent inserting and adjusting the chlorided ground electrode and temperature probe.

  - Then, locate the Purkinje neuron layer using a 40x (Forty-Axe) immersion objective lens [1].

    - SCOPE: Display of a Purkinje neuron in focus, showing a smooth membrane and no visible nucleus.

  - Once a healthy Purkinje neuron is identified for patch-clamp recording, raise the microscope objective lens [1]. Bring the tip of a glass microelectrode, mounted on an electrode holder connected to the headstage, into focus [2]. Control the microelectrode using a 3-axis robotic micromanipulator [3].

    - SCOPE: Talent adjusting the microscope objective lens upward after locating the neuron.

    - SCOPE: Talent focusing the microscope on the microelectrode tip.

    - Talent using the micromanipulator controls to move the microelectrode in 3 axes.

  - Next, add 2 to 3 milliliters of positive air pressure to the electrode holder pressure port before advancing toward the Purkinje neuron [1].

    - Talent injecting positive air pressure into the electrode holder using a syringe or pressure control system.

  - Switch the amplifier to VC-mode using the amplifier control panel [1]. Click Auto next to the electrode compensation and voltage offset options to apply automatic settings [2].

    - SCREEN: Cursor selecting VC Mode on the amplifier control panel.

    - SCREEN: Cursor clicking Auto for both the electrode compensation and voltage offset functions.

  - Then, start a continuous membrane seal test protocol. Set the sweep duration to 5 milliseconds and apply a voltage step of either 5 or 10 millivolts [1]. Set the holding potential to 0 millivolts [2].

    - SCREEN: Initiating the seal test protocol. Cursor entering “5” milliseconds and selecting “5” or “10” millivolts for the step size.

    - SCREEN: Cursor setting the holding potential field to “0” millivolts.

  - Now, advance the microelectrode toward the target Purkinje neuron while adjusting the focal plane to stay aligned with or slightly below the electrode tip [1]. Position the microelectrode slightly above the neuron’s plasma membrane [2]. Use the micromanipulator and the positive pressure at the electrode tip to displace extracellular debris, cleaning the surface of the cell soma [3].

    - Talent maneuvering the electrode toward the neuron using the micromanipulator while adjusting the microscope focus.

    - SCOPE: Electrode tip positioned just above the cell membrane.

    - SCOPE: Extracellular debris being pushed away by positive pressure, revealing a clean cell surface.

  - Once the target neuron is cleared of extracellular debris, bring the microelectrode tip close to the membrane surface at the broad end of the Purkinje neuron soma, where the axon extends from the cell body [1]. As the tip contacts the membrane, observe for the formation of a dimple due to the applied positive pressure [2]. At that point, release the positive pressure and apply a small amount of negative pressure using mouth suction [3].

    - SCOPE: Electrode tip approaching the broad end of the Purkinje soma.

    - SCOPE: Formation of a visible dimple on the cell membrane from the electrode tip.

    - Talent releasing the positive pressure and applying gentle mouth suction via a connected tube.

  - On the Amplifier Control panel, change the V-holding potential to minus 80 millivolts [1]. While monitoring the membrane seal test, once the pipette resistance reaches 1 gigaohm or higher, apply additional negative pressure and click Zap in the Membrane Seal Test panel to rupture the membrane and establish whole-cell configuration [2].

    - SCREEN: Cursor entering “-80” millivolts into the V-holding field.

    - SCREEN: Display of pipette resistance reaching ≥ 1 GΩ, followed by cursor clicking the Zap button.

  - After switching the system to current-clamp mode, apply bridge balance compensation to at least 70 percent [1].

    - SCREEN: Cursor enabling Current Clamp Mode and adjusting the Bridge Balance slider to ≥ 70%.

  - Then, apply the modeled conductance by clicking Load in the Dynamic Clamp settings window [1]. A small DynC (Dyn-C) label will appear on the dPatch controller, overlaid on CC (C-C) to confirm activation [2].

    - SCREEN: Cursor clicking Load in the Dynamic Clamp settings window.

    - SCREEN: Zoom in on the dPatch controller interface showing DynC overlaid on CC.

  - While the current-clamp protocol is running, observe the dynamic clamp current injection on the scope window that corresponds to the AuxIN1 input signal [1].

    - SCREEN: Scope window displaying live current injection trace labeled AuxIN1, synchronized with the ongoing current-clamp routine.

# Results

- Results

  - Spontaneous firing frequency [1] and the amplitude of voltage-gated sodium currents are significantly reduced in Tsc1 (T-S-C-One) mutant Purkinje neurons compared to wild-type controls [2].

    - LAB MEDIA: Figure 2A and B. Video editor: Highlight the blue traces and  squares for Tsc1mut

    - LAB MEDIA: Figure 2C. Video editor: Highlight the blue curve

  - Using dynamic clamp, we found that adding 400 nanosiemens of a modeled Nav conductance significantly increases and partially rescues the spontaneous firing frequency of Tsc1 mutant Purkinje neurons [1].

    - LAB MEDIA: Figure 3 C1 and D1. Video editor: Highlight the lower traces labeled as “400ns dynamic clamp” in 3C1 and connected black and gray points showing an upward trend in firing frequency in 4D1.

  - Alternatively, subtracting 400 nanosiemens of modeled Nav conductance from wild-type Purkinje neurons significantly reduces spontaneous firing frequencies, mimicking the deficits previously identified in Tsc1 mutant Purkinje neurons [1].

    - LAB MEDIA: Figure 3 C2 and D2. Video editor: Highlight the lower traces labeled as “400ns dynamic clamp” in 3C2 and connected black and gray points showing an upward trend in firing frequency in 4D2.