TITLE

In Vivo Confocal Microscopy in the Diagnosis and Management of Dry Eye: A Focus on Imaging Protocols and Interpretation

AUTHORS AND AFFILIATIONS

Fen Chen1, Qingyan Zeng1,2

1Hankou Aier Eye Hospital, Wuhan 430024, China

2Aier Eye Hospital of Wuhan University, Wuhan 430024, China

Corresponding Author:

Qingyan Zeng                           zengqingyan@aierchina.com

SUMMARY

This article demonstrates the operation and effect of in vivo confocal microscopy in the diagnosis and treatment of dry eye and investigates the application and outcomes of in vivo confocal microscopy to provide a basis for future research.

ABSTRACT

In vivo confocal microscopy (IVCM) has gained significant attention for its non-invasive nature and high resolution. It enables in vivo observation and objective quantification of numerous dry eye disease (DED)-related ocular surface structures, including the cornea, conjunctiva, eyelid margin, meibomian glands, and parasites such as Demodex, at the cellular level. This capability assists ophthalmologists in identifying specific etiologies and subtypes of DED, thereby facilitating precise diagnosis, targeted treatment, and prognostic evaluation. However, standardized protocols for IVCM operation and reporting remain lacking. Proficiency in both ophthalmic knowledge and technical operation is essential to effectively utilize this device and generate high-quality reports. This article details the procedural steps and nuances of IVCM examination for DED patients. This is the first JoVE step-by-step IVCM protocol for DED. It aims to serve as a reference for clinicians, helping them avoid operational inefficiencies and consistently obtain high-quality corneal and ocular surface images to guide clinical management.

INTRODUCTION

Due to constraints in local medical resources or patient financial burdens, the clinical diagnosis of DED often focuses on only a basic aspect (e.g., observation under the slit lamp microscope, complaining of dryness and itching of the eyes) or even a single indicator (e.g., invasive tear film break-up time, lacrimal secretion test, or Demodex infestation). IVCM application is not widely available, let alone standardizing protocols for it. However, for ophthalmic institutions equipped with IVCM, the author recommends that first-time patients undergo a comprehensive microscopic examination to avoid omissions, including the cornea, conjunctiva, and palpebral margin. For equivocal DED cases or for detecting Demodex, IVCM is especially suitable for an explicit answer.

Dry eye disease (DED) is defined as a chronic ocular surface condition caused by abnormalities in the quality or quantity of tear fluid and decreased stability of the tear film. In the Dry Eye Workshop II (DEWS II), DED is classified into five types: aqueous-deficient dry eye (ADE), evaporative dry eye (EDE), mixed dry eye (MDE), predisposition to dry eye, and pre-clinical dry eye state1. Ralene et al. summarized the important clinical practice of IVCM in different types of dry eye, including the literature published from 2017 to 20222. Recent research has shown that inflammation plays a key role in the pathogenesis of DED3,4. Especially, the dendritic cells (DCs) density may be a good indicator of DED associated with a systemic immune-mediated process5.

The IVCM utilizes confocal laser tomography technology. It offers horizontal and vertical resolutions of 1 µm. Detailed technical specifications of the device are documented in the report by Jeremy et al6. During ocular surface examination, IVCM is first applied to the cornea7, followed by the conjunctiva and meibomian glands8. Demodex blepharitis has garnered increasing clinical attention in recent years9,10. IVCM provides clear images of the cornea, conjunctiva, and palpebral margin. These images allow clinicians to assess disease status and facilitate the imaging and quantification of inflammatory and immune cells.

In DED assessment, our focus includes: corneal epithelial cells (CEC); subepithelial nerve fibers (SNF); interepithelial and subepithelial inflammatory/immune cells; conjunctival goblet cells (CGCs); conjunctival inflammatory/immune cells; meibomian gland acini and orifices; Demodex folliculorum and Demodex brevis; and inflammatory cells within surrounding tissues. This emphasis stems from the pathophysiology: Meibomian gland dysfunction leads to reduced secretion or altered composition of the tear film's lipid layer, resulting in accelerated tear evaporation and ocular surface damage. Demodex infestation contributes to ocular itching and discomfort. CGCs secrete mucin, a critical tear film component; their depletion can cause mucin-deficient DED. Conversely, DED itself damages ocular surface structures, including CEC and SNF, and subsequently elevates inflammatory/immune cell density in corneal and conjunctival tissues. After obtaining the ideal pictures, we can effectively utilize the software’s built-in quantitative tools to count the multitudinous cells mentioned (Figure 1). But for the morphological diversity of SNF, we need to rely on analytic software to help with the quantification11,12.

IVCM is indispensable for real-time assessment of corneal layers, nerve fibers, and inflammatory/immune cells in ocular surface tissues. For evaluating CGCs, impression cytology serves as an alternative method. This technique targets the fornix conjunctiva, where goblet cell density peaks, yielding values typically higher than IVCM measurements13,14. However, results are subject to staining variability and operator expertise, while the time-intensive protocol limits routine clinical implementation. Meibomian gland orifice obstruction is directly observable via slit-lamp microscopy, yet this method cannot detect Demodex brevis-induced blockages, which IVCM accurately identifies. For diagnosing Demodex infestation, eyelash epilation with light microscopy examination provides a low-cost method. While technically simple, this approach carries significant limitations: patient discomfort restricts multiple sampling, mites residing deep within eyelash follicles or meibomian gland orifices remain undetectable15. In contrast, IVCM enables comprehensive examination of multiple lid margin sites, including eyelash follicles and meibomian gland orifices, with minimal patient discomfort. This approach achieves substantially higher diagnostic positivity rates through real-time in vivo visualization of parasites within their microhabitats16,17.

PROTOCOL

The examination procedure has been approved by the Ethics Committee of Hankou Aier Eye Hospital, and informed consent has been obtained from all patients.

NOTE: The inclusion criteria for patient selection include patients presenting with complaints of dry and itchy eyes, and individuals seeking routine eye examinations. The exclusion criteria for patient selection include patients with corneal perforation or impending corneal perforation, those allergic to topical ocular anesthetics, individuals too young (e.g., under 3 years old) or too old to cooperate, patients with narrow palpebral fissures unable to accommodate an eyelid speculum, pregnant women, and individuals unable to cooperate for other reasons. A brief workflow diagram can be found in Figure 2. And the detailed operation steps are as follows.

- Pre-examination

  - Materials preparation: IVCM device,  corneal contact cap, ophthalmic topical anesthetic, coupling agent, medical cotton swabs, eyelid speculum, alcohol balls, alcohol reservoir, anti-inflammatory eye drops (Figure 3).

  - Understand key components of IVCM equipment (HRT Rostock cornea module (HRT-RCM), focusing knob, monitoring camera, gaze guidance light, chin rest, forehead rest, button for switching between left/right eyes, rotary knobs for moving HRT-RCM triaxially, image capture button and foot pedal, computer with dedicated IVCM software), and prepare the IVCM device with coupling gel.

  - Examiner preparation: Wear a mask and disinfect hands with alcohol-based gel or wear disposable gloves.

  - Device disinfection: Wipe the forehead and chin rests of the equipment with alcohol swabs.

  - Procedure explanation: Briefly explain to the patient that the examination is painless to ease anxiety.

- During examination

  - Verify and create a new patient record with the accompanying software on the computer.

  - Administer topical anesthetic: Administer two drops of it in the lower fornix at a 3 min interval prior to the procedure.

  - Prepare the rostock cornea module (RCM) of the IVCM device: Coat the laser-emitting area of RCM with coupling gel (ensure no air bubbles) (Figure 4 and Figure 5), and only a sufficient amount of coupling agent (usually one or two drops, not too much) can ensure full contact with the corneal contact cap, and ultimately achieve the ideal zeroing interface. Attach a disposable corneal contact cap.

  - Position the device: Retract the RCM fully. Secure the forehead rest horizontally. Adjust the monitoring camera to the temporal side of the subject. Find the position of the camera's stop point, which is perpendicular to the optical axis of the RCM.

  - Calibrate focus: Rotate the focus knob until the software displays a maximized white facula with the image quality value at exactly 100. Reset the depth value to zero (zeroing).

  - Select scan mode: Default to Section Mode unless otherwise specified. To observe Demodex mites activity, Sequence Mode can be used for continuous recording of dynamic images.

  - Position the patients: Rest their chin firmly on the chin rest. Press their forehead against the forehead rest. Adjust the examination table and chin rest to the patient’s height.

  - Insert eyelid speculum: Ask the patient to look down while using a cotton swab to lift the upper lid for placement, and ask the patient to look up while gently pulling down the lower lid with a cotton swab for placement.

  - Final instructions: Reconfirm proper head positioning. Remind the patient to remain relaxed and avoid movement. Report any discomfort immediately.

  - Corneal examination protocol

    - Begin with macroscopic alignment: Visually adjust the RCM to approximate the corneal apex (Figure 6). Switch to the device's monitoring camera for fine-tuning as the RCM approaches the cornea. Guide the patient to rotate their gaze for lesional corneas, centering the lesion under the  RCM. Maintain gentle contact to avoid corneal damage.

    - Key technique: The corneal contact cap has a large physical size but an extremely small optical zone (limited to the laser-emitting central area). Critical requirement: Achieve high-precision contact between the cap and target tissue, since poor adhesion causes imaging artifacts (e.g., bubbles, oil interference, or complete signal loss).

NOTE: For continuous imaging, depress the foot pedal for prolonged scanning to capture sequential depth images and avoid missing critical data.

  - Layered corneal assessment: Scan from superficial to deep layers in this order: CEC, SNF, Subepithelial inflammatory cells.

    - Focus on the inferior whorl, which is the recommended landmark, and adjacent superior/inferior regions18.

  - Nasal conjunctival examination

    - Reset focal plane to the depth value of zero. Apply coupling gel to the cap. Instruct the patient to gaze temporally or inferotemporally. Advance the RCM gently onto the conjunctival surface. Simultaneous maneuvers: Adjust RCM position for optimal field of view with the right hand. Rotate the focus knob to identify goblet cells in the outermost conjunctival layer with the left hand.

  - Eyelid speculum removal: Instruct the patient to look down, and use a cotton swab to lift the upper lid for removal. And instruct the patient to look up, and gently depress the lower lid with a swab for removal.

  - Device reset: Release and elevate the forehead rest. Zero the focus knob. Reapply coupling gel to the RCM surface.

  - Meibomian gland and eyelash follicles evaluation

    - Patient positioning: Instruct downward gaze. Examiner’s maneuver: Gently elevate and press the upper eyelid skin inward to align the lid margin parallel to the corneal cap plane. Move the RCM horizontally to view more images of the same type structure; move the RCM vertically (from bottom to top) to switch from examining the meibomian gland orifices to the gland acini and then to the eyelash roots.

NOTE: Beginners can evert eyelid for better exposure when examining the meibomian gland orifices. We suggest the location of the inspection in the central 1/3 of upper eyelid for this part.

    - Quantitative standards (institutional protocol): Assess 8 consecutive follicles with adjacent acini15, and examine 4–8 sequential gland orifices. Depth Calibration: For acquiring clear images of follicles, focus until Demodex mites show sharp borders (if present). For acquiring clear images of acinis, the recommended value is about 30–50 μm depth. And for orifices, it's around 30 μm (adjust for Demodex brevis visibility if infested)19.

- Post-examination

  - Post-procedure care: Perform hand hygiene and disinfect hands thoroughly. Gently wipe away residual coupling gel, tears, or debris from the ocular surface using a cotton swab. Administer antibiotic eye drops to prevent infection.

  - Patient instructions: Advise the patient to avoid rubbing the eyes on the day of the examination.

  - Reporting: Analyze all acquired images comprehensively and generate a diagnostic report. Reporting requirements: Include at least one image per tissue structure, adding more for abnormal findings as needed. All selected images are to be arranged by examination sequence and depth value, followed by precise descriptions and measurements.

  - Waste disposal instructions: For disposable materials (contact caps, swabs, anesthetic containers), please throw them into the medical waste bin for further professional disposal.

REPRESENTATIVE RESULTS

All IVCM microscopic images were acquired at a resolution of 384 pixels × 384 pixels, an observation field of 400 µm × 400 µm. When properly "zeroed", this examination will display only three possible outcomes in the image frame: i) No image at all (unsuccessful experiment): The central optical zone made no contact with the target tissue. ii) Only a partial image (Figure 7) or other abnormal situations (Figure 8) (unsuccessful experiment): The central optical zone made incomplete or loose contact with the target tissue. iii) A clear and complete image (successful experiment): The central optical zone achieved perfect contact with the target tissue (Figure 9 to Figure 17). Thus, the challenge lies not in distinguishing between successful and failed images, but in ensuring proper alignment and contact between the device's central optical zone and the target tissue according to operational requirements (Figure 7 and Figure 8). The images provided below include both normal ocular surface structures  (Figure 9 to Figure 11) and abnormal DED-related structures (Figure 12 to Figure 17).

FIGURE AND TABLE LEGENDS

Figure 1: Measurement of CGCs using the software’s built-in counting tool. The image shows 16 goblet cells counted, with a density of 102 ± 7 cells/mm². The operation steps are as follows: Double-click the target image first, a new dialog will be opened. Then click Cell Count (top-left) and the four function buttons will appear (bottom-left): They are respectively used for selecting counting area, marking targets (shown blue dots indicate being selected), saving and deleting. We suggest selecting the entire image area, since the values obtained will vary depending on the counting area selected. Don’t forget to save after any operation.

Figure 2: A workflow of the IVCM operation process summary.

Figure 3: Materials required. (A) The side view of the IVCM device. (B) Essential examination items arranged top-to-bottom. Upper row (left to right): Anti-inflammatory eye drops, eyelid speculum, sterile medical cotton swabs, coupling gel. Lower row (left to right): Topical ocular anesthetic, disposable corneal contact caps (demonstrating anterior/posterior views).

Figure 4: Coupling gel application protocol for the RCM. (A) The correct technique, ensuring a uniform viscous gel layer without air bubbles. (B) The incorrect technique with the gel containing a bubble (arrow). The operational standard is that properly applied gel forms a continuous convex meniscus between the RCM and corneal contact cap, enabling air-free optical coupling within the RCM-cap interface prior to corneal contact.

Figure 5: Corresponding software interface states for Figure 4. (A) The standard zeroing interface shows a maximal white spot, depth value of 0, automatic detection of the left eye (top-left corner), and "Section" scan mode (bottom-left corner). (B) The incorrect example with the bubble artifact being visible. In this case, it’s impossible to achieve the correct zeroing interface mentioned before, and clear imaging cannot be achieved regardless of focus adjustment, or complete signal loss.

Figure 6: Identifying the three relative position situations of the cornea and the RCM. These images were captured by the built-in monitoring camera of the device. Regardless of whether the left or right eye is examined, the camera is always positioned on the temporal side of the subject. The images illustrate the relative position between the cornea and the RCM. (A, C) show the positional deviations, while (B) demonstrates the correct alignment. The blue arrows indicate the reflection of the device's laser source on the cornea, and the yellow arrows indicate the profile of the cornea. (A) The RCM is positioned too far toward the side opposite the camera, resulting in unclear corneal reflection and profile. (B) The clear corneal reflection and profile, as the RCM is in an appropriate position relative to the cornea. Advancing the RCM forward from this position until it contacts the cornea will directly yield an optimal corneal image. (C) The RCM is positioned too close to the camera side (already near the limbus), leading to a clear corneal reflection but an unclear profile of the cornea. The same principle applies when examining the eyelid margin to obtain clear images. It is recommended to combine direct visual observation with monitoring via the camera to better assess the relative position between the RCM and the target examination area, thereby enabling accurate adjustments.

Figure 7: IVCM images illustrating the examples of suboptimal imaging due to incomplete capture of the target area. In panels A, B, and C, the RCM is only partially in contact with the cornea, resulting in images where one portion shows corneal tissue while the other displays the reflection from air or the tear film. In such cases, the RCM should be moved toward the direction where the target image is visible. Accordingly, for scenarios A, B, and C, the RCM should be moved toward the right, upper-right, and upward directions, respectively. Panel D demonstrates a case where the RCM is only minimally contacting the meibomian gland orifice at the eyelid margin. This area is relatively small and often difficult to fully expose, making such partial contact common. The large dark area (non-contact zone) below contains numerous fine, highly reflective speckles, which are artifacts caused by dust particles or other impurities either in the air or on the cornea contact cap surface. In this situation, the primary approach is to adequately expose the target area using the methods mentioned in the protocol part, while also moving the RCM slightly upward to achieve a better image.

Figure 8: IVCM images examples of suboptimal imaging due to various artifacts. Panel A shows tissue stretched vertically, while panel B demonstrates oblique distortion of the tissue. These distortions occur when the eyeball moves at the moment of image acquisition. To address this, the patient should be instructed to maintain steady fixation, or the examination can be paused and resumed after a brief rest. Panels C and D exhibit signal obstruction caused by oil on the eyelash root or corneal surface, respectively. These areas are characterized by strong, uneven reflection and relatively sharp boundaries. Panel E shows a bubble artifact on the corneal surface, presenting with extremely intense reflection and blurred margins. Panel F displays a foreign body artifact from a cotton fiber on the cornea, appearing as an elongated, thick, and curved structure. In cases corresponding to C, D, and E, the interfering signals can often be removed by having the patient blink, cleaning the corneal cap of the device, or applying coupling gel. For scenario F, the cotton fiber should be flushed out using eye drops.

Figure 9: IVCM images of normal CEC and SNF. (A) Normal CEC (6–8 layers, total thickness 50–53 µm) are featured with being polygonal, tightly arranged, and uniform in size/shape. (B) Normal SNF plexus is characterized by unmyelinated fibers (diameter 4–7 µm) with parallel orientation, and uniform reflectivity. There may be quiescent dendritic cells among them. (C,D) Shown are the inferior vortex pattern, the nerve fibers converge in clockwise/counterclockwise whorls at the inferonasal cornea, and exhibiting radial symmetry without truncation.

Figure 10: IVCM images of normal conjunctival cells. (A) Normal conjunctival epithelial cells are characterized by low-reflective boundaries, moderate cell body reflectivity, and evenly arranged. (B) Normal CGCs are often 2 or 3 times larger than epithelial cells, clustered or scattered, with high-reflective cytoplasm and low-reflective nucleus (eccentric).

Figure 11: IVCM images of normal eyelid margin. (A) Normal meibomian gland orifice is round/oval, with 30–40 µm diameter and central dark area. (B) Normal meibomian acini is oval and neatly arranged, and it is bordered by cuboidal cells, with low-reflective lumen. (C) Normal eyelash root follicle presents low-reflective cavity without impurity.

Figure 12: IVCM image of CEC pathology and SNF degeneration of DED. (A) CEC pathology usually presents hyper-reflective intercellular borders with morphometric alterations. (B/C) IVCM images of SNF degeneration of DED: (B) Terminal bulbous swellings and beading can be seen, and (C) Axonal tortuosity and density reduction of the nerve can be observed. Both may lead to eye pain or neurological sensory abnormalities.

Figure 13: IVCM images of abnormal CGCs in DED. (A) Shown is the reduced CGCs density of 25 ± 3 cells/mm², with only 4 CGCs in a image field. (B/C) Shown is the absent goblet cells with enhanced conjunctival epithelial reflectivity. These may indicate mucin-deficient dry eye.

Figure 14: IVCM images of abnormal meibomian gland orifices of DED. (A) It is completely obstructed and dilated, this will directly prevent the secretion of oil from the meibomian glands, which may lead to EDE. (B) It is occlusion by Demodex brevis (about 10), with characteristic "tail sign" visibility (posterior segment protrusion). This severe mites infection is often observed in patients with poor ocular surface condition (e.g., MDE or systemic immune-related DED).

Figure 15: IVCM images of abnormal meibomian acini of DED. (A) They are dilated, fused and structurally disrupted. (B) Shown is the acinar atrophy and periacinar fibrosis. This kind of DED in the middle and late stages usually indicates a poor prognosis.

Figure 16: IVCM images of abnormal eyelash follicles with mites infection in DED. (A) It demonstrates three Demodex mites (two within the eyelash follicle, and one on the nearby eyelid skin with the head visible only). (B) It shows two mites along with secretory debris. (C) It exhibits indistinct mites that are uncountable, accompanied by highly reflective debris. (D) It displays one intact mite, with its mouthparts and four pairs of legs clearly visible, located on the adjacent eyelid skin. In clinical practice, the presentations shown in panel B and C are relatively common. We primarily differentiate mites from other structures based on their tapered tail and distinct dorsal striations. In cases with abundant secretions, as seen in panel C, asking the patient to perform a thorough cleaning of the eyelash roots prior to examination can help clarify the mite count. Furthermore, when the follicular structure is severely damaged or when there is an overload of mites within a single follicle, mites may migrate out of the follicle toward the skin surface, as illustrated in panels A and D.

Figure 17: IVCM images of inflammatory cells (white dots) and immune cells (dendritic high-reflective structures) abnormally distributed in ocular tissues in DED. Panel A presents with subepithelial inflammatory cells, dendritic cells, and disordered nerves. Panel B features active dendritic cells alongside reduced and discontinuous nerves. A cluster of inflammatory cells is observed at the inferior whorl in panel C. Panel D identifies dendritic cells at the meibomian gland orifice. Orifice obstruction accompanied by an inflammatory cell cluster is visible in panel E. Panel F shows inflammatory cell infiltration between the meibomian gland acini. The nasal conjunctiva in panels G and H contains numerous dendritic and inflammatory cells. Clustered purulent secretion is seen at the eyelash root in panel I. Inflammation constitutes a key pathogenetic component in DED. It necessitates appropriate intervention directed at the pathological sites, and its resolution generally correlates with an improvement in the patient's condition. For instance, an increase in dendritic cells in the aforementioned areas and their activation may suggest immune-related dry eye.

DISCUSSION

A PubMed literature search using the keywords "in vivo confocal microscopy" and "dry eye disease" (retrieved June 2025) yielded > 300 publications. Notably, annual publication rates have stabilized at approximately 40 papers per year since 2021. Broader applications of IVCM in ocular surface disorders have generated > 2,000 studies over the past two decades (2004-2024). Clinically, IVCM has revolutionized cellular-level assessment of ocular surface pathologies. This technology enables the detection of subclinical disease manifestations, facilitating earlier diagnosis and precision interventions, which precisely align with the latter two types of DED mentioned above. Furthermore, IVCM-guided treatment protocols allow evidence-based medication tapering or discontinuation upon objective improvement, thereby reducing therapeutic burden and associated socioeconomic impacts. For instance, meibomian gland unclogging treatment for blockage of the meibomian gland openings and acini (Figure 14 and Figure 15), anti-mites treatment for Demodex mites infection (Figure 14 and Figure 16), anti-inflammatory therapy for inflammatory cells increasing (Figure 17), and immunosuppressants for DCs infiltration (Figure 17).

Novice examiners face dual challenges: achieving proficiency in multi-axis RCM control (requiring structured practice), and mastering micro-anatomic targeting. When imaging nasal bulbar conjunctival goblet cells, which occupy the superficial epithelium (15-20 μm depth), minimal Z-axis adjustment may overshoot the target layer. This is mitigated by applying a drop of coupling gel to extend the working distance. Lid margin examination demands strict coplanar alignment between the contact cap and lid margin, with maintained down gaze. For anxious patients exhibiting head retraction, the interventions include: i) standardized verbal reassurance, ii) stepwise cap advancement, and iii) external fixation targets to ensure compliance.

During IVCM assessment of Demodex infestation at eyelash follicles, signal interpretation is frequently compromised by interferents, including sebum deposits, air bubbles, mucoid secretions, and epithelial debris (Figure 8 and Figure 16). To mitigate this, we apply a drop of coupling gel to the contact cap surface prior to imaging. This creates an optical interface that disperses sebum and eliminates microbubbles through refractive index matching. Additionally, patients with significant collarette accumulation undergo standardized eyelid margin hygiene pre-examination to optimize detection accuracy.

However, the use of IVCM for ocular surface examination is also accompanied by certain technical limitations. During eyelid margin examination with IVCM, the relatively large contact cap presents technical challenges in patients with narrow palpebral fissures, resulting in limited accessible areas. Due to physical constraints of the RCM, examination of hair follicles in the nasal eyelashes and lower eyelid margin is unfeasible. Additionally, the uneven distribution of CGCs leads to variable density measurements across different regions. The detection rate of these cells is further influenced by the operator's technical proficiency and experience level. Since current IVCM systems lack real-time anatomical navigation capability for examining tissues, it becomes impossible to ensure consistency in the examination location across follow-ups. For example, if the CGCs observed during follow-up are not the same as those examined previously, it will hinder the assessment of treatment efficacy. Therefore, to enhance the reproducibility of the examination, please strictly adhere to the reference points or specific locations mentioned above when imaging. And we recommend that experienced personnel conduct the examination for detecting conjunctival goblet cells. For special patients, it is advised that the same examiner operate the equipment during each follow-up visit. Moreover, high magnification and an extremely small field of view per single image may lead to the error of overgeneralization (i.e., drawing broad conclusions from limited observations). A study mentioned that the learning curve for properly performing the technique usually takes between 1 week of intensive training20, but in our experience, it depends (e.g., whether the trainee has a certain foundation of knowledge in ophthalmology or not). More limitations include the cost of the facility and consumables restricting the purchase rate, the inter-operator variability and time efficiency limiting the usage and acceptance rate, which are critical factors for broader adoption.

Moreover, the lack of standardized cutoffs is a special limitation. The definition for the density of SNF varies from different studies, some are calculated by the length of SNF per unit area, while others are calculated by the quantity of SNF per unit area. The contradictory results of studies between DED groups and controls render the density of SNF metric less helpful5,21. But Baikai  et al. concluded that cornea nerve tortuosity is a potential biomarker for corneal neurobiology in DED22. A review summarized publications between 2008 and 2019, and drew a conclusion that the average values for the density of CGCs (GCD) ranged from 7 to 979 goblet cells per mm2 in different studies, and the mean value for GCD in control subjects was 207 ± 143 goblet cells per mm2, while it went 190 ± 161 goblet cells per mm2 in the experimental groups23.

In terms of cellular-level observation, no commercially available device or tool matches IVCM in providing meticulous and comprehensive assessment of DED. It enables simultaneous evaluation of indicators that may affect tear film quality and microscopic structural damage to the ocular surface caused by DED. In contrast to conventional approaches that require multiple specialized instruments, meibography for meibomian gland morphology, epilated lash microscopy for Demodex infestation, and impression cytology for CGCs analysis, all of which demand excessive manpower, resources, and examination time, IVCM achieves an integrated multimodal assessment through a single procedure.

As far as we know, there are many efforts in the iterative upgrades of IVCM equipment in China. For instance, visual inspection and positioning functions have been preliminarily implemented. In the future, it will be necessary to expand the field of view covered by a single image (e.g., 1.5 mm2 area as mentioned)24,25. With the current widespread use of AI-assisted image analysis26, the distinction between different cells within the IVCM images will become possible. These advancements may tremendously improve the applicability of IVCM.

ACKNOWLEDGMENTS

The authors thank Lina Jin at Hankou Aier Eye Hospital and Min Chen at Ophthalmology Department of Wuhan Asia Heart Hospital for assisting with some pictures, and all the participants and the staff members working for the operating procedure.

DISCLOSURES

The authors declare no conflict of interest.

REFERENCES

- Craig, J. P. et al. TFOS DEWS II definition and classification report. Ocul Surf. 15 (3), 276-283 (2017).

- Ralene, S., Kenneth, Y., Yu-Chi, L., Louis, T. In vivo confocal microscopy in different types of dry eye and meibomian gland dysfunction. J Clin Med. 11, 2349 (2022).

- Bron, A. J. et al. TFOS DEWS II pathophysiology report. Ocul Surf. 15, 438-510 (2017).

- Kheirkhah, A., Rahimi, D. R., Cruzat, A. Corneal epithelial immune dendritic cell alterations in subtypes of dry eye disease: a pilot in vivo confocal microscopic study. Invest Ophthalmol Vis Sci. 56, 7179-7185 (2015).

- Jodi, H., Harrison, D., Anat, G. Can in vivo confocal microscopy differentiate between subtypes of dry eye disease? A review. Clin Exp Ophthalmol. 49 (4), 373-387 (2021).

- Jeremy, C. B. C. et al. In vivo corneal confocal microscopy: imaging analysis, biological insights and future directions. Commun Biol. 6 (1), 652 (2023).

- Lemp, M. A., Dilly, P. N., Boyde, A. Tandem-scanning (confocal) microscopy of the full-thickness cornea. Cornea. 4 (4), 205-209 (1985).

- Kobayashi, A., Yoshita, T., Sugiyama, K. In vivo findings of the bulbar/palpebral conjunctiva and presumed meibomian glands by laser scanning confocal microscopy. Cornea. 24 (8), 985-988 (2005).

- Yiran, H. et al. Demodex folliculorum infestation in meibomian gland dysfunction-related dry eye patients. Front Med (Lausanne). 24 (9), 833778 (2022).

- Orla, M., Veronica, O. D., Aoife, L. M. Ocular Demodex folliculorum: prevalence and associated symptoms in an Irish population. Int Ophthalmol. 39 (2), 405-417 (2019).

- Al-Aqaba, M. A. et al. Corneal nerves in health and disease. Prog Retin Eye Res. 73, 100762 (2019).

- Liu, Y. C., Lin, M. T. Y., Mehta, J. S. Analysis of corneal nerve plexus in corneal confocal microscopy images. Neural Regen Res. 16, 690-691 (2021).

- Zhixin, W., Xuguang, S. Progress in the study of conjunctival goblet cell. Int Rev Ophthalmol. 4 (3), 1673-5803 (2005).

- Bilian, K. et al. Quantitative study of goblet cells in human conjunctiva. Chin J Anat. 3 (10), 1001-1633 (2001).

- Yan, T., Dai, Q., Yu, G. In vivo confocal microscopy: a standard operating procedure for the detection of Demodex mites at the eyelid margin. J Vis Exp. 221, e68534 (2025).

- Matthieu, R. et al. In vivo confocal microscopy as a novel and reliable tool for the diagnosis of Demodex eyelid infestation. Br J Ophthalmol. 99 (3), 336-341 (2015).

- Jalbert, I., Rejab, S. Increased numbers of Demodex in contact lens wearers. Optom Vis Sci. 92 (6), 671-678 (2015).

- Patel, D. V., McGhee, C. N. J. Mapping of the normal human corneal sub-basal nerve plexus by in vivo laser scanning confocal microscopy. Invest Ophthalmol Vis Sci. 46, 4485-4488 (2005).

- Nanyu, Z. et al. Lid margin score is the strongest predictor of meibomian area loss. Cornea. 41 (6), 699-708 (2022)

- Cañadas, P., Alberquilla, G. V. M., Hernández, V. J. L., Teus, M. A. Update on corneal confocal microscopy imaging. Diagnostics. 13, 46 (2023).

- Xu, J. et al. In vivo confocal microscopic evaluation of corneal dendritic cell density and subbasal nerve parameters in dry eye patients: a systematic review and meta-analysis. Front Med. 8, 578233 (2021).

- Baikai, M. et al. Quantification of increased corneal subbasal nerve tortuosity in dry eye disease and its correlation with clinical parameters. Transl Vis Sci Technol. 10, 26 (2021).

- Michael, J. D. On the in vivo assessment of goblet cells of the human bulbar conjunctiva by confocal microscopy: a review. Cont Lens Anterior Eye. 43 (4), 315-321 (2020).

- Allgeier, S. et al. A novel approach to analyze the progression of measured corneal sub-basal nerve fiber length in continuously expanding mosaic images. Curr Eye Res. 42, 549-556 (2017).

- Matuszewska-Iwanicka, A. et al. Mosaic vs single image analysis with confocal microscopy of the corneal nerve plexus for diagnosis of early diabetic peripheral neuropathy. Ophthalmol Ther. 11 (6), 2211-2223 (2022).

- Kryszan, K. et al. Artificial-intelligence-enhanced analysis of in vivo confocal microscopy in corneal diseases: a review. Diagnostics. 14, 694 (2024).