# Submission ID #: 69156

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/files_upload.php?src=21092628

# Title: In Vivo Confocal Microscopy in the Diagnosis and Management of Dry Eye: A Focus on Imaging Protocols and Interpretation

# Authors and Affiliations:

# Fen Chen1, Qingyan Zeng1,2

# 1Hankou Aier Eye Hospital, Wuhan 430024, China

# 2Aier Eye Hospital of Wuhan University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Qingyan Zeng                           zengqingyan@aierchina.com

# Email Addresses for All Authors:

# Please give the email address of Fen Chen

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 22

Number of Shots: 47 (13 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Ethics Committee of Hankou Aier Eye Hospital

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Preparation of the Instruments and the Patient’s Eyes

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, prepare all required materials required for the procedure [1].

    - WIDE: Talent arranging all the listed materials neatly on a clean laboratory table, ensuring clear visibility of each item.

  - Examine and understand the key components of the in vivo confocal microscopy device and apply coupling gel to the appropriate interface [1]. Wear a protective face mask and wear disposable gloves [2].

    - Talent applying coupling gel smoothly to the laser-emitting surface of the module.

    - Talent putting on a face mask and wearing disposable gloves.

  - Wipe the forehead and chin rests of the device thoroughly with alcohol swabs to disinfect them [1].

    - Talent cleaning the forehead and chin rests with alcohol swabs in a slow, deliberate motion.

  - On the connected computer, open the accompanying IVCM software [1], verify existing patient information, and create a new patient record if required [2].

    - Talent turning on the monitor.

    - Talent reading the patient data.

  - Administer two drops of ophthalmic topical anesthetic in the lower fornix of the patient’s eye, maintaining a 3-minute interval between each drop [1].

    - Talent instilling one drop of anesthetic into the lower fornix  of the patient’s eye.

  - Then, prepare the Rostock cornea module by coating its laser-emitting area with coupling gel, ensuring that no air bubbles are present [1] and attach a disposable corneal contact cap securely onto the Rostock cornea module [2].

    - Close-up shot of talent evenly spreading coupling gel over the laser-emitting area, checking for air bubbles.

    - Talent fitting the disposable corneal contact cap onto the module with precision.

  - Next, retract the Rostock cornea module completely [1], secure the forehead rest in a horizontal position [2], and adjust the monitoring camera toward the temporal side of the subject [3]. Identify the camera’s stop point that aligns perpendicular to the optical axis of the module [4].

    - Talent retracting the module to its full position.

    - Talent aligning and tightening the forehead rest horizontally.

    - Talent repositioning the monitoring camera to the temporal side.

    - SCREEN: Display the on-screen alignment indicator showing the perpendicular position of the optical axis.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible (download the guidelines from the link given in the email): https://review.jove.com/files_upload.php?src=21092628

  - Rotate the focus knob until the software displays a maximized white facula with the image quality value reading exactly 100 [1]. Then, reset the depth value to zero to complete calibration [2].

    - SCREEN: Show the software focus panel as the image brightens and sharpens during adjustment.

    - SCREEN: Demonstrate setting the depth value to zero in the software interface.

  - Now, select Section Mode as the default scan mode unless another mode is specifically indicated [1].

    - SCREEN: Show the software mode selection menu with Section Mode being highlighted and confirmed.

  - Ask the patient to rest their chin firmly on the chin rest [1], press their forehead gently against the forehead rest [2], and adjust the examination table and chin rest to match the patient’s height [3].

    - Talent guiding the patient to position their chin on the chin rest.

    - Shot of patient’s forehead properly aligned against the forehead rest.

    - Talent adjusting the examination table height and chin rest for a comfortable fit.

- Corneal and Eye Examination Protocol

Demonstrator: Click here to enter name of demonstrator(s)

  - Insert the eyelid speculum carefully to keep the patient’s eyelids for the procedure [1].

    - Talent inserting the eyelid speculum gently into the patient’s eye.

  - Begin macroscopic alignment by visually adjusting the Rostock cornea module to approximate the corneal apex [1]. Switch to the monitoring camera to fine-tune alignment as the module approaches the cornea [2]. Instruct the patient to rotate their gaze when examining lesional corneas, centering the lesion under the module [3]. Maintain gentle contact between the cap and cornea to avoid damage [4].

    - Talent aligning the RCM visually toward the corneal apex.

    - SCREEN: Show live feed from the monitoring camera as the RCM nears the corneal surface for fine alignment.

    - SCREEN: view on the software as the patient rotates their gaze toward the lesion area.

    - Close-up shot of the RCM maintaining gentle contact with the corneal surface.

  - Now, depress the foot pedal to perform prolonged scanning, capturing sequential depth images to ensure no critical data are missed [1].

    - Talent pressing the foot pedal and maintaining it in a depressed position.

  - Then, perform layered corneal assessment by scanning progressively from the superficial to the deep layers from the corneal epithelial cells to the subbasal nerve fibers and subepithelial inflammatory cells [1].

    - SCEEN: Sequential visualization of corneal epithelial cells, subbasal nerve fibers, and subepithelial inflammatory cells during the scan.

  - Focus on the inferior whorl region, the recommended anatomical landmark, and examine the adjacent superior and inferior areas [1].

    - SCREEN: Capture detailed images of the inferior whorl followed by nearby superior and inferior corneal regions.

  - Next, reset the focal plane to a depth value of zero [1] and apply coupling gel evenly onto the corneal contact cap [2]. Instruct the patient to direct their gaze temporally or inferotemporally [3] and gently advance the RCM toward the conjunctival surface [4].

    - SCREEN: Show the software interface as the depth value is reset to zero.

    - Talent applying coupling gel evenly to the cap surface.

    - Talent guiding the patient to look temporally or inferotemporally.

    - Close-up of the RCM approaching the conjunctival surface slowly.

  - With the right hand, adjust the RCM position for an optimal field of view [1]. With the left hand, rotate the focus knob to locate goblet cells in the outermost conjunctival layer [2].

    - Talent using the right hand to finely position the RCM over the ocular surface.

    - Talent rotating the focus knob.

  - Remove the eyelid speculum carefully after the imaging procedure is complete [1].

    - Talent gently releasing and removing the eyelid speculum from the patient’s eye.

  - Reset the device by releasing and elevating the forehead rest [1], zeroing the focus knob [2], and reapplying coupling gel to the RCM surface [3].

    - Talent releasing and lifting the forehead rest into its original position.

    - Shot of zeroing the focus knob.

    - Talent applying a fresh layer of coupling gel to the RCM.

  - For meibomian gland and eyelash follicles evaluation, instruct the patient to look downward [1]. Using one hand, gently elevate and press the upper eyelid skin inward to align the lid margin parallel to the corneal cap plane [2]. Move the RCM horizontally to capture multiple images of similar structural features [3], and vertically from bottom to top to transition from meibomian gland orifices to gland acini and eyelash roots [4].

    - Talent guiding the patient’s downward gaze.

    - Close-up of the examiner lifting and pressing the upper eyelid skin for proper alignment.

    - SCREEN: Horizontal scan showing repeated structures of the same type.

    - SCREEN: Vertical scan showing transition from meibomian gland orifices to acini and eyelash roots.

  - Perform post-procedure hand hygiene by disinfecting hands thoroughly [1]. Gently wipe away residual coupling gel, tears, or debris from the ocular surface with a medical cotton swab [2]. Instill antibiotic eye drops to the patient to prevent infection [3].

    - Talent disinfecting hands using alcohol-based gel.

    - Talent wiping the patient’s ocular surface gently with a cotton swab.

    - Talent instilling antibiotic drops into the patient’s eye.

  - Finally, document and report findings by including at least one image per examined tissue structure [1]. For any abnormal findings, add additional representative images [2]. Arrange all selected images in the order of examination sequence and depth value, followed by detailed descriptions and quantitative measurements [3].

    - SCREEN: Show the folder where selected images are organized sequentially by tissue type and depth value.

    - SCREEN: Demonstrate additional images being added for abnormal structures on a ppt or any other file.

    - SCREEN: Display final report layout including labeled images with corresponding measurements and descriptive notes.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 185.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - When the central optical zone achieved perfect contact with the target tissue, clear and complete images of ocular structures were obtained [1].

    - LAB MEDIA: Figures 9–17. Video editor: Show these figures sequentially.

  - Corneal epithelial cell pathology in dry eye disease exhibited hyper-reflective borders and altered cell morphology [1].

    - LAB MEDIA: Figure 12A.

  - Sub-basal nerve fiber degeneration in dry eye disease showed terminal swellings and beading [1], and axonal tortuosity with reduced density [2].

    - LAB MEDIA: Figure 12B. Video editor: Zoom in on the bright round bead-like structures along the nerve lines.

    - LAB MEDIA: Figure 12C. Video editor: Highlight the irregularly curved fibers with sparse distribution.

  - Conjunctival goblet cell density was markedly reduced to around 25 cells per square millimeter, showing only four goblet cells per field [1].

    - LAB MEDIA: Figure 13A.

  - In other dry eye cases, goblet cells were absent, and conjunctival epithelium showed enhanced reflectivity [1].

    - LAB MEDIA: Figure 13B and 13C.

  - Meibomian gland orifices in dry eye disease were dilated and completely obstructed [1].

    - LAB MEDIA: Figure 14A.

  - Some orifices were occluded by multiple Demodex brevis mites, visible with characteristic tail projections [1].

    - LAB MEDIA: Figure 14B.

  - Meibomian acini in dry eye disease were dilated, fused, and structurally disrupted [1], with signs of acinar atrophy and periacinar fibrosis [2].

    - LAB MEDIA: Figure 15A.

    - LAB MEDIA: Figure 15B.

  - Eyelash follicles infected with mites contained visible Demodex organisms and secretory debris [1].

    - LAB MEDIA: Figure 16A–C.

  - Intact mites on the eyelid skin showed distinct mouthparts and legs [1].

    - LAB MEDIA: Figure 16D. .

  - Inflammatory and immune cells were abnormally distributed in ocular tissues in dry eye disease [1].

    - LAB MEDIA: Figure 17A–I.

NOTE to Authors:

- It's better if you upload each screen recording after naming each file according to the corresponding shot number (3-digit bullet, e.g, 2.2.1.mp4, 2.1.3.mp4, etc).

Each clip’s duration should be less than 25 seconds.

- But if you prefer to record all the steps together and upload a single screen capture file, that is okay.

In this case, you need to indicate the corresponding timestamp against each shot.

For example if the action described in shot 2.1.2 is present in the file name xxx.mp4 and is in between timestamp 00:30 to 00:45 then write as following in script above (shown in red font below).

Example, shot 2.1.2 SCREEN: performing ........... action.   xxx.mp4 00:30-00:45.

2.2.2 SCREEN: clicking on.................button... xxx.mp4 01:00-01:25

Please note that every shot (3-digit step) should have the best corresponding video clip of only 20 to 25 seconds and not more than that, so that the voice narration can match the duration.

If a particular shot takes minutes to complete, we can choose timestamps at the beginning and end of the process so that the total time is again within the 25-second limit.

Example: 3.1.1 SCREEN: Clicking on the 'analyze and plot' button, analysis in progress and the graph being plotted.  xxx.mp4 00:00-00:10 and 02:30-02:40