# Submission ID #: 69215

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=21110623

Title: Fabrication and Optimization of Type II Silicon Clathrate Films

# Authors and Affiliations:

Malad-Chadi Ettobi¹,², Charif Tamin³, Anil Kumar Bharwal¹, Stéphane Roques¹, Céline Chevalier³, Abdelilah Slaoui¹, Aziz Dinia², Alain Fave³, Erwann Fourmond³, Daniel Stoeffler², Thomas Fix¹*

¹ICube Laboratory, University of Strasbourg, CNRS (Centre National de la Recherche Scientifique)

²IPCMS Laboratory (Institut de Physique et Chimie des Matériaux de Strasbourg), University of Strasbourg, CNRS

³Institut des Nanotechnologies de Lyon (INL), UMR 5270, École Centrale de Lyon, Institut National des Sciences Appliquées (INSA) Lyon, Université Claude Bernard Lyon 1

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Thomas Fix			(thomas.fix@unistra.fr)

# Email Addresses for All Authors:

Thomas Fix			(thomas.fix@unistra.fr)

Malad-Chadi Ettobi		(malad-chadi.ettobi@etu.unistra.fr)

Charif Tamin			(charif.tamin@insa-lyon.fr)

Anil Kumar Bharwal		(anilbharwal@gmail.com)

Stéphane Roques		(stephane.roques@unistra.fr)

Céline Chevalier		(celine.chevalier@insa-lyon.fr)

Abdelilah Slaoui		(abdelilah.slaoui@unistra.fr)

Aziz Dinia			(aziz.dinia@ipcms.unistra.fr)

Alain Fave			(alain.fave@insa-lyon.fr)

Erwann Fourmond		(erwann.fourmond@insa-lyon.fr)

Daniel Stoeffler		(daniel.stoeffler@ipcms.unistra.fr)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

3. Proposed interview filming date: Please indicate the proposed date that your group will self-film interviews: MM/DD/YYYY

DO NOT use this draft script for filming Interviews. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  24

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Preparation and Synthesis of SiCL

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - Begin by immersing the silicon substrate in a 10 percent hydrofluoric acid solution for exactly 2 minutes to remove the native silicon dioxide present on the substrate surface [1-TXT].

    - LAB MEDIA: Scene 5 (Experiment).MOV:  01:38 – 01:46, 03:44 – 03:54 TXT: Use 48 % HF acid for preparing the working solution

  - After exposure to hydrofluoric acid, rinse the silicon substrate thoroughly with deionized water to remove any residual acid [1]. Using a nitrogen gun, blow-dry the substrate to eliminate remaining water droplets and prevent surface residue [2].

    - LAB MEDIA:  Scene 5 (Experiment).MOV: 03:56 – 04:04

    - LAB MEDIA: Scene 5 (Experiment).MOV: 05:07-05:17

  - Using a cutter, carefully cut a piece of metallic sodium to obtain a small rectangular slice weighing approximately 0.22 grams [1].

    - LAB MEDIA: Scene 4 (Experiment).MOV: 01:00-01:10

  - Immediately place the sodium slice in an airtight glass container filled with anhydrous cyclohexane. Ensure that the sodium is fully immersed in the cyclohexane to prevent oxidation [1].

    - LAB MEDIA: Scene 4 (Experiment).MOV: 01:13-01:22.

  - Now, place the previously prepared sodium slice into a cleaned Inconel alloy boat [1]. Then, position the silicon wafer directly above the sodium slice with its polished surface facing downward toward the boat [2].

    - LAB MEDIA: Scene 8 (Experiment).MOV: 00:57-01:01. 01:12-01:17

    - LAB MEDIA: Scene 8 (Experiment).MOV: 01:33-01:43

  - Carefully insert the prepared assembly into the center of a sealed stainless-steel tube and an O-ring seal, situated inside a programmable horizontal tube furnace [1].

    - LAB MEDIA: Scene 8 (Experiment).MOV: 01:51-02:03

  - Insert a high-purity tantalum wire with a diameter of 0.5 millimeters, a length of 3.4 centimeters, and 99.95 percent purity into the tube to capture trace oxygen [1]. Seal both ends of the stainless-steel tube using fittings that allow circulation of only argon [2].

    - LAB MEDIA: Scene 8(Experiment).MOV: 00:30-00:48

    - LAB MEDIA: Scene 8(Experiment).MOV: 02:57-03:01, 03:20-03:30

  - Purge the sealed tube with argon at a constant pressure of 1.6 bar for 15 minutes to establish an inert atmosphere throughout the reaction [1].

    - LAB MEDIA: Scene  9 (Experiment).MOV

  - Then, raise the temperature of the furnace at a ramp rate of 5 degrees Celsius per minute until it reaches 600 degrees Celsius and maintain it for 19 hours [1-TXT].

    - LAB MEDIA: Scene  13 (Experiment).MOV: 00:00-00:16 TXT: Allow the system to cool for 7 h

  - When the furnace and tube have cooled back to room temperature, flush the system with a continuous flow of argon [1]. Transfer the obtained samples as quickly as possible into a quartz tube and connect the tube to a dynamic vacuum furnace [2].

    - LAB MEDIA: Scene  9 (Experiment).MOV: 00:00 – 00:09

    - LAB MEDIA: Scene 15 (Experiment).MOV: 00:42-00:54

  - After connecting the quartz tube to the pumping system, first evacuate the system using the primary pump. Then, activate the turbomolecular pump and continue pumping until a high vacuum of 5 × 10⁻⁷ millibar is achieved [1].

    - LAB MEDIA: Scene 16 (Experiment).MOV: 00:33-01:03

  - Ramp the furnace temperature to 400 degrees Celsius over 30 minutes and hold for 4 hours [1]. Then, switch off the tubular furnace and allow the sample to cool naturally to room temperature. After cooling, unload the sample from the furnace [2].

    - LAB MEDIA: Scene 17 (Experiment).MOV

    - LAB MEDIA: Scene 19 (Experiment).MOV: 00:45-00:52, 01:25-01:31

- Post-treatment of the Prepared SiCL

Demonstrator: Click here to enter name of demonstrator(s)

  - Lift the lower plate to gradually increase the force until the applied pressure reaches approximately 2 kilonewtons [1]. Then, release the applied pressure [2].

    - LAB MEDIA: Scene 22 (Experiment).mp4: 00:00 – 00:05

    - LAB MEDIA: Scene 24 (Experiment).mp4: 00:02 – 00:05

  - Place the cleaned sample onto the lower electrode inside the reactive ion etching system [1]. Pump down the chamber until a base pressure of 5 × 10⁻⁷ millibar is reached [2].

    - LAB MEDIA: Scene 25 (Experiment).MOV: 00:00 – 00:22

    - LAB MEDIA: Scene 25 (Experiment).MOV: 00:27 – 00:37

  - Once the etching process is complete, turn off both the inductively coupled plasma and radiofrequency power supplies to stop the plasma [1]. Evacuate any remaining process gases from the chamber. Then, slowly vent the chamber back to atmospheric pressure [2].

    - LAB MEDIA: Scene 27 (Experiment).MOV: 00:24 – 00:31

    - LAB MEDIA: Scene 27 (Experiment).MOV:  02:47 – 02:58

  - Finally, remove the etched sample from the chamber [1].

    - LAB MEDIA: Scene 27 (Experiment).MOV: 03:35-03:47

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 179.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The X-ray diffraction pattern confirmed the formation of the type II NaxSi136 clathrate phase in both the pressed and pressed-etched samples, with sharp peaks matching the ICDD 01-089-5534 pattern [1], and weak reflections indicating the presence of a minor Na8Si46 secondary phase [2]. After etching, the peak positions remained unchanged but showed a slight reduction in intensity [3].

    - LAB MEDIA: Figure 3. Video editor: Highlight the peaks in both the “Pressed sample” and “Pressed-etched sample” .

    - LAB MEDIA: Figure 3. Video editor: Highlight the small peaks in both patterns that align with the blue Na8Si46 markers.

    - LAB MEDIA: Figure 3. Video editor: Compare the peak heights of the “Pressed-etched sample” to those of the “Pressed sample”

  - Raman spectroscopy revealed that both pressed and pressed-etched samples exhibited characteristic peaks near 185, 290, and 460 inverse centimeters, corresponding to the Si20 (S-I-Twenty) and Si28 (S-I-Twenty-Eight) cages in the type II clathrate structure [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the Raman peaks labeled Eg, T2g, and A1g in both sample curves.

  - Photoluminescence measurements showed a broad emission band centered around 1.75 electron volts in both pressed and pressed-etched samples, consistent with the quasi-direct band gap of semiconducting NaxSi136 clathrates [1].

    - LAB MEDIA: Figure 5.

  - SEM (S-E-M) top-view images of the pressed sample revealed a smoother surface with significantly reduced grain boundaries [1], while cross-sectional views showed improved film density and structural connectivity [2].

    - LAB MEDIA: Figure 6. Video editor: Highlight 6A.

    - LAB MEDIA: Figure 6. Video editor: Highlight 6B

  - After SF6 dry etching, SEM top-view images showed a transformation to a textured surface morphology [1], and cross-sectional images confirmed changes in surface structure compared to the unetched film [2].

    - LAB MEDIA: Figure 6. Video editor: Highlight 6C

    - LAB MEDIA: Figure 6. Video editor: Highlight 6D