# Submission ID #: 69240

# Scriptwriter Name: Deepthi Das

# Project Page Link: https://review.jove.com/files_upload.php?src=21118248

# Title: Formulation of Vitamin A Tracer Doses for Administration to Human Subjects using Retinol Isotope Dilution Technique

# Authors and Affiliations: Georg Lietz1, Anthony Oxley1,2

# 1Human Nutrition and Exercise Research Centre, Newcastle University

2Fera Science Ltd.

# Corresponding Author:

Georg Lietz	     	Georg.lietz@ncl.ac.uk

# Email Addresses for All Authors:

anthony.oxley@fera.co.uk
Georg.lietz@ncl.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

Please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 500m

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps:  13

Number of Shots:  42

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Georg Lietz: The research provides guidance on preparing vitamin A isotope tracers for retinol isotope dilution studies to assess vitamin A stores.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Georg Lietz: This study provides validated, practical food-safe tracer preparation guideline for accurate preparation, dosing and quality control of vitamin A isotopes.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Georg Lietz: The protocol allows researchers to measure total body and liver vitamin A stores in humans using retinol isotope dilution.

Describe the most important consideration or challenge when performing this protocol.

  - Georg Lietz: Ensuring accurate, food-safe tracer preparation while preventing degradation and delivering precise, reproducible oral doses is a key challenge.

Are there any additional methods or analyses that can be performed following this procedure?

  - Georg Lietz: Subsequent analyses include plasma isotope ratio measurement by LC‑MS/MS, GC-IRMS or GC‑MS to calculate total body vitamin A stores.

Videographer: Obtain headshots for all authors available at the filming location.

Testimonial Questions (OPTIONAL):

Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

What problem in your field of research does your JoVE article address?

  - ​​  Georg Lietz, Newcastle University​: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How does the video format of your article help you to share your work with the broader scientific community?

  - ​​   Georg Lietz, Newcastle University ​: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Ethics Title Card

Study 1 was approved by the National Research Ethics Service, North‑East Sunderland Committee and Study 2 was approved by the Research Ethics Board of the University of the Philippines Manila and the Institutional Review Board at the University of California

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Study Criteria and Determination of Tracer Dose and Oil Volume for Retinol Isotope Dilution

Demonstrator: Georg Lietz

  - To begin, obtain and review the Study 1 documents [1]. Use the inclusion/ exclusion criteria presented to shortlist eligible individuals [2].

    - WIDE: Talent reviewing study 1 eligibility documents.

    - TEXT ON A PLAIN BACKGROUND:
Study 1
Include adults: 
-     who are healthy; both male and female 
-     of age: 18 - 45 years 
Exclude adults:

- who are pregnant or are smokers

- who have chronic conditions: hypertension, diabetes, liver, kidney, gastrointestinal, or lipid metabolic disorders

- whose BMI > 30

- who used supplements (multivitamins containing vitamins A, C, E, or beta‑carotene) in the past 3 months

  - Obtain and review the Study 2 documents [1]. Use the inclusion/ exclusion criteria presented to shortlist eligible individuals [2].

    - Talent reviewing study 2 eligibility documents.

    - TEXT ON A PLAIN BACKGROUND:
Study 2
Include children: 
-     of age: 12 - 18 months
-     who resided in the study area
Exclude children:
-     who did not receive high-dose vitamin A supplementation

- who live in areas not exposed to vitamin A-fortified foods in local markets

  - To decide the stable isotope tracer dose per subject, select vitamin A stable isotopes with greater than 95 percent all‑trans purity [1]. Calculate the tracer dose level in retinol equivalents [2]. Determine the total number of subjects based on power calculations and increase for expected attrition [3]. Multiply the dose level by the final number of subjects to obtain the total tracer requirement [4]. Increase the total tracer amount to account for pipetting losses of up to 20 percent [5].

    - SCREEN: Selecting the isotope tracer specification with greater than 95% all-trans purity.

    - SCREEN: Calculating the dose level in retinol equivalents.

    - SCREEN: Adjusting subject numbers based on power calculations and attrition.

    - SCREEN: Multiplying the dose level by the total number of subjects.

    - SCREEN: Increasing the tracer amount to account for pipetting losses.

  - Determine the dose volume per subject using sunflower oil [1]. Determine the amount of added sunflower oil based on the delivery system used during dosing [2]. Calculate the dose concentration of the stable isotope tracer in sunflower oil in milligrams per milliliter [3]. Determine the total volume of sunflower oil needed based on the dose concentration and dosing plan [4]. Calculate the required sunflower oil weight from the calculated total volume and the relative density of sunflower oil [5].

    - SCREEN: Reviewing the required dose volume per subject using sunflower oil.

    - SCREEN: Determining the amount of added sunflower oil according to the delivery system.

    - SCREEN: Calculating the tracer concentration in milligrams per milliliter in sunflower oil.

    - SCREEN: Calculating the total sunflower oil volume needed.

    - SCREEN: Calculating the corresponding sunflower oil weight using the relative density of sunflower oil.

- Preparation of Stable Isotope-Labeled Tracer in Dedicated Areas for Food Preparation

  - Carefully open the lid of the amber bottle containing the predetermined total amount of stable isotope tracer, place it on an analytical balance and tare it to zero [1]. Use a sterile 10 milliliter syringe to add the sunflower oil dropwise until the desired weight is achieved with an accuracy of plus or minus 0.1 grams [2].

    - Talent opening the amber bottle containing the stable isotope tracer, placing the bottle on an analytical balance and taring the balance to zero.

    - Talent adding oil dropwise into the amber bottle with a sterile 10-mL syringe.

  - Place the bottle in a sonicating water bath and fill the bath with water to above the oil level in the bottle but below the lid level [1]. Sonicate the bottle at 14 Watts per liter, 44 kilohertz and 50 degrees Celsius for 15 minutes [2]. Remove the bottle, mix carefully by hand, and re‑sonicate for 15 minutes [3].

    - Talent placing the bottle in the sonicating water bath and filling the bath to the appropriate level.

    - Talent keeping the bottle for sonication. Videographer: Please capture the settings showing 14 W/L, 44 kHz and 50 °C

    - Talent removing the bottle, mixing it by hand, returning it to the sonicator, and switching it on.

  - Place the bottle in a heated water bath at 50 degrees Celsius for 30 minutes to completely dissolve the microcrystals [1]. Check a 20-microliter sample of oil for microcrystals under a light microscope at 200 times magnification [2]. Repeat the sonicating and heating procedure until complete dissolution is achieved [3]. Now, use a positive displacement pipette to aliquot the total oil preparation into 2 to 4 milliliter sterile glass amber vials [4].

    - Talent placing the bottle in the heated water bath.

    - Talent checking the oil sample under a light microscope. Video editor: Please add the image labeled ‘Crystals’ as an inset. 
Authors: Please add an image of the crystals labeled ‘Crystals’ to your project page as soon as possible.

    - Talent returning the bottle for repeated sonication and heating.

    - Talent aliquoting the oil preparation into sterile glass amber vials.

  - Take two 2-milliliter amber vials [1]. Add 200 microliters of pure vegetable oil to one vial and 200 to 350 microliters of the stable isotope dose to the second vial [2].

    - Talent adding 200 µL of pure vegetable oil in 2mL amber vial

    - Talent adding 200 - 350 µL of the stable isotope dose in 2mL amber vial

  - Gently purge the vials with argon [1]. Close the vials tightly and store them in a cryobox labeled with isotope concentration, dose volume, preparation date, and project name at minus 20 degrees Celsius [2].

    - Talent purging the amber vials with argon.

    - Talent closing the vials and placing the labeled cryobox into a minus 20 degrees Celsius food freezer.

- Determination of Stable Isotope Tracer Concentration in the Laboratory

  - Determine the dilution according to the tracer dose concentration as presented [1]. Take three volumetric flasks of the required volumes and fill each flask with n-hexane to approximately 1 centimeter below the calibration line [2].  Now dispense the appropriate volume of tracer into the correct volumetric flask [3]. Use a direct replacement pipette to dispense 50 or 100 microliters of oil and then make the flask up to 50 or 100 milliliters with additional hexane [4]. Invert the flask 10 times to mix the oil with the hexane [5].

    - TEXT ON A PLAIN BACKGROUND
Dose ≤ 0.5 mg retinol equivalents
 • Measure 100 µL stable isotope dose; dilute in 50 mL volumetric flask

Dose > 0.5 to ≤ 2 mg retinol equivalents
 • Measure 50 µL stable isotope dose; dilute in 50 mL volumetric flask

Dose > 2 mg retinol equivalents
 • Measure 50 µL stable isotope dose; dilute in 100 mL volumetric flask

    - Talent taking 3 appropriately sized volumetric flasks and filling each one with n-hexane to 1 centimeter below the calibration line.

    - Talent dispensing the appropriate tracer volume into the correct volumetric flask.

    - Talent dispensing the oil into hexane and making the flask up to volume with additional hexane.

    - Talent inverting the flask 10 times to mix.

  - Pipet the same volume of vegetable oil as the stable isotope tracer calculated previously [1] and dispense it into hexane to prepare the spectrophotometric blank flask [2]. Use the same dilution volume as the stable isotope tracer [3] and invert the flask 10 times to mix the oil with the hexane [4].

    - Talent pipetting the appropriate volume of vegetable oil

    - Talent dispensing the vegetable oil into hexane to prepare the spectrophotometric blank.

    - Talent adjusting the blank flask to the matching dilution volume

    - Talent inverting the volumetric flask multiple times to mix the content

  - Use quartz cuvettes cleaned with hexane to measure the value of vegetable oil as the control at 325 nanometers with a spectrophotometer [1]. Add n-hexane to rinse the quartz cuvette 3 times between each measurement [2]. With vegetable oil in hexane as blank, measure the stable isotope tracer concentration [3]. After repeating the rinse-measure cycle for all the sample measurements, clean the cuvettes carefully with pure n-hexane [4].

    - Talent measuring the value of vegetable oil as the control in a quartz cuvette.

    - Talent rinsing the quartz cuvette 3 times with n-hexane between measurements.

    - Talent measuring the stable isotope tracer concentration in a quartz cuvette with a spectrophotometer using vegetable oil in hexane as the blank. Videographer: Please take a shot of the screen showing the measurement along with this.

    - Talent cleaning the cuvettes carefully with pure n-hexane after completing all sample measurements.

  - Use the isotope-specific molar extinction coefficient with the Beer-Lambert law to calculate the stable isotope tracer concentration from the average absorbance unit readings [1]. Calculate the volume of the prepared stable isotope tracer needed per dose [2].

    - SCREEN: Calculating tracer concentration from the average absorbance unit readings with the Beer-Lambert law.

    - SCREEN: Calculating the required prepared tracer volume per dose.

# Results

- Results

  - The obtained total amount of retinol equivalents needed was 55.2 milligram [1], which corresponded to 63 milligram [13C10 ] (Carbon‑thirteen C‑ten) retinyl acetate [2]

    - LAB MEDIA: Table 2. Video editor: Highlight the full section that reads “Total amount of RE required: = 55.2 mg RE”

    - LAB MEDIA: Table 2. Video editor: Highlight the full section that reads “Total amount of [13C10 ] retinyl acetate required: = 63.0 mg [13C10] retinyl acetate”

  - The concentration of [13C10] retinyl acetate in 1 milliliter of sunflower oil was calculated to be 3.04 mg/ml [1] The total volume of sunflower oil needed [2] and the weight of sunflower oil needed were determined [3].

    - LAB MEDIA: Table 2. Video editor: Highlight the full section that reads “Dose concentration of [13C10 ] retinyl acetate in oil: = 3.04 mg/ml”

    - LAB MEDIA: Table 2. Video editor: Highlight the full section that reads “ Total volume of sunflower oil required: = 20.7 ml oil”

    - LAB MEDIA: Table 2. Video editor: Highlight the full section that reads “Weight of sunflower oil needed: = 19.0 g sunflower oil”