# Submission ID #: 69258

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21123738

# Title: Exploring the Application of Surface-Enhanced Raman Scattering-Based Biosensing of Individual sEVs in Disease Diagnosis and Therapeutics

# Authors and Affiliations:

# Jun Liu*, Siddharth Srivastava*, Ya-Hong Xie

# Department of Materials Science and Engineering, University of California Los Angeles

*These authors contributed equally

# Corresponding Authors:

# Ya-Hong Xie                               yhx@ucla.edu

# Email Addresses for All Authors:

Jun Liu                                     ljun@g.ucla.edu

# Siddharth Srivastava                         	sidsri@g.ucla.edu

# Ya-Hong Xie                               yhx@ucla.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

Videographer: Please record the computer screen for the shots labeled as SCREEN

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps: 10

Number of Shots: 26 (23 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Jun Liu: We use surface-enhanced Raman scattering combined with machine learning to tackle cancer diagnostics and deliver biomedical applications.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

What are the current experimental challenges?

  - Siddharth Srivastava: The current experimental challenges include high inherent heterogeneity of sEVs and complexity in analyzing high-dimensional spectral data, compounded by low signal-noise-ratio.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What significant findings have you established in your field?

  - Jun Liu: We have established single-vesicle biochemical fingerprinting to distinguish disease sources, showing potential for early diagnosis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

What advantage does your protocol offer compared to other techniques?

  - Siddharth Srivastava: Our spectroscopic technique is non-invasive, does not require lysing of particles, and is highly sensitive.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

What questions will future research focus on?

  - Jun Liu: In the future, we will correlate the spectral profile to the proteomic profile, which in turn would help correlate exosome content with specific functions, such as diagnosis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Jun Liu, Graduate Student, UCLA: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Siddharth Srivastava, Graduate Student, UCLA: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Ethics Title Card

# This research was approved by the Institutional Review Board (IRB) at University of California Los Angeles

# Protocol

- Sample Preparation and Spectra Acquisition

NOTE: The authors have nor provided demonstrator’s name

  - To begin, pipette approximately 5 microliters of the small extracellular vesicle sample onto the designated plasmonic substrate [1]. Place the substrate in a desiccator to let the droplet dry completely for approximately 15 minutes [2].

    - WIDE: Talent pipetting 5 microliters of the small extracellular vesicle sample onto a plasmonic substrate.

    - Talent placing the substrate inside a desiccator and sealing it.

  - Then, transfer the dried substrate to a confocal Raman microscope [1]. Using the instrument software WiRE (wire) version 4.4, initiate data collection [2]. Set the excitation laser to 785 nanometers at 5 milliwatts and calibrate the system [3].

    - Talent placing the prepared substrate into the stage of a confocal Raman microscope.

    - SCREEN: Launch WiRE version 4.4 software to initiate data collection. Videographer: Please record the computer screen for the shots labeled as SCREEN Videographer’s NOTE: don’t show “start acquisition” being selected yet

    - SCREEN: Adjust the settings to set the laser excitation wavelength to 785 nanometers and power to 5 milliwatts.Videographer’s NOTE: take4 is only setting power

    - SCREEN: Calibrate the Raman system by aligning the silicon reference peak to 520 inverse centimeters. . NOTE: Not filmed

  - Perform a scouting scan over a 300 by 300-micrometer area to locate single vesicles using static mode with 50% laser power, 0.1-second exposure, and 10-micrometer step size [1]. Once the vesicles are located, conduct high-resolution mapping in static mode within a 5-by-5 grid using a 1-micrometer step size [2-TXT].

    - SCREEN: Set up a scouting scan in static mode over a 300 by 300 micrometer region with 50% laser power, 0.1s exposure time, and 10 micrometer step size. Videographer’s NOTE: did not shoot, use 2.2.3

    - SCREEN: Configure a 5 by 5 grid for high-resolution mapping in static mode with 1 micrometer step size, 50 percent power, and 0.2 second exposure per point. TXT: 50% laser power; 0.2 s exposure/point; Next, perform a scouting scan to locate individual vesicles and high-resolution mapping

  - Next, perform a scouting scan over a 300 by 300-micrometer area on the graphene substrate to locate individual vesicles [1-TXT] and then perform high-resolution mapping in extended mode within a 2-by-2 grid [2-TXT].

    - SCREEN: Configure a scouting scan over a 300 by 300 micrometer region on the graphene substrate in static mode. TXT: 50% laser power; 0.1 s exposure; 10 µm step size

    - SCREEN: Set up high-resolution mapping in extended mode over a 2 by 2 grid. TXT: 1% laser power; 10 s exposure; 1 µm step size Videographer’s NOTE: did not shoot

- Quality Control and Data Normalization

  - Screen the initial raw spectra and exclude any that display excessive noise or abnormal spectral shapes [1]. Remove isolated cosmic ray spikes using threshold-based detection or local deviation filtering [2].

    - SCREEN: Display raw Raman spectra and highlight examples of highly noisy or distorted shapes being deselected.

    - SCREEN: Apply a spike removal tool and show cosmic ray spikes being detected and eliminated from the spectra using a local deviation filter. . NOTE: Not required

  - Apply a Savitzky-Golay filter to each spectrum to reduce fluorescence background and smooth the spectral data [1]. Calculate the signal-to-noise ratio for each spectrum using either the peak-to-baseline method or the standard-deviation method [2]. For each spectrum, calculate the signal-to-noise ratio as the ratio of the peak intensity after baseline subtraction at a representative Raman band to the standard deviation of the noise [3].

    - SCREEN: Apply Savitzky-Golay filtering to a raw spectrum and show reduction in fluorescence and smoothened data.

    - SCREEN: Show a menu with signal-to-noise ratio calculation options and initiate the computation using the peak-to-baseline method.

    - SCREEN: Demonstrate how signal-to-noise ratio is calculated by measuring peak intensity at a selected Raman band and dividing by noise level.

  - Estimate noise by subtracting a Savitzky-Golay-smoothed version of the spectrum, using a window size of 11 and a polynomial order of 3, from the original spectrum [1]. Rank all spectra in ascending order of signal-to-noise ratio and evaluate the persistence of diagnostic peaks across the ranked spectra to determine the threshold [2]. Then, set the threshold at the point where any of these peaks disappear into baseline noise, corresponding to a signal-to-noise ratio of 28 [6].

    - SCREEN: Apply Savitzky-Golay smoothing with specified parameters and display the residual spectrum used to estimate noise. Videographer’s NOTE: did not shoot, use 3.2.3

    - SCREEN: Display a ranked list of spectra by signal-to-noise ratio and highlight presence or absence of diagnostic peaks across the list.

    - SCREEN: Annotate the point where the diagnostic peaks vanish into the noise and mark the corresponding signal-to-noise ratio threshold of 28.

  - Exclude spectra that fall below the signal-to-noise ratio threshold of 28 to ensure only high-quality spectra are retained for downstream analysis [1] and normalize each remaining spectrum to either its maximum peak intensity or the total area under the curve [2].

    - SCREEN: Filter out spectra with a signal-to-noise ratio below 28 from the dataset. Videographer’s NOTE: do not use take1

    - SCREEN: Apply normalization to the accepted spectra and show both maximum peak and area-under-curve options being implemented.

- Spectral Analysis with Machine Learning

  - Assign a label to each spectral measurement based on its origin, such as a gastric cancer patient or a healthy control [1]. Input the labeled spectral data into a Support Vector Classifier with a linear kernel [2] and apply a stratified shuffle split for five-fold cross-validation to ensure balanced representation in each fold [3]. Now, average the accuracy metrics across all folds to assess overall model performance [4].

    - SCREEN: Display a dataset where each spectral measurement is tagged with a label like “gastric cancer” or “healthy control.”

    - SCREEN: Import the dataset into a Support Vector Classifier interface and select the linear kernel option.

    - SCREEN: Apply a stratified shuffle split method for five-fold cross-validation and initiate the process.

    - SCREEN: Show a table or plot displaying the accuracy scores from each fold and the averaged performance metric.

  - Finally, use Linear Discriminant Analysis or LDA to reduce the dimensionality of the surface-enhanced Raman scattering dataset for visualization [1]. Employ the trained Linear Discriminant Analysis model to perform direct classification between the sample groups [2-TXT].

    - SCREEN: Apply Linear Discriminant Analysis to the high-dimensional dataset and display a 2D or 3D plot showing reduced dimensions.

    - SCREEN: Show classification output from the Linear Discriminant Analysis model, highlighting separation between sample groups. TXT: Evaluate the trained models on a holdout set of blinded patient samples  Videographer’s NOTE: do not use take1

# Results

- Results

  - Raman spectra with the corresponding average spectra revealed distinct molecular signatures across each sample type acquired from single small extracellular vesicles isolated from tissue, blood, and saliva samples [1].

    - LAB MEDIA: Figure 2. Video editor: Sequentially Highlight panels A , B and C.

  - Linear Discriminant Analysis revealed clear clustering of extracellular vesicle data according to their source—tissue, blood, or saliva [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight panel (D), pointing to the three clustered color-coded groups labeled tissue (purple), blood (turquoise), and saliva (orange).

  - Binary classification using a Support Vector Machine classifier achieved the highest accuracy for tissue samples at 90.1% [1], followed by blood at 70.9% [2], and saliva at 60.7% [3].

    - LAB MEDIA: Figure 2E. Video editor: Highlight BLUE BAR.

    - LAB MEDIA: Figure 2E. Video editor: Highlight CYAN BAR

    - LAB MEDIA: Figure 2E. Video editor: Highlight ORANGE BAR

  - LDA-based classification splits clearly separated healthy and gastric cancer samples in tissue-derived extracellular vesicle data [1].

    - LAB MEDIA: Figure 2 F G H. Video editor: Highlight panel (F), showing the green and red split plots.

  - Similar LDA-based classification splits for blood- and saliva-derived extracellular vesicle data showed less optimal separation between healthy and cancer samples [1].

    - LAB MEDIA: Figure 2 F G H. Video editor: Highlight panel (G) and (H)

  - Raman spectra of doxorubicin-incubated vesicles without graphene showed consistent peaks at approximately 1081, 1206, and 1440 centimeters inverse [1].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the blue-labeled DOX peaks.

  - With graphene, an additional D peak at approximately 1350 centimeters inverse and a G peak at approximately 1580 centimeters inverse were observed, serving as internal standards [1].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the purple-labeled D and G peaks.

  - The ratio of the doxorubicin peak at 442 centimeters inverse to the graphene G peak increased with higher drug concentrations [1] and longer incubation times [2].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the 3 yellow bars .

    - LAB MEDIA: Figure 3C. Video editor: Highlight the tallest yellow bar in the first group corresponding to “0.5DOX Conc” . and “2” incubation time

- Microliters
Pronunciation link: https://www.merriam-webster.com/dictionary/microliter
IPA: /ˈmaɪ.kroʊˌliː.tər/
Phonetic Spelling: my·kroh·lee·ter

- Extracellular
Pronunciation link: https://www.merriam-webster.com/dictionary/extracellular
IPA: /ˌɛk.strəˈsɛl.jə.lɚ/
Phonetic Spelling: ek·struh·sel·yuh·ler

- Vesicle
Pronunciation link: https://www.merriam-webster.com/dictionary/vesicle
IPA: /ˈvɛsɪkəl/
Phonetic Spelling: ves·ih·kuhl

- Plasmonic
Pronunciation link: https://www.merriam-webster.com/dictionary/plasmonic
IPA: /plæzˈmɑːnɪk/
Phonetic Spelling: plaz·mon·ik

- Desiccator
Pronunciation link: https://www.merriam-webster.com/dictionary/desiccator
IPA: /ˈdɛsɪˌkeɪtər/
Phonetic Spelling: dess·ih·kay·ter

- Confocal
Pronunciation link: https://www.merriam-webster.com/dictionary/confocal
IPA: /kɑnˈfoʊkəl/
Phonetic Spelling: kon·foh·kuhl

- Raman
Pronunciation link: https://www.merriam-webster.com/dictionary/Raman
IPA: /ˈrɑːmən/
Phonetic Spelling: rah·muhn

- Nanometers
Pronunciation link: https://www.merriam-webster.com/dictionary/nanometer
IPA: /ˈnænəˌmiːtər/
Phonetic Spelling: nan·uh·mee·ter

- Milliwatts
Pronunciation link: https://www.merriam-webster.com/dictionary/milliwatt
IPA: /ˈmɪlɪˌwɑːt/
Phonetic Spelling: mil·ih·wot

- Silicon
Pronunciation link: https://www.merriam-webster.com/dictionary/silicon
IPA: /ˈsɪlɪkən/
Phonetic Spelling: sil·ih·kuhn

- Micrometer
Pronunciation link: https://www.merriam-webster.com/dictionary/micrometer
IPA: /maɪˈkrɑːmɪtər/
Phonetic Spelling: my·krah·mih·ter

- Graphene
Pronunciation link: https://www.merriam-webster.com/dictionary/graphene
IPA: /ˈɡræfˌiːn/
Phonetic Spelling: graf·een

- Spectra
Pronunciation link: https://www.merriam-webster.com/dictionary/spectra
IPA: /ˈspɛktrə/
Phonetic Spelling: spek·truh

- Savitzky-Golay
Pronunciation link: https://www.howtopronounce.com/savitzky-golay
IPA: /səˈvɪtski ɡoʊˈleɪ/
Phonetic Spelling: suh·vits·kee goh·lay

- Fluorescence
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescence
IPA: /ˌflʊrˈɛsəns/
Phonetic Spelling: floor·ess·uhns

- Signal-to-noise
Pronunciation link: https://www.howtopronounce.com/signal-to-noise
IPA: /ˈsɪɡnəl tuː nɔɪz/
Phonetic Spelling: sig·nuhl too noyze

- Polynomial
Pronunciation link: https://www.merriam-webster.com/dictionary/polynomial
IPA: /ˌpɑːlɪˈnoʊmiəl/
Phonetic Spelling: pah·luh·noh·mee·uhl

- Baseline
Pronunciation link: https://www.merriam-webster.com/dictionary/baseline
IPA: /ˈbeɪsˌlaɪn/
Phonetic Spelling: bays·line

- Normalization
Pronunciation link: https://www.merriam-webster.com/dictionary/normalization
IPA: /ˌnɔːrmələˈzeɪʃən/
Phonetic Spelling: nor·muh·luh·zay·shuhn

- Support Vector Machine
Pronunciation link: https://www.howtopronounce.com/support-vector-machine
IPA: /səˈpɔːrt ˈvɛktər məˈʃiːn/
Phonetic Spelling: suh·port vek·ter muh·sheen

- Classifier
Pronunciation link: https://www.merriam-webster.com/dictionary/classifier
IPA: /ˈklæsɪˌfaɪər/
Phonetic Spelling: klas·uh·fyer

- Stratified
Pronunciation link: https://www.merriam-webster.com/dictionary/stratified
IPA: /ˈstrætəˌfaɪd/
Phonetic Spelling: strat·uh·fyed

- Cross-validation
Pronunciation link: https://www.merriam-webster.com/dictionary/cross-validation
IPA: /ˌkrɔːsˌvæləˈdeɪʃən/
Phonetic Spelling: kross·val·uh·day·shuhn

- Linear Discriminant Analysis
Pronunciation link: https://www.howtopronounce.com/linear-discriminant-analysis
IPA: /ˈlɪniər dɪˈskrɪmɪnənt əˈnæləsɪs/
Phonetic Spelling: lin·ee·er dih·skrimh·uh·nuhnt uh·nal·uh·siss

- Dimensionality
Pronunciation link: https://www.merriam-webster.com/dictionary/dimensionality
IPA: /dɪˌmɛnʃəˈnælɪti/
Phonetic Spelling: dih·men·shuh·nal·ih·tee

- Gastric
Pronunciation link: https://www.merriam-webster.com/dictionary/gastric
IPA: /ˈɡæstrɪk/
Phonetic Spelling: gas·trik

- Doxorubicin
Pronunciation link: https://www.merriam-webster.com/dictionary/doxorubicin
IPA: /ˌdɑːksoʊˈruːbɪsɪn/
Phonetic Spelling: dok·soh·roo·buh·sin

- Incubation
Pronunciation link: https://www.merriam-webster.com/dictionary/incubation
IPA: /ˌɪnkjəˈbeɪʃən/
Phonetic Spelling: in·kyuh·bay·shuhn

- Inverse centimeters
Pronunciation link: https://www.howtopronounce.com/inverse-centimeters
IPA: /ˈɪnvɜːrs ˈsɛntɪˌmiːtərz/
Phonetic Spelling: in·vers sen·tuh·mee·terz

- Bimodal
Pronunciation link: https://www.merriam-webster.com/dictionary/bimodal
IPA: /ˌbaɪˈmoʊdəl/
Phonetic Spelling: bye·moh·duhl