# Submission ID #: 69259

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21124043

# Title: A Multiplex Serological Assay for the Detection of Antibody Responses to Arboviruses

# Authors and Affiliations:

# Marie-Fabrice Gasasira1*, Laura Garcia1, Françoise Donnadieu1, Stéphane Pelleau1, Jessica Vanhomwegen2, Lova Tsikiniaina Rasoloharimanana3, Ilaria Dorigatti4, Matthieu Schoenhals3,7, Aissatou Toure-Balde5, Inès Vigan-Womas5,6, Makhtar Niang5, Michael White1*

# 1Infectious Diseases Epidemiology and Analytics G5 Unit, Department of Global Health, Institut Pasteur, Université Paris-Cité

# 2Laboratory for Urgent Response to Biological Threats (CIBU), Environment and Infectious Risks (ERI) Unit, Institut Pasteur, Université Paris Cité

# 3Immunology of Infectious Diseases Unit, Institut Pasteur de Madagascar

# 4MRC Centre for Infectious Disease Analysis and Modelling, School of Public Health, Imperial College London

# 5Immunophysiopathology and Infectious Diseases Department, Institut Pasteur de Dakar

# 6Pasteur Network, Institut Pasteur, Paris

# 7Department of Immunology, Institut Pasteur

# Corresponding Authors:

Marie-Fabrice Gasasira 		(marie-fabrice.gasasira@pasteur.fr)

Michael White 			(michael.white@pasteur.fr)

# Email Addresses for All Authors:

Marie-Fabrice Gasasira 		(marie-fabrice.gasasira@pasteur.fr)

Laura Garcia 				(laura.garcia@pasteur.fr)

Françoise Donnadieu 			(francoise.donnadieu@pasteur.fr)

Stéphane Pelleau 			(stephane.pelleau@pasteur.fr)

Jessica Vanhomwegen 		(jessica.vanhomwegen@pasteur.fr)

Lova Tsikiniaina Rasoloharimanana 	(tsiky@pasteur.mg)

Ilaria Dorigatti 			(i.dorigatti@imperial.ac.uk)

Matthieu Schoenhals 			(matthieu.schoenhals@pasteur.fr)

Aissatou Toure-Balde 			(atoure85@yahoo.fr)

Inès Vigan-Womas 			(ines.vigan-womas@pasteur.sn)

Makhtar Niang 			(Makhtar.NIANG@pasteur.sn)

Michael White 			(michael.white@pasteur.fr)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21124043

3. Filming location: Will the filming need to take place in multiple locations?   Yes, Same building, two floors apart.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. YES

Current Protocol Length

Number of Steps: 13

Number of Shots: 35

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that only 2 introduction and 3 conclusion statements may be presented

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Marie-Fabrice Gasasira: In our lab, we measure immune responses to infectious diseases to better understand how they are transmitted in populations.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.1

What are the most recent developments in your field of research?

  - Marie-Fabrice Gasasira: Recent developments are multiplex assays, which allow us to measure many different antibodies in a single reaction.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What significant findings have you established in your field?

  - Marie-Fabrice Gasasira: We have shown that our serological test can simultaneously measure antibodies to many arboviruses.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.3

What research gap are you addressing with your protocol?

  - Marie-Fabrice Gasasira: Our validated assay to measure multiple responses to different arboviruses will help in effort to understand the transmission of these viruses across Africa.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.2

What advantage does your protocol offer compared to other techniques?

  - Marie-Fabrice Gasasira: Our protocol provides huge time savings and reproducibility in the preparation of the reagents for multiplex assays.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Michael White, Group leader, Infectious diseases epidemiology and analytics unit: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Michael White, Group leader, Infectious diseases epidemiology and analytics unit: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

This research has been approved by the National Ethics Board of Suriname, Ethics Board at The London School of Hygiene & Tropical Medicine, the Madagascar Comité d'Éthique de la Recherche Biomédicale and the Senegalese National Health Research Ethics Committee

# Protocol

- Automated Bead Coupling and Preparation for Downstream Assay

Demonstrators: Laura Garcia

  - To begin, obtain eight 96-deep well plates [1]. Prepare each plate by adding tip combs, monobasic sodium phosphate, Triton solution, sulpho-NHS, EDC and antigen solution [2].

    - WIDE: Talent looking at and labeling 8 deep well plates.

    - Talent pipetting a reagent into a labeled plate. 
AUTHORS: Please perform any 1 representative action. Also keep labeled glassware containing the reagents in the background of this shot
AND

TEXT ON PLAIN BACKGROUND:

Plate 1 (Tip Combs): load tip combs.

Plate 2 (Beads): Add 8 µL of 0.125x Triton and 200 µL of the bead regions of interest.

Plate 3 (Wash1): Add 200 µL of 100 mM Monobasic sodium phosphate / 0.125x Triton.

Plate 4 (Activation): Add 80 µL of 100 mM Monobasic sodium phosphate / 0.125x Triton + 10 µL sulfo-NHS + 10 µL EDC.

Plate 5 (Wash2): Add 250 µL of 1x PBS /0.125x Triton.

Plate 6 (Coupling): Transfer 1 mL of antigen solution to the allocated well.

Plate 7 (Wash3): Add 500 µL of PBS-TBN/0.125x Triton.

Plate 8 (Final plate, contains coupled beads): Add 1 mL of PBS-TBN + 0.125x Triton.

Video Editor: Please play both shots side by side in a split screen

  - To set up the coupling cycle on the automated processor, switch on the machine [1].  Set up the protocol using the software provided [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21124043

    - Talent switching on the automated processor.

    - SCREEN: Talent setting up the protocol on the software.

  - Load the plates into the allocated slots on the machine [1], then select the protocol [2], and start the cycle [3-TXT].

    - Talent loading Plates 1–8 into the processor slots.

    - SCREEN: The protocol is being selected on the PC screen.

    - SCREEN: The cycle is being started. TXT: Estimated run time: 2 h 50 min

  - After completion, switch off the machine as per manufacturer’s instructions [1].  Unload the plates as instructed [2] and visually check that Plate 8 contains the beads visible as a brown pellet [3]. Then export the run report from the instrument [4].

    - Talent switching off the machine.

    - Taleny unloading plates.

    - Shot of the Plate 8 well showing a brown pellet of beads.

    - SCREEN: PC display exporting the run report PDF.

  - Transfer the coupled beads from Plate 8 into individual 1.5-milliliter tubes for storage [1]. Store the coupled beads at 4 degree C until use [2].

    - Talent transferring the beads into each 1.5 mL tube.

    - Shot of the tubes being placed into a 4 °C storage rack.

  - To count the beads, thoroughly vortex the coupled beads [1].  Transfer 10 microliters to a cell-counting chamber [2], then follow the manufacturer’s instructions to read the bead count per milliliter [3].

    - Talent places the tube with beads on a vortex machine.

    - Talent transferring 10 µL from the tube to the counting chamber.

    - SCOPE/SCREEN: View through the cell counter screen showing the bead count result.

  - Check aggregation by visualising the image on the cell counter [1-TXT].

    - SCOPE/SCREEN: Show the aggregated beads image for comparison. TXT: Compare to image of non-aggregated beads

- Sample Preparation and Bead-Based Assay Setup for Imaging

Demonstrators: Laura Garcia, Marie-Fabrice Gasasira

  - Set up the plate layout [1]. Dilute samples and standard in PBT buffer in a separate non-binding plate [2].

    - SCREEN : The layout plan for the microplate and dilution plate is being seen.

    - Talent pipetting sample dilution into the non-binding plate.

  - Thoroughly vortex the coupled beads mix for 30 seconds [1], then sonicate for at least 60 seconds [2].

    - Talent places the coupled beads in a vortex.

    - Talent placing the beads tube into the sonicator.

  - Now transfer the adequate bead-antigen volumes to a centrifuge tube [1], and adjust the volume with PBT buffer [2]. Thoroughly mix the premix [3].

    - Talent transferring bead-antigen volume into a centrifuge tube.

    - Talent adding PBT buffer to adjust volume.

    - Talent vortexing or mixing the tube.

  - Distribute 50 microliters of the premix to the imaging microplate [1]. Then pipette 50 microliters of the diluted samples to the beads in the imaging microplate [2], and mix on a plate shaker [3-TXT].

    - Talent dispensing 50 µL of premix into each well of the imaging plate.

    - Operator adding 50 µL sample to each well.

    - Shot of the plate being placed into the shaker. TXT: Mixing: 30 min, RT, 700 rpm

  - Wash the plates three times manually by placing the plate on a magnetic rack at room temperature for 60 seconds [1]. Then hold the plate tightly and discard the supernatant [2]. Add 100 microliters PBT buffer [3] and leave on the magnet rack for 60 seconds before discarding the supernatant [4].

    - Talent placing the plate on a magnetic rack.

    - Talent discarding supernatant with plate held firmly.

    - Talent adding 100 µL PBT buffer.

    - Talent placing the plate on magnetic rack.

  - After the last wash, add 50 microliters of diluted secondary antibody and incubate on a shaker [1-TXT]. Perform three more washes again [2], then resuspend the beads in 150 microliters of PBT buffer [3]. Incubate on a shaker for 5 minutes at room temperature at 700 rpm [4].

    - Talent pipetting 50 µL secondary antibody into each well. TXT: Incubation: 15 min, RT, 700 rpm

    - Talent performing 1 wash.

    - Shot of 150 µL PBT being added to the plate.

    - Talent placing the plate on a shaker.

# Results

- Results

  - Linearity of antibody response was confirmed for selected arbovirus antigens tested at optimal concentrations on the ORPAL (or-pal) standard pool [1]. Parallel linearity of antibody response was observed when comparing the manual and three automated coupling methods [2].

    - LAB MEDIA: Figure 1. Video editor: Highlight the three colored curves sequentially

    - LAB MEDIA: Figure 2. Video editor: Please highlight the curves of each panel.

  - Median fluorescence intensity values obtained from 19 different plates for each antigen and control fell within the range of the mean [1]. A strong correlation was observed between the median fluorescence intensity values obtained from multiplex and single-plex assays using the ORPAL standard pool [2].

    - LAB MEDIA: Figure 3. Video editor: Sequentially highlight the blue curve for each panel

    - LAB MEDIA: Figure 4. Video editor: Please highlight the black dots and the diagonal line

  - In the Senegal cohort, a clear bimodal distribution was observed in the antibody response to CHIKV VLP (Chik-V-V-L-P) [1], and subtle bimodal tails were also seen for DENV1 NS1 (Den-V-one-N-S-one) [2] and RVFV NP (R-V-F-V-N-P) [3].

    - LAB MEDIA: Figure 5. Video editor: Highlight the Senegal (blue) density curve under the CHIKV VLP panel, showing two distinct peaks.

    - LAB MEDIA: Figure 5. Video editor: Highlight the Senegal (blue) density curve under the DENV1 NS1 panel

    - LAB MEDIA: Figure 5. Video editor: Highlight the Senegal (blue) density curve under the RVFV NP panel