# Submission ID #: 69305

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21138073

# Title: Porcine Cardiac Arrest Model Using an Implantable Defibrillator

# Authors and Affiliations:

# Benjamin Stage Storm1–3, Knut Tore Lappegård2,3, Charlotte Björk Ingul1,4, Erik Waage Nielsen1,2,3,5, Bent Aksel Nilsen1,3, Anette Nyjordet1,6, Ole-Jakob How1,2, Bjørn Faldaas1,4

# 1Nord University

# 2UiT The Arctic University of Norway

# 3Nordland Hospital Trust

# 4NTNU The Norwegian University of Science and Technology

# 5Department of Pain Medicine and Research, Oslo University Hospital and University of Oslo

# 6Helgeland Hospital Trust

# Corresponding Authors:

# Benjamin Stage Storm		benjamin.s.storm@nord.no

# Email Addresses for All Authors:

# Knut Tore Lappegård			knut.tore.lappegard@nordlandssykehuset.no

# Charlotte Björk Ingul			charlotte.b.ingul@ntnu.no

# Erik Waage Nielsen			erik.waage.nielsen@nordlandssykehuset.no

# Bent Aksel Nilsen			bent.aksel.nilsen@nordlandssykehuset.no

# Anette Nyjordet			anette.nyjordet@helgelandssykehuset.no

# Ole-Jakob How			ole-jakob.how@uit.no

# Bjørn Faldaas				bjorn.faldaas@nord.no

# Benjamin Stage Storm		benjamin.s.storm@nord.no

## Author Questionnaire

1. 1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 02/04/2026

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps: 25

Number of Shots: 56 (23 SC)

# Introduction

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone statements with sufficient context.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Erik Nielsen: We aimed to establish a reproducible ventricular fibrillation-cardioversion model that enhances consistency and reduces animal use in resuscitation research.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

What technologies are currently used to advance research in your field?

  - Charlotte Ingul: We use an implantable cardioverter-defibrillator to reliably induce ventricular fibrillation, perform cardioversion and record intracardiac electrocardiogram.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What advantage does your protocol offer compared to other techniques?

  - Knut Lappegård: Compared to other methods, our approach achieved a 92% circulation restoration success with artefact-free rhythm monitoring during cardiopulmonary resuscitation.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

What are the current experimental challenges?

  - Knut Lappegård: The main challenge is the need for specialized equipment and skilled operators for ICD implantation and programming.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How will your findings advance research in your field?

  - Knut Lappegård: Our model increases resuscitation success from ~50% to 90%, enabling repeated ventricular fibrillation-CPR-cardioversion cycles per animal and significantly reduces animal use.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Norwegian Animal Research Authority

# Protocol

NOTE: Show this as a title card slide against a plain background just before section 2’s title and after the ethics card

Animal preparation:

- Obtain Norwegian Landrace pig (~56 days old)

- Maintain sedation with IV Ketamine or Thiopental

- Wash, shave and disinfect the neck, jaw, groin, and belly

- Attach ECG and pulse oximeter; confirm stable readings

- Start IV infusions (Thiopental; Midazolam + Morphine + Ringer’s)

- Provide O2, intubate under deep anesthesia and initiate controlled ventilation

- Arterial Catheter and Central Venous Catheter (CVC) Placement

Demonstrators: Benjamin Storm, Bent Nielsen

  - After preparing the pig, turn the deeply anesthetized animal into a supine position [1-TXT] and fixate the limbs using a gauze bandage [2].

    - WIDE: Talent repositioning the pig into a supine position on the procedure table. TXT: Deep anesthesia: Pentobarbital (200 - 300 mg IV) + O2 (6 L/min)

    - Talent securing the pig’s limbs with gauze bandages.

Author’s NOTE: 2 alternatives were filmed for 2.1.1, 2.1.2, 2.2.1

  - Disinfect the neck, jaw, groin, and belly using chlorhexidine at a concentration of 5 milligrams per milliliter in ethanol [1] and cover the disinfected areas with sterile drapes [2].

    - Talent applying chlorhexidine solution to the neck, jaw, groin, and belly.

    - Talent placing sterile drapes over the disinfected regions.

  - Stretch a hind leg to extend the iliac artery [1]. Using ultrasound, locate the iliac artery [2] and insert a 5 French Pulse Index Continuous Cardiac Output arterial catheter using the Seldinger technique [3].

    - Talent extending and holding the hind leg to expose the iliac region.

    - Talent placing the ultrasound probe to identify the iliac artery.

    - Talent inserting the arterial catheter using the Seldinger technique under ultrasound guidance.

  - Connect the arterial catheter to a prefilled pressure transducer and flush set [1]. After zeroing the transducer, confirm a good arterial pressure tracing and then release the hind leg [2].

    - Talent attaching the arterial catheter to the pressure transducer and flush system.

    - SCREEN: 2.4.2. SCREEN- Monitor showing a stable arterial pressure waveform. 00:07-00:18 Video editor: Highlight the red tracing row and red values labeled ABP

    - Talent releasing and repositioning the hind leg. TXT: Perform bladder catheterization HIND LEG RELEASE NOT FILMED. NOTE: not filmed, VO merged

  - After tilting the pig into the Trendelenburg position, increase ventilator positive end-expiratory pressure to 10 centimeters of water to distend the neck veins [1].

    - Talent adjusting the table to place the pig in the Trendelenburg position NOTE: not filmed, VO merged

    - Shot of the positive end-expiratory pressure being increased to 10 centimeter H2O.

  - Using ultrasound, locate the right external jugular vein and insert a three-lumen central venous catheter using the Seldinger technique [1]. Verify venous backflow on all lumens and transfer sedation and fluid infusions to the central venous catheter [2]. Then, connect a pressure transducer to the third lumen and confirm a central venous pressure tracing [3].

    - Talent inserting the three-lumen central venous catheter using the Seldinger technique.

    - Talent reconnecting sedation and fluid infusion lines to the central venous catheter.

    - Talent attaching the pressure transducer to the third lumen of the catheter. NOTE: Step 2.6 and 3.1 were shot together

- Vascular Introducer and Implantable Cardioverter-Defibrillator (ICD) Electrode Placement

Demonstrators: Benjamin Storm, Bent Nielsen, Knut Lappegård

  - After locating the right external jugular vein, insert a 7 French vascular introducer using the Seldinger technique [1]. Confirm venous backflow and flush the introducer with saline [2].

    - Talent inserting the vascular introducer using the Seldinger technique.

    - Talent flushing the introducer with saline.

  - Decrease ventilator positive end-expiratory pressure to 5 centimeters of water [1] and confirm introducer tip placement by transesophageal echocardiography or fluoroscopy [2].

    - Ventilator interface showing positive end-expiratory pressure adjusted to 5 centimeter H2O.

    - Talent showing the echocardiography monitor and pointing to the area to confirm tip placement.

  - Now, insert a single coil implantable cardioverter-defibrillator electrode through the vascular introducer and advance it into the apex of the right ventricle [1]. Connect the implantable cardioverter-defibrillator lead to a pacing system analyzer using the dedicated connector lead. Ensure that the Intracardiac R-waves are greater than 6 millivolts [2].

    - Talent advancing the implantable cardioverter-defibrillator electrode through the introducer.

    - Talent connecting the lead to the pacing system analyzer.

  - Then, expose the helix of the implantable cardioverter-defibrillator lead [1] and fasten the tip to the endocardium of the right ventricle at the apex or distal septum [2-TXT].

    - Talent extending the helix mechanism of the lead.

    - SCREEN: Imaging view showing the lead tip being fixed to the right ventricular endocardium. TXT: Confirm lead position: Pacing threshold: <2.5 V; 0.4 ms; Impedance: 500-1500 Ω for pacing and 50-100 Ω for shock coil

  - After confirming lead position, using diathermy, make a 4-centimeter horizontal skin incision below the left clavicle [1]. Using forceps and the fingers, create a small subcutaneous pocket large enough to contain the implantable cardioverter-defibrillator [2].

    - Talent performing a horizontal skin incision with diathermy below the left clavicle.

    - Talent creating a subcutaneous pocket using forceps and fingers.

  - Connect the lead to the implantable cardioverter-defibrillator and insert the device into the subcutaneous pocket [1] and verify stable right ventricular lead position [2].

    - Talent connecting the lead to the implantable cardioverter-defibrillator header and placing the device into the subcutaneous pocket. Author’s NOTE: 3.6.1 is included in the attached clip "3.5 Implantation of ICD.mp4" time 1:35-1:58

    - SCREEN: 3.6.2 ICD programmers module stable electrical parameters 00:00-00:10. Video editor: Highlight the tracing in “RV unfiltered” row

- Pacemaker/Defibrillator Programming and Therapy Delivery

Demonstrator: Knut Lappegård

  - Switch the pacing system analyzer from pacing system analyzer mode to programmer
mode [1]. Using the supplied antenna, connect the implantable cardioverter-defibrillator to the programmer and confirm wireless telemetry Program the pacing mode to desired settings after connecting the ICD to the programmer and review the R-wave, pacing threshold, and impedances [1].

    - WIDE: Talent navigating the pacing system analyzer interface. NOTE: entire step not filmed, VO is completely changed based on screen recording

    - SCREEN: 4.1.2 Intercardiac pacing and R wave threshold 00:06-00:17  Video editor: Highlight the 4 boxes below ‘R.Ventricle’ in the middle of the screen and the box “additional parameters” on the right

  - Then, program tachyarrhythmia therapy parameters to the desired values [1]. Now, on the programmer screen, select the Test icon and open the Ventricular Fibber and NIPS folder [2]. In the Ventricular Fibber, select DC Fibber at 7.5 volts for 2 seconds to enable ventricular fibrillation induction [3].

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 2.mov 00:00-00:04. Video editor: Highlight “Tachy: 1 Zone Configuration” box

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 2.mov 00:04-00:08. Video editor: Highlight Ventricular Fibber and Ventricular NIPS.

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 2.mov 00:08-00:10. Video editor: Highlight DC Fibber and 2.0 Sec box towards DC fibber’s right

  - When ventricular fibrillation is induced, select a therapy delivery option from the lower left corner of the screen [1]. When ventricular fibrillation is induced, use Automatic delivery to allow the device to deliver therapy according to programmed parameters [1].

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 2.mov 00:08-00:10. Video editor: Highlight the entire box “device based testing”

    - SCREEN: Automatic therapy option selected. TXT: Choose Timed or Manual delivery as required

  - Induce ventricular tachycardia by selecting the Ventricular NIPS icon [1]. Choose the Burst icon and set the desired cycle length, such as 240 milliseconds [2], then press Hold to Apply Burst for up to 20 seconds [3].

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 7.mov 11:30-11:33.

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 7.mov 11:40-11:48.

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 7.mov. 20:35-20:42

  - If ventricular tachycardia or ventricular fibrillation is induced, deliver therapy according to the programmed settings in the Tachy folder [1]. Select the Parameters icon to review settings and ensure restoration of sinus rhythm [2].

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 2.mov” 01:23-01:30.

    - SCREEN: 4 2026-0325 Induction of VF and cardioversion - ICD programmer module 2.mov” 01:54-01:55, hold frame at 01:55 and highlight the entire configuration settings below the “tachy”.

- Establishing Non-Invasive Continuous Carotid Doppler Monitoring and Cardiac Arrest Studies

Demonstrators: Charlotte Ingul and Bjørn Faldaas

  - Monitor carotid flow using the intra-arterial pressure tracing from the left carotid artery [1] and supplement this, if available, with a non-invasive ultrasound-guided flow velocity measurement in the right carotid artery using a hands-free continuous Doppler [2].

    - Talent observing the monitor displaying the intra-arterial pressure tracing from the left carotid artery.

    - Talent positioning the hands-free Doppler system for continuous monitoring of the right carotid artery.

  - Attach the Doppler probe perpendicular to the left carotid artery [1] and apply generous amounts of ultrasound gel to ensure proper skin contact [2].

    - Talent positioning the Doppler probe perpendicular to the left carotid artery.

    - Close-up shot of ultrasound gel being applied to the skin under the probe.

  - Check the ultrasound monitor to confirm a good carotid flow trace [1] and then confirm the return of spontaneous circulation [2]. Next, fixate the probe thoroughly using adhesive tape [3]. Monitor the cardiac rhythm using the intracardiac electrocardiogram obtained from the pacemaker and the superficial electrocardiogram tracings displayed on the monitor [4].

    - SCREEN: 5.3.1 5.4.2 2025-0325 RescueDoppler carotid artery blood flow trace Screen Recording 2026-03-25 095903 00:00-00:05 Highlight the right panel tracing.

    - SCREEN: 5.3.1 5.4.2 2025-0325 RescueDoppler carotid artery blood flow trace Screen Recording 2026-03-25 095903 00:06-00:09

    - Talent securing the Doppler probe in place with adhesive tape.

    - Talent observing the pacing system and monitor simultaneously.

  - Confirm the return of spontaneous circulation using the invasive arterial pressure from the left carotid artery on the monitor [1] and the non-invasive ultrasound-guided flow velocity measurement in the right carotid artery [2].

    - SCREEN: monitor displaying invasive arterial pressure tracing.

    - SCREEN: Doppler display showing carotid flow velocity signal. NOTE: Merged with 5.3 as sufficient footage is not available

  - After inducing ventricular fibrillation or ventricular tachycardia, observe cessation of carotid flow on the Doppler trace and maintain the required no flow period [1]. Perform manual cardiopulmonary resuscitation, mechanical compressions, or other interventions as specified in the study protocol [2].

    - SCREEN: 5.5.1 Doppler display showing loss of carotid flow signal and 5.6.3 Conversion to sinus rhythm 00:06-00:17.

    - Talent performing cardiopulmonary resuscitation or initiating protocol-defined interventions.

  - When required, convert the pig to sinus rhythm by delivering a manual DC shock [1]. Adjust the programmed energy level based on the size of the animal [2].

    - SCREEN: 5.5.1 Doppler display showing loss of carotid flow signal and 5.6.3 Conversion to sinus rhythm 01:00-01:10

    - SCREEN: Delivery of a manual defibrillation shock through the device.

  - Terminate ventricular fibrillation within 120 seconds to ensure a high conversion rate [1]. If ventricular tachycardia is present, achieve conversion using anti-tachycardia pacing or synchronized cardioversion [2].

    - SCREEN: 5.7.1 5.7.2 Anti-tachycardia pacing programming and delivery 00:03-00:05 AND 00:10-00:13.

    - SCREEN: 5.7.1 5.7.2 Anti-tachycardia pacing programming and delivery 00:42-00:59.

  - Finally, allow the animal to rest and ensure normalization of physiological parameters, including blood pressure, end-tidal carbon dioxide, and pH [1].

    - Talent monitoring the resting animal after intervention and looking at the screen to check physiological parameters.

# Results

- Results

  - Using the ventricular fibrillation fibber mode consistently induced ventricular fibrillation or ventricular tachycardia in all 11 animals and cardioverted all animals to sinus rhythm with return of spontaneous circulation [1].

    - LAB MEDIA: Table 1.

  - The average success rate for achieving return of spontaneous circulation after induced ventricular fibrillation was around 92 percent [1].

    - LAB MEDIA: Table 1. Video editor: Highlight the “Arrhythmia conversion rate” column.

  - On average, 18 arrhythmias, including ventricular fibrillation and ventricular tachycardia, were induced per animal using an implantable cardioverter-defibrillator [1].

    - LAB MEDIA: Table 1. Video editor: Sequentially highlight the columns under the label “pacemaker induced arythmia” consisting “ventricular fibrillation” and “ventricular tachycardia”

Sedation

Pronunciation link: https://www.merriam-webster.com/dictionary/sedation

IPA: /sɪˈdeɪʃən/

Phonetic Spelling: sih·day·shuhn

Ketamine

Pronunciation link: https://www.merriam-webster.com/dictionary/ketamine

IPA: /ˈkɛtəˌmiːn/

Phonetic Spelling: keh·tuh·meen

Thiopental

Pronunciation link: https://www.merriam-webster.com/dictionary/thiopental

IPA: /ˌθaɪoʊˈpɛntəl/

Phonetic Spelling: thye·oh·pen·tuhl

Intubate

Pronunciation link: https://www.merriam-webster.com/dictionary/intubate

IPA: /ˈɪntuːˌbeɪt/

Phonetic Spelling: in·too·bayt

Ventilation

Pronunciation link: https://www.merriam-webster.com/dictionary/ventilation

IPA: /ˌvɛntəˈleɪʃən/

Phonetic Spelling: ven·tuh·lay·shuhn

Catheter

Pronunciation link: https://www.merriam-webster.com/dictionary/catheter

IPA: /ˈkæθətər/

Phonetic Spelling: kath·uh·ter

Supine

Pronunciation link: https://www.merriam-webster.com/dictionary/supine

IPA: /ˈsuːpaɪn/

Phonetic Spelling: soo·pyne

Chlorhexidine

Pronunciation link: https://www.merriam-webster.com/dictionary/chlorhexidine

IPA: /ˌklɔːrˈhɛksɪdiːn/

Phonetic Spelling: klor·hek·suh·deen

Iliac

Pronunciation link: https://www.merriam-webster.com/dictionary/iliac

IPA: /ˈɪliæk/

Phonetic Spelling: il·ee·ak

Ultrasound

Pronunciation link: https://www.merriam-webster.com/dictionary/ultrasound

IPA: /ˈʌltrəˌsaʊnd/

Phonetic Spelling: uhl·truh·sownd

Seldinger

Pronunciation link: https://www.howtopronounce.com/seldinger

IPA: /ˈsɛldɪŋər/

Phonetic Spelling: sel·ding·er

Transducer

Pronunciation link: https://www.merriam-webster.com/dictionary/transducer

IPA: /trænzˈduːsər/

Phonetic Spelling: tranz·doo·ser

Trendelenburg

Pronunciation link: https://www.merriam-webster.com/dictionary/Trendelenburg%20position

IPA: /trɛnˈdɛlənˌbɝːɡ/

Phonetic Spelling: tren·del·uhn·burg

Jugular

Pronunciation link: https://www.merriam-webster.com/dictionary/jugular

IPA: /ˈdʒʌɡjələr/

Phonetic Spelling: jug·yuh·ler

Echocardiography

Pronunciation link: https://www.merriam-webster.com/dictionary/echocardiography

IPA: /ˌɛkoʊˌkɑːrdiˈɑːɡrəfi/

Phonetic Spelling: ek·oh·kar·dee·og·ruh·fee

Fluoroscopy

Pronunciation link: https://www.merriam-webster.com/dictionary/fluoroscopy

IPA: /ˌflʊrˈɑːskəpi/

Phonetic Spelling: floor·os·kuh·pee

Defibrillator

Pronunciation link: https://www.merriam-webster.com/dictionary/defibrillator

IPA: /diːˈfɪbrəˌleɪtər/

Phonetic Spelling: dee·fib·ruh·lay·ter

Intracardiac

Pronunciation link: https://www.merriam-webster.com/dictionary/intracardiac

IPA: /ˌɪntrəˈkɑːrdiæk/

Phonetic Spelling: in·truh·kar·dee·ak

Endocardium

Pronunciation link: https://www.merriam-webster.com/dictionary/endocardium

IPA: /ˌɛndoʊˈkɑːrdiəm/

Phonetic Spelling: en·doh·kar·dee·uhm

Diathermy

Pronunciation link: https://www.merriam-webster.com/dictionary/diathermy

IPA: /ˌdaɪəˈθɝːmi/

Phonetic Spelling: dye·uh·thur·mee

Subcutaneous

Pronunciation link: https://www.merriam-webster.com/dictionary/subcutaneous

IPA: /ˌsʌbkjuːˈteɪniəs/

Phonetic Spelling: sub·kyoo·tay·nee·uhs

Tachyarrhythmia

Pronunciation link: https://www.merriam-webster.com/dictionary/tachyarrhythmia

IPA: /ˌtækiəˈrɪðmiə/

Phonetic Spelling: tak·ee·uh·rith·mee·uh

Ventricular

Pronunciation link: https://www.merriam-webster.com/dictionary/ventricular

IPA: /vɛnˈtrɪkjələr/

Phonetic Spelling: ven·trik·yuh·ler

Fibrillation

Pronunciation link: https://www.merriam-webster.com/dictionary/fibrillation

IPA: /ˌfaɪbrəˈleɪʃən/

Phonetic Spelling: fye·bruh·lay·shuhn

Doppler

Pronunciation link: https://www.merriam-webster.com/dictionary/Doppler

IPA: /ˈdɑːplər/

Phonetic Spelling: dop·ler

Carotid

Pronunciation link: https://www.merriam-webster.com/dictionary/carotid

IPA: /kəˈrɑːtɪd/

Phonetic Spelling: kuh·rot·id

Cardiopulmonary

Pronunciation link: https://www.merriam-webster.com/dictionary/cardiopulmonary

IPA: /ˌkɑːrdioʊˈpʊlməˌnɛri/

Phonetic Spelling: kar·dee·oh·pul·muh·nair·ee

Resuscitation

Pronunciation link: https://www.merriam-webster.com/dictionary/resuscitation

IPA: /rɪˌsʌsɪˈteɪʃən/

Phonetic Spelling: ree·suh·suh·tay·shuhn

Defibrillation

Pronunciation link: https://www.merriam-webster.com/dictionary/defibrillation

IPA: /diːˌfɪbrəˈleɪʃən/

Phonetic Spelling: dee·fib·ruh·lay·shuhn

Physiological

Pronunciation link: https://www.merriam-webster.com/dictionary/physiological

IPA: /ˌfɪziəˈlɑːdʒɪkəl/

Phonetic Spelling: fiz·ee·uh·loj·i·kuhl