# Submission ID #: 69314

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21140818

# Title: A Cost-Effective and Minimally Invasive Protocol for Chronic Multi-Site Electroencephalography Recording in Freely Moving Mice

# Authors and Affiliations:

# Kazi Rafsan Radeen1,2*, Khadijah Shanazz3*, Caili Hao1, Danielle Lauren Weiss4, David T. Blake3, Xingjun Fan1

# 1Department of Cellular Biology and Anatomy, Medical College of Georgia at Augusta University, Augusta, GA 30912

# 2National Institute of Biotechnology, Dhaka, Bangladesh

# 3Department of Neuroscience and Regenerative Medicine, Medical College of Georgia at Augusta University, Augusta, GA 30912

# 4Department of Neurology, Medical College of Georgia at Augusta University

# * These authors contributed equally

# Corresponding Authors:

# David T. Blake			dblake@augusta.edu

# Xingjun Fan 			xfan@augusta.edu

# Email Addresses for All Authors:

Kazi Rafsan Radeen		kradeen@augusta.edu

Khadijah Shanazz		kshanazz@augusta.edu; khadijah.shanazzlab@gmail.com

Caili Hao			chao@augusta.edu

# Danielle Lauren Weiss		dweiss@augusta.edu

# David T. Blake			dblake@augusta.edu

# Xingjun Fan 			xfan@augusta.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If Yes, can you record movies/images using your own microscope camera?

Yes

SCOPE: 2.2.1, 2.2.2, 2.3.1, 2.4.1, 2.4.2, 3.4.1, 3.4.2, 3.5.1, 3.5.2, 3.5.3, 3.5.4, 3.6.1, 3.6.2, 3.7.1, 4.1.1, 4.2.1, 4.2.2, 4.2.3, 4.3.1, 4.3.2, 4.4.1, 4.4.2, 4.5.1, 4.5.2, 4.6.1, 4.6.2.

Authors, please use your microscope camera to film the SCOPE shots and upload the files to your project page as soon as possible (Please refer to the guidelines in the last page): https://review.jove.com/account/file-uploader?src=21140818

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps: 23

Number of Shots: 49 (26 Scope)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Kazi Rafsan Radeen: This protocol enables cost-efficient, minimally invasive, high-quality mouse EEG recordings, making long-term neural monitoring accessible for preclinical research.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.2.1

What are the current experimental challenges?

  - Kazi Rafsan Radeen: The major challenges of chronic EEG recording are implant instability and head cap longevity, signal degradation, massive data analysis, and inaccessibility of expensive commercialized systems.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.5.1

CONCLUSION:

What significant findings have you established in your field?

  - Xingjun Fan: Our study established a simple, stable EEG system in freely moving mice, showing reliable long-term recordings and clear seizure-related discharges.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll:3.2.1

How will your findings advance research in your field?

  - David T. Blake: This protocol advances neuroscience by providing accessible, long-term EEG recordings in freely moving rodents, supporting broader studies of brain disorders and therapies.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.5.1

What questions will future research focus on?

  - David T. Blake: Future research will focus on refining electrode design, expanding multi-region recordings, and integrating EEG with behavioral, pharmacological, and genetic manipulations.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Augusta University Animal Care and Use Committee

# Protocol

- Preparing Plug Pins with Electrodes

Demonstrator: Kazi Rafsan Radeen

NOTE to Authors: Please consider the following key points for shots involving live animals/survival surgery (as applicable) to avoid raising concerns by JoVE’s veterinary reviewers.

•	If lifting the animal by the tail, hold it close to the tail base, not far from it.

•	Shave 150% of the area surrounding a surgical site (preferably using a depilatory cream). Ensure that there are no skin injuries and no fur in the surgical field.

•	Prep the surgical site with both iodine-based scrubs and alcohol.

•	Use sterile gloves only for surgery (not examination or non-sterile gloves).

•	Make skin incisions with a surgical blade, not scissors.

•	Avoid using silk thread for closing skin incisions in survival surgeries.

  - To begin, use a USB type B female plug with 5 pins and solder it with a 0.003-inch platinum-iridium wire [1-TXT]. Do not use the fourth pin, as it is the ground pin, and instead use the other 4 pins to connect the electrodes [3].

    - WIDE: Talent holding a USB type B female plug and platinum-iridium wire on the workbench. TXT: Remove the coating from the wire beforehand

    - Talent shows the unused fourth pin and then shows other pins being connected to electrodes.

  - Bend the pins by approximately 45 degrees [1] and wrap the wires around each pin twice to ensure a strong connection that will not come off [2].

    - SCOPE: bending the plug pins using precision pliers.

    - SCOPE: wrapping the platinum-iridium wires around the bent pins.

  - Now, apply a small amount of solder rosin flux paste to each pin to clean the surface for effective soldering [1].

    - SCOPE:  applying solder rosin flux paste onto the pins with a small applicator.

  - Then, place a small piece of solder wire on each pin [1]. Using a soldering iron, melt the solder wire to permanently attach the platinum-iridium wire to the pins [2].

    - SCOPE: placing solder wire on the pins.

    - SCOPE: soldering iron melting the solder wire and fixing the platinum-iridium wire to the pin.

- Animal Preparation Before Implantation

  - Mount the anesthetized mouse on a stereotaxic stage [1-TXT]. After confirming deep anesthesia, start the isoflurane-oxygen ventilator on the nose at a rate of 1.5 percent volume per volume [2].

    - Talent mounting the anesthetized mouse onto the stereotaxic stage. TXT: Anesthesia: 1.5% Isoflurane

    - Talent turning on the isoflurane/oxygen ventilator.

  - Now, inject the mouse with carprofen at 5 milligrams per kilogram to reduce inflammation and pain [1]. Inject dexamethasone at 0.1 milligrams per kilogram intramuscularly to reduce inflammation and brain swelling [2]. Apply eye ointment to prevent the eyes from drying during anesthesia [3].

    - Talent injecting carprofen into the mouse.

    - Talent injecting dexamethasone intramuscularly.

    - Talent applying eye ointment to the mouse’s eyes.

  - After removing the fur, clean the incision site on the skull with 70 percent ethanol [1] followed by iodine pads while following aseptic technique [2].

    - Talent cleaning the exposed skin with 70 percent ethanol.

    - Talent swabbing the incision site with iodine pads.

  - Next, use a scalpel to make a single clear incision in the middle of the head [1]. Cut around the incision to expose the site of electrode implantation, ensuring that the muscles are not exposed [2].

    - SCOPE: making a precise incision with a scalpel.

    - SCOPE:  carefully cutting around the incision to expose the skull.

  - Wash the skull surface with 0.9 percent sodium chloride solution [1]. Dry the surface [2] and scrub the skull with cotton swabs dipped in hydrogen peroxide [3]. Use a scalpel to remove any remaining connective tissue on the bone [4].

    - SCOPE:  rinsing the exposed skull surface with sodium chloride solution.

    - SCOPE:  drying the skull with sterile gauze.

    - SCOPE:  scrubbing the skull with cotton swabs dipped in hydrogen peroxide.

    - SCOPE: removing residual connective tissue from the bone with a scalpel.

  - After 1 minute, wash the surface again with 0.9 percent sodium chloride solution [1] and dry it before drilling [2].

    - SCOPE:  rinsing the skull surface with sodium chloride solution.

    - SCOPE:  drying the skull with sterile gauze.

  - Use a dental drill to roughen the skull surface to promote acrylic adhesion [1].

    - SCOPE: drilling the surface of the skull with a dental drill.

- Implanting Electrodes

  - Measure and mark the electrode implantation sites at anteroposterior positions plus 2 and minus 4, and mediolateral positions plus or minus 1.5 [1].

    - SCOPE: marking the skull with precise electrode implantation coordinates using a fine surgical marker.

  - Drill the surface of the skull with 1.4-millimeter drills [1] and insert 4 bone screws of 1.5 millimeters into the drilled sites using precision screwdrivers [2-TXT]. Ensure the screws touch only the surface and do not enter the brain [3].

    - SCOPE: drilling the skull surface with a 1.4 millimeter drill.

    - SCOPE:  placing bone screws into the skull using precision screwdrivers. TXT: Do not penetrate through the bone

    - SCOPE: Close-up of screws secured on the skull surface.

  - Now, wash the skull with 0.9 percent sodium chloride solution if blood is present [1]. Wait until the surface completely dries [2-TXT].

    - SCOPE: rinsing the skull with sodium chloride solution.

    - SCOPE: pointing to the dry skull. TXT: Use a vacuum if necessary to remove excess fluid

  - Wrap the wires from the USB connector around each screw 2 to 4 times [1] and cut off any excess wire [2].

    - SCOPE: wrapping platinum-iridium wires around screws.

    - SCOPE:  cutting the excess wire with fine scissors.

  - Apply a small drop of super glue on the top of each screw and let it dry to strengthen the connection [1]. Ensure that the connector is positioned in the middle of the skull without touching the skull or electrodes [2].

    - SCOPE: applying a drop of super glue on each screw.

    - SCOPE: Shot of the connector fixed in the middle of the skull.

  - Then, slowly build the headcap using cyanoacrylate, applying thin layers to prevent overheating of the bone [1]. Using dental cement, attach a large screw to the flat surface of the connector to facilitate USB cable plugging [2-TXT].

    - SCOPE:  carefully applying cyanoacrylate layer by layer to build the headcap.

    - SCOPE: fixing a large screw onto the flat connector surface using dental cement. TXT: Ensure the screw does not contact the bone or animal

  - Allow the headcap to dry for at least 2 minutes before removing the mouse from the stereotaxic stage [1]. Place the mouse on a heating pad and observe it for 24 hours [2].

    - Talent examining the headcap and removing the mouse from the stage.

    - Wide shot of the mouse placed on a heating pad.

  - Treat the mouse with carprofen at 5 milligrams per kilogram every 12 hours for 7 days [1]. Wait for 2 weeks to let the bone grow at the acrylic interface before proceeding with electroencephalography or EEG recording [2].

    - Talent administering a carprofen injection to the mouse.

    - Shot of the mouse resting in its cage.

- Recording EEG

Demonstrator: Khadijah Shanaaz

  - Record the EEG signal of each mouse for 1 hour, including 30 minutes before Pentylenetetrazol treatment and 30 minutes after administering 20 milligrams per kilogram Pentylenetetrazol [1].

    - Talent monitoring a mouse connected to the setup while electroencephalography recording is in progress besides.

  - Plug the USB cable into the mouse's connector [1]. Attach the USB cable to a differential alternating current amplifier using alligator clips, set the gain to 10,000 and filter between 0.1 and 250 hertz [2]. Sample the electroencephalography signal at 1,000 hertz [3].

    - Close-up of the talent inserting the USB cable into the connector on the mouse.

    - Talent connecting the other end of the USB cable to the amplifier with alligator clips and adjusting the gain and filter settings.

    - Shot of screen showing the sampling frequency set to 1,000 hertz on the acquisition software.

  - Record the amplifier outputs simultaneously on the computer and display the signals in real time on the oscilloscope [1]. Connect the amplifier outputs to a data acquisition and signal conditioning USB device attached to the computer [2].

    - Shot of the screen showing the EEG output and waveform.

    - Close-up of the talent connecting the amplifier outputs to the data acquisition device linked to the computer.

  - Finally, record the EEG signal using the Python code and filter it between 0.1 hertz and 250 hertz [1] and visualize the data [2].

    - Shot of the screen showing Python script being executed to start the electroencephalography recording.

    - Talent looking at the generated data.

# Results

- Results

  - Electrodes were implanted in 20 C-57-BL-6J-background mice, including 5 wild-type mice, with a post-operative survival rate of 85% maintained up to 6 months after surgery [1].

    - LAB MEDIA: Figure 4B. Video editor: Highlight the survival curve.

  - EEG recordings captured pentylenetetrazol-induced electrophysiological changes, as shown by an increased number of interictal discharges in the mice following pentylenetetrazol injection [1].

    - LAB MEDIA: Figure 4C. Video editor: Highlight the tall bar labeled “PTZ”.

  - The amplitude of interictal discharges after pentylenetetrazol injection was visibly higher across three different electrodes, as shown in representative EEG traces [1].

    - LAB MEDIA: Figure 4A. Video editor: Sequentially highlight the 3 graphs from top to bottom

NOTE to the Authors:

1.  It's better if you upload the video files for the scope shots (tagged as SCOPE) after naming each file according to the shot number (3-digit bullet, e.g, 3.2.1., 3.1.3., etc).

Please note that every shot (3-digit bullets) should have the best corresponding video clip of only 15 to 25 seconds and not more than that, so that the voice narration can match the duration.

2.  But if you prefer to record all the steps together in a continuous video and upload a single file, that is okay.

In this case, you need to indicate the corresponding timestamp against each shot.

For example, if the action described in shot 2.1.2 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

Example:

Shot 2.1.2 SCOPE: performing ........... action.   xxx.mp4 00:30-00:45.

2.2.2 SCOPE: cutting the.................part... xxx.mp4 01:00-01:25

Again, only 20 to 25 seconds per shot

If a particular shot takes minutes to complete, please choose timestamps at the beginning and end of the process so that the total time is again within the 25-second limit.

Example: 3.1.1 SCOPE: inserting a 7-gauge intravenous needle into the aorta and clamping it securely.  xxx.mp4 00:00-00:10 and 02:30-02:40