# Submission ID #: 69343

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21149663

# Title: Multicenter Retrospective Study of Blood Flow Restriction Training After Anterior Cruciate Ligament Reconstruction

# Authors and Affiliations:

Dongsheng Liu¹*, Hongbing Zhang²*, Bo Zheng³*, Qi Yang²

# ¹Department of Rehabilitation Medicine, Suining County Hospital of Traditional Chinese Medicine 
²Department of Rehabilitation Medicine, The First Affiliated Hospital of Soochow University 
³Rehabilitation Department, Xuzhou Rehabilitation Hospital/The Affiliated Xuzhou Rehabilitation Hospital of Xuzhou Medical University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Qi Yang		cathyqq77@qq.com

# Email Addresses for All Authors:

# Dongsheng Liu		lds6882025@163.com
Hongbing Zhang	958466815@qq.com
Bo Zheng		477982292@qq.com

# Qi Yang		cathyqq77@qq.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our China Location Producer, Yuan Yue.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  30

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Ethics Committee of Suining County Hospital of Traditional Chinese Medicine

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Pre-Training Procedures and Blood Flow Restriction Training (BFRT)

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, instruct the patient to perform pain-free active knee range-of-motion exercises three to five times per day during postoperative weeks 0 to 2 [1]. While seated or lying in a supine position, gently move the knee within a comfortable and non-painful range [2].

    - WIDE: Talent guiding the patient and patient seated on a mat performing knee range-of-motion exercises.

    - Patient lying supine, slowly bending and extending the knee in a controlled manner.

  - Instruct the patient to maintain a supine position with the ankle elevated above the knee and the knee elevated above the heart for edema control [1]. Ask the patient to perform ankle pumps for 30 to 50 repetitions per set, for 3 sets per session, two times a day [2].

    - Patient lying supine with legs elevated using cushions to ensure ankle is higher than knee and knee is higher than heart.

    - Patient actively performing ankle pump exercises, flexing and extending the ankle rhythmically.

  - Instruct the patient to perform straight leg raises by maintaining full knee extension and raising the leg to an angle between 15 and 30 degrees [1]. Hold each raise for 5 to 10 seconds [2-TXT].

    - Patient lying supine with the non-exercising leg bent and performing a straight leg raise with the operated leg.

    - Close-up of the patient holding the leg in raised position for several seconds. TXT: Perform 10 sets of 10 repetitions/day

  - Now, apply cryotherapy for 10 to 15 minutes per session after exercise or whenever pain occurs [1-TXT].

    - Talent applying an ice pack to the knee while resting on a couch or bed. TXT: Provide assistance with activities of daily living

  - From postoperative week 2 onward, initiate progressive resistance training using knee extension and flexion machines two to three times per week [1-TXT].

    - Patient using a knee extension machine under supervision, performing controlled reps. TXT: 15-30 repetitions; 3 - 5 sets

  - Implement balance training by progressing from a double-leg stance to a single-leg stance [1]. Hold each stance for 30 seconds and perform 10 repetitions per day [2-TXT].

    - Talent guiding and patient standing on a balance pad with both legs, arms outstretched for stability.

    - Patient shifting to a single-leg stance and maintaining balance. TXT: Begin advanced activities of daily living training; proceed to progressive power training as appropriate

  - Next, instruct the patient to lie in a comfortable supine position [1] and ensure the affected limb is extended and relaxed, without crossing or tension [2]. Assess the skin to ensure no open wounds or compromised areas are present where the cuff will be applied [3].

    - Patient lying supine on a padded table, adjusting body position for comfort.

    - Talent positioning the leg straight, ensuring there is no muscle tension or crossing.

    - Talent inspecting the patient’s upper thigh area, checking skin integrity.

  - Now, roll up the trouser leg to the groin area to expose the thigh [1]. Using a tape measure, locate the proximal one-third of the femur by measuring the distance from the anterior superior iliac spine to the upper border of the patella [2].

    - Talent rolling up the patient’s trouser leg fully to expose the upper thigh.

    - Talent measuring from the anterior superior iliac spine to the patella, then marking the one-third point on the thigh.

  - Then, select a cuff of appropriate width, typically 12 to 15 centimeters, and wrap it around the designated area of the thigh with moderate tightness, avoiding compression of the skin [1]. Ensure the cuff lies flat, without folds or twisting, and will not slip during inflation [2] and position the outlet connector facing outward for convenient connection [3].

    - Talent selecting and holding up a cuff, checking its width visually.

    - Talent securing the cuff around the marked thigh region, adjusting it to remove any folds or twists.

    - Close-up of the connector outlet being rotated to face outward.

  - Next, connect the cuff to the pressure pump device or manual inflation bulb [1]. Confirm the device is functional, the gauge is calibrated to zero, and pressure values are clearly visible [2]. Check that all connections between the cuff and the device are sealed [3] and deflate the cuff temporarily to allow the limb to relax [4].

    - Talent attaching the cuff tubing to the pressure pump or manual bulb.

    - Show the pressure device display at zero with readable units.

    - Talent manually pressing on all tubing connections to ensure proper seal.

    - Talent pressing a valve to release pressure and observing limb relaxation.

  - Palpate the dorsalis pedis artery on the lateral side of the foot, between the first and second metatarsals [1]. If the pulse is not easily felt, use a stethoscope over the pulse site or a portable Doppler flow detector [2].

    - Talent gently palpating the patient’s foot, locating the dorsalis pedis artery.

    - Talent applying a stethoscope to the same site, then switching to a Doppler device to detect the pulse.

  - Once the dorsalis pedis artery is identified, mark or fix the probe at the correct position for later use [1]. Inflate the cuff slowly at a rate of approximately 10 millimeters of mercury per second while continuously monitoring the pulse [2]. Record the pressure at which the pulse completely disappears as the limb occlusion pressure for that trial [3].

    - Talent marking the foot with a skin-safe pen and taping the Doppler probe in place.

    - Talent slowly inflating the cuff using the device, while watching the pressure gauge and observing the monitor.

    - Talent pointing to the digital or analog readout of the exact pressure at which the pulse disappears.

  - Then, deflate the cuff completely after the first trial and wait for 5 minutes [1]. After repeating the procedure 2 more times, calculate the average of the three limb occlusion pressure values to establish the final LOP for the patient [2].

    - Talent turning the valve to release all pressure from the cuff and stepping back while the patient rests.

    - Talent jotting down in a notebook or working at a computer.

  - Calculate the target training pressure by multiplying the final LOP by 0.6 to 0.8 [1].

    - TEXT ON PLAIN BACKGROUND:

Target Pressure = LOP × (0.6–0.8)

Recommended safe range: 50 - 150 mmHg

(to avoid complete occlusion or risk)

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 145.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Baseline demographic characteristics, including sex, age, and affected side, were comparable between the BFRT group and the control group, with no statistically significant differences observed [1-TXT].

    - LAB MEDIA: Table 1. Video editor: Show the table and highlight the rows for sex, age, and affected side across both groups. TXT: BFRT: Blood Flow Restriction Training

  - At baseline, all the scores were similar between the BFRT group and the control group [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the data points at T0 for both the BFRT group and the control group

  - From week 4 onward, the BFRT group completed significantly more repetitions than the control group in the 30 second sit-to-stand test at T1, T2, and T3 [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the BFRT group line at T1, T2, and T3, showing higher points than the control group.

  - Similarly, at T1, T2, and T3, the BFRT group performed significantly more single-leg heel raise repetitions than the control group [1].

    - LAB MEDIA: Figure 3. Video editor: Highlight the BFRT group data points at T1, T2, and T3.

  - In the 6 minute walk distance test, the BFRT group walked significantly farther than the control group at T1, T2, and T3 [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the BFRT group line at T1, T2, and T3 where distances are higher.

  - At T1, T2, and T3, the BFRT group reported significantly higher International Knee Documentation Committee scores than the control group [1].

    - LAB MEDIA: Figure 5. Video editor: Highlight the BFRT group scores at T1, T2, and T3 above the control group line.