# Submission ID #: 69350

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21151798

# Title: Amyloid and the Cross-Beta Architecture

# Authors and Affiliations:

# Kyle Morris, Karen E Marshall, Youssra Al-Hilaly, Margaret Sunde, Louise C Serpell*

# School of Life Sciences, University of Sussex

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Louise C Serpell 		(L.C.Serpell@sussex.ac.uk)

# Email Addresses for All Authors:

Kyle Morris 			(kylelmorris@gmail.com)

Karen Marshall 		(k.e.marshall@sussex.ac.uk)

Youssra Al-Hilaly 		(ya45@sussex.ac.uk)

Margaret Sunde 		(margaret.sunde@sydney.edu.au)

Louise C Serpell 		(L.C.Serpell@sussex.ac.uk)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21151798

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 31

Number of Shots: 56

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone statements with sufficient context.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Alignment of Amyloid Fibrils for X-ray Fiber Diffraction Data Collection

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, align the fibrils to produce a bundle whose fiber axes are ideally all parallel [1]. Ensure that the fibrils are evenly distributed across the grid to achieve uniform coverage [2].

    - WIDE: Talent arranging materials on the bench to prepare for fibril alignment.

    - Shot of the grid showing even distribution of fibrils.

  - Melt candle wax with a hot plate until it liquifies [1]. Using a glass cutter cut 1 millimeter borosilicate glass capillaries to a length of about 2 to 3 centimeters [2].

    - Talent heating candle wax on a hot plate until liquid.

    - Talent cutting borosilicate glass capillaries with a glass cutter.

  - Dip the cut capillaries briefly into the liquid wax [1]. Then draw the candle wax up by capillary action to approximately 1 to 2 millimeters within the capillary [2-TXT].

    - Shot of capillary ends being dipped into liquid wax.

    - Shot of wax being drawn into the capillary by capillary action. TXT: Ensure wax surface is flat so that the fibril suspension can rest evenly

  - Now use plasticine to attach the sealed capillaries horizontally inside a Petri dish [1]. Maintain a gap of 0.5 to 2 millimeters between the wax-filled ends of the capillaries [2].

    - Talent attaching the sealed capillaries horizontally in a Petri dish with plasticine.

    - Shot showing the measured gap between wax-filled capillary ends.

  - With a pipette, carefully suspend a 10-microliter droplet of fibril solution between the wax-filled ends of the two capillaries [1-TXT]. Cover the Petri dish to protect the sample from dust and evaporate overnight [2].

    - Talent pipetting a 10 µL droplet between two capillaries. TXT: Ensure solution contacts both wax ends; avoid extension on glass surfaces

    - Talent placing a cover over the Petri dish.

  - Next, seal the plate to control the drying environment [1]. Place the sample in a refrigerator at lower temperature [2].

    - Talent sealing the plate.

    - Close-up of the plate being placed into a refrigerator.

  - To align the amyloid fibrils in a glass capillary, fix a 1-milliliter syringe with ubber tubing to the wide end of a 0.7-millimeter diameter siliconized glass capillary [1]. Aspirate 2 to 3 centimeters of fibril suspension into the capillary [2].

    - Talent assembling syringe, tubing, and glass capillary.

    - Shot of fibril suspension being pipetted into the capillary.

  - Seal one end of the capillary using melted wax. Leave the other end open to allow evaporation [1]. Arrange the capillary vertically [2-TXT].

    - Talent sealing one end of the capillary with wax.

    - Shot of Capillary arranged vertically in a holder. TXT: Allow to dry until dried disk is formed

  - Place a high-concentration fibril sample onto a glass slide and cover before airdrying for 24 hours [1].

    - Talent dispensing fibril sample onto a flat surface.

  - With a scalpel, carefully lift the dried fibril film from the surface [1]. Attach the film to a glass capillary tube using glue or plasticine [2].

    - Talent lifting the film with a scalpel.

    - Shot of the film being attached to a glass capillary.

  - Carefully mount the fibril mat on a goniometer head and orient it so that the X-ray beam passes through the edge of the mat and parallel to the plane of the film [1].

    - Talent mounting the sample on a goniometer head and orienting it.

  - To begin, examine the sample under a light microscope equipped with a cross-polariser to observe the sample for birefringence [1-TXT].
Authors: Please create videos of the shots labeled as SCOPE/SCREEN and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21151798

    - SCOPE: View through the microscope showing birefringence.
TXT: Bifringence suggests good alignment in fibril bundle

  - Next, attach the capillary fiber sample onto a goniometer head using plasticine [1]. Position the sample in the X-ray beam based on whether it is a fiber bundle, mat, or disk [2].

    - Talent attaching the capillary to the goniometer head.

    - Shot showing alignment of the sample in the beam path.
AND
TEXT ON PLAIN BACKGROUND:
Sample rotation axis will be around the fiber axis for a fiber bundle 

Fibers tend to align across the diameter of the tube in disks
 
A mat will have two distinct directions
Video Editor: Please play both shots side by side in a split screen

  - To begin, collect a diffraction pattern using in-house X-ray equipment or synchrotron radiation [1]. Adjust exposure time according to the intensity of the X-ray beam and recommended collection conditions [2].

    - SCREEN: Diffraction pattern is being seen.

    - SCREEN: Exposure time is being adjusted.

- X-ray Amyloid Fiber Diffraction Data Processing and Unit Cell Determination Using CLEARER

Demonstrator: Click here to enter name of demonstrator(s)

  - To perform data analysis, convert the diffraction pattern into a .tiff (dot-Tiff)  file [1]. Upload the file into the CLEARER (clearer) diffraction pattern analysis software [2].

    - SCREEN: Converting diffraction data into a TIFF file.

    - SCREEN: Uploading the TIFF file into CLEARER.

  - Navigate to Diffraction Pattern and diffraction setting to input diffraction settings including pixel size, X-ray source, and sample to detector distance [1].

    - SCREEN: Diffraction Pattern >Diffraction settings is being clicked then Pixel size, X-ray source and sample to detector distance is being input.

  - Now, click on Image Processing and Rotate to rotate the diffraction image so that the meridian is vertical [1]. Use the Centering module by navigating to Diffraction Pattern  and clicking on Center Image to center the image [2].

    - SCREEN: Image Processing> Rotate is being clicked then image is being rotated until median is vertical.

    - SCREEN: Diffraction Pattern> Center Image is being clicked then Image is being centered.

  - Define the meridian and equator axes. Save the centered image for subsequent analysis [1].

    - SCREEN: Defining meridian and equator axes and Saving the centered diffraction image.

  - Now specify an appropriate angle along the meridian and equator [1]. Press Diffraction Pattern and click on Radially Average Module to generate a graph of diffraction signal position versus intensity [2].

    - SCREEN: An appropriate angle is being input.

    - SCREEN: Diffraction Pattern > Radially average Module is being clicked and a diffraction signal vs intensity is being seen.

  - Navigate to the Peak Find module from Diffraction Pattern menu to measure and automatically output the diffraction signal [1]. Adjust the peak search width to detect true signals without noise [2].

    - SCREEN: Diffraction Pattern> Radially Average> Peak Find is being clicked and diffraction signal is being seen.

    - SCREEN: Adjusting peak detection parameters.

  - Now use the Zoom & Measure option to verify diffraction signal positions output using Peak Find [1-TXT].

    - SCREEN: Diffraction Pattern > Zoom & Measure is being clicked to verify diffraction signal positions.  TXT: Confirm correct assignment of signals to meridian or equator

  - Explore potential unit cell dimensions using the Unit Cell Optimization Module [1]. Input initial estimates based on strong equatorial signals and define the minimum and maximum indices  for cell search [2].

    - SCREEN: Unit cell dimensions are being seen using Unit Cell Optimization Module

    - SCREEN: Initial estimates are being input and the min-max search range is being input.

  - Calculate potential unit cell dimensions predicted and compare the predicted diffraction signal positions with observed reflections [1]. Select the best possible unit cell to fit the data and the sample [2].

    - SCREEN: Potential unit cell dimensions are being calculated and compared with observed reflections.

    - SCREEN: The best possible unit cell is being selected.

- Structural Modeling and Validation of Amyloid Fibrils Using CLEARER Fiber Diffraction Simulation

Demonstrator: Click here to enter name of demonstrator(s)

  - To construct molecular models, build 3D arrangements of the peptides in a beta sheet configuration that fits the determined unit cell [1]. Ensure all symmetry-related components are included [2].

    - SCREEN: 3D peptide arrangement  of beta-sheet peptide is being created.

    - SCREEN: Symmetry componets within the unit cell are being seen.

  - Load the PDB (P-D-B) model into the Structure Chain Generator Module by clicking on Diffraction Simulation, Structures and Structure Chain Generator [1]. Assign the fiber axis and beam axis, input unit cell dimensions  and then check for steric clashes [2].

    - SCREEN: Uploading the PDB file into the structure chain generator.

    - SCREEN: Setting fiber and beam axes with unit cell parameters then Visualizing potential clashes in the model.

  - Now, navigate to Diffraction Simulation and press Fiber Diffraction Simulation to upload the PDB coordinates into the Fiber Diffraction Simulation Module [1]. Input the fiber axis direction, beam orientation, unit cell dimensions, X-ray source  and detector settings then click Simulate  to run the simulation [2].

    - SCREEN: Diffraction Simulation> Fiber Diffraction Simulation is being clicked then PDB coordinates are being uploaded into the Module.

    - SCREEN: The fiber axis direction, beam orientation, unit cell dimensions, X-ray source  and detector settings are being input then Simulate is being clicked.

  - Ensure the beam axis is perpendicular to the fiber axis [1]. Then navigate to File  and click on Save As  to save the simulation settings as .html (dot-H-T-M-L) files for later editing [2].

    - SCREEN: Verifying beam and fiber axis orientation.

    - SCREEN: Saving simulation settings as HTML files.

  - Save the simulated diffraction pattern in raw format or as a .tiff file [1]. Compare the simulated pattern with the experimental diffraction pattern [2].

    - SCREEN: Saving the simulated diffraction output.

    - SCREEN: Side-by-side comparison of simulated and experimental patterns.

  - Measure simulated diffraction signals using the same analysis workflow [1]. Record and compare these values with experimental data [2].

    - SCREEN: Measuring peaks in the simulated pattern.

    - SCREEN: Recording simulated versus experimental values.

  - Use the Layers module from Diffraction Pattern to overlay simulated and experimental diffraction patterns and compare the alignment of signal positions [1]. Arrange pattern quadrants for visual comparison of signal positions and relative intensities [2].

    - SCREEN: Activating the layers overlay function.

    - SCREEN: Displaying quadrant-based comparison of patterns.

  - Lastly, evaluate the validity of the proposed unit cell and structural model [1]. Iteratively modify the model and unit cell parameters to improve agreement with experimental data [2].

    - SCREEN: Assessing model agreement with diffraction data.

    - SCREEN: Iterative refinement of model and unit cell parameters.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 170

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Electron micrographs showed a high density of amyloid fibrils on the grid suitable for preparation of an X-ray fiber sample [1].

    - LAB MEDIA: Figure 1.

  - Stretch-frame aligned fibers produced a characteristic cross-beta diffraction pattern [1] with a meridional reflection at 4.76 angstroms and equatorial reflections arising from chain length, sheet spacing, and protofilament size [2]. An idealized cross-beta diffraction pattern demonstrated that meridional and equatorial reflections correspond to repetitive spacings along the fiber axes [3].

    - LAB MEDIA: Figure 3 	Video Editor: Please highlight A

    - LAB MEDIA: Figure 3 	Video Editor: Please highlight B

    - LAB MEDIA: Figure 3. 	Video Editor: Please highlight C.

  - A well-centered diffraction pattern was symmetric, with equatorial and meridional peaks overlapping in position [1]. Diffraction peaks were automatically detected and listed using peak-finding analysis [2].

    - LAB MEDIA: Figure 4 	Video Editor: Please highlight A

    - LAB MEDIA: Figure 4	Video Editor: Please highlight A (right side) and B

  - The detected diffraction peaks were used to identify plausible unit cell dimensions [1]. A structural model was prepared using the identified unit cell and visualized prior to diffraction simulation [2].

    - LAB MEDIA: Figure 5. Video Editor: Please highlight A

    - LAB MEDIA: Figure 5	Video Editor: Please highlight B

  - Simulated diffraction data generated from the proposed structural model showed reasonable agreement with the experimental diffraction pattern in both reflection positions and relative intensities [1]. Overlaying simulated and experimental diffraction patterns further demonstrated alignment of corresponding reflections [2].

    - LAB MEDIA: Figure 6	Video Editor: Please highlight A then B

    - LAB MEDIA: Figure 6C.