# Submission ID #: 69354

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21153018

# Title: Spray-Coated Melanin/PEDOT:PSS Films for Sustainable Organic Electrochemical Transistors

# Authors and Affiliations:

Natan L. Nozella1,2, Gabriel L. Nogueira1, João V. Paulin1, Rafael F. de Oliveira1,2,3, Carlos F. O. Graeff1

1São Paulo State University (UNESP), School of Sciences, Department of Physics and Meteorology

2Brazilian Nanotechnology National Laboratory (LNNano), Brazilian Center for Research in Energy and Materials (CNPEM)

3Institute of Physics “Gleb Wataghin” (IFGW), University of Campinas (UNICAMP)

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Carlos F. O. Graeff					carlos.graeff@unesp.br

# Email Addresses for All Authors:

Natan L. Nozella					n.nozella@unesp.br

Gabriel L. Nogueira					leonardo.nogueira@unesp.br

João V. Paulin						jv.paulin@unesp.br

Rafael F. de Oliveira					rafael.furlan@lnnano.cnpem.br

Carlos F. O. Graeff					carlos.graeff@unesp.br

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 21

Number of Shots: 40

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Melanin Synthesis and Melanin/PEDOT:PSS Blends Preparation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, add 0.3 grams of 3,4-dihydroxy-DL-phenylalanine (Three-four-Di-hydroxy-D-L-Phenyl-Alanine) to a glass beaker [1]. Add 60 milliliters of deionized water to the beaker to dissolve the 3,4-dihydroxy-DL-phenylalanine under magnetic stirring [2].

    - WIDE: Talent adding 0.3 grams of 3,4-dihydroxy-DL-phenylalanine powder to a clean glass beaker.

    - Talent pouring 60 milliliters of deionized water into the beaker and placing it on a magnetic stirrer.

  - Transfer the prepared solution to a polytetrafluoroethylene liner inside a stainless-steel reactor [1]. Add 400 microliters of ammonium hydroxide to start the oxidation process [2]. Then, close the reactor and increase the pressure to 6 atmospheres with industrial oxygen gas [3]. Keep the mixture under magnetic stirring for 6 hours [4].

    - Talent pouring the solution into the polytetrafluoroethylene liner.

    - Talent pipetting 400 microliters of ammonium hydroxide into the liner.

    - Talent closing the stainless-steel reactor and adjusting the gas regulator to increase pressure to 6 atmospheres.

    - Shot of the closed reactor placed on a magnetic stirrer.

  - Transfer the synthetic mixture into a dialysis membrane [1] and dialyze against deionized water to extract and purify the melanin, replacing the water daily for 7 days [2]. Dry the purified material in an oven at 90 degrees Celsius for 12 hours to obtain melanin powder [3].

    - Talent transferring the synthetic mixture into the dialysis membrane.

    - Shot of the dialysis setup in deionized water.

    - Talent placing the dried material into an oven set at 90 degrees Celsius.

  - Then, place the substrate below a shadow mask patterned to obtain five pairs of source and drain electrodes on each substrate, separated by 1 millimeter in length and in width [1].

    - Talent positioning the substrate carefully beneath the patterned shadow mask.

  - Now, place the required amount of gold in the evaporation boat to ensure adequate film thickness and uniform deposition [1]. Place the masked samples into the sample holder inside the evaporation chamber [2].

    - Talent placing gold pieces into the evaporation boat.

    - Talent inserting the masked substrates into the sample holder of the evaporation chamber.

  - Configure the deposition controller to begin gold deposition at a slow rate of 0.2 angstroms per second until a thickness of 5 nanometers is reached for controlled nucleation and uniform film formation [1]. Then, set the deposition rate to 1 angstrom per second until the final thickness of 100 nanometers is achieved [2].

    - SCREEN: Show the interface of the deposition controller being set to 0.2 angstroms per second with a stop at 5 nanometers.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21153018

    - SCREEN: Show the deposition rate being adjusted to 1 angstrom per second and continue until reaching 100 nanometers.

  - Automatically evacuate the evaporation chamber until a vacuum of 5 × 10⁻⁶ millibar is reached and start the evaporation process [1].

    - Show the vacuum gauge decreasing to 5 × 10⁻⁶ millibar and the controller initiating the evaporation sequence.

  - Wait for the deposition process to complete [1]. Once the evaporation chamber has cooled for 1 hour, remove the substrates from the chamber [3].

    - Shot of the completed deposition process, with display showing completion.

    - Talent carefully removing the cooled substrates from the evaporation chamber.

  - Then, cover the gold electrodes with an adhesive mask that has openings for the channel deposition [1].

    - Talent applying the adhesive mask onto the substrate.

  - Select a robust three-dimensional printer with suitable dimensions to use as the base platform for the spray-coating system [1].

    - Talent showing compatible three-dimensional printer, clearing the platform for setup.

  - Now, configure the pneumatic spray mode from the available options [1]. Connect a high-precision airbrush with an adjustable reservoir [2]. Integrate optional components such as a flowmeter, syringe pump, or ultrasonic spray head, depending on the desired spray configuration [3].

    - Talent selecting the pneumatic mode on the spray-coating interface.

    - Talent attaching a high-precision airbrush with an adjustable reservoir to the spray-coating system.

    - Talent connecting auxiliary components including a flowmeter and syringe pump to the setup.

  - Then, modify the three-dimensional printer framework to mount the airbrush for mechanical adaptation. Remove the extruder [1] and place the airbrush on a custom holder [2].

    - Talent disassembling the extruder from the three-dimensional printer.

    - Talent installing the airbrush into a custom-designed holder mounted on the printer.

  - Use the X-, Y-, and Z-axis stepper motors to control the motion and height of the airbrush [1]. Adapt the extruder to actuate the airbrush trigger, enabling software-controlled spray release [2]. Attach the required adapters fabricated using three-dimensional printed pieces based on the provided supplemental STL files [3].

    - SCREEN: Show the control software interface moving the airbrush in all three axes.

    - Talent connecting the extruder control system to the airbrush trigger mechanism.

    - Talent assembling and installing the custom 3D-printed adapter parts on the printer.

  - Then, center the airbrush in the XY plane directly above the hot plate, maintaining a vertical distance of 15 centimeters from the airbrush to the hot plate surface [1].

    - Talent aligning the airbrush above the center of the hot plate and measuring 15 centimeters vertically.

  - Set the hot plate temperature to 100 degrees Celsius [1]. Adjust the compressed air pump to a pressure of 1 bar [2].

    - Talent programming the hot plate to 100 degrees Celsius on its digital interface.

    - Talent setting the pressure regulator on the compressed air pump to 1 bar.

  - Program the G-code to move the airbrush 10 centimeters along the X-axis at a speed parameter of F8000 (F-Eight-Thousand) [1]. Set the spray opening width using the E1.5 (E-One-Point-Five) command and define a dwell time of P5000 (P-Five-Thousand) between forward and return strokes [2].

    - SCREEN: Show the G-code interface where the airbrush movement is defined as 10 centimeters at F8000 speed.

    - SCREEN: Display the E1.5 command entered for spray width and P5000 for dwell time between strokes.

  - Place the substrate, with the source and drain electrodes already deposited, at the center of the hot plate [1].

    - Talent positioning the prepared substrate carefully at the center of the hot plate.

  - Add 250 microliters of the melanin and PEDOT:PSS (Pe-Dot-P-S-S) solution into the airbrush reservoir [1]. Edit the desired number of spray cycles in the G-code, typically setting it to 10 cycles, and run the program [2-TXT].

    - Talent pipetting 250 microliters of melanin/PEDOT:PSS solution into the reservoir of the airbrush.

    - SCREEN: Show the G-code editor where the cycle count is set, and the program is executed. TXT: Repeat until a total of 2 mL solution has been deposited

  - Clean the airbrush reservoir with deionized water after completing the deposition [1].

    - Talent rinsing and cleaning the airbrush reservoir using deionized water.

  - Then, sweep the drain voltage from 0 volts to minus 0.6 volts while keeping the gate voltage fixed between minus 0.5 volts and 0.5 volts [1]. Record the drain current at each step [2].

    - SCREEN: Show the device control interface sweeping the drain voltage from 0 to –0.6 volts while maintaining fixed gate voltages.

    - SCREEN: Display real-time data logging of the drain current for each voltage combination.

  - Fix the drain voltage at minus 0.5 volts [1]. Sweep the gate voltage from minus 0.5 volts to plus 0.6 volts and record the drain current [2].

    - SCREEN: Show the drain voltage fixed at –0.5 volts on the measurement software interface.

    - SCREEN: Display the gate voltage sweep and corresponding drain current readings being recorded.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 196.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - UV–Visible spectra confirmed successful incorporation of melanin into PEDOT:PSS films by the appearance of characteristic melanin absorption bands [1]. FTIR analysis showed interactions between melanin and PEDOT:PSS, demonstrated by the disappearance of characteristic PEDOT:PSS absorption bands [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the curve labelled “Pristine Melanin” and Pristine PEDOT:PSS

    - LAB MEDIA: Figure 3B. Video editor: Highlight the “Pristine PEDOT:PSS” spectrum curve.

  - Profilometry revealed that pristine PEDOT:PSS films had the highest thickness of 961 nanometers [1], which decreased to 342 nanometers upon addition of 10 percent melanin [2], then increased to 493 nanometers at 30 percent [3], and 562 nanometers at 50 percent melanin [4].

    - LAB MEDIA: Table 1. Video editor: Highlight the cell for thickness of “Pristine PEDOT:PSS” showing 961 ± 48 nanometers.

    - LAB MEDIA: Table 1. Video editor: Highlight the thickness value for “10Mel” showing 342 ± 33 nanometers.

    - LAB MEDIA: Table 1. Video editor: Highlight the thickness value for “30Mel” showing 493 ± 27 nanometers.

    - LAB MEDIA: Table 1. Video editor: Highlight the thickness value for “50Mel” showing 562 ± 41 nanometers.

  - Atomic force microscopy showed that the surface roughness of pristine PEDOT:PSS films was 4.4 [1], decreased to 3.3 nanometers with 10 percent melanin [2], and increased to 7.8 nanometers and 15.6 nanometers with 30 percent and 50 percent melanin, respectively [3].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the “Pure PEDOT” image showing RMS: 4.4 ± 0.4 nanometers.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the “10Mel” image showing RMS: 3.3 ± 0.3 nanometers.

    - LAB MEDIA: Figure 4C and D. Video editor: Highlight the “30Mel” and “50Mel” image

  - Output curves showed that pristine PEDOT:PSS devices produced high drain currents, which decreased upon addition of 10 percent melanin [1]. Transfer characteristics for 10 percent melanin devices displayed a pronounced hysteresis loop and an ON and OFF current ratio of approximately 150 [2].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5B. Video editor: Show the two red curves and mark the looped shape.

  - Transconductance measurements revealed that the maximum gm (G-M) value shifted to more negative gate voltages as melanin concentration increased [1].

    - LAB MEDIA: Figure 5C. Video editor: Highlight the peaks of each curve and show their progressive shift leftward on the x-axis

  - The normalized maximum transconductance was highest for the 10 percent melanin blend, which had the lowest film thickness [1].

    - LAB MEDIA: Figure 5D. Video editor: Highlight the peak in the black curve labelled “Normalized gm,max”