# Submission ID #: 69371

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21158203

# Title: Localization of Plasma Membrane and Intracellular Neuronal Nicotinic Acetylcholine Receptors Using Quantitative Imaging in Mammalian Cells

# Authors and Affiliations:

# Lahra Weber1, Sarah M. Suarez1, Maegan M. Weltzin1, 2

# 1Department of Chemistry and Biochemistry, University of Alaska Fairbanks

# 2Institute of Arctic Biology, University of Alaska Fairbanks

# Corresponding Authors:

Maegan M. Weltzin		(mmweltzin@alaska.edu)

# Email Addresses for All Authors:

Lahra Weber			(lweber7@alaska.edu)

Sarah M. Suarez		(smsuarez@alaska.edu)

Maegan M. Weltzin		(mmweltzin@alaska.edu)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21158203

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here:  After 2/16/2026 but before 3/1

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  31

Number of Shots:  56

# Introduction

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Maegan Weltzin: Understanding nicotinic acetylcholine receptor trafficking to mammalian plasma membranes is crucial for investigating chaperone-mediated regulation and evaluating target-selective therapeutics.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the most recent developments in your field of research?

  - Sarah Suarez: A primary advantage of pH-sensitive probes combined with live-cell confocal microscopy is the high spatial resolution of subunit location.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What research gap are you addressing with your protocol?

  - Lahra Weber: Using the presented protocol, we characterize novel chaperone effects on nicotinic receptor expression and trafficking, and evaluate new target-selective therapeutics.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Sarah Suarez: An advantage of our protocol is its adaptability for homomeric and heteromeric nicotinic receptors, enabling quantification of relative cellular location.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How will your findings advance research in your field?

  - Maegan Weltzin: Our approach enables rapid, robust nicotinic receptor plasma membrane expression, aiding chaperone-mediated trafficking analysis and drug discovery efforts.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Transfection of Neuro2a Cells with Nicotinic Acetylcholine Receptor Subunits Using Lipid-Based Delivery

Demonstrators: Lahra Weber, Sarah Suarez

  - To begin, prewarm reagents to 37 degrees Celsius [1]. Thaw the nAChR (N-A-C-H-R) subunit DNAs completely and bring the transfection reagent to room temperature [2-TXT]. Clean all reagents with 70 percent ethanol before placing them inside the biosafety cabinet [3].

    - Talent placing tubes in a water bath to prewarm.

    - Close-up of thawed DNA vials and transfection reagent at RT. TXT: nAChR: neuronal Nicotinic Acetylcholine Receptors

    - Talent wiping down reagent bottles with ethanol before moving to the cabinet.

  - To express alpha7 nAChRs, in a microcentrifuge tube, dilute alpha7 and NACHO (nacho) plasmid DNAs into reduced serum medium [1]. Mix gently by pipetting after DNA addition [2].

    - Talent pipetting DNA into reduced serum medium. 
AND
TEXT ON PLAIN BACKGROUND:
4 µg of α7 (1 µg/µL) 
1 µg of NACHO (1 µg/µL) plasmid DNAs

Add dropwise into reduced serum medium
Final volume: 250 µL
Video Editor: Please play both shots side by side in a split screen

    - Talent pipetting the contents of microcentrifuge tube gently. NOTE: Included with shot 2.2.1 in one clip.

  - Alternatively, to express alpha4beta2 (Alpha-four-beta-two) receptors, dilute 4 micrograms of each subunit DNA into a total of 250 microliters of reduced serum medium and mix gently [1-TXT].

    - Talent pipetting subunit DNAs into the medium.

TXT: Adjust the subunit ratios to optimize expression of specific isoforms

  - For alpha4beta2 receptors with an additional plasmid, add equal amounts of each plasmid DNA [1].

    - Talent adding three equal DNA volumes into a microcentrifuge tube.
AND
TEXT ON PLAIN BACKGROUND:
The blue fluorescent protein mTagBFP2³¹ in pcDNA3.1(+) serves as a control plasmid and can be replaced with any α4β2 chaperone
Video Editor: Please play both shots side by side in a split screen

  - Next, in a new microcentrifuge tube, dilute 8 microliters of transfection reagent dropwise into 250 microliters of reduced serum medium [1].

    - Talent adding reagent dropwise into a tube with medium.

  - After a 5-minute incubation at room temperature, combine the diluted DNAs with the diluted transfection reagent dropwise into a tube [1]. Mix gently by pipetting and incubate for 20 minutes at room temperature [2].

    - Talent combining two tubes by dropwise addition.

    - Talent mixing and placing the tube on a bench. NOTE: Included with shot 2.6.1 in one clip.

  - While complexes form, replace the medium in the culture dishes with 1 milliliter of serum-free EMEM [1].

    - Talent aspirating old medium from the culture dishes and adding serum-free medium.

  - Add 500 microliters of the DNA-transfection reagent complex dropwise to each dish [1]. Mix gently by rocking the plate to distribute evenly, especially over the glass-bottom surface [2], and return the dish to the incubator [3-TXT].

    - Talent adding transfection mix dropwise to the dish.

    - Talent gently rocking the plate in a circular motion NOTE: Included with shot 2.8.1 in one clip.

    - Talent walking back to the incubator to place cells inside. TXT: Incubation: 37°C, 24 h; Replace medium after 4 - 6 h

- Confocal Imaging of pH-Sensitive Fluorescent Signals in Transfected Neuro2a Cells Using Live Buffer Exchange

Demonstrator: Sarah Suarez

  - Remove the old medium by suction [1]. Rinse the dish three times with 2 milliliters of PBS for 10 minutes each at room temperature [2]. Then add 2 milliliters of pH 7.4 imaging buffer to the dish [3].

    - Talent removing the medium from the imaging dish using suction.

    - Talent adding 2 milliliters PBS to the dish. NOTE: Included with shot 3.1.1 in one clip.

    - Talent adding 2 milliliters of pH 7.4 imaging buffer to the dish.

  - Insert the imaging dish into the slide holder of a confocal microscope and place the holder into the prewarmed environmental chamber [1]. Connect the peristaltic pump tubing to the imaging dish holder and close the environmental chamber [2].

    - Talent placing the dish into the slide holder and inserting the holder into the environmental chamber.

    - Talent attaching tubing from the peristaltic pump to the dish holder and securing the chamber.

  - Now launch the imaging software and select lasers for the fluorophores of interest [1].

    - SCREEN: Imaging_3.3.1-3.4.1.avi: 00:05-00:07, 00:47-00:52

  - Scan the dish to locate cells for imaging using a 10 to 60X objective. Increase magnification if desired and adjust the focus depth as needed [1].

    - SCREEN: Imaging_3.3.1-3.4.1.avi:  00:50-00:58, 02:16-02:23

  - Select the preferred resolution and capture a single image using the desired objective, [1]. Record the location on the dish map to relocate the same cells after buffer change [2-TXT].

    - SCREEN: Imaging_3.5.1-3.5.2.Avi: 00:03-00:15

    - SCREEN: Imaging_3.5.1-3.5.2.Avi00:23-00:31, 01:00-01:05

TXT: Repeat imaging for several areas;
Use the same capture settings for all images

  - Keeping only the outlet line connected to the peristaltic pump, slowly suction out the pH 7.4 buffer from the dish into a waste container [1]. Then transfer the inlet line to the pH 5.5 quenching buffer [2].

    - Talent disconnecting the inlet tube and slowly removing the buffer using the outlet tubing.

    - Talent placing the inlet tube into the container with pH 5.5 buffer.

  - Turn on the peristaltic pump to add pH 5.5 buffer at a flow rate of 1.5 milliliters per minute, ensuring that the cells remain attached [1]. After 20 minutes, turn off the pump and incubate the cells in the buffer for an additional 20 minutes to allow equilibration [2]. After incubation, repeat imaging of the saved locations [3-TXT]. NOTE: The VO is edited for the additional shot

    - Talent turning on the peristaltic pump and observing flow into the imaging dish.

    - Talent switching off the pump and leaving the dish to incubate.

    - Added shot: SCREEN: Imaging_3.7.3.avi:  00:04-00:13 TXT: Repeat imaging at same locations

- Quantitative Analysis of Fluorescent Cell Images Using ImageJ to Calculate Corrected Total Cell Fluorescence (CTCF)

Demonstrator: Sarah Suarez

  - To begin image quantification, open ImageJ and load the image to be analyzed. The image will appear as a stack with each captured channel displayed in the same frame [1].

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 00:08-00:21

  - Navigate to the Phase channel. If the image appears overly bright, select Process and choose Enhance Contrast, then click OK [1].

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 00:21-00:35

  - Now, use the magnifying glass tool to zoom in on one cell [1]. Use the Freehand selection tool to trace the outline of the cell in the Phase channel [2].

    - SCREEN: Analysis-_4.1.1.-4.7.1 00:39-00:47

    - SCREEN: Analysis-_4.1.1.-4.7.1: 00:47-00:57

  - Then, switch to the fluorescent channel that corresponds to the fluorophore of interest [1]. Set the desired measurements by selecting Analyze and clicking on Set Measurements. Ensure that Area, Mean Gray Value, and Integrated Density are checked [2].

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 01:11-01:14

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 00:58-01:11

  - To measure the selected region, choose Analyze and then click Measure [1]. Take three background measurements by tracing empty areas near the selected cell [2].

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 01:14-01:20

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 01:20-01:31, 01:47-01:51

  - After performing measurements for all desired cells, copy and paste the measurement data into Excel for analysis. Then, calculate the average background mean from the three background measurements [1].

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 01:50-02:00

    - SCREEN: Show background values in Excel and the formula used to compute the average.  NOTE: merged with 4.6.1

  - Compute the corrected total cell fluorescence or CTCF (C-T-C-F) value for each cell using the provided formula [1]. Using the same workflow, analyse images acquired after buffer change [2]. Export all results to data analysis software for statistical processing [3].

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4: 01:58-02:00 Video editor: Use freeze frame and emphasize CTCF
AND
TEXT ON PLAIN BACKGROUND:
CTCF=Integrated density−(Area of cell x Mean background fluorescence)
Repeat for all cells and images across all groups
Video Editor: Please play both shots side by side in a split screen

    - SCREEN: Analysis-_4.1.1.-4.7.1.mp4:  02:20-02:30

    - SCREEN: Analysis_4.7.2.mp4: 00:45-00:57

# Results

- Results

  - Weak αBTX-AF647 (alpha-B-T-X-A-F-Six-Forty-Seven) staining was observed in non-transfected N2a cells [1], while robust punctate labeling was detected in cells transfected with α7 (Alpha-seven) DNA [2]. Quantification confirmed that plasma membrane expression of α7 nAChRs was significantly higher in α7-transfected N2a cells than in non-transfected controls [3].

    - LAB MEDIA: Figure 2A,A′. Video editor: Highlight the panel A.

    - LAB MEDIA: Figure 2B,B′. Video editor: Highlight the panel B.

    - LAB MEDIA: Figure 2C. Video editor: Highlight the blue bar labeled “+α7”

  - At pH 7.4, total α7-pHuji (Alpha-seven-fuji) fluorescence was visible at the plasma membrane in transfected N2a cells [1]. At pH 5.5, α7-pHuji fluorescence was reduced, revealing internal receptor localization [2]. The external α7-pHuji receptor fluorescence accounted for the majority of receptor expression [3].

    - LAB MEDIA: Figure 3A,A′. Video editor: Highlight panel A.

    - LAB MEDIA: Figure 3B,B′. Video editor: Highlight panel B

    - LAB MEDIA: Figure 3C,C′. Video editor: Highlight panel C

  - Quantification showed that 82.6% of α7-pHuji receptors were located on the plasma membrane, while 17.4% were internal [1]. Fluorescence was restored upon return to pH 7.4, confirming pHuji signal reversibility [2].

    - LAB MEDIA: Figure 3D. Video editor: Highlight the taller “External” bar

    - LAB MEDIA: Figure 3E,E′. Video editor: Highlight panel E

  - At pH 7.4, N2a cells expressing α4-SEP (Alpha-Four-S-E-P) and β2-pHuji showed robust membrane fluorescence for both subunits [1]. At pH 5.5, fluorescence was quenched, indicating internal localization of some α4-SEP and β2-pHuji subunits [2]. Quantification showed that 76.5% of α4-SEP was at the plasma membrane and 23.4% was internal [3].

    - LAB MEDIA: Figure 4A–D. Video editor: Please sequentially highlight the images

    - LAB MEDIA: Figure 4E–H. Video editor: Please sequentially highlight the images

    - LAB MEDIA: Figure 4I. Video editor: Highlight the green “α4 External” and “α4 Internal” bars

  - In triple-transfected cells, α4-SEP (alpha-four-S-E-P) displayed 82.8% membrane localization and 17.2% internal expression [1]. In the same cells, β2-pHuji subunits showed 63.4% on the membrane and 36.6% internal [2].

    - LAB MEDIA: Figure 5K. Video editor: Highlight the green “α4 External” and “α4 Internal” bars

    - LAB MEDIA: Figure 5K. Video editor: Highlight the red “β2 External” and “β2 Internal”bars .

- nAChR
Pronunciation link: No confirmed link found
IPA: /ˌɛn.eɪ.siː.eɪtʃˈɑːr/
Phonetic Spelling: en·ay·see·aych·ar

- Nicotinic
Pronunciation link: https://www.merriam-webster.com/dictionary/nicotinic
IPA: /ˌnɪk.əˈtɪn.ɪk/
Phonetic Spelling: nik·uh·tin·ik

- Acetylcholine
Pronunciation link: https://www.merriam-webster.com/dictionary/acetylcholine
IPA: /əˌsiː.t̬əlˈkoʊ.liːn/
Phonetic Spelling: uh·see·tuhl·koh·leen

- Transfection
Pronunciation link: https://www.merriam-webster.com/dictionary/transfection
IPA: /trænsˈfek.ʃən/
Phonetic Spelling: tranz·fek·shuhn

- Biosafety
Pronunciation link: https://www.merriam-webster.com/dictionary/biosafety
IPA: /ˌbaɪ.oʊˈseɪf.ti/
Phonetic Spelling: by·oh·sayf·tee

- Microcentrifuge
Pronunciation link: https://www.merriam-webster.com/dictionary/microcentrifuge
IPA: /ˌmaɪ.kroʊˈsen.trɪ.fjuːdʒ/
Phonetic Spelling: my·kroh·sen·truh·fyooj

- Plasmid
Pronunciation link: https://www.merriam-webster.com/dictionary/plasmid
IPA: /ˈplæz.mɪd/
Phonetic Spelling: plaz·mid

- Isoforms
Pronunciation link: https://www.merriam-webster.com/dictionary/isoform
IPA: /ˈaɪ.soʊ.fɔːrm/
Phonetic Spelling: eye·soh·formz

- Incubation
Pronunciation link: https://www.merriam-webster.com/dictionary/incubation
IPA: /ˌɪn.kjuːˈbeɪ.ʃən/
Phonetic Spelling: in·kyoo·bay·shuhn

- EMEM
Pronunciation link: No confirmed link found
IPA: /ˌiː.em.iːˈem/
Phonetic Spelling: ee·em·ee·em

- Confocal
Pronunciation link: https://www.merriam-webster.com/dictionary/confocal
IPA: /kɑːnˈfoʊ.kəl/
Phonetic Spelling: kon·foh·kuhl

- Fluorophores
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorophore
IPA: /ˈflʊr.əˌfɔːr/
Phonetic Spelling: floor·uh·forz

- Peristaltic
Pronunciation link: https://www.merriam-webster.com/dictionary/peristaltic
IPA: /ˌper.əˈstɔːl.tɪk/
Phonetic Spelling: peh·ruh·staal·tik

- Equilibration
Pronunciation link: https://www.merriam-webster.com/dictionary/equilibration
IPA: /ɪˌkwiː.ləˈbreɪ.ʃən/
Phonetic Spelling: ih·kwee·luh·bray·shuhn

- Quantification
Pronunciation link: https://www.merriam-webster.com/dictionary/quantification
IPA: /ˌkwɑːn.t̬ə.fəˈkeɪ.ʃən/
Phonetic Spelling: kwon·tuh·fuh·kay·shuhn

- Magnification
Pronunciation link: https://www.merriam-webster.com/dictionary/magnification
IPA: /ˌmæɡ.nə.fəˈkeɪ.ʃən/
Phonetic Spelling: mag·nuh·fuh·kay·shuhn

- Integrated Density
Pronunciation link: https://www.howtopronounce.com/integrated-density
IPA: /ˈɪn.tɪ.ɡreɪ.t̬ɪd ˈden.sə.t̬i/
Phonetic Spelling: in·tuh·gray·tuhd den·suh·tee

- Corrected Total Cell Fluorescence
Pronunciation link: No confirmed link found
IPA: /kəˈrek.tɪd ˈtoʊ.təl sel flʊˈres.əns/
Phonetic Spelling: kuh·rekt·id toh·tuhl sel floo·reh·suhns

- Quenching
Pronunciation link: https://www.merriam-webster.com/dictionary/quenching
IPA: /ˈkwentʃɪŋ/
Phonetic Spelling: kwench·ing

- Neuro2a
Pronunciation link: No confirmed link found
IPA: /ˈnʊr.oʊ tuː eɪ/
Phonetic Spelling: noor·oh two·ay

- Environmental
Pronunciation link: https://www.merriam-webster.com/dictionary/environmental
IPA: /ɪnˌvaɪ.rənˈmen.təl/
Phonetic Spelling: in·vy·ruhn·men·tuhl

- Tubing
Pronunciation link: https://www.merriam-webster.com/dictionary/tubing
IPA: /ˈtuː.bɪŋ/
Phonetic Spelling: too·bing

- Reversibility
Pronunciation link: https://www.merriam-webster.com/dictionary/reversibility
IPA: /rɪˌvɝː.səˈbɪl.ə.t̬i/
Phonetic Spelling: rih·vur·suh·bil·uh·tee

- Localization
Pronunciation link: https://www.merriam-webster.com/dictionary/localization
IPA: /ˌloʊ.kə.ləˈzeɪ.ʃən/
Phonetic Spelling: loh·kuh·luh·zay·shuhn

- Subunits
Pronunciation link: https://www.merriam-webster.com/dictionary/subunit
IPA: /ˈsʌbˌjuː.nɪt/
Phonetic Spelling: sub·yoo·nitz