TITLE:

Standardized Induction and Assessment of Long-term Potentiation-like Cortical Plasticity Using Transcranial Magnetic Stimulation

AUTHORS AND AFFILIATIONS:

Xinyue Wang1,2*, Sisi Huang1*, Yihui Cheng1, Wenjun Dai1, Ying Shen1

1Department of Rehabilitation Medicine, The First Affiliated Hospital with Nanjing Medical University, Nanjing, China

2School of Rehabilitation Medicine, Nanjing Medical University, Nanjing, China

Email addresses of co-authors:

Xinyue Wang		(wangxy20020921@stu.njmu.edu.cn)

Sisi Huang		(hss0904@163.com)

Yihui Cheng		(chengyihui9606@163.com)

Corresponding authors:

Ying Shen		(shenying@njmu.edu.cn)

Wenjun Dai		(daiwenjun@njmu.edu.cn)

*These authors have contributed equally to this work.

SUMMARY:

This paper describes the standardized induction of Long-term Potentiation-like cortical plasticity using repetitive stimulation protocols, followed by applying single-pulse transcranial magnetic stimulation guided by a neuronavigation system to evaluate synaptic plasticity.

ABSTRACT:

In recent years, transcranial magnetic stimulation (TMS) has emerged as a non-invasive, low-cost, and effective technique for assessing synaptic changes in the brain. Synaptic plasticity is a fundamental mechanism of neural plasticity that reflects the brain’s ability to modify the strength and efficacy of synaptic connections in response to experience or environmental stimuli. Long-term potentiation (LTP) serves as the predominant experimental model for studying synaptic plasticity mechanisms, playing a critical role in understanding synaptic plasticity and overall brain function. Specific stimulation patterns, especially repetitive or burst patterns of pulses such as intermittent theta burst stimulation (iTBS), could induce LTP-like cortical plasticity, providing a feasible non-invasive approach to evaluate synaptic plasticity. However, the application of these techniques requires strict adherence to standardized protocols to ensure the accuracy and reliability of the results. Therefore, this article aims to demonstrate a standardized approach for inducing LTP-like plasticity using iTBS, followed by assessment of synaptic plasticity with single-pulse TMS, with both procedures guided by a neuronavigation system. The focus of this article will be on the essential technical procedures and operational considerations necessary to achieve precise and reliable measurements of cortical plasticity.

INTRODUCTION:

In recent years, transcranial magnetic stimulation (TMS) has emerged as a non-invasive, cost-effective, and efficient technique for probing and modulating neural activity in the human brain1. Among various stimulation paradigms, intermittent theta burst stimulation (iTBS) has attracted significant attention for its ability to induce long-term potentiation (LTP)-like plasticity in the human motor cortex2. Specifically, iTBS delivers high-frequency bursts at theta intervals, mimicking endogenous theta-gamma coupling patterns associated with synaptic plasticity3. It induces LTP-like plasticity by activating N-methyl-D-aspartate receptors (NMDARs)4, which relieves the Mg²⁺ block and allows Ca²⁺ to enter the postsynaptic neuron5. This Ca²⁺ influx triggers downstream signaling cascades, including the activation of calcium/calmodulin-stimulated protein kinase II (CaMKII), which promotes the phosphorylation6 and insertion of α-amino-3-hydroxy-5-methyl-4-isoxazolepropionic acid receptors (AMPARs), thereby enhancing synaptic transmission7. Compared with other non-invasive approaches, such as repeated transcranial magnetic stimulation (rTMS) or transcranial direct current stimulation (tDCS), iTBS can induce LTP-like cortical plasticity with shorter stimulation duration and lower intensity, making it a better-tolerated option in subjects8-10. To assess the neuroplastic effects induced by iTBS, researchers commonly measure changes in motor-evoked potential (MEP) amplitudes recorded through electromyography (EMG), which reflect enhanced corticospinal excitability11. Studies have shown that these MEP enhancements can persist for up to 60 min post-stimulation, indicating transient but robust modulation of cortical excitability10,12. Due to its brief administration time and well-established safety profile, iTBS is particularly suitable for repeated applications in both experimental and clinical contexts10. Specifically, a standard iTBS protocol (600 pulses, 192 s), as well as conventional 10-Hz rTMS protocols (1,200-1,500 pulses, 15-20 min), reliably induce comparable LTP-like plasticity effects8,13. As such, it has been increasingly used to probe synaptic plasticity in healthy individuals and patient populations, providing valuable insights into plasticity-related deficits in neurological disorders such as Alzheimer’s disease (AD), stroke, and depression.

Synaptic plasticity, a fundamental mechanism of neural plasticity, underlies critical processes such as learning and memory. It reflects the brain’s ability to modify the strength and efficacy of synaptic connections in response to experience or environmental stimuli14. Among various forms of synaptic plasticity, LTP is a well-established model for learning and memory through the enhancement of synaptic transmission15. Accumulating evidence indicates that impairments in LTP-like plasticity are closely associated with cognitive and behavioral deficits in neurological disorders such as AD16. These impairments may reflect disease-specific disruptions in synaptic signaling and plasticity-related molecular pathways, including alterations in the induction, expression, or maintenance of LTP17. Hence, understanding and quantifying synaptic plasticity is essential for advancing therapeutic strategies to restore cognitive function, motor control, sensory integration, and emotional regulation, and to facilitate effective neurorehabilitation.

While techniques such as iTBS for inducing LTP-like plasticity and single-pulse TMS for assessing cortical plasticity offer exciting potential, their application requires strict adherence to standardized protocols to ensure accuracy and reproducibility. Inconsistent methods can lead to variability, which may hinder the reliability of findings. Moreover, methodological inconsistencies across studies, including differences in stimulation intensity, coil positioning, and the timing of outcome measurements, limit the reproducibility of TMS-induced plasticity findings. In practice, iTBS is typically administered at 80% of the resting motor threshold (RMT)18, and reliable induction of LTP-like plasticity further depends on precise coil positioning, most commonly achieved through neuronavigation guidance19. Accordingly, this article aims to demonstrate a standardized, neuronavigation-guided protocol for inducing LTP-like plasticity through iTBS, followed by the assessment of cortical plasticity using single-pulse TMS. The focus of this article will be on the essential technical procedures and operational considerations necessary to achieve precise and reliable measurements of cortical plasticity.

PROTOCOL:

The Ethics Committee of the First Affiliated Hospital of Nanjing Medical University approved the protocols (number 2023-SR-789), and the protocol was registered with the Chinese Clinical Trial Registry (number ChiCTR2400082549). All procedures were conducted in accordance with the Declaration of Helsinki. Written informed consent was obtained prior to enrollment in the study.

- Consent process

  - Prior to any assessment, explain the aim(s) of the assessment, the main experimental procedures, and any potential risk factors associated with the study. Answer any questions or concerns. Request acknowledgment of the consent process and signature on the informed consent form.

  - Failure to meet TMS safety criteria constitutes grounds for exclusion. Ask the following questions with responses documented. A yes response to any criterion constitutes grounds for exclusion:

Do you have any metal implants or devices incompatible with TMS (e.g., pacemakers, cochlear implants, aneurysm clips)?

Do you have a history of epilepsy or seizures, or a family history of epilepsy?

Are you currently taking any medications that may induce seizures?

Do you have severe cognitive or communication deficits that would prevent participation in the study?

Do you have severe cervical spine disorders (e.g., cervical stenosis or spinal instability)?

Do you have any direct injuries or skull defects in the stimulation area?

If you are a female of childbearing potential: Are you pregnant or possibly pregnant? If pregnancy is suspected, perform a blood or urine HCG test and exclude positive cases.

- Preparation of the head model using a neuronavigation system

2.1	Use the neuronavigation system (version 2.5.3.50294) throughout the protocol to guide coil positioning, register anatomical landmarks, calibrate the coil, and maintain consistent coil placement during RMT determination and iTBS stimulation.

  - Neuronavigation system setup

2.2.1	Use the system to obtain real-time visual feedback on the TMS coil position and its alignment relative to anatomical landmarks, ensuring accurate targeting during functional identification of the motor hotspot in the primary motor cortex (M1) corresponding to the contralateral target muscle20.

  - Establishment of three-dimensional (3D) head model

2.3.1	Generate the 3D head model either using the standard brain templates provided within the neuronavigation software or constructed from individual magnetic resonance imaging (MRI) scans. By selecting either, the individual MRI or standard template mode, register anatomical landmarks across the axial, sagittal, and coronal planes. Perform scalp surface segmentation to generate a three-dimensional head model.

  - Coil calibration

    - After completion of head model registration, perform coil calibration to ensure precise real-time tracking within the neuronavigation system. Navigate through TMS Settings, click on Calibrate Coil > Calibrate Tool Faces. Place the TMS coil, equipped with reflective markers, on a designated calibration block. Align fiducial points on the physical coil with the corresponding points on the calibration block under software guidance.

    - After initial calibration, follow the system prompt to position the coil over the calibration block to confirm accuracy. Click Calibrate to initiate the automatic calibration. Accept only calibrations with a spatial error below 3 mm21. Otherwise, perform recalibration. Ensure the coil’s position, orientation, and tilt angle can be reliably tracked throughout the entire TMS session22.

- Motor hotspot identification

  - Participant positioning

3.1.1	Ask the participant to sit in a comfortable chair with back and arm support to minimize head and body movement. Keep both hands completely relaxed and still during the procedure. Avoid movements of the non-targeted hand that could confound measurements.

  - Head tracking setup: Attach the infrared reflective markers to the forehead to enable real-time tracking of head position during the session. Secure the markers with adhesive patches and ensure they are recognized by the neuronavigation system, indicated by green markers (unrecognized markers appear red).

  - Landmark registration: Use a tracked pointer to sequentially mark three anatomical landmarks on the scalp: the nasion, left supratragic notch, and right supratragic notch. Enable the neuronavigation system to spatially register the actual head position with the 3D head model23.

  - Head shape sampling: Use the pointer to collect approximately 200 to 300 additional points on the scalp to enhance registration accuracy24. Allow the software to automatically fit an individualized head shape model based on these points to optimize the alignment between MRI images and the actual coordinate system25.

  - EMG recording: Place surface electrodes 2 cm apart on the target abductor pollicis brevis (APB) in a belly-tendon montage26, with the reference electrode positioned distally near the interphalangeal joint of the thumb. Record MEPs at a sampling rate of 100 kHz with a minimum resolution of <0.2 µV and a frequency response range of 1-25 kHz, while electrode impedances were maintained below 5 kΩ. Ensure that the baseline EMG signal shows minimal noise, a stable waveform, and no obvious drift or electrical interference before proceeding27.

  - Determine the motor hotspot

    - Determine M1 coordinates by administering single-pulse TMS (figure-of-eight coil, 70 mm) approximately 5 cm lateral and 0-1cm anterior relative to the vertex28, contralateral to the target muscle to elicit maximal MEP amplitude, facilitating precise localization of the motor hotspot. Keep the hand completely relaxed to avoid voluntary muscle contraction that could interfere with MEP measurements.

    - Orient the handle of the coil 45° posterior to the midline to transmit the electromagnetic current perpendicular to the central sulcus29. Move the coil systematically in 1 cm steps around the marked M1 region in all directions, including anterior, posterior, medial, and lateral30, at 5 s intervals31. Define the motor hotspot as the site producing the largest MEP amplitude and the shortest latency in the relaxed APB32.

  - Motor hotspot marking: Once the functionally defined motor hotspot is identified, mark it immediately within the neuronavigation system. Upon marking, allow the system to automatically record key spatial parameters, including the distance between the coil and the target point, the tilt deviation, and the rotation deviation. Use these metrics to ensure precise and reproducible coil placement throughout the stimulation procedure33.

- RMT determination

4.1	Measure the peak-to-peak amplitude using surface EMG data to obtain the MEP, applying the same EMG setup and parameters as described in step 3.4. Define RMT as the minimum stimulus intensity that elicits an MEP with peak-to-peak amplitudes greater than 50 µV in at least five out of ten consecutive single-pulse TMS trials28.

- Assessment of LTP-like plasticity

  - Baseline assessments: Record 20 consecutive TMS-evoked MEPs at 5 s intervals at the motor hotspot. Set the stimulus intensity of MEPs to 120% RMT, which evokes MEPs of approximately 1 mV34.

  - Induction of LTP-like plasticity: Deliver stimulation using a TMS device (figure-of-eight coil, 70 mm). Apply iTBS over the motor hotspot at an intensity of 80% RMT to induce LTP-like plasticity. Use the iTBS protocol consisting of bursts of three stimuli at 50 Hz repeated at 5 Hz. Repeat a 2 s train of this pulse stimulus every 10 s for a total of 192 s (600 pulses)10.

  - Plasticity assessment: Record 20 MEPs at 5 min, 10 min, 15 min, and 30 min after the iTBS intervention using the same stimulation intensity (120% RMT) to assess plasticity35.

  - LTP-like plasticity quantification: Calculate the mean peak-to-peak amplitude of the 20 MEPs recorded at each time point (baseline, 5 min, 10 min, 15 min, and 30 min post-iTBS) to quantitatively reflect cortical excitability36. Post-stimulation MEP amplitudes are expressed as a normalized ratio relative to baseline to standardize excitability measures across sessions and individuals. The outcome is the raw MEP amplitude and normalized MEP amplitude at the final post-iTBS time point, representing the treatment effect37.

5.5	Calculate the normalized MEP amplitude at each time point as:

MEPnormalized=MEPpostMEPbaseline

Classify individuals with a grand average normalized MEP value >1.1 as facilitated, <0.9 as inhibited, and between 0.9 and 1.1 as unchanged following each iTBS condition38.

RESULTS:

During the demonstration, a neuronavigation system was used to guide the accurate positioning of the TMS coil over the motor hotspot, providing real-time spatial feedback and minimizing coil-placement variability. A TMS device (figure-of-eight coil, 70 mm) delivered stimulation throughout the session. To illustrate the procedure, representative results from one participant are presented below. The recorded MEP amplitudes exhibited stable and consistent responses across single-pulse trials, reflecting the stability provided by coil placement guided by neuronavigation. Time-dependent increases in MEP amplitude following iTBS indicate LTP-like plasticity. The data can be analyzed by comparing baseline and post-stimulation raw MEP amplitudes and normalized MEP amplitudes, as well as by classifying individual responses as facilitation, inhibition, or unchanged. Overall, these representative results demonstrate that the described protocol enables accurate motor hotspot localization, reproducible stimulation, and quantitative assessment of stimulation-induced LTP-like plastic changes.

Neuronavigation system setup and localization
The neuronavigation system setup and localization procedure were performed to identify and register individual anatomical landmarks across axial, sagittal, and coronal planes, including the nasion, left supratragic notch, and right supratragic notch. These landmarks served as fiducial references for the subsequent creation of the individualized 3D head model, ensuring accurate coregistration between anatomical structures and stimulation targets (Figure 1). Spatial registration was initialized by identifying the same three anatomical landmarks on the scalp. The system provided real-time visual feedback on the coil position and its alignment relative to the predefined stimulation sites within the M1 contralateral to the target muscle, ensuring that stimulation was delivered accurately to the targeted cortical areas.

[Place Figure 1 here]

Establishment of 3D head model
An individualized 3D head model of the participant’s scalp was generated based on neuronavigation registration and scalp surface sampling. The mean registration error during alignment of anatomical landmarks and head shape was below 1.5 mm, enabling precise coil placement throughout the stimulation session (Figure 2).

[Place Figure 2 here]

Identifying motor hotspot
The motor hotspot was functionally identified based on TMS-evoked MEPs by stimulating the brain with TMS and recording MEPs. The site producing the strongest response was defined as the motor hotspot (Figure 3).

[Place Figure 3 here]

Determining RMT
The RMT was determined using single-pulse TMS. The RMT was the lowest stimulation intensity at which MEPs with peak-to-peak amplitudes >50 μV were observed in at least 5 out of 10 consecutive trials, as per the standard RMT definition28, ensuring that the TMS stimulation was above the threshold for effective motor activation (Figure 4).

[Place Figure 4 here]

Baseline measurements

Prior to iTBS, corticospinal excitability was assessed by delivering 20 single-pulse TMS stimuli at 120% RMT with 5 s intervals over the identified motor hotspot (Figure 5).

[Place Figure 5 here]

Induction of LTP-like plasticity

The iTBS protocol was delivered at 80% of the individual RMT, using bursts of three pulses at 50 Hz repeated at 5 Hz (600 pulses over 192 s). Stimulator mode logs confirmed that all sessions delivered the planned pulse count without interruption, and the output intensity remained stable throughout.

LTP-like plasticity quantification

Following the application of the iTBS protocol, MEP amplitudes were recorded at multiple time points (e.g., 5 min, 10 min, 15 min, and 30 min) to observe changes in cortical excitability over time (Figure 6).

[Place Figure 6 here]

Raw MEPs

To quantify excitability changes, the mean peak-to-peak MEP amplitudes were calculated at baseline and at each post-stimulation time point (Figure 7).

[Place Figure 7 here]

Normalized MEPs

The MEP amplitudes at each post-stimulation time point were normalized to baseline. The time-dependent increase and subsequent decline in MEP amplitude reflect the characteristic profile of LTP-like plasticity (Figure 8).

[Place Figure 8 here]

A noticeable increase in MEP amplitude was observed within the first few minutes after stimulation, reflecting a transient enhancement in corticospinal excitability. This enhancement gradually declines over time. According to the predefined classification criteria38 (normalized MEP value >1.1 as facilitated, <0.9 as inhibited, and between 0.9 and 1.1 as unchanged), the representative participant was classified as facilitated, with the mean normalized MEP value across all post-stimulation time points (5 min, 10 min, 15 min, and 30 min) exceeding 1.1. This time-dependent modulation is commonly interpreted as a manifestation of LTP-like plasticity.

FIGURE AND TABLE LEGENDS:

Figure 1: Landmark registration. Identification of anatomical landmarks on the participant’s cranial using the neuronavigation system to enable accurate spatial registration.

Figure 2: 3D head model construction. Visualization of the reconstructed 3D head model based on neuronavigation registration and scalp surface sampling, allowing precise coil tracking and cortical mapping during stimulation.

Figure 3: Motor hotspot localization. Real-time display of the stimulation site over the M1 contralateral to the target muscle corresponding to the motor hotspot for the target APB.

Figure 4: RMT determination. Representative MEP waveform recorded from the target APB during RMT assessment. Numbers 1-10 indicate 10 consecutive single-pulse TMS trials.

Figure 5: Baseline MEPs. Twenty representative MEPs from the target APB were elicited by single-pulse TMS at 120% RMT under relaxed conditions.

Figure 6: Post-iTBS MEPs. Representative MEPs from one participant were recorded from the target APB at 120% RMT at (A) 5 min, (B) 10 min, (C) 15 min, and (D) 30 min after iTBS. Each panel shows 20 waveforms, illustrating time-dependent modulation in amplitude.

Figure 7: Mean MEP amplitudes. The mean MEP amplitudes are recorded at baseline and at 5 min, 10 min, 15 min, and 30 min following iTBS in a representative participant. Each data point represents the mean of 20 single-pulse TMS stimuli, with error bars indicating the standard deviation (SD).

Figure 8: Normalized mean MEP amplitudes. The MEP amplitudes were normalized to baseline values (post/baseline ratio) at 5 min, 10 min, 15 min, and 30 min after iTBS in a representative participant.

DISCUSSION:

The application of TMS to investigate synaptic plasticity has great potential for advancing neurophysiological research. In particular, repetitive stimulation protocols provide a practical, non-invasive approach to both inducing and evaluating LTP-like plasticity. However, the accuracy and reproducibility of these findings depend heavily on the standardization of procedural parameters. Accordingly, this protocol provides a reliable and standardized approach for assessing LTP-like plasticity using TMS guided by a neuronavigation system.

LTP, an established cellular model of synaptic plasticity39, is essential for tuning synaptic efficacy and for learning and memory40. Changes in LTP-like plasticity may reflect altered neurophysiological functioning and have been explored as a potential biomarker for early detection, prognosis, and treatment monitoring in neurological conditions such as AD41, stroke42, and PD43. Hippocampal LTP dysfunction emerges at early stages of AD, preceding the onset of cognitive decline44. This impairment is thought to be driven by amyloid-β and tau accumulation, indicating that LTP-like changes may serve as sensitive biomarkers for early diagnosis of AD45. Similarly, in ischemic stroke, alterations in LTP-like plasticity have been positively correlated with recovery potential. In the acute phase, patients often show a reduced propensity for the induction of LTP-like changes in the affected motor cortex, and stronger LTP-like responses in this region have been associated with more favorable rehabilitation outcomes42. In PD, LTP-like plasticity in the primary motor cortex is reduced, regardless of the presence of dyskinesias, highlighting its potential value as a biomarker for disease monitoring46. These findings underscore the utility of LTP-like plasticity as a functional biomarker for patient stratification and therapy monitoring in diverse clinical settings.

iTBS, a form of rTMS, can non-invasively and reliably induce LTP-like plasticity in the human cortex3. Compared with traditional high-frequency rTMS, iTBS achieves comparable or stronger induction of LTP-like effects in a shorter duration, reduces participant discomfort, and allows repeated measurements with minimal fatigue or adaptation8. Other non-invasive plasticity probes, such as tDCS or rTMS, can also modulate cortical excitability, but they often exhibit greater inter-individual variability or require more complex setups and longer intervention periods47,48. By contrast, neuronavigation-guided iTBS ensures precise coil positioning, consistent stimulation intensity, and reproducible induction of LTP-like plasticity, enhancing both reliability and applicability in clinical and research settings49. This approach therefore provides a unique opportunity to observe and measure plasticity-related phenomena in a controlled, efficient, and reproducible manner. However, the clinical application of iTBS demands rigorous procedural consistency. Small variations in factors such as coil positioning and stimulation parameters can introduce significant variability. Therefore, standardizing these procedural factors is essential to optimize the reliability and reproducibility of studies.

In clinical assessments, even minor inconsistencies in participant posture or coil placement can introduce variability in evaluation outcomes50. To minimize this, stable seating with head support is required to ensure head stability and minimize movement during the procedure. This posture not only improves participant comfort but also ensures consistent coil placement across sessions, which is critical for both the efficacy of stimulation and the reproducibility of data. Moreover, the use of a neuronavigation system further enhances procedural precision. The neuronavigation system enables real-time tracking of the coil’s position and orientation in 3D space49, significantly enhancing targeting accuracy. This system not only ensures consistent placement of the TMS coil over the targeted cortical region but also provides continuous feedback on any positional deviations, including changes in angle and distance from the scalp20. In addition to technical precision, ensuring participant safety is paramount. Although iTBS is generally safe and well-tolerated, it is imperative to adhere to established safety protocols. This includes thorough pre-screening for contraindications such as a history of epilepsy or the presence of metallic implants51. Furthermore, continuous monitoring of participant status during stimulation is implemented to ensure any potential adverse events are promptly detected and managed.

In practice, several common challenges may arise during iTBS application, for which practical modifications and troubleshooting strategies are available. First, coil placement variability can compromise stimulation accuracy. This can be minimized by using neuronavigation systems to ensure precise targeting. Second, participant movement is a frequent source of variability. To address this, participants should be seated comfortably in a chair with head and arm support and instructed to remain as still as possible. Third, signal quality issues, such as poor EMG recordings, may interfere with outcome assessment. Proper skin preparation and secure electrode placement are essential. During MEP evaluation, trials with artifacts are repeated or excluded. Finally, hardware and runtime parameters require verification. Calibration errors greater than 3 mm should prompt immediate recalibration. Confirm delivered intensity (%RMT) and pulse counts match the protocol specifications. Together, these modifications and quality checkpoints enhance reproducibility and ensure that the iTBS protocol is executed as intended.

Despite the standardized workflow, several inherent limitations of the technique should be acknowledged. First, the effects of iTBS are highly state-dependent and can vary with baseline cortical excitability, time of day, or ongoing neural activity, which may limit reproducibility across individuals. Second, motor-evoked potentials (MEPs), although commonly used as an index of corticospinal excitability, capture only a fraction of the underlying neurophysiological processes and provide limited insight into network-level changes. Finally, while iTBS can reliably induce transient increases in cortical excitability, evidence for its long-term effects and clinical translatability remains insufficient.

In summary, this study provides a structured workflow for inducing and measuring LTP-like plasticity using image-guided TMS. By integrating technical accuracy, standard positioning, and real-time neuronavigation feedback, this approach serves as a valuable instructional model for researchers and clinicians seeking to apply TMS in neurophysiological investigations.

ACKNOWLEDGMENTS:

This study was supported by the National Natural Science Foundation of China (No.82372582), the Competitive Project of Jiangsu Province’s Key Research and Development Program (No.BE2023034).

DISCLOSURES:

The authors have no competing financial interests or other conflicts of interest pursuant to this work.

REFERENCES:

1	Motta, C. et al. Transcranial magnetic stimulation predicts cognitive decline in patients with Alzheimer's disease. J Neurol Neurosurg Psychiatry. 89 (12), 1237-1242 (2018).

2	Di Lorenzo, F. et al. Effects of Cerebellar Theta Burst Stimulation on Contralateral Motor Cortex Excitability in Patients with Alzheimer's Disease. Brain Topogr. 33 (5), 613-617 (2020).

3	Trebbastoni, A. et al. Altered Cortical Synaptic Plasticity in Response to 5-Hz Repetitive Transcranial Magnetic Stimulation as a New Electrophysiological Finding in Amnestic Mild Cognitive Impairment Converting to Alzheimer's Disease: Results from a 4-year Prospective Cohort Study. Front Aging Neurosci. 7, 253 (2015).

4	Sharbafshaaer, M., Cirillo, G., Esposito, F., Tedeschi, G., Trojsi, F. Harnessing Brain Plasticity: The Therapeutic Power of Repetitive Transcranial Magnetic Stimulation (rTMS) and Theta Burst Stimulation (TBS) in Neurotransmitter Modulation, Receptor Dynamics, and Neuroimaging for Neurological Innovations. Biomedicines. 12 (11), 2506 (2024).

5	Lüscher, C., Malenka, R. C. NMDA receptor-dependent long-term potentiation and long-term depression (LTP/LTD). Cold Spring Harb Perspect Biol. 4 (6), a005710 (2012).

6	Lisman, J., Yasuda, R., Raghavachari, S. Mechanisms of CaMKII action in long-term potentiation. Nat Rev Neurosci. 13 (3), 169-182 (2012).

7	Nowacka, A., Getz, A. M., Bessa-Neto, D., Choquet, D. Activity-dependent diffusion trapping of AMPA receptors as a key step for expression of early LTP. Philos Trans R Soc Lond B Biol Sci. 379 (1906), 20230220 (2024).

8	Blumberger, D. M. et al. Effectiveness of theta burst versus high-frequency repetitive transcranial magnetic stimulation in patients with depression (THREE-D): a randomised non-inferiority trial. Lancet. 391 (10131), 1683-1692 (2018).

9	Gan, T., Nikolin, S., Loo, C. K., Martin, D. M. Effects of High-Definition Transcranial Direct Current Stimulation and Theta Burst Stimulation for Modulating the Posterior Parietal Cortex. J Int Neuropsycho Soc. 25 (9), 972-984 (2019).

10	Huang, Y. Z., Edwards, M. J., Rounis, E., Bhatia, K. P., Rothwell, J. C. Theta burst stimulation of the human motor cortex. Neuron. 45 (2), 201-206 (2005).

11	Tomeh, A. et al. Height-dependent variation in corticospinal excitability modulation after active but not sham intermittent theta burst stimulation. IBRO Neurosci Rep. 18, 498-511 (2025).

12	Wischnewski, M., Schutter, D. J. Efficacy and Time Course of Theta Burst Stimulation in Healthy Humans. Brain Stimul. 8 (4), 685-692 (2015).

13	Yu-Lei, X. et al. Theta burst stimulation versus high-frequency repetitive transcranial magnetic stimulation for poststroke dysphagia: A randomized, double-blind, controlled trial. Medicine (Baltimore). 101 (2), e28576 (2022).

14	Magee, J. C., Grienberger, C. Synaptic Plasticity Forms and Functions. Annu Rev Neurosci. 43, 95-117 (2020).

15	Chen, X. et al. CaMKII autophosphorylation is the only enzymatic event required for synaptic memory. Proc Natl Acad Sci U S A. 121 (26), e2402783121 (2024).

16	Zhang, H. et al. Role of Aβ in Alzheimer's-related synaptic dysfunction. Front Cell Dev Biol. 10, 964075 (2022).

17	Lepeta, K. et al. Synaptopathies: synaptic dysfunction in neurological disorders - A review from students to students. J Neurochem. 138 (6), 785-805 (2016).

18	Lu, J. et al. Effect of intermittent theta burst stimulation on upper limb function in stroke patients: a systematic review and meta-analysis. Front Neurol. 15, 1450435 (2024).

19	Jannati, A., Oberman, L. M., Rotenberg, A., Pascual-Leone, A. Assessing the mechanisms of brain plasticity by transcranial magnetic stimulation. Neuropsychopharmacology. 48 (1), 191-208 (2023).

20	Nieminen, A. E. et al. Accuracy and precision of navigated transcranial magnetic stimulation. J Neural Eng. 19 (6), 10.1088/1741-2552/aca71a (2022).

21	Herwig, U. et al. The navigation of transcranial magnetic stimulation. Psychiatry Res. 108 (2), 123-131 (2001).

22	Kim, W. J., Hahn, S. J., Kim, W. S., Paik, N. J. Neuronavigation-guided Repetitive Transcranial Magnetic Stimulation for Aphasia. J Vis Exp. (111), 53345 (2016).

23	Syrov, N. et al. Single-Subject TMS Pulse Visualization on MRI-Based Brain Model: A precise method for mapping TMS pulses on cortical surface. MethodsX. 10, 102213 (2023).

24	Whalen, C., Maclin, E. L., Fabiani, M., Gratton, G. Validation of a method for coregistering scalp recording locations with 3D structural MR images. Hum Brain Mapp. 29 (11), 1288-1301 (2008).

25	Schlesinger, O. et al. Scalp surface estimation and head registration using sparse sampling and 3D statistical models. Comput Biol Med. 178, 108689 (2024).

26	Sasaki, R. et al. Presence and Absence of Muscle Contraction Elicited by Peripheral Nerve Electrical Stimulation Differentially Modulate Primary Motor Cortex Excitability. Front Human Neurosci. 11, 146 (2017).

27	Nazarova, M. et al. Mapping of multiple muscles with transcranial magnetic stimulation: absolute and relative test-retest reliability. Hum Brain Mapp. 42 (8), 2508-2528 (2021).

28	Rossini, P. M. et al. Non-invasive electrical and magnetic stimulation of the brain, spinal cord, roots and peripheral nerves: Basic principles and procedures for routine clinical and research application. An updated report from an I.F.C.N. Committee. Clin Neurophysiol. 126 (6), 1071-1107 (2015).

29	Brasil-Neto, J. P. et al. Optimal focal transcranial magnetic activation of the human motor cortex: effects of coil orientation, shape of the induced current pulse, and stimulus intensity. J Clin Neurophysiol. 9 (1), 132-136 (1992).

30	Kim, Y. K., Shin, S. H. Comparison of effects of transcranial magnetic stimulation on primary motor cortex and supplementary motor area in motor skill learning (randomized, cross over study). Front Human Neurosci. 8, 937 (2014).

31	Pellicciari, M. C., Miniussi, C., Ferrari, C., Koch, G., Bortoletto, M. Ongoing cumulative effects of single TMS pulses on corticospinal excitability: An intra- and inter-block investigation. Clin Neurophysiol. 127 (1), 621-628 (2016).

32	Kim, H. et al. Optimal stimulation site for rTMS to improve motor function: Anatomical hand knob vs. hand motor hotspot. Neurosci Lett. 740, 135424 (2021).

33	Reijonen, J., Säisänen, L., Könönen, M., Mohammadi, A., Julkunen, P. The effect of coil placement and orientation on the assessment of focal excitability in motor mapping with navigated transcranial magnetic stimulation. J Neurosci Methods. 331, 108521 (2020).

34	Young-Bernier, M., Tanguay, A. N., Davidson, P. S., Tremblay, F. Short-latency afferent inhibition is a poor predictor of individual susceptibility to rTMS-induced plasticity in the motor cortex of young and older adults. Front Aging Neurosci. 6, 182 (2014).

35	Diao, X. et al. Cortical Inhibition State-Dependent iTBS Induced Neural Plasticity. Front Neurosci. 16, 788538 (2022).

36	Chang, W. H. et al. Optimal number of pulses as outcome measures of neuronavigated transcranial magnetic stimulation. Clin Neurophysiol. 127 (8), 2892-2897 (2016).

37	Dai, W. et al. Timing Matters: Preconditioning Effects of Cathodal Transcranial Direct Current Stimulation on Intermittent Theta-Burst Stimulation-Induced Neuroplasticity in the Primary Motor Cortex. Neuromodulation. 28 (3), 520-531 (2025).

38	Tse, N. Y. et al. The effect of stimulation interval on plasticity following repeated blocks of intermittent theta burst stimulation. Sci Rep. 8 (1), 8526 (2018).

39	Patton, M. H. et al. Synaptic plasticity in human thalamocortical assembloids. Cell Rep. 43 (8), 114503 (2024).

40	Di Lorenzo, F. et al. LTP-like cortical plasticity is associated with verbal memory impairment in Alzheimer's disease patients. Brain Stimul. 12 (1), 148-151 (2019).

41	Pereyra, G. et al. SFRP1 upregulation causes hippocampal synaptic dysfunction and memory impairment. Cell Rep. 44 (4), 115535 (2025).

42	Di Lazzaro, V. et al. Motor cortex plasticity predicts recovery in acute stroke. Cereb Cortex. 20 (7), 1523-1528 (2010).

43	Grippe, T. et al. Plasticity-Induced Effects of Theta Burst Transcranial Ultrasound Stimulation in Parkinson's Disease. Mov Disord. 39 (8), 1364-1374 (2024).

44	Murakami, T. et al. Abnormal motor cortical plasticity as a useful neurophysiological biomarker for Alzheimer's disease pathology. Clin Neurophysiol. 158, 170-179 (2024).

45	Larson, J., Munkácsy, E. Theta-burst LTP. Brain Res. 1621, 38-50 (2015).

46	Suppa, A. et al. Lack of LTP-like plasticity in primary motor cortex in Parkinson's disease. Exp Neurol. 227 (2), 296-301 (2011).

47	Vergallito, A., Feroldi, S., Pisoni, A., Romero Lauro, L. J. Inter-Individual Variability in tDCS Effects: A Narrative Review on the Contribution of Stable, Variable, and Contextual Factors. Brain Sci. 12 (5), 522 (2022).

48	Minkova, L. et al. Determinants of Inter-Individual Variability in Corticomotor Excitability Induced by Paired Associative Stimulation. Front Neurosci. 13, 841 (2019).

49	Caulfield, K. A. et al. Neuronavigation maximizes accuracy and precision in TMS positioning: Evidence from 11,230 distance, angle, and electric field modeling measurements. Brain Stimul. 15 (5), 1192-1205 (2022).

50	Dannhauer, M. et al. Electric Field Modeling in Personalizing Transcranial Magnetic Stimulation Interventions. Biol Psychiatry. 95 (6), 494-501 (2024).

51	Rossi, S. et al. Safety and recommendations for TMS use in healthy subjects and patient populations, with updates on training, ethical and regulatory issues: Expert Guidelines. Clin Neurophysiol. 132 (1), 269-306 (2021).