# Submission ID #: 69482

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21192058

# Title: Reproducible Setup for In Vivo Two-Photon Imaging of the Contractility of Cervical Lymphatic Vessels and Lymph Flow in Mice

# Authors and Affiliations:

# Inna Blokhina1, Dmitry Tuktarov2, Anastasia Kolabukhova1, Dmitry Myagkov2, Anastasia Semiachkina-Glushkovskaia3, Ivan Fedosov2, Oxana Semyachkina-Glushkovskaya1, Jürgen Kurths4,5

# 1Department of Biology, Saratov State University

# 2Institute of Physics, Department of Optics and Biophotonics, Saratov State University

# 3Department of Computer Science and Information Technology, Saratov State University

# 4Fudan University

# 5Potsdam Institute for Climate Impact Research

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Inna Blokhina						inna-474@yandex.ru

# Kurths Jürgen						juergen.kurths@pik-potsdam.de

# Email Addresses for All Authors:

# Dmitry Tuktarov					ivanov.ivao@yandex.ru

# Anastasia Kolabukhova				anastasiak.09@mail.ru

# Dmitry Myagkov					dmyagk0v@yandex.ru

# Anastasia Semiachkina-Glushkovskaia		nastya.glushkovskaya04@mail.ru

# Ivan Fedosov						fedosov_optics@mail.ru

# Oxana Semyachkina-Glushkovskaya			glushkovskaya@mail.ru

# Inna Blokhina						inna-474@yandex.ru

# Kurths Jürgen						juergen.kurths@pik-potsdam.de

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  25

Number of Shots:  57

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Bioethics Commission of the Saratov State University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Assembling the Technical Device for Fixing the Mouse

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, use a steel optical rail with a length of 270 millimeters and a width of 43 millimeters as the base of the installation [1].

    - WIDE: Talent placing a 270 millimeter long, 43 millimeter wide steel optical rail on the lab bench.

  - Install two post holders on top of the steel optical rail, ensuring a distance of 175 millimeters between them [1]. Insert two mounting posts with a diameter of 12 millimeters into the post holders [2], and secure each one using an M6 screw [3]. Then, attach a post collar to each of the two mounting posts [4-TXT].

    - Talent positioning and securing two post holders 175 millimeters apart on the optical rail.

    - Talent inserting 12 millimeter mounting posts into the post holders.

    - Talent tightening each post holder with an M6 screw.

    - Talent attaching post collars to both mounting posts. TXT: This post collar is used later for securing a catheter

  - Now, fix a right-angle fixed post clamp to one of the mounting posts and fasten it firmly using an M6 screw [1]. Insert a 12-millimeter mounting post into the side hole of the right-angle post clamp [2].

    - Talent mounting the right-angle fixed post clamp onto one of the posts and tightening it with an M6 screw.

    - Talent inserting the side post into the clamp’s side hole.

  - Now, attach a 3D-printed holder to the inserted side mounting post and fasten it securely using two pairs of M3 screws [1]. Using UV-curable glue, affix a 12-millimeter diameter cover glass to the underside of a protective 3D-printed casing [2]. Then, secure the protective casing to the 3D-printed holder using an M4 screw-nut pair [3].

    - Talent aligning and fixing the 3D-printed holder to the side post with M3 screws.

    - Talent applying UV-curable glue and attaching the cover glass to the underside of the protective casing.

    - Talent fixing the protective casing onto the 3D-printed holder using an M4 screw-nut pair.

  - Install a precision pantograph table for vertical movement on the steel optical rail base using two table clips and sets of M6 screws, nuts, and washers [1]. Then, place a 3D-printed case measuring 155 millimeters in length and 110 millimeters in width onto the tabletop. This case serves as a reservoir for accumulating saline solution [2].

    - Talent aligning the precision pantograph table on the optical rail and securing it with clips and M6 hardware.

    - Talent placing the 3D-printed reservoir case on the surface of the pantograph table.

- Assembling the Heating Element

Demonstrator: Click here to enter name of demonstrator(s)

  - Cover the connection point of the wires to heating element 1 with a thin layer of silicone [1], fix temperature sensor 1 to the mat and seal it using silicone [2].

    - Talent applying silicone to the wire junction on heating element 1.

    - Talent positioning the temperature sensor onto the mat and sealing it with silicone.

  - Solder the wires of the heating element and temperature sensors to a multi-wire cable [1]. Fill the connection point with silicone and close it using shrink wrap [2].

    - Talent soldering the wires of the heating element and sensors to a multi-wire cable.

    - Talent sealing the connection point with silicone and enclosing it in shrink wrap.

  - Now, place heating element 2 and temperature sensor 2 into the foam roller [1]. Fix the connectors for the power cable and the power button to the walls of the control unit case [2].

    - Talent inserting heating element 2 and temperature sensor 2 into the foam roller.

    - Talent mounting the power cable connector and power button on the walls of the case.

  - Install a 24-volt direct current power supply, a direct current step-down converter, and two MOSFET (moss-fet) modules inside the enclosure [1-TXT]. After assembling the circuit [2], fix the Arduino UNO (oo-no) and the keyboard screen into the lid housing [3].

    - Talent placing and securing the 24 volt power supply, step-down converter, and MOSFET modules into the enclosure. TXT: MOSFET: Metal-Oxide-Semiconductor Field-Effect Transistor

    - LAB MEDIA: Figure 6

    - Talent installing the Arduino UNO and fitting the keyboard screen into the inner surface of the lid housing.

- Configuring the Temperature Control Software

Demonstrator: Click here to enter name of demonstrator(s)

  - Download the Arduino sketch file in .ino (dot I-N-O) format and open it using the Arduino development environment [1-TXT]. Select the correct COM (com) port in the Arduino IDE and download the firmware to the board [2]. Use the left and right buttons on the keyboard to navigate between the two interface buttons on the screen [3].

    - SCREEN: Show the Arduino IDE interface with the .ino file opened in version 2.3.5-nightly-20241212. TXT: Use version 2.3.5-nightly-20241212

    - SCREEN: Show the Tools > Port menu in the Arduino IDE with the correct COM port selected.

    - SCREEN: Show the device interface where the left and right buttons move between two on-screen options.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21192058

  - Locate the temperature selection field in the left column [1]. Then, use the Up and Down buttons on the keyboard to adjust the temperature [2].

    - SCREEN: Show the temperature setting interface with a highlight on the left column.

    - SCREEN: Demonstrate pressing the Up and Down buttons to increase or decrease the temperature value.

  - Now, locate the START (start) shutdown field [1], press the Right button on the keyboard to move the selection to this column, and then press Select to activate the function [2]. When the process starts, the activity indicator will begin blinking, and the label on the RUN (run) button will switch to OFF (off) [3].

    - SCREEN: Highlight the START/shutdown field in the right column of the display.

    - SCREEN: Show the screen when user presses the Right button on keyboard followed by the Select button.

    - SCREEN: Demonstrate the blinking activity indicator and the label change from RUN to OFF.

- Fixing the Animal in the Technical Device

Demonstrator: Click here to enter name of demonstrator(s)

  - After anesthetizing the mouse, apply eye ointment to both eyelids to prevent drying of the eyeballs during surgery [1-TXT]. Once the hind leg withdrawal reflex and tail tucking reflex cease, place the mouse on its back on the heating element to provide access to the abdominal region [2]. Plug the control unit into an electrical outlet with an input voltage of 175 to 240 volts alternating current [3-TXT].

    - Talent applying a thin layer of ointment to the mouse's eyelids. TXT: Anesthesia: IP injection of Ketamine (100 mg/kg) + Xylazine (10 - 156 mg/kg)

    - Talent placing the mouse on its back onto the heating element.

    - Talent plugging the power cord into the outlet. TXT: Frequency range: 50 - 60 Hz; AC current 1.8 A/230 V AC; Device temperature: 37 - 38 °C

  - Using a medical tape, fix the animal's body in a position parallel to the table surface [1] and place the head at an angle to the sagittal axis so that one side of the neck rests on the roller [2].

    - Talent taping the animal's body securely in a straight position on the table.

    - Talent adjusting the head at an angle and placing the neck onto the foam roller.

  - Now, wrap a ligature around the upper incisors and attach it to the back of the device [1] and use medical tape to help maintain the animal’s body temperature [2].

    - Talent tying a ligature around the upper incisors.

    - Talent securing the ligature to the back of the device and reinforcing the position with medical tape.

  - With a shaving machine, shave the fur from the neck region [1]. Remove any remaining loose hairs and cover the animal to preserve the sterile field [2-TXT].

    - Talent shaving the neck area of the mouse with a shaving machine.

    - Talent removing residual hair and draping the animal to maintain sterility. TXT: Inject: 0.5 - 1 mL of Lidocaine (1 mg/mL)/Bupivacaine (0.25 mg/mL); Subcutaneously into the incision site

  - For primary disinfection, degrease and partially disinfect the neck skin using an alcohol swab [1]. Then, apply a 0.5 percent chlorhexidine solution or a 2 percent iodine solution for antiseptic treatment [2].

    - Talent wiping the neck area with an alcohol swab.

    - Talent applying chlorhexidine or iodine to the disinfected area. TXT: Repeat all sterilization steps 2x

  - Using straight dissecting scissors, perform a dermatotomy by making a longitudinal incision along the neck skin from the lower jaw to the collarbone, approximately 2 centimeters in length [1].

    - Talent using straight dissecting scissors to make a 2 centimeter vertical skin incision from the lower jaw to the collarbone.

  - Then perform a fasciotomy using microsurgical curved scissors [1]. Using curved tweezers, gently push aside the salivary glands and superficial neck muscles to expose the sternocleidomastoid muscle [2]. Ensure that visible blood vessels are not damaged, and continuously moisten the surgical field with saline to prevent tissue damage [3].

    - Talent making a precise fascia incision with microsurgical curved scissors.

    - Talent using curved tweezers to separate salivary glands and superficial muscles.

    - Talent applying saline solution repeatedly to keep the surgical site moist and prevent injury.

  - Use microsurgical scissors to perform a myotomy of the sternocleidomastoid muscle, providing access to the region between the trachea and carotid artery [1]. Continue spreading the muscles and fascia, performing both myotomy and fasciotomy [2]. Next, locate the deep cervical lymph node along with the afferent and efferent lymphatic vessels at a depth of 5 to 7 millimeters [3].

    - Talent cutting through the sternocleidomastoid muscle using microsurgical scissors.

    - Talent carefully separating deeper layers of tissue.

    - Show exposure of the deep cervical lymph node and its associated lymph vessels at the indicated depth.

- Fixing the Mouse Under a Microscope

Demonstrator: Click here to enter name of demonstrator(s)

  - Place the device holding the fixed animal onto the movable microscope table [1] and secure the device in place by firmly fastening it with an M6 screw to ensure stability during imaging [2].

    - Talent positioning the device with the animal onto the movable microscope table.

    - Talent inserting and tightening the M6 screw to fix the device firmly to the table.

  - Attach the catheter, pre-filled with saline solution, to the mounting post using medical tape [1]. Place a roller with a diameter of 1 centimeter under the heating element on the side of the animal’s head to maintain a 45-degree tilt relative to the microscope table [2].

    - Talent taping the saline-filled catheter securely to the mounting post.

    - Talent inserting the roller beneath the heating element beside the animal’s head.

  - Then, position the fixed catheter into the surgically opened neck area so that it lies near the collarbone region of the animal [1] and turn on the saline supply to fill the open neck cavity completely with saline solution [2].

    - Talent adjusting the catheter placement so it rests correctly in the neck area near the collarbones.

    - Talent opening the valve or switch to start the saline flow and filling the cavity fully.

  - Now, lower the protective casing over the neck area filled with saline so that the lymphatic vessel lies at the center of the viewing field [1-TXT]. Using a binocular device connected to a two-photon microscope, install the protective casing without exerting pressure on the trachea [2].

    - Talent lowering the protective casing gently over the surgical area.

    - Talent using the binocular viewer to carefully position the protective casing above the trachea without compression.

  - Finally, lower the non-water-immersion two-photon lens into the protective casing to the correct depth based on the working distance of the lens [1] and perform two-photon visualization of the cervical lymphatic vessel [2].

    - Talent adjusting the two-photon lens into position inside the protective casing.

    - Talent working with the two-photon microscope.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 150.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - After the procedure, successful identification of the deep cervical lymph nodes was confirmed by Evans Blue accumulation in the tissue [1].

    - LAB MEDIA: Figure 8D. Video editor: Highlight the two red fluorescent spots indicating Evans Blue accumulation.

  - Two-photon monitoring of the cervical lymphatic vessel contractility was performed before and after photobiomodulation or PBM [1-TXT].

    - LAB MEDIA: Figure 10B. Video editor: Highlight the large green fluorescent image.

  - Photobiomodulation significantly increased the cervical lymphatic vessel contractility in 2- and 18-month-old mice with similar intensity [1].

    - LAB MEDIA: Figure 10C. Video editor: Highlight the red contraction waveforms for 2-month-old and 18-month-old mice.

  - Quantitative analysis showed that cervical lymphatic vessel contractility was significantly lower in 24-month-old mice [1] compared to 2- and 18-month-old mice. However, the values were not significantly different between 2- and 18-month-old mice [2].

    - LAB MEDIA: Figure 10D. Video editor: Highlight the box plot showing lower values in the 24-month-old group.

    - LAB MEDIA: Figure 10D. Video editor: Highlight the plots for 2-month-old and 18-month-old groups.

  - Photobiomodulation significantly increased cervical lymphatic vessel contractility in 2- and 18-month-old mice [1], but had no effect in 24-month-old mice [2].

    - LAB MEDIA: Figure 10E. Video editor: Highlight plots for “2mo+PBM” and “18-mo+PBM”.

    - LAB MEDIA: Figure 10E. Video editor: Highlight the plots for 24-mo+PBM.

  - Red blood cells injected into the right lateral ventricle [1] were observed in cervical lymphatic vessels 4 hours after injection [2] and continued moving through the lumen at 5 hours, confirming directional flow from the brain to the periphery [3].

    - LAB MEDIA: Figure 11. Video editor: Highlight A.

    - LAB MEDIA: Figure 11. Video editor: Highlight the red arrowheads pointing to red blood cells in B.

    - LAB MEDIA: Figure 11C. Video editor: Highlight the red arrowheads indicating red blood cell movement in C.

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.1.2 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.1.2  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

    - SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40