TITLE:

Reproducible Setup for In vivo Two-photon Imaging of the Contractility of Cervical Lymphatic Vessels and Lymph Flow in Mice

AUTHORS AND AFFILIATIONS:

Inna Blokhina1, Dmitry Tuktarov2, Anastasia Kolabukhova1, Dmitry Myagkov2, Anastasia Semiachkina-Glushkovskaia3, Ivan Fedosov2, Oxana Semyachkina-Glushkovskaya1, Jürgen Kurths4,5

1Department of Biology, Saratov State University, Saratov, Russia

2Institute of Physics, Department of Optics and Biophotonics, Saratov State University, Saratov, Russia

3Department of Computer Science and Information Technology, Saratov State University, Saratov, Russia

4Fudan University, Yangpu District, Shanghai, China

5Potsdam Institute for Climate Impact Research, Potsdam, Germany

Email addresses of co-authors:

Dmitry Tuktarov					(ivanov.ivao@yandex.ru)

Anastasia Kolabukhova				(anastasiak.09@mail.ru)

Dmitry Myagkov					(dmyagk0v@yandex.ru)

Anastasia Semiachkina-Glushkovskaia		(nastya.glushkovskaya04@mail.ru)

Ivan Fedosov						(fedosov_optics@mail.ru)

Oxana Semyachkina-Glushkovskaya			(glushkovskaya@mail.ru)

Corresponding authors:

Inna Blokhina						(inna-474@yandex.ru)

Kurths Jürgen						(juergen.kurths@pik-potsdam.de)

SUMMARY:

The manuscript demonstrates an innovative method for in vivo study of the contractility of cervical lymphatic vessels and lymph flow in mice for testing various physiological functions of cervical lymphatic vessels (cLVs) and the therapeutic strategies for modulation of the lymphatic regulatory mechanisms of brain drainage and clearance.

ABSTRACT:

The contractility of cLVs is the driving force for lymph flow and a key mechanism underlying brain toxin cleansing. Here, we present an innovative method for in vivo two-photon imaging of the contractility of cLVs and the long-term observation of the removal of red blood cells with lymph flow in cLVs in mice. The components of the setup include a mini-heating pad adapted to the mouse’s neck that allows for increasing the window for imaging up to 5 h while preserving the cLV contractility and the lymph flow; humidity control; a protective casing; and a positioning system that allows for maintaining stable optical visualization of cLVs. The method ensures reproducibility and compatibility with other types of two-photon microscopes and a wide range of objectives, maintaining high-quality images with depth up to 500 µm. The protocol includes detailed stages of surgical preparation of cLVs for maintaining the physiological environment, providing the normal cLV contractility.

INTRODUCTION:

The contractility of the cervical lymphatic vessels (cLVs) plays a key role in brain drainage and the lymphatic clearance of its tissues from metabolites and toxins1-3. Reduction of this main function of cLVs leads to suppression of brain toxin cleansing that is accompanied by many brain diseases, including Alzheimer's disease, traumatic brain injury, and brain cancer4-9. Therefore, studying the cLV contractility is an important approach in the development of new therapeutic strategies for modulation of the lymphatic regulatory mechanisms of brain drainage and clearance10-12.

This study presents an innovative method for real-time two-photon imaging of the cLV contractility and lymph flow in mice of different ages. The important components of the setup include a micro heating pad, which, when attached to the animal's neck, allows for an extended imaging time of up to 5 h while maintaining the contractile activity of the collector lymphatic vessels and the stability of lymph flow.

It should be noted that unlike the blood circulatory system, filled with blood that moves at a certain speed (from 10 mm/s in arterioles to 13 cm/s in the sagittal sinus in humans) through various types of blood vessels, the filling of lymphatic vessels with lymph depends on the increasing pressure gradient between empty lymphatic vessels and the volume of interstitial fluid generated during metabolism13-19. At the same time, lymph flow in the lymphatic vessels is intermittent, ranging from 0 to 1 mm/s20-22. Recent MRI studies in humans have shown that lymph flow in the meningeal lymphatic vessels (MLVs) is 1-3 mm23. However, it should be noted that even in a single person, lymph flow in MLVs varies at different times of the day and can drop to 0. Thus, lymph flow in the lymphatic vessels is inconsistent as it depends on the rate of metabolic processes, which in turn depends on temperature24. Indeed, the velocity of a biochemical reaction is deeply and directly affected by temperature, which therefore could also exert a significant effect on lymphatic vessel spontaneous contractions and thus alter lymph drainage and transport24-26.

Therefore, maintaining body temperature is an important condition for preserving the physiological environment of lymphatic vessels to support normal contractility and lymph flow. However, the use of commercially available heating plates does not ensure the maintenance of the necessary temperature in the deep and optically accessible areas of the neck where cLVs are located. This is especially important for two-photon imaging of the cLV contractility and lymph flow, as this is carried out in cold experimental rooms with an ambient temperature of 19 °C, which is required for this optical technique27.

In this regard, in the overwhelming majority of in vivo studies, the contractility of lymphatic collecting vessels using commercial heating plates is limited to 3-5 min (the maximum effect is usually observed within a few seconds3,28-38, after which the lymphatic filling and contractility decrease. This approach significantly limits the observation time of lymphatic vessel physiology and makes it impossible to assess long-term effects on their contractility and lymph flow, which motivated us to develop a mini-heating pad adapted to the mouse’s neck with the aim of increasing the time window for imaging up to 5 h with preserving the cLV contractility and stable lymph flow.

Another component of the setup is the protective casing with humidity control and positioning system that allows for maintaining stable visualization of cLVs without water immersion, and with preservation of high-resolution images when long working distance air immersion lenses corrected for 0.17 mm cover glass (e.g., CFI Plan Apochromat Lambda D 10x (MRD70170) and CFI

Plan Apochromat Lambda D 20x (MRD70270) is used.

The proposed method ensures reproducibility and compatibility with other types of two-photon microscopes and various objective range compatible with the casing taking into account the environmental features, including temperature/moisture control and the working distance from the lens, while maintaining high-quality images with depth up to 500 µm and time window (up to 5 h) which allows for long-term analysis of the contractility of cLVs and lymph flow with high quality in mice.

It is important to take into account the anatomical location of cLVs near the bifurcation of the carotid artery, where baroreceptors are located. The mechanical impact on baroreceptors leads to destabilization of blood pressure and heart rate. This can cause significant changes in hydrostatic pressure and, as a result, disruption of lymph flow39. Therefore, the proposed method includes a detailed description of the surgical protocol for the gentle isolation of cLVs in the deep neck area to avoid mechanical impact on the bifurcation of the nearby carotid artery and changes in blood pressure, which can lead to impaired lymph flow in the brain and, consequently, impaired lymph flow in cLVs and their contractility.

Results demonstrate the age-related decrease in the cLV contractility and its sensitivity to therapeutic photo-stimulating effects in mice. Furthermore, for the first time in long-term observation (over 5 h), we clearly demonstrate that cLVs act as tunnels for the removal of red blood cells from the right lateral ventricle, which is an important lymphatic pathway for brain toxin cleansing1-3. Overall, the method for in vivo two-photon imaging of the cLV contractility and lymph flow is intended for preclinical studies of various physiological functions of cLVs, including regulation of brain drainage and clearance, removal of metabolites and toxins from the brain, as well as for testing of the new therapeutic technologies for modulation of the cLV physiology.

PROTOCOL:

All procedures were performed in accordance with the Guide for the Care and Use of Laboratory Animals, Directive 2010/63/EU on the Protection of Animals Used for Scientific Purposes, and the guidelines from the Ministry of Science and High Education of the Russian Federation (No. 742 from 13.11.1984), which have been approved by the Bioethics Commission of the Saratov State University (Protocol No. 7, 22.09.2022).

NOTE: Refer to the Table of Materials for details regarding all materials used in this protocol.

1. Technical device for fixing the mouse

1.1. Use a steel optical rail (SOR, length 270 mm, width 43 mm; Figure 1A) as the base of the installation.

1.2. Install two post holders (3PH-25) on top of the SOR at a distance of 175 mm from each other (Figure 1B). Place the mounting posts (3MP, diameter 12 mm) inside the 3PH-25 and then fix them firmly with the M6 screw (Figure 1C).

1.3. Attach the post collar (3PC) to both mounting posts (3MP; Figure 1D). A post-collar is necessary for subsequent fixation of the catheter with a constant supply of saline solution during optical monitoring of the cervical lymphatic vessel.

NOTE: This is necessary in order to flush the study area periodically to remove accumulating blood after surgical procedures, which can complicate optical monitoring.

1.4. Attach the right-angle fixed post clamp (3RPC-12) to one of the 3MP mounting posts and fix it firmly with the M6 screw (Figure 1H).

1.4.1. Insert the mounting post (diameter 12 mm) into the side hole of the 3RPC-12 (Figure 2B).

NOTE: The mounting post is necessary for the subsequent fixation of the protective cover for a non-water-immersion two-photon lens.

1.4.2. Attach the holder printed on a 3D printer to the side mounting post and fix it firmly using two pairs of M3 screws (Figure 2C).

1.4.3. Using UV-curable glue, attach a cover glass with a diameter of 12 mm to the underside of the protective casing printed on a 3D printer (Figure 2D,F). After that, use the M4 screw-nut pair to attach the protective cover to the holder (Figure 2).

1.5. Install the precision pantograph table for vertical movement 02TV004 (Figure 1E) on the SOR base using two table clips (3TC5) and sets of screws, nuts, and washers M6 (Figure 1F).

1.6. Place a 3D-printed case (155 mm long, 110 mm wide) on the tabletop, which is used as a reservoir for the accumulation of saline solution (Figure 1G).

2.	Heating element

2.1. Assembly of peripheral devices.

2.1.1. Cover the connection point of the wires to the heating element 1 with a thin layer of silicone (Figure 3). Fix the temperature sensor 1 to the mat and seal it with silicone (Figure 3B).

2.1.2.	Solder the wires of the heating element and temperature sensors to a multi-wire cable, fill the connection point with silicone, and close with shrink wrap (Figure 3).

2.1.3.	Place the heating element 2 and the temperature sensor 2 in the foam roller (Figure 4).

2.2. Assembly of the control unit

NOTE: Link to download files for printing the case of the control https://disk.yandex.ru/d/06BURfMlQpl0Jg.

2.2.1. Print the case of the control unit on a 3D printer (Figure 5B).

2.2.2. Fix the connectors for connecting the power cable and the power button on the walls of the case, as shown in Figure 5C,D).

2.3. Install a 24 V DC power supply, a DC step-down converter, and 2 MOSFET modules inside the enclosure (Figure 5A,G,H,I).

2.4. To assemble the circuit, follow these steps (Figure 6).

2.4.1. Connect the step-down converter to the source and set the voltage to 9 V (Figure 6).

2.4.2. Connect the VIN pin on the Arduino UNO to the OUT+ connector on the converter and GND to the OUT connector, respectively (Figure 6).

2.4.3. Connect the V+ pin on the power supply to the VIN+ pins on the MOSFET modules, and the V pin to the VIN pins, respectively (Figure 6).

2.4.4. Connect the V pin+ on heating element 1 to VOUT+ on module MOSFET 1 and V- to VOUT, respectively (Figure 6).

2.4.5. Repeat the steps for heating element 2 and MOSFET 2 (Figure 6).

2.4.6. Connect the GND pin on the MOSFET 1 and 2 module to the GND on the Arduino UNO, and the PWM MOSFET 1 to the D11 connector on the Arduino UNO, and the PWM MOSFET 2 to the D10 connector, respectively (Figure 6).

2.4.7. Connect the VIN pin of the temperature sensor 1 to the GND connector on the Arduino UNO, VIN+ to the 5 V connector on the Arduino UNO, and SIG to D3 (Figure 6).

2.4.8. Connect the SIG contact of the temperature sensor 2 to A1 on the Arduino UNO, connect the GND sensor to the GND on the Arduino UNO, and also connect the 100 kΩ pull-up resistor (Figure 6).

2.5. Fix the Arduino UNO and the keyboard screen in the lid housing (Figure 7I).

3. Temperature control software guide

3.1. Download the Arduino sketch (.ino file) and open it in the Arduino development environment (IDE version: 2.3.5-nightly-20241212).

3.2. Select the correct COM port and download the firmware. The interface contains two buttons. To move between them, use the left and right buttons (Figure 7B,D). The selection indicator is located to the left of the column (Figure 7F).

3.3. The temperature selection field is located in the left column of the screen (Figure 7H). Use the Up and Down buttons to adjust (Figure 7C).

3.5. The START/shutdown field is located in the right column of the screen (Figure 7G). To select this column, press the Right button on the keyboard, and then press Select (Figure 7A). When the process is running, the activity indicator will blink, and the label on the RUN button will change to OFF.

4. Fixing the animal in the technical device

NOTE: The experiments were conducted on male BALB/c mice (25-28 g, 2, 18, and 24 months old); in each group, there were 7 animals.

4.1. Prepare a mixture of Ketamine and Xylazine (100 mg/kg; 10-156 mg/kg, respectively) and inject it by intraperitoneal injection according to the weight of the mouse.

4.2. Apply eye ointment to the eyelids to prevent the eyeballs from drying out during surgery. Repeat this procedure if necessary.

4.3. When the reflexes of withdrawing the hind legs and tucking the tail stop, place the mouse on the heating element on the back so as to provide access to the abdominal part of the body.

4.4. Plug the control unit into an outlet (input voltage range 175-240 V AC, frequency range 50-60 Hz, AC current 1.8A/230 V AC). Set the operating temperature on the device to 37-38 °C.

4.5. Using medical tape, fix the animal so that the body is parallel to the surface of the table, and position the head at an angle relative to the sagittal axis of the body so that the right or left side of the neck lies on the roller (Figure 8A).

NOTE: This fixation of the mouse's head is necessary so that the right or left side of the neck (depending on the experimental conditions) is raised to a height of about 5 mm towards the microscope lens. Thus, the area of dcLN and cLV will be almost on the same level as the trachea.

4.6. Wrap the ligature around the upper incisors and attach it to the back of the device to maintain the animal's body temperature using medical tape.

4.7. Using a shaving machine, shave the area of the hairline in the neck area. Remove any remaining hair after shaving, then cover the animal to protect the sterile field. For surgical procedures and subsequent optical control, inject 0.5 - 1 mL of lidocaine/bupivacaine (1 mg/mL and 0.25 mg/mL, respectively) subcutaneously into the incision site.

4.7.1. For primary disinfection, degrease and partially disinfect the skin with an alcohol swab, then, for antiseptic treatment, apply a solution of chlorhexidine 0.5% or iodine 2% to the skin. Repeat all the sterilization steps two more times.

4.8. Using straight dissecting scissors, perform a dermatotomy of the neck skin with a longitudinal incision from the lower jaw to the collarbone area about 2 cm long (Figure 8B).

4.9. Performing fasciotomy with microsurgical curved scissors, using curved tweezers, push apart the salivary glands and superficial muscles of the neck, exposing the sternocleidomastoid muscle. Avoid damaging visible blood vessels to prevent bleeding. Constantly moisten the surgical area with saline solution to prevent excessive tissue injury.

4.10. Using microsurgical scissors, perform a myotomy of the sternocleidomastoid muscle to provide access to the area between the trachea and the carotid artery of the animal.

4.11. Continuing to spread the muscles and fascia and performing myo- and fasciotomy, locate the deep cervical lymph node and afferent and efferent lymph vessels at a depth of 5-7 mm (Figure 8C).

5. Fixing the mouse under a microscope

5.1. Place the device with the fixed animal on the movable table of the microscope and firmly connect them using the M6 screw. This is necessary to ensure a permanent installation position on the movable table.

5.2. Plug the control unit into an outlet (input voltage range 175-240 V AC, frequency range 50-60 Hz, AC current 1.8A/230 V AC). Set the operating temperature on the device to 36-37 °C.

5.3. Attach the catheter filled with saline solution to the mounting post using medical tape.

5.4. Place a 1 cm diameter roller under the heating element on the side of the animal's head to ensure a 45° tilt angle relative to the movable microscope table. This is necessary in order to place the cervical lymph vessel in a horizontal position and reduce the subsequent pressure on the trachea.

5.5. Place the fixed catheter in the neck area open after surgical procedures so that it is located on the side of the collarbones of the animal.

5.5.1. Turn on the supply of saline solution, wait until the open neck area is completely filled with saline solution.

5.5.2. Lower the protective casing over the neck area filled with saline solution so that the area of the lymph vessel is located in its center, and the animal's trachea is not compressed (Figure 9A).

5.5.3.	To install the protective casing, it is recommended to use a binocular connected to a two-photon microscope. Place the protective casing on the trachea so that it does not press on it. Make sure that no air bubbles accumulate under the protective casing as it is lowered. Make sure that the protective plate is located on the upper muscles of the neck and does not press cLVs, allowing the heated saline solution to flow into the vessel and preventing mechanical deformation of cLVs.

5.6. Lower the non-water-immersion two-photon lens into the protective casing to a depth corresponding to the working distance of this lens and then perform a two-photon visualization of the cervical lymphatic vessel (Figure 9B).

NOTE: When conducting the first scan, it is necessary to make sure that the lymphatic vessel has a complete structure along its entire length and is mobile when the mouse is breathing. This will mean that it is not deformed or pinched by a protective casing.

6. Two-photon in vivo monitoring of the cLV contractility

NOTE: The 2-photon images were obtained using a multiphoton microscope (pulsed laser, excitation wavelength 970 nm). The image was obtained with a resolution of 20x (f/0.75). Each image consisted of 1 field of view zoom x 3.0 (212.13 × 212.13 µm), consisting of 512 x 512 dots. The images of cLVs were obtained by shooting a video at 30 frames per second, lasting 1 min. The 2-photon images were obtained in one channel with an excitation of fluorescent LYVE-1 in cLVs at a wavelength of 488 nm and its emission at a wavelength of 525 nm.

6.1. cLV diameter analysis and automated contractility assessment

6.1.1. Measure the diameter of cLVs in the region of interest (ROI) using 30 min movies at 30 frames/s and 3x magnification. Using a custom Python code, measure the time profile of cLV diameter for the same segments used for lymph flow calculation.

6.1.2.	Select manually two points corresponding to the opposite walls of the сLVs. Determine their position in subsequent frames using the Lucas–Kanade optical flow algorithm (calcOpticalFlowPyrLK function in OpenCV), which provides sub-pixel accuracy for the measurements. Calculate the diameter as the distance between the tracked points, converted from pixels to micrometers. Use a sliding window median filter to eliminate motion artifacts. There should be at least 20 diameter measurements in one ROI.

6.1.3. To determine the internal frequency of pulsations, use the smoothed time series of diameter. Detect the signal's maxima and minima automatically using the find_peaks function from the SciPy library, which identifies local extremes of the time signal based on amplitude thresholds and the minimum distance between peaks.

6.1.4. Exclude from the analysis the cLV contractions with an amplitude of less than 3% of the average diameter and an interval of less than 2 s. Calculate the average frequency over 30 min intervals as the frequency of contractions per minute.

7. Two-photon analysis of lymph flow in cLVs

NOTE: Lymph flow analysis was assessed by the movement of red blood cells in cLVs during 5 h after the introduction of autologous blood into the right lateral ventricle via the chronic catheter.

7.1. Anaesthetize the mouse with 1% isoflurane (see protocol published in40). Implant the catheter into the right lateral ventricle according to the protocol described in40.

7.2. Prepare the mouse for two-photon in vivo imaging of cLVs in accordance with steps 7.1, 7.3-7.5.

7.3. Collect blood from the tail vein by needle puncture in an amount of 10 µL in a sterile micro-centrifuge tube pre-flushed with heparin to avoid coagulation during blood sampling and injection.

7.4. Inject blood into the right lateral ventricle (AP = −0.5 mm; ML= −1.06 mm; DV = 2.5 mm) using a microinjection pump at a rate of 0.1 µL/min.

7.5. Conduct a two-photon analysis of red blood cell movement in cLVs. Calculate lymph flow rate using protocols published in41,22.

8. Photobiomodulation of the cLV contractility

8.1.	For the PBM of cLVs, use the previously published technology and protocols in40.

RESULTS:

The use of protective casing provides the most important advantages for long-term monitoring of cervical lymphatic vessels in vivo, such as isolation of the surgical area from the external environment, allowing for the maintenance of immersion of the lymph vessel and surrounding tissues in saline solution with a constant supply of saline solution through a catheter attached to the body. In addition, due to its attachment to the microscope slide and close mechanical contact with the tissues surrounding the lymph vessel, the protective cover ensures the mechanical stability of the observation field during natural respiration and cardiac activity of the animal, limiting the total movements of the observed vessel to no more than a few tenths of a micrometer during 5 h of observation.

The proposed technology was tested in a study examining age differences in sensitivity to the stimulatory effects of photobiomodulation (PBM) on cLV contractility (Figure 10). This choice is associated with a series of our previously published ex vivo results indicating age-related decrease in brain drainage and insensitivity to the stimulating effects of PBM29,42-49. The lymphatic contractility is a driving force for lymphatic drainage and clearance of tissues50,51. At the same time, the lymphatic endothelium of MLVs is a target for the stimulating effects of PBM11,12. There is emerging evidence that PBM of MLVs promotes the removal of toxins such as beta-amyloid and blood from the brain of mice1,4-12. However, as noted above, the stimulating effects of PBM on lymphatic drainage are significantly reduced in old mice compared with young and middle-aged animals29,42-49. Based on these facts, it can be assumed that age differences in brain drainage and sensitivity to PBM may be associated with an age-related decrease in the cLV contractility, which underlies the pathway and mechanisms of lymphatic drainage of the brain.

To test this hypothesis, two-photon monitoring of the contractility of the efferent сLVs was performed, which carry the cleared lymph from dcLNs, which are the first anatomical station for collecting the cerebral spinal fluid (CSF) from the brain52,53. For the PBM of cLVs, the previously published technology and protocols40 were used.

The design of the experiment is shown in Figure 10A. At 30 min before the start, the fluorescein isothiocyanate-labeled dextran (FITCD, 70 kDa, 2% solution) was introduced into the cisterna magna for visualization of cLVs. Afterward, two-photon monitoring of the cLV contractility was performed before and after PBM (Figure 10B). The results revealed that the cLV contractility did not differ between 2- and 18-month-old mice but was significantly reduced in 24-month-old mice (Figure 10C). PBM significantly increases the cLV contractility in 2- and 18-month-old mice with similar intensity (Figure 10C). In contrast to young and middle-aged mice, old mice were insensitive to the stimulatory effects of PBM (Figure 10C).

Indeed, the quantitative analysis showed that the cLV contractility was reduced in 24-month-old mice by 4.8-fold (p < 0.001) and 4.2-fold (p < 0.001) compared to 2- and 18-month-old mice, respectively (0.71 ± 0.18 contraction/30 s vs. 3.43 ± 0.20 contraction/30 s, p < 0.001 between 24- and 2-month-old mice; 0.71 ± 0.18 contraction/30 s vs. 3.00 ± 0.26 contraction/30 s, p < 0.001 between 24- and 18-month-old mice, n=7 in each group, the ANOVA test with post hoc Duncan test; Figure 10D). There were no differences in the cLV contractility between 2- and 18-month-old mice (3.43 ± 0.20 contraction/30 s vs. 3.00 ± 0.26 contraction/ 30 s, ns, n=7 in each group, the ANOVA test with post hoc Duncan test; Figure 10D).

PBM increased the cLV contractility by 2.0x (p < 0.001) and 2.3x (p < 0.001) in 2- and 18-month-old mice, respectively (7.00 ± 0.26 contraction/30 s vs. 3.43 ± 0.20 contraction/30 s, p < 0.001 in 2-month-old mice before and after PBM; 7.14 ± 0.51 contraction/30 s vs. 3.00 ± 0.26 contraction/30 s, p < 0.001 in 18-month-old mice before and after PBM, n=7 in each group, the ANOVA test with post hoc Duncan test; Figure 10D). No effects of PBM on the LV contractility were observed in 24-month-old mice (1.00 ± 0.01 contraction/30 s vs. 0.71 ± 0.18 contraction/ 30 s, ns, n=7 in each group, the ANOVA test with post hoc Duncan test; Figure 10D).

Thus, the results revealed a decrease in cLV contractility in old mice, which was accompanied by their insensitivity to the stimulatory effects of PBM compared to young and middle-aged mice. No age differences in the diameter of cLVs were found (Figure 10E), indicating that the age-related decrease in the cLV contractility and loss of sensitivity to PBM is associated with the physiological processes of aging of the lymphatic endothelium and regulatory mechanisms of pumping and lymphatic transport in cLVs.

To study the speed of lymph flow, red blood cells were used as a tracer, which were injected into the right lateral ventricle and monitored for 5 hours using two-photon imaging (Figure 11). The results showed that cLVs are a tunnel that transports red blood cells from the brain to the periphery at a speed of 0.617 mm/s.

FIGURE AND TABLE LEGENDS:

Figure 1: Technical device for fixing the mouse under the microscope lens. (A) Steel optical rails, (B) Post holder 3PH-25, (C) Mounting post 3MP, (D) Post collar, (E) Precision pantographic vertical movement table 02TV004, (F) Table clip 3TC5, (G) Case, (H) Right-angle fixed post clamp 3RPC-12. The figure shows a general view of the technical device for fixing the mouse under the microscope lens.

Figure 2: Mounting for the lens protective cover. (A) Right-angle fixed post clamp 3RPC-12, (B) Mounting post, (C) Holder, (D) Protective casing, (E) Plastic holder, (F) Cover glass. The figure shows the protective cover fixed on the mounting post, top view.

Figure 3: Neck heating element. (A) Heating element, (B) Temperature sensor. The figure demonstrates the fixation of the neck heating element.

Figure 4: Heating element 3D view. (A) Temperature sensor, (B) Heating element. The figure shows a 3D model of a heating element used to maintain a constant body temperature of an animal.

Figure 5: Case 3D view. (A) MOSFET module 1, (B) Case, (C) Power connector, (D) Power button, (E) Arduino UNO, (F) (LCD) keypad shield, (G) MOSFET module 2, (H) Step-down converter, (I) Power supply. The figure shows a 3D model of the control unit and its components.

Figure 6: Heating element control circuit. The figure shows the connection diagram of the components.

Figure 7: Hardware controls. (A) Select button, (B) Left button, (C) Up/Down button, (D) Right button, (E) Restart button, (F) Selection indicator, (H) Temperature selection field, (G) RUN/OFF field.

Figure 8: Isolation of the deep cervical lymph node of a mouse. (A) Fixing the mouse in a technical device, (B) Preparation of the working field for lymph node detection, (C) Isolation of dcLN and cLV, (D) Representative fluorescent images of the accumulation of Evans Blue in dcLNs. The figure shows the area of surgical procedures for searching for dcLN and cLV, as well as the anatomical location of dcLN and cLV in the area between the trachea and clavicle.

Figure 9: Preparing the mouse for cLV imaging. (A) Isolation of the study area by means of a protective casing, (B) Placing the lens in the working position for subsequent multiphoton imaging of the lymphatic vessel. The drawing shows the location of the mouse under the microscope lens and the method of delivering saline solution to the neck area.

Figure 10: Representative results of real-time optical analysis of age-related differences in the effects of PBM on the cLV contractility. (A) Experimental design that includes intracisternal injection of FITСD for сLV visualization and 2-photon monitoring of the cLV contractility; (B) Representative 2-photon image of cLV draining the lymph from dcLNs; (C) Representative images of the cLV contractility in mice of different ages before and after PBM; (D) Quantitative analysis of optical analysis of the cLV contractility in mice of different ages before and after PBM; (E) Quantitative analysis of the measurement of the diameter of cLVs in mice of different ages; n=7 in each group, ***p < 0.001, the ANOVA test with post hoc Duncan test.

Figure 11. Two-photon analysis of lymph flow in cLVs. Representative images of movement of red blood cells (RBCs) in cLV: (A) before the introduction of blood into the right lateral ventricle, there are no RBCs in cLV (B) 4 h after intraventricular injection of blood, RBCs (arrowheads) appeared in the lumen of cLV (C) 5 h after intraventricular injection of blood, RBCs move in the lumen of cLV.

DISCUSSION:

The study of the physiology of lymphatic vessels requires the use of non-invasive methods while maintaining special environmental conditions that allow for normal contractility and stable lymph flow. The vast majority of methods for studying the functions of lymphatic vessels are based on optical monitoring of their contractility and assessment of the speed of lymph flow3,28–38. The classic object for studying the functions of lymphatic vessels is the large mesenteric lymphangion, which is easy to detect in the intestine and maintains its contractility by placing the intestine on a heating plate. However, studying the functions of cLVs is difficult due to their anatomical location in the deep neck area. The cLVs cannot be placed on a commercial heating plate in the same way as the mesenteric lymphatic vessels. At the same time, the dissection of the skin and connective tissue on the neck, which is necessary for two-photon monitoring of cLVs in cold experimental rooms, does not allow for long-term maintenance of the required temperature in the ROI using commercial heating plates. The solution to this methodological problem was to create a mini-heating plate that is adapted to the size of the mouse's neck, which allows for long-term maintenance of the required temperature in the ROI and ensures stability in the contractility and lymph flow in cLVs.

An important technical condition is the correct surgical preparation of cLVs for optical imaging. This is due to the fact that cLVs are located near the bifurcation of the carotid artery. Mechanical irritation of the baroreceptors in this area can lead to destabilization of blood pressure and heart rate, which can disrupt lymph flow. Therefore, the method provides a detailed description of the surgical procedure for correctly extracting cLVs for two-photon monitoring while maintaining the necessary environmental conditions to support their function.

The proposed method is based on the use of various types of lenses without loss of image quality, which is ensured by long working distance air immersion lenses corrected for 0.17 mm cover glass (e.g., CFI Plan Apochromat Lambda D 10x (MRD70170) and CFI Plan Apochromat Lambda D 20x (MRD70270)) are used. Therefore, the method ensures reproducibility and compatibility with other types of two-photon microscopes and various objective ranges, maintaining high-quality images with a depth of up to 500 µm.

Results demonstrate the effectiveness of using this method to assess age-related changes in both the cLV contractility and its sensitivity to PBM (Figure 10). Indeed, the data revealed that the cLV contractility was significantly reduced in 24-month-old mice compared with 2- and 18-month-old mice, which is consistent with the data obtained by other researchers3. The age-related decrease in the cLV contractility may be associated with a decrease in the production of NO in the lymphatic endothelium, as we found in previous studies1,29. NO is an important mediator that controls the contractility of the lymphatic vessels50,51. Therefore, a decrease in the NO production in the lymphatic endothelium may significantly reduce the cLV contractility. Since we did not find any changes in the diameter of cLV, this further confirms that the age-related decrease in the cLV contractility is associated with the endothelium rather than the size of cLV.

We suggest that the age-related decrease in the cLV contractility may be the reason for the lack of sensitivity to PBM in older mice. Indeed, if PBM increased the cLV contractility by 2x in young and middle-aged mice, then PBM had no effect in old mice. We have previously proven that the lymphatic endothelium is a target for PBM, leading to an increase in endothelial NO production1. Therefore, it is logical to assume that the age-related decrease in NO production in the lymphatic endothelium may be the reason for their insensitivity to PBM.

Since lymph is transparent, various tracers are commonly used to study lymph flow, and the speed of their movement through lymphatic vessels is evaluated3,28-38. We chose red blood cells as the tracer. This is based on previous ex vivo results, where we demonstrated that the dcLNs are the first anatomical station for collecting red blood cells after injecting blood into the right lateral ventricle1. The results clearly showed that cLVs act as a tunnel for removing red blood cells from the brain at a rate of 0.617 mm/s (Figure 11).

Thus, this method is a reproducible setup for in vivo two-photon imaging of the contractility of cervical lymphatic vessels and the analysis of lymph flow in mice that can be used for the study of various physiological functions of cLVs, including the analysis of the lymphatic regulatory mechanisms of brain drainage and clearance, monitoring of the traffic of immune cells between the brain and the peripheral lymphatic system, observation of removal of metabolites and toxins from the brain as well as investigation of the effects of new technologies for stimulation of the cLV functions.

ACKNOWLEDGMENTS:

This research was supported by a grant from the Russian Science Foundation (No. 23-75-30001).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

- Li, D. Y. et al. Photostimulation of brain lymphatics in male newborn and adult rodents for therapy of intraventricular hemorrhage. Nat Commun. 14 (1), 6104 (2023).

- Kunert, C., Baish, J. W., Liao, S., Timothy, P.P., Lance, L. M. Mechanobiological oscillators control lymph flow. Proc Natl Acad Sci U.S.A. 112 (35), 10938–10943 (2015).

- Du, T. et al. Restoration of cervical lymphatic vessel function in aging rescues cerebrospinal fluid drainage. Nat Aging. 4 (10), 1418-1431 (2024).

- Mesquita, D. et al. Functional aspects of meningeal lymphatics in ageing and Alzheimer's disease. Nature. 560 (7717), 185-191 (2028).

- Bolte, A. C. et al. Meningeal lymphatic dysfunction exacerbates traumatic brain injury pathogenesis. Nat Commun. 11, 4524 (2020).

- Hu, X. et al. Meningeal lymphatic vessels regulate brain tumor drainage and immunity. Cell Res. 30, 229-243 (2020).

- Song, E. et al. VEGF-C-driven lymphatic drainage enables immunosurveillance of brain tumours. Nature. 577 (7792), 689-694 (2020).

- Chen, J. et al. Meningeal lymphatics clear erythrocytes that arise from subarachnoid hemorrhage. Nat. Commun. 11, 3159 (2020).

- Liu, X. et al. Subdural haematomas drain into the extracranial lymphatic system through the meningeal lymphatic vessels. Acta Neuropathol Commun. 8, 16 (2020).

- Li, D. Y. et al. Photostimulation of brain lymphatics in male newborn and adult rodents for therapy of intraventricular hemorrhage. Nat Commun. 14, 6104 (2023).

- Liu, S. et al. Neuro-lymphaphotonics opens new horizons of the future technologies for the therapy of brain diseases. Theranostics. 16 (2), 776-793 (2025).

- Lin, H. et al. Transcranial photobiomodulation for brain diseases: review of animal and human studies including mechanisms and emerging trends. Neurophotonics. 11 (1), 010601 (2024).

- Bollmann, S. et al. Imaging of the pial arterial vasculature of the human brain in vivo using high-resolution 7T time-of-flight angiography. Elife. 11, e71186 (2022).

- Jordan, J. E., Pelc, N. J., Enzmann, D. R. Velocity and flow quantitation in the superior sagittal sinus with ungated and cine (gated) phase-contrast MR Imaging. J Magn Reson Imaging. 4 (1), 25–28 (1994).

- Negrini, D., Fabbro, M. D. Subatmospheric pressure in the rabbit pleural lymphatic network. J Physiol. 520 (Pt 3), 761–769 (1999).

- Negrini D., Moriondo, A., Mukenge, S. Transmural pressure during cardiogenic oscillations in rodent diaphragmatic lymphatic vessels. Lymphat Res Biol. 2 (2), 69–81 (2004).

- Moriondo, A., Mukenge, S., Negrini, D. Transmural pressure in rat initial subpleural lymphatics during spontaneous or mechanical ventilation. Am J Physiol Heart Circ Physiol. 289 (1), H263–H269 (2005).

- Grimaldi, A. et al. Functional arrangement of rat diaphragmatic initial lymphatic network. Am J Physiol Heart Circ Physiol. 291 (2), H876–H885 (2006).

- Gashev, A. A., Zawieja, D. C. Hydrodynamic regulation of lymphatic transport and the impact of aging. Pathophysiology. 17 (4), 277-287 (2010).

- Park, J. K. et al. Association of lymphatic flow velocity with surgical outcomes in patients undergoing lymphovenous anastomosis for breast cancer-related lymphedema. Breast Cancer. 29 (5), 835–843 (2022).

- Fischer, M. et al. Flow velocity of single lymphatic capillaries in human skin. Am J Physiol Heart Circ Physiol. 270 (1), H358–63 (1996).

- Dixon, J. B. et al. Lymph flow, shear stress, and lymphocyte velocity in rat mesenteric prenodal lymphatics. Microcirculation. 13 (7), 597–610 (2006).

- Kim, J. H., Yoo, R. E., Choi, S. H., Park, S. H. Non-invasive flow mapping of parasagittal meningeal lymphatics using 2D interslice flow saturation MRI. Fluids Barriers CNS. 20 (1), 37 (2023).

- Solari, E., Marcozzi, C., Negrini, D., Moriondo, A. Temperature-dependent modulation of regional lymphatic contraction frequency and flow. American Journal of Physiology-Heart and Circ Physiol. 313 (5), H879-H889 (2017).

- Solari, E., Marcozzi, C., Negrini, D., Moriondo, A. Lymphatic Vessels and Their Surroundings: How Local Physical Factors Affect Lymph Flow. Biology (Basel). 9 (12), 463 (2020).

- Angeli, V., Lim, H. Y. Biomechanical control of lymphatic vessel physiology and functions. Cell Mol Immunol. 20, 1051–1062 (2023).

- Chong, C. et al. In vivo visualization and quantification of collecting lymphatic vessel contractility using near-infrared imaging. Sci Rep. 6, 22930 (2016).

- Weiler, M., Kassis, T., Dixon, J. B. Sensitivity analysis of near-infrared functional lymphatic imaging. J Biomed Opt. 17 (6), 066019 (2012).

- Semiachkina-Glushkovskaia, A. et al. NO-ergic mechanisms of age differences in photostimulation of lymphatic drainage, filtration and clearance. Biomed Opt Exp. In press (2025).

- Davis, M. J. et al. Modulation of lymphatic muscle contractility by the neuropeptide substance P. Am J Physiol Heart Circ Physiol. 295 (2), H587-H597 (2008).

- Bell, R. D. et al. iNOS dependent and independent phases of lymph node expansion in mice with TNF-induced inflammatory-erosive arthritis. Arthritis Res Ther. 21 (1), 240 (2019).

- Bachmann, S., Detmar, M., Proulx, S. Visualization and Measurement of Lymphatic Function In Vivo. Methods Mol Biol. 1846, 197-211 (2018).

- Nelson, T. S. et al. Minimally invasive method for determining the effective lymphatic pumping pressure in rats using near-infrared imaging. Am J Physiol Regul Integr Comp Physiol. 306 (5), R281-R290 (2014).

- Proulx, S. T. et al. Use of a PEG-conjugated bright near-infrared dye for functional imaging of rerouting of tumor lymphatic drainage after sentinel lymph node metastasis. Biomaterials. 34 (21), 5128–5137 (2013).

- Kwon, S., Sevick-Muraca, E. M. Noninvasive quantitative imaging of lymph function in mice. Lymphat Res Biol. 5 (4), 219–31 (2007).

- Zhou, Q., Wood, R., Schwarz, E. M., Wang, Y. J., Xing, L. Near-infrared lymphatic imaging demonstrates the dynamics of lymph flow and lymphangiogenesis during the acute versus chronic phases of arthritis in mice. Arthritis Rheum. 62 (7), 1881–9 (2010).

- Schmid-Schonbein, G., Zweifach, B. Fluid pump mechanisms in initial lymphatics. News Physiol Sci. 9, 67–71 (1994).

- Schmid-Schonbein, G. W. Mechanisms causing initial lymphatics to expand and compress to promote lymph flow. Arch Histol Cytol. 53 (Suppl), 107–114 (1990).

- Hughes, G. W., Moore, J. P., Lord, R. N. Barosensory vessel mechanics and the vascular sympathetic baroreflex: Impact on blood pressure homeostasis. Exp Physiol. 108 (10), 1245-1249 (2023).

- Blokina, I. et al. Photobiomodulation under Electroencephalographic Controls of Sleep for Stimulation of Lymphatic Removal of Toxins from Mouse Brain. J Vis Exp. (208), 67035 (2024).

- Dixon J. B., Zawieja D. C., Gashev A. A., Cote G. L. Measuring microlymphatic flow using fast video microscopy. J Biomed Opt. 10, 064016-1–7 (2005)

- Terskov, A. et al. Age as a limiting factor for effectiveness of photostimulation of brain drainage and cognitive functions. Front Optoelectron. 31 (3), 6 (2025).

- Blivet, G., Relano-Gines, A., Wachtel, M., Touchon, J. A randomized, double-blind, and sham-controlled trial of an innovative brain-gut photobiomodulation therapy: safety and patient compliance. J Alzheimers Dis. 90 (2), 811–822 (2022).

- Herkes, G. et al. A novel transcranial photobiomodulation device to address motor signs of Parkinson’s disease: a parallel randomised feasibility study. EClinicalMedicine. 66 (1), 102338 (2023).

- Bullock-Saxton, J., Lehn, A., Laakso, E. L. Exploring the effect of combined transcranial and intra-oral photobiomodulation therapy over a four-week period on physical and cognitive outcome measures for people with Parkinson’s disease: a randomized double-blind placebo-controlled pilot study. J Alzheimers Dis. 83 (4), 1499–1512 (2021).

- Lee, T. L., Chan, A. S. Photobiomodulation may enhance cognitive efficiency in older adults: a functional near-infrared spectroscopy study. Front Aging Neurosci. 20 (6), 1–10 (2023).

- Cardoso, F. S. et al. Effects of chronic photobiomodulation with transcranial near-infrared laser on brain metabolomics of young and aged rats. Mol Neurobiol. 58 (5), 2256–2268 (2021).

- Hosseini, L. et al. Effect of transcranial near-infrared photobiomodulation on cognitive outcomes in D-galactose/AlCl3-induced brain aging in BALB/c mice. Lasers Med Sci. 37 (3), 1787–1798 (2022).

- Lutfy, R. H., Essawy, A. E., Mohammed, H. S., Shakweer, M. M., Salam, S. A. Transcranial irradiation mitigates paradoxical sleep deprivation effect in an age-dependent manner: role of BDNF and GLP-1. Neurochem Res. 49 (4), 919–934 (2024).

- Bohlen, H. G., Gasheva, O. Y., Zawieja, D. C. Nitric oxide formation by lymphatic bulb and valves is a major regulatory component of lymphatic pumping. Am J Physiol Heart Circ Physiol. 301 (5), H1897-H1906 (2011).

- Scallan, J. P., Zawieja, S. D., Castorena-Gonzalez, J. A., Davis, M. D. Lymphatic pumping: mechanics, mechanisms and malfunction. J Physiol. 594 (20), 5749-5768 (2016).

- Aspelund, A. et al. A dural lymphatic vascular system that drains brain interstitial fluid and macromolecules. J Exp Med. 212 (7), 991–999 (2015).

- Louveau, A. et al. Structural and functional features of central nervous system lymphatic vessels. Nature. 523 (7560), 337-341 (2015).