# Submission ID #: 69558

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=21215238

# Title: Analysis of Vitamin A Stable Isotope Tracers using LC-MS/MS

# Authors and Affiliations:

# Georg Lietz1, Dan Astley2, Alice Goddard1, Anthony Oxley3

# 1Human Nutrition and Exercise Research Centre, Newcastle University

# 2Newcastle University Centre for Cancer

# 3Fera Science Ltd

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Georg Lietz		(georg.lietz@newcastle.ac.uk)

# Email Addresses for All Authors:

Dan Astley		(dan.astley@newcastle.ac.uk)

Alice Goddard		(alice.goddard@newcastle.ac.uk)

Anthony Oxley		(anthony.oxley@fera.co.uk)

Georg Lietz		(georg.lietz@newcastle.ac.uk)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21215238

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 32

Number of Shots: 57

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card
This research has been approved by the Research Ethics Board at the University of the Philippines

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Quantitative Analysis of Retinol and Retinyl Acetate by LC–MS/MS

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

AUTHORS: Please note that all pronunciation guides are given in red, italics. Kindly go through the same and change where necessary.

  - To begin, obtain an internal standard stock solution of retinyl acetate in ethanol [1]. Dilute the stock standard from 1 milligram per milliliter to 1 microgram per milliliter [2].

    - WIDE: Talent holding labeled stock solution.

    - Shot of a labelled working standard bottle.

  - Using a pipette, dilute 60 microliters of the stock standard with 300 microliters of ethanol [1], then dilute 60 microliters of this solution in 10,000 microliters of ethanol [2]. Add 20 microliters of the working internal standard solution to each sample, corresponding to 20 nanograms of retinyl acetate [3].

    - Talent pipetting stock standard into ethanol to prepare the first dilution.

    - Talent performing the second dilution with ethanol.

    - Talent adding the internal standard working solution to sample tubes.

  - Prepare the calibration standard working solution by diluting 100 microliters of the calibration stock standard with 10,000 microliters of ethanol in a volumetric flask [1]. Measure the absorbance of the diluted calibration stock solution at 325 nanometers using a spectrophotometer with a quartz cuvette to determine its concentration [2].

    - Talent pipetting calibration stock standard into a volumetric flask containing ethanol.

    - Talent measuring absorbance at 325 nanometers using a spectrophotometer.

  - Take an aliquot of the diluted calibration stock solution [1] and adjust the concentration for the tracee and the tracer using a mixture of 50 percent ethanol and 50 percent acetonitrile-deionized water [2-TXT].

    - Talent pipetting out the diluted calibration stock solution.

    - Talent preparing tracee and tracer calibration solutions using mixed solvents. TXT: Final concentration: Tracee: 8 µM; Tracer: 2 µM

  - Prepare duplicate calibration standards at seven concentrations using 50 percent ethanol and 50 percent acetonitrile- deionized water [1]. Adjust concentrations so that tracee standards range from 6 micromolar to 0.03 micromolar and tracer standards range from 0.5 micromolar to 0.004 micromolar [2].

    - Talent preparing multiple calibration standards in labeled tubes.

    - Shot of labeled calibration standards showing concentration range.

  - Now, remove plasma samples from a minus 80-degrees Celsius freezer [1] and allow them to defrost at room temperature for approximately 30 minutes [2].

    - Talent removing frozen plasma samples from the freezer.

    - Talent placing them on the bench.

  - Once defrosted, vortex each plasma sample [1] and briefly spin to collect liquid from the lid, then place samples on ice [2].

    - Talent placing the samples on a vortex machine.

    - Talent trasnferring vortexed samples from a centrifuge onto ice.

  - Turn on a refrigerated centrifuge and allow it to cool to 4 degrees Celsius [1]. Pipette 200 microliters of deionized water into labelled 15-milliliter glass tubes with screw caps [2].

    - Talent setting centrifuge temperature to 4 degrees Celsius.

    - Talent adding 200 µL deionized water into the 15 mL labeled glass tubes.

  - Then pipette 20 microliters of the internal standard working solution into each glass tube [1]. Now, dispense 200 microliters of plasma into the corresponding tube containing internal standard and deionized water [2].

    - Talent pipetting 20 µL  internal standard into glass tubes.

    - Talent adding 200 µL plasma samples to prepared glass tubes.

  - Add 400 microliters of ethanol to each tube [1] and gently swirl to mix, avoiding vortexing to prevent protein adhesion to the glass [2].

    - Talent adding 400 µL ethanol to the tubes.

    - Talent gently swirling tubes by hand.

  - For the first extraction, add 2 milliliters of hexane to each tube and tightly fasten the lids [1].

    - Talent adding hexane and securing tube caps.

  - Place the tubes on an orbital shaker and shake at 15,000 revolutions per minute for 30 minutes [1]. Centrifuge the tubes in a refrigerated centrifuge at 18,000 g for 10 minutes at 4 degrees Celsius [2].

    - Talent placing tubes on the orbital shaker.

    - Talent loading tubes into the refrigerated centrifuge.

  - Next, using glass Pasteur pipettes, transfer the supernatant to clean labeled glass tubes without disturbing the protein precipitate or aqueous phase [1].

    - Talent carefully transferring the hexane supernatant with a Pasteur pipette.

  - Perform a second extraction by adding another 2 milliliters of hexane to the remaining residue and fastening the lids [1]. Shake at 15,000 revolutions per minute for 15 minutes then centrifuge [2].

    - Talent adding hexane for the second extraction.

    - Shot of the tubes shaking in a orbital shaker.

  - Transfer the supernatant from the second extraction into the tube containing the first extraction supernatant [1]. Then evaporate the combined hexane extracts under a gentle stream of nitrogen in a darkened fume hood with the heating block set to 35 degrees Celsius [2].

    - Talent combining supernatants using a Pasteur pipette.

    - Talent placing tubes under nitrogen gas in the fume hood.

  - Resuspend the dried residue in 50 microliters of ethanol and vortex briefly [1]. Then add 50 microliters of mobile phase before vortexing again [2-TXT].

    - Talent resuspending dried residue with ethanol.

    - Talent adding 50 µL of mobile phase. TXT: Mobile phase: Acetonitrile : dH2O 70:30 (v/v)
Video Editor: Please note that the on-screen text contains a ratio

  - Transfer the solution into labeled 0.5-milliliter microcentrifuge tubes [1].  Centrifuge the suspension at 16,900 g for 5 minutes [1].

    - Shot of solution being pipetted into a labeled 0.5 mL microcentrifuge tube.

    - Talent placing the tubes in a centrifuge and setting the parameters.

  - Transfer 80 microliters of the reconstituted residue into amber HPLC vials fitted with 300 microliter inserts and immediately cap the vials [1].

    - Talent transferring extract into amber HPLC vials and capping them.

  - For the preparation of internal standard control samples, first combine 120 microliters of ethanol with 200 microliters of acetonitrile-deionized water and vortex[1].

    - Talent pipetting 120 µL ethanol into a tube and adding 200 µL of acetonitrile/dH2O.

  - Pipette 20 microliters of the internal standard working solution into three separate 0.6-milliliter tubes [1]. Add 80 microliters of the ethanol and mobile phase mixture then vortex to mix the suspension [2].

    - Talent pipetting 20 µL of the internal standard working solution into three separate 0.6-milliliter tubes.

    - Talent adding 8 µL Ethanol-mobile phase mixture into the tubes and vortexing it.

  - Transfer the internal standard control samples to amber HPLC vials with inserts [1]. Immediately cap the vials to prevent solvent loss [2].

    - Talent transferring the controls into HPLC vials.

    - Shot of the vials being capped.

  - Next, fill a one milliliter Luer-lock Hamilton syringe with infusion solution and connect it to the mass spectrometer source using PEEK (peek) tubing [1]. Set the infusion flow rate to 10 microliters per second [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21215238

    - Shot of a 1 mL Luer-lock Hamilton syringe being filled with infusion solution and being connected to the mass spectrometer using PEEK tubing.

    - Talent setting infusion flow rate on the syringe pump.

  - Select Manual Tuning and ensure the instrument is in Tune and Calibrate Mode [1]. Start the syringe pump and select Q1 Scan in positive ion mode [2].

    - SCREEN: Show the instrument control software with Manual Tuning selected.

    - SCREEN: Select Q1 scan parameters in positive ion mode.

  - Set the lower mass range to 50 daltons and the upper mass range to approximately 100 daltons above the molecular mass of the target compound [1]. Then set cycles to 500, a scan rate of 200 daltons per second and click Start to being acquisition [2].

    - SCREEN: Enter the lower and upper mass rate.

    - SCREEN: Set the scan cycles, scan rate and click Start.

  - After signal stabilization, verify the presence of expected precursor ion peaks, including singly and doubly charged ions [1].

    - SCREEN: Observing precursor ion peaks in the mass spectrum.

  - For the product ion scan, set the start mass at a lower mass and the Stop mass just above the Q1 mass then set the Cycles to 5 and the collision energy to 10 [1]. Now check for Q1 mass as the precursor ion. If there are no smaller fragments appearing, increase the energy to 20 [2].

    - SCREEN: The start mass and the Stop mass are being set then The cycles are being set to 5 and the CE to 10

    - SCREEN: The Q1 mass is being set as the precursor ion then the energy is being increased to 20.

  - Adjust collision energy incrementally to generate product ions and observe secondary fragmentation [1].

    - SCREEN: CE is being increased to see secondary fragmentation.

  - From the MS2 scan, select the three most abundant product ions for further optimization [1].

    - SCREEN: The 3 most abundant product ions are being selected.

  - Enter the Q1 precursor and the  Q3 product ion masses for each transition [1] and set the dwell time to 200 milliseconds, assigning descriptive names to each fragment [2].

    - SCREEN: Q1 and Q3 masses are being entered.

    - SCREEN:The Dwell time is being set to 200 ms then names are being entered.

  - Choose collision energy and identify the optimal collision energy using the ramp feature [1]. Populate the collision energy column with the optimized value for each fragment [2].

    - SCREEN: The CE is being chosen and the optimal CE is being identified with the ramp feature.

    - SCREEN: The CE column is being populated with the optimized value for each fragment.

  - Refine declustering potential to minimized isobaric influences [1] then optimize collision cell exit potential for one transition at a time [2].

    - SCREEN: The DP is being optimized.

    - SCREEN: The CXP is being optimized one transition at a time.

  - Perform chromatographic separation on a reversed-phase column maintained at 40 to 50 degrees Celsius [1-TXT]. Inject 10 microliters of plasma extract and elute analytes at a flow rate of 0.4 milliliters per minute using the specified linear gradient [2].

    - Shot of LC setup.
TXT: Mobile phase gradient: A; 0.1% (v/v) formic acid in dH2O 
B: 0.1% (v/v) formic acid in acetonitrile

    - SCREEN: The elution rate is being set. 
AND
TEXT ON PLAIN BACKGROUND:
For UPLC systems, linear gradient depends on research question
For only retinol determination, use
40% B to 60% B in 1.0 min
60% B to 95% B from 1.0 min to 6.0 min
100% B from 6.5 min to 7.5 min
100% B to 40% B from 7.5 to 7.6 min
40% B from 7.6 to 8.5 min
Video Editor: Please play both shots side by side in a split screen

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 168

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

# AUTHORS: Please confirm that the results have been accurately summarized

  - Based on the background noise observed in the m/z (Mass-to-charge-ratio) 279 to 100 transition [1], the level of detection and level of quantitation for retinol were established at 150 counts per second and 500 counts per second, respectively, corresponding to 6 femtomoles and 19 femtomoles on column [2].

    - LAB MEDIA: Figure 1. Video editor: Highlight 1A

    - LAB MEDIA: Figure 1. Video editor: Highlight the dashed horizontal lines labeled LOD and LOQ in 1B

  - Baseline chromatographic separation was achieved between native retinol and the non-labeled internal standard retinyl acetate, eliminating the need for a stable isotope-labeled retinyl acetate internal standard [1].

    - LAB MEDIA: Figure 1. Video editor: Highlight the two separate peaks corresponding to retinol and retinyl acetate in A and B

  - Using UHPLC with a QTRAP 5500 system, a faster separation method achieved baseline resolution between retinol and retinyl acetate with retention times of 4.37 minutes and 5.33 minutes [1].

    - LAB MEDIA: Figure 3 A,B. Video editor: Show A and then B

  - Native and isotope-labeled retinol together with native and labeled retinyl esters were seperated within an 8.5-minute run, despite close retention times between retinol and retinyl acetate [1]. Under the faster UHPLC conditions, the close retention times of retinol at 2.10 minutes and retinyl acetate at 2.43 minutes required the use of isotopically labeled retinyl acetate to ensure accurate quantification [2].

    - LAB MEDIA: Figure 4A

    - LAB MEDIA: Figure 4. Video editor: Sequentially show B and then C